### CENWP-OD-B																						27 May 2012

MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 21 of 2012, which covers the period from 20 through 26 May 2012.

- OPERATION SUMMARY

  - Daily average river flows ranged from 348.9 to 382.4 kcfs.  Daily average project tailwater ranged from 25.3’ to 26.5’ msl.  Daily average powerhouse forebay elevation ranged from 73.3’ to 74.5’ msl.  Daily average river temperature ranged from 56 to 57ºF. Secchi disk measurements ranged from 3.0’ to 6.0’.

  - Spring Spill for fish passage is in effect until 15 June. Daily average spill ranged from 126.4 to 148.3 kcfs.

  - Unit Operation.  Powerhouse Two is the priority powerhouse.

    - Unit 6 was out of service from 0003 on 21 May until 1107 on 24 May for annual maintenance.

    - Unit 10 was out of service from 1136 until 1601 on 22 May for trash raking.

    - Unit 11 has remained out of service since 12 June 2008 due to rotor damage.

    - Unit 12 was out of service from 1005 until 1131 on 16 May for governor control oil regulator work.

    - Unit 18 was out of service from 0049 on 12 May until 1356 on 15 May for an oil leak in governor piping.

  - Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.

    - The fish units (F1 and F2) were out of service for trash floating during the following periods:

F1 from 2354 on 19 May until 0256 on 20 May.

F2 from 2354 on 19 May until 0252 on 20 May.

F2 from 0101 until 0152 on 21 May.

F2 from 0238 until 0359 on 22 May.

F2 from 0004 until 0038 on 23 May.

F1 from 0106 until 0313 on 24 May.

F2 from 0107 until 0309 on 24 May.

F1 from 0043 until 0257 on 25 May.

F2 from 0044 until 0303 on 25 May.

F1 from 0010 until 0332 on 26 May.

F2 from 0012 until 0336 on 26 May.

F1 and F2 from 2224 on 26 May until 0254 on 27 May.

  - Gatewell drawdowns are measured on Tuesdays and more frequently as needed.

- ACTIVITIES

  - Auxiliary Water System Closures.  The following AWS closures occurred this reporting week.

    - FV1-1 was closed from 0316 until 0500 on 24 May for floating trash.

FV3-9 was closed from 1054 until 1105 on 21 May for cleaning.

  - STS/VBS inspections.  No STS/VBS inspection occurred this reporting week.

    - Table 1.  STS and VBS inspection.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 11 | NA | OOS | U11 remains out of service. |
| 12-18 | NA | NA | Inspection was scheduled for week of 21 May. Cancelled due to broken STS inspection truck. |

  - Dewatering and Fish Salvage. The following dewatering or fish salvage activity occurred this week.

    - On 22 May fisheries personnel recovered 15 steelhead and 25 yearling Chinook from Unit 6 headgates. All fish were released into the ice and trash sluiceway (ITS) in poor to fair condition.

    - On 23 May fisheries personnel recovered 66 juvenile salmonids, primarily yearling Chinook and some steelhead and sockeye, from the Unit 6 headgates. All fish were released into the ITS in excellent condition.

- RESEARCH

  - Battelle/PNNL – Surgeon Training/Assessment. Surgeon assessment and Sort-By-Code activities will continue through July.

  - Battelle/PNNL - Survival Study. Hydrophones remain installed.

  - CRITFC – AFF.  Annual Chinook, Coho, Sockeye and Steelhead sampling in the AFF continues.

  - CRITFC - Sea Lion Hazing.  Hazing continues.

  - FFU - Sea Lion.  Observations continue. Weekly pinniped reports can be found at: http://www.nwd-wc.usace.army.mil/tmt/documents/fish/2012/sea_lion_hazing2012.html

  - NOAA – Juvenile Steelhead. Barged and in-river migrant sampling began 03 May.

  - NOAA - Lamprey. LPS count network installed. Trapping at the CI LPS, WA shore NDE, and the AFF began on 22 May.

  - NOAA – Pathology. 25 yearling Chinook and 24 Coho were collected at the JMF for research this week.

  - ODFW/WDFW - Sea lion. Sea lion traps remain downstream of the old Navlock. Two traps were moved to the forebay, upstream of the old Navlock in an effort to capture the sea lions above Bonneville.  Acoustic tagging and branding began on 06 February. NOAA Fisheries authorized permanent removal of specific California sea lions effective 20 March.

  - PSMFC – Smolt Monitoring Program.  Juvenile fish condition and index monitoring continues. Sort by Code is active for PNNL and NOAA. Fallbacks recorded crossing the separator bars this week: 23 steelhead, 14 salmon, and 19 unknown salmonids. Fallback observations are available at the FPC website: http://www.fpc.org/adultsalmon/bonkeltcounts.htm. Gas Bubble Trauma (GBT) examinations occur two days per week at the SMF during spill.  Please go to http://www.fpc.org/CurrentDaily/Gbtsum.txt for further details.

  - USDA - Sea Lion/Avian hazing. Hazing continues.

  - University of Idaho. Cameras installed behind the Bradford Island picket leads to monitor lamprey and salmonid behavior. Lamprey trapping in conjunction with NOAA.

  - WDFW - Fish Counting.  Visual counting continues.

- FISHWAYS

  - Project biologists inspected 20 through 26 May.

  - Fish Passage Plan Observations.

    - Table 2.  FPP Out of Criteria items.

| DATE | ##### LOCATion | ##### FPP itEMS | ##### CAUSE | ##### RESPONSE |
| --- | --- | --- | --- | --- |
| SPILLWAY |  |  |  |  |
| All week | Bay 17 | Incorrect height for spill pattern | Failed hoists | Under repair |
| BRADFORD ISLAND (BI) – Nothing to report. |  |  |  |  |
| CASCADES ISLAND (CI) – Nothing to report. |  |  |  |  |
| WASHINGTON SHORE (WS) |  |  |  |  |
| All week | PH2 Entrances | Gates < 13’ submergence | Necessary to maintain differential | N/A |

    - PH1CC diffuser FG2-19 is partially open.  Repairs will occur when the PH1CC is dewatered. The next possible time period will be 2013/14 winter maintenance.

    - A new mechanical velocity meter has been fabricated for PH2 and is scheduled for installation.

  - Fishway Temperatures.  Temperatures are taken 01 March through 30 November. Temperatures are unavailable this week due to technical difficulties.

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration was checked on 25 May.

    - 10 of 12 floating orifice gates (FOGs) are installed. Two gates remain out for maintenance. Sea lion barriers are in place on all installed FOGs.

    - All SLEDs are installed.

    - All ladders remain in service.

    - The AFF remains in service.

  - Juvenile Fishways.

    - DSM2 remains in service.

    - The PH1 ice and trash sluiceway (ITS) remains in service. Manual chaingates 1A and 1B remain open and are both set to 70’ msl. Automated chaingates 3B, 6C and 10B are open and functioning in auto.

    - The hydrocannon remains in service.

    - The B2CC remains open.

    - The B2CC avian array was removed to facilitate barge access for B-branch emergency repairs. The array will be reinstalled during winter of 2013.

  - Lamprey Fishways.

    - The Cascades Is. entrance weir remains installed.

    - Cascades Island, WA shore AWS, and WA shore NDE LPS systems returned to service on 23 May. Bradford Island LPS returned to service on 24 May.

- CONSTRUCTION

  - Seawater Recirculation System Removal (JMF). Removal continues.

- HAZMAT, SPILLS AND CLEANUP. Nothing to report.

- TELETYPES CURRENTLY IN EFFECT

  - A teletype sent on 09 April states that, effective from 0001 hours on 10 April until 2400 hours on 15 June, operate in accordance with the 2012 Fish Operations Plan to provide spill for juvenile fish passage during the spring season at BON, as follows: 100 kcfs for 24 hours per day following the spill pattern defined in the 2012 Fish Passage Plan. This teletype was updated on 20 April to define minimum generation requirements.

  - A teletype sent on 18 May updates the spill priority list order for Fish Passage Season for BON with associated total dissolved gas spill caps.

  - A teletype sent on 23 May states that effective immediately through 1800 hours on 29 May, operate to move flow that would normally pass through PH2 units above the midpoint (50%) of the 1% operating range to pass instead through PH1 units operating above the 1% range to the best geometry point. This operation is intended to improve passage conditions through PH2 gatewells during the downstream migration of Snake River Sockeye salmon.

JERRY CARROLL

Operations Project Manager