### CENWP-OD-B																						19 February 2013

MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 08 of 2013, which covers the period from 17 February through 23 February 2013.

- OPERATION SUMMARY

  - Daily average river flows ranged from 136.4 to 155.3 kcfs.  Daily average project tailwater ranged from 12.7’ to 13.7’ msl.  Daily average powerhouse forebay elevation ranged from 73.2’ to 73.8’ msl.  Daily average water temperatures ranged from 40ºF to 41ºF. Secchi disk measurements remained at 7.0’.

  - Spill Bays 1 and 18 provide attraction flow for Cascades Island and B-branch, respectively. Daily average spill ranged from 8.5 to 23.3 kcfs.

  - Unit Operation.  Powerhouse One is the priority powerhouse.

    - Unit Operation Closures (See Table 1 at end of report).

  - Fish Units.  Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.

    - Table 2.  Fish Unit Closures.

| #### Unit | #### OOS | #### Date | #### Return | #### Date | #### Comment |
| --- | --- | --- | --- | --- | --- |
| #### F1 | #### 0000 | #### 10 NOV | #### N/A | #### N/A | #### Scheduled Winter Maintenance |
| #### F2 | #### 0000 | #### 10 NOV | #### N/A | #### N/A | #### Scheduled Winter Maintenance |

  - Gatewell drawdowns are measured on Tuesdays and more frequently as needed.

- ACTIVITIES

  - Auxiliary Water System Closures.  The following AWS closures occurred this reporting week.

    - FV4-3 was opened at 1200 on 20 February, bringing B-branch back to service.

    - FV4-4 was opened at 1200 on 20 February, bringing B-branch back to service.

  - STS/VBS inspections.  No STS/VBS inspection occurred this reporting week.

    - Table 3.  STS and VBS inspection.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 11 | N/A | N/A | Unit 11 OOS |
| 12,18 | N/A | N/A | STSs installed, VBSs removed on 11/05 |
| 13-17 | N/A | N/A | STSs removed |

  - Dewatering and Fish Salvage. No dewatering or fish salvage activities occurred this week.

- RESEARCH

  - WDFW – Fish Counting.  Video counting continues.

  - Fisheries Field Unit – Sea Lion Observations.  Observations commenced on 04 January and continue.  Weekly pinniped reports can be found at: http://www.nwd-wc.usace.army.mil/tmt/documents/fish/2013/sea_lion_hazing2013.html

- FISHWAYS

  - Project biologists inspected 19 February through 21 February.

  - Fish Passage Plan Observations.

    - Table 4.  FPP Out of Criteria items.

| Date |  | Location | FPP Items |  | Cause | Response |
| --- | --- | --- | --- | --- | --- | --- |
| BRADFORD ISLAND (BI) |  |  |  |  |  |  |
| 02/17-20 |  | B-branch ladder | Out of service |  | Dewatered to repair FV4-4 | N/A |
| 2/21 |  | PH1CC | South diff < 1.0’ |  | N/A | None |
| All week |  | A-branch | FG3-3 half open |  | Mechanically bound | TR in place |
| 02/17-20 |  | A-branch | Water level > 1.1’ |  | B-branch dewatered | N/A |
| 2/21 |  | A-branch | Water level > 1.1’ |  | N/A | None |
| 02/17-20 |  | BI weir | Water level < 0.9’ |  | B-branch dewatered | N/A |
| 2/20 |  | FG3-33 | Not open correctly for given TW |  | Mechanical failure | Fixed |
| CASCADES ISLAND (CI) |  |  |  |  |  |  |
| 2/20 | UMT |  |  | Water level >1.1’ | N/A | None |
| WASHINGTON SHORE (WS) – nothing to report |  |  |  |  |  |  |

    - PH1CC diffuser FG2-19 is partially open.  Repairs will occur when the PH1CC is dewatered. The next possible time period will be 2013/14 winter maintenance.

    - A new mechanical velocity meter has been fabricated for PH2 and is scheduled for installation.

  - Fishway Temperatures. Temperatures are taken 01 March through 30 November.

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration was checked on 21 February.

    - 10 of 12 floating orifice gates (FOGs) are installed. Two gates remain out for maintenance.

    - SLEDs were installed for both entrances of PH1CC on 31 January and Cascades Island SLEDs were installed on 11 February.  SLEDs are currently removed from B-branch and PH2CC entrances.

    - The WA Shore North and South Monoliths at PH2 remain dewatered.

    - The WA ladder from the Cascades Island picket leads to WA shore exit was open at 1715 on 12 February.  The WA shore ladder from both north and south monolith entrances to the bulkhead adjacent to the UMT remains closed to facilitate work on WA shore LPS structure.

    - The Cascades Island fish ladder exit went out of service at 1800 on 10 February.

    - B-branch fishway was returned to service at 1200 on 20 February.

    - The AFF remains dewatered.

  - Juvenile Fishways.

    - Manual chaingates 1A and 1B remain open and are both set to 70’ msl. Automated chaingates 3B, 6C and 10B are open and functioning in auto.

    - The JMF remains dewatered and the hydrocannon winterized.

    - The DSM2 remains dewatered.

    - The B2CC remains dewatered.

    - The B2CC avian array was removed to facilitate barge access for B-branch emergency repairs. The array will be reinstalled during winter of 2012/13.

    - The spillway avian array was removed on 11 October to facilitate barge access for spillway erosion repair. The array will be reinstalled during the winter of 2012/13.

    - The PH2 avian array was removed 01 February to facilitate barge access for the WA shore LPS construction.  The array will be reinstalled during the winter of 2012/2013.

    - Lamprey Fishways.  All LPSs remain dewatered.

- CONSTRUCTION

  - Cascades Island LPS Continuation. This expansion will remove the evaluation trap box and continue the LPS flume to a volitional exit near the CI fishway exit.

  - Gantry 7 Rehabilitation. The Powerhouse 2 intake gantry crane went out of service on 01 August for rehabilitation. It is scheduled to return to service in March 2013.

  - Spillway Erosion Repair. Rock removal and erosion cavity repair concluded on 17 February.

  - WA Shore LPS/LFS Installation. Construction continues.

  - AFF.  Modifications and improvements began on 19 February and are scheduled to last through 15 March.

- HAZMAT, SPILLS AND CLEANUP. Nothing to report.

- TELETYPES CURRENTLY IN EFFECT

  - A teletype sent on 23 August updates the operation of BON project PH2 unscreened units (Units 13-17) to pass flow. This operation is necessary due to the rehabilitation of Gantry 7. During the Gantry 7 outage, the project will not be able to remove or install screens. Additionally, limit flow through PH2 screened units (Units 11, 12, and 18) to a maximum of 15 kcfs per unit. The intent of this limitation is to minimize the chance of damaging an operating screen during the Gantry 7 outage, which would force the unit out of service until February 2013.

  - A teletype sent on 23 August states that on 16 September PH1 will become the priority powerhouse.  In November, MU18 will be taken out of service and the VBS will be removed from MU11 and MU12, when the downstream migrant channel (DSM2) is dewatered for installation of a lamprey passage system. At that time, those units will be operated last in the priority order.

  - A teletype sent 13 December updates the winter spill priority list and wintertime spill caps.

  - A teletype sent on 20 December updates the flow operations necessary to maintain a daytime tailwater appropriate for daytime chum spawning and to pass excess water, effective until further notice.  As hard constraint #1, maintain the tailwater at a minimum of 13.5’ at all hours.  As a hard constraint #2, maintain tailwater during the daytime within a 2.0’ band of 13.5’ – 15.5’ with a target of 14.0’.

  - A teletype sent on 18 February revises the daily schedule for lamprey work.  Beginning at 0600 on 17 February until 2000 on 9 March, at 0600 start the shutdown and lockout of PH2 units.  At 0830 – 1730 dive work will occur.  No later than 1800 divers release the clearances and no later than 2000 all PH2 units will be generating.  If dive work finishes early the units are to return to service as soon as possible.  PH1 units are to be operated to the extent possible to minimize spill.  RCC will monitor water quality and the 13.5’ tailwater minimum remains in effect at all times.

  - A teletype sent on 18 February states that on 18 February there will be a two-hour extension of lamprey work.  Dive work will occur from 0830 – 1930 and no later than 2000 diver will have clearances released from PH2 and units will be generating no later than 2200.

  - A teletype sent on 15 February extends a previous teletype to 1800 on 28 February, operate the Bonneville forebay 24 hours per day from 71.5’ – 76.0’ as a hard constraint to facilitate work at Bradford Island B-branch fishway.  At the expiration of this teletype, revert to normal pool operating range of 71.5’ – 76.5’.

  - A teletype sent on 19 February requests no spillway releases from 2200 on 20 February until 0400 on 21 February for a survey boat in the BRZ during part of this period.  Lamprey work and the chum tailwater are higher-priority teletypes.  If needed, the BON operator is to request the survey vessel depart to return spill bays to service.

  - A teletype sent on 19 February added the period from 2000 to 2200 on 19 February to the request for no spill to facilitate survey boat work in the BRZ.  The same stipulations apply.

  - A teletype sent on 19 February extends the lamprey dive work on 20 and 22 February by two hours.  On those two days PH2 units will be shut down starting at 0600 for work occurring from 0830 – 1930 and no later than 2000 divers will release clearances for PH2 generation no later than 2200.

  - A teletype sent on 20 February cancels the extension of lamprey dive work on 20 February due to dive time limits at the deeper work area. The extension on 22 February remains in effect.

  - A teletype sent on 20 February cancels previous teletypes restricting forebay pool elevations due to B-branch repairs.  Valve maintenance work at the B-branch ladder is complete.  The normal pool operating range of 71.5’ – 76.5’ is effective immediately and until further notice.

  - A teletype sent on 20 February modifies the previous teletype for chum spawning, in order to gradually reduce the BON tailwater elevation for chum redd protection in response to the continued reduction in the water supply forecast.  The four hard constraints are as follows.  #1: Effective 1000 on 20 February, maintain a minimum tailwater elevation of 13.0’.  #2: Effective 1000 on 22 February, maintain a minimum tailwater of 12.5’.  #3: Effective 1000 on 24 February, maintain a minimum tailwater of 12.0’.  #4: Effective 1000 on 26 February, maintain a tailwater minimum of 11.8’.  For all four hard constraints, for one hour each day during non-dive hours (e.g. between 2000 and 2400) rewet exposed redds by achieving a tailwater elevation of 13.5’ when both powerhouses are in service in order to maintain a tailwater of 13.5’ for 1 hour in every 24 hour period.

  - A teletype sent on 21 February extends the hours for lamprey dive work at PH2 by two hours on 23 and 25 February to facilitate complex dives.  The two-hour dive extension schedule is identical to that previously stated (see teletype 7.10).

  - A teletype sent on 23 February extends the hours for lamprey dive work at PH2 by two hours on 24 and 25 February to facilitate complex dives.  The two-hour dive extension schedule is identical to that previously stated (see teletype 7.10).

JERRY CARROLL

Operations Project Manager

Table 1.  Unit Operation Closures.

| #### Unit | #### OOS | #### Date | #### Return | #### Date | #### Comment |
| --- | --- | --- | --- | --- | --- |
| #### 11 | #### 0800 | #### 09 SEPT | #### N/A | #### N/A | #### High Thrust Bearing Temperatures |
| #### 12 | #### 0705 | #### 17 FEB | #### 1930 | #### 17 FEB | WA Shore LPS Construction |
| #### 12 | #### 0613 | #### 18 FEB | #### 2044 | #### 18 FEB | WA Shore LPS Construction |
| #### 12 | #### 0610 | #### 19 FEB | #### 1847 | #### 19 FEB | WA Shore LPS Construction |
| #### 12 | #### 0630 | #### 20 FEB | #### 1834 | #### 20 FEB | WA Shore LPS Construction |
| #### 12 | #### 0615 | #### 21 FEB | #### 1911 | #### 21 FEB | WA Shore LPS Construction |
| #### 12 | #### 0600 | #### 22 FEB | #### 1901 | #### 22 FEB | WA Shore LPS Construction |
| #### 12 | #### 0600 | #### 23 FEB | #### 1611 | #### 23 FEB | WA Shore LPS Construction |
| #### 13 | #### 0627 | #### 17 FEB | #### 1930 | #### 17 FEB | WA Shore LPS Construction |
| #### 13 | #### 0642 | #### 18 FEB | #### 2044 | #### 18 FEB | WA Shore LPS Construction |
| #### 13 | #### 0635 | #### 19 FEB | #### 1847 | #### 19 FEB | WA Shore LPS Construction |
| #### 13 | #### 0652 | #### 20 FEB | #### 1834 | #### 20 FEB | WA Shore LPS Construction |
| #### 13 | #### 0638 | #### 21 FEB | #### 1911 | #### 21 FEB | WA Shore LPS Construction |
| #### 13 | #### 0700 | #### 22 FEB | #### 1901 | #### 22 FEB | WA Shore LPS Construction |
| #### 13 | #### 0616 | #### 23 FEB | #### 1611 | #### 23 FEB | WA Shore LPS Construction |
| #### 14 | #### 0627 | #### 17 FEB | #### 1930 | #### 17 FEB | WA Shore LPS Construction |
| #### 14 | #### 0642 | #### 18 FEB | #### 2044 | #### 18 FEB | WA Shore LPS Construction |
| #### 14 | #### 0635 | #### 19 FEB | #### 1847 | #### 19 FEB | WA Shore LPS Construction |
| #### 14 | #### 0652 | #### 20 FEB | #### 1834 | #### 20 FEB | WA Shore LPS Construction |
| #### 14 | #### 0638 | #### 21 FEB | #### 1911 | #### 21 FEB | WA Shore LPS Construction |
| #### 14 | #### 0700 | #### 22 FEB | #### 1901 | #### 22 FEB | WA Shore LPS Construction |
| #### 14 | #### 0616 | #### 23 FEB | #### 1611 | #### 23 FEB | WA Shore LPS Construction |
| #### 15 | #### 0627 | #### 17 FEB | #### 1930 | #### 17 FEB | WA Shore LPS Construction |
| #### 15 | #### 0642 | #### 18 FEB | #### 2044 | #### 18 FEB | WA Shore LPS Construction |
| #### 15 | #### 0635 | #### 19 FEB | #### 1847 | #### 19 FEB | WA Shore LPS Construction |
| #### 15 | #### 0652 | #### 20 FEB | #### 1834 | #### 20 FEB | WA Shore LPS Construction |
| #### 15 | #### 0638 | #### 21 FEB | #### 1911 | #### 21 FEB | WA Shore LPS Construction |
| #### 15 | #### 0700 | #### 22 FEB | #### 1901 | #### 22 FEB | WA Shore LPS Construction |
| #### 15 | #### 0616 | #### 23 FEB | #### 1611 | #### 23 FEB | WA Shore LPS Construction |
| #### 16 | #### 0627 | #### 17 FEB | #### 1930 | #### 17 FEB | WA Shore LPS Construction |
| #### 16 | #### 0642 | #### 18 FEB | #### 2044 | #### 18 FEB | WA Shore LPS Construction |
| #### 16 | #### 0635 | #### 19 FEB | #### 1847 | #### 19 FEB | WA Shore LPS Construction |
| #### 16 | #### 0652 | #### 20 FEB | #### 1834 | #### 20 FEB | WA Shore LPS Construction |
| #### 16 | #### 0638 | #### 21 FEB | #### 1911 | #### 21 FEB | WA Shore LPS Construction |
| #### 16 | #### 0700 | #### 22 FEB | #### 1901 | #### 22 FEB | WA Shore LPS Construction |
| #### 16 | #### 0616 | #### 23 FEB | #### 1611 | #### 23 FEB | WA Shore LPS Construction |
| #### 17 | #### 0627 | #### 17 FEB | #### 1930 | #### 17 FEB | WA Shore LPS Construction |
| #### 17 | #### 0642 | #### 18 FEB | #### 2044 | #### 18 FEB | WA Shore LPS Construction |
| #### 17 | #### 0635 | #### 19 FEB | #### 1847 | #### 19 FEB | WA Shore LPS Construction |
| #### 17 | #### 0652 | #### 20 FEB | #### 1834 | #### 20 FEB | WA Shore LPS Construction |
| #### 17 | #### 0638 | #### 21 FEB | #### 1911 | #### 21 FEB | WA Shore LPS Construction |
| #### 17 | #### 0700 | #### 22 FEB | #### 1901 | #### 22 FEB | WA Shore LPS Construction |
| #### 17 | #### 0616 | #### 23 FEB | #### 1611 | #### 23 FEB | WA Shore LPS Construction |
| #### 18 | #### 0627 | #### 17 FEB | #### 1930 | #### 17 FEB | WA Shore LPS Construction |
| #### 18 | #### 0642 | #### 18 FEB | #### 2044 | #### 18 FEB | WA Shore LPS Construction |
| #### 18 | #### 0635 | #### 19 FEB | #### 1847 | #### 19 FEB | WA Shore LPS Construction |
| #### 18 | #### 0652 | #### 20 FEB | #### 1834 | #### 20 FEB | WA Shore LPS Construction |
| #### 18 | #### 0638 | #### 21 FEB | #### 1911 | #### 21 FEB | WA Shore LPS Construction |
| #### 18 | #### 0700 | #### 22 FEB | #### 1901 | #### 22 FEB | WA Shore LPS Construction |
| #### 18 | #### 0616 | #### 23 FEB | #### 1611 | #### 23 FEB | WA Shore LPS Construction |