### CENWP-OD-B																						19 February 2013

MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 09 of 2013, which covers the period from 24 February through 02 March 2013.

- OPERATION SUMMARY

  - Daily average river flows ranged from 123.7 to 134.6 kcfs.  Daily average project tailwater ranged from 12.0’ to 12.4’ msl.  Daily average powerhouse forebay elevation ranged from 72.9’ to 74.8’ msl.  Daily average water temperatures ranged from 40ºF to 41ºF. Secchi disk measurements ranged from 6.0’ to 7.0’.

  - Spill Bays 1 and 18 provide attraction flow for Cascades Island and B-branch, respectively. Daily average spill ranged from 1.1 to 11.4 kcfs.

  - Unit Operation.  Powerhouse One is the priority powerhouse.

    - Unit Operation Closures (See Table 1 at end of report).

  - Fish Units.  Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.

    - Fish Unit Closures.

      - Fish Unit 1 went out of service on 0000 on 10 November for scheduled winter maintenance.

      - Fish Unit 2 was out of service from 0000 on 10 November for scheduled winter maintenance. It was returned to service at 1301 on 28 February.

  - Gatewell drawdowns are measured on Tuesdays and more frequently as needed.

- ACTIVITIES

  - Auxiliary Water System Closures.  The following AWS closures occurred this reporting week.

    - FV1-1 was closed for cleaning from 0701 to 0704 on 28 February.

  - STS/VBS inspections.  No STS/VBS inspection occurred this reporting week.

    - Table 3.  STS and VBS inspection.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 11 | N/A | N/A | Unit 11 OOS |
| 12,18 | N/A | N/A | STSs installed, VBSs removed on 11/05 |
| 13-17 | N/A | N/A | STSs removed |

  - Dewatering and Fish Salvage.

      - On 02 March, project biologists recovered 1 sculpin from the Navigational Lock. The fish was released upstream in good condition.

- RESEARCH

  - CRITFC – Sea Lion Hazing. Hazing from boats is scheduled to begin on 04 March.

  - Fisheries Field Unit – Sea Lion Observations.  Observations commenced on 04 January and continues.  Weekly pinniped reports can be found at: http://www.nwd-wc.usace.army.mil/tmt/documents/fish/2013/sea_lion_hazing2013.html

  - PSMFC – Smolt Monitoring Program.  Juvenile fish condition and index monitoring is scheduled to begin on 11 March.

  - USDA - Sea Lion Hazing. Land based hazing began on 01 March and will continue until the end of May.

  - WDFW – Fish Counting. Video counting continues. Visual counting is scheduled to begin on 01 April. Normandeau will assume fish counting responsibilities as of 1 March.

- FISHWAYS

  - Project biologists inspected 25 February through 02 March.

  - Fish Passage Plan Observations.

    - Table 4.  FPP Out of Criteria items.

| Date | Location | FPP Items | Cause | Response |
| --- | --- | --- | --- | --- |
| BRADFORD ISLAND (BI) |  |  |  |  |
| 2/25-26 | PH1CC | South diff < 1.0’ | N/A | None |
| 2/26-27 | WG-64 | Submerg > 8.4’ | N/A | None |
| All week | A-branch | FG3-3 half open | Mechanically bound | TR in place |
| All week | A-branch | Water level > 1.1’ | N/A | None |
| CASCADES ISLAND (CI) – nothing to report |  |  |  |  |
| WASHINGTON SHORE (WS) – nothing to report |  |  |  |  |

    - PH1CC diffuser FG2-19 is partially open.  Repairs will occur when the PH1CC is dewatered. The next possible time period will be 2013/14 winter maintenance.

    - A new mechanical velocity meter has been fabricated for PH2 and is scheduled for installation.

  - Fishway Temperatures. Temperatures are normally taken from 01 March through 30 November. Temperature data is unavailable this week due to technical difficulties.

  - Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.

  - Adult Fishways.

    - Calibration was checked on 02 March.

    - 10 of 12 floating orifice gates (FOGs) are installed. Two gates remain out for maintenance. Stab plates are installed in most of the FOGs on the north half of PH2 for dive work associated with PH2 lamprey construction. They will be removed the week of 11 March.

    - SLEDs were installed for both entrances of PH1CC on 31 January and Cascades Island SLEDs were installed on 11 February.  SLEDs were installed on the PH2 south monolith entrances on 26 February.  They are currently removed from B-branch.

    - The WA Shore ladder from the Cascades Island picket leads to WA shore exit was open at 1715 on 12 February.  The lower WA Shore ladder from the south monolith entrances to the UMT was opened at 0740 on 26 February. The north monolith entrances remain closed to facilitate work on WA shore LPS structure.

    - The AFF remains dewatered.

  - Juvenile Fishways.

    - Manual chaingates 1A and 1B remain open and are both set to 70’ msl. Automated chaingates 3B, 6C and 10B are open and functioning in auto.

    - The JMF remains dewatered and the hydrocannon winterized.

    - The DSM2 remains dewatered.

    - The B2CC was opened at 0001 on 01 March.

    - The B2CC avian array was removed to facilitate barge access for B-branch emergency repairs. The array is scheduled to be reinstalled 18-20 March.

    - The spillway avian array was removed on 11 October to facilitate barge access for spillway erosion repair. The array is scheduled to be reinstalled 18-20 March.

    - The PH2 avian array was removed 01 February to facilitate barge access for the WA shore LPS construction.  The array is scheduled to be reinstalled 18-20 March.

    - Lamprey Fishways.  All LPSs remain dewatered.

- CONSTRUCTION

  - Cascades Island LPS Continuation. This expansion will remove the evaluation trap box and continue the LPS flume to a volitional exit near the CI fishway exit.

  - Gantry 7 Rehabilitation. The Powerhouse 2 intake gantry crane went out of service on 01 August for rehabilitation. It returned to service on 2 March but continues to have punch list items addressed by the contractor prior to being fully functional.

  - WA Shore LPS/LFS Installation. Construction continues.

  - AFF.  Modifications and improvements began on 19 February and are scheduled to last through 15 March.

- HAZMAT, SPILLS AND CLEANUP. Nothing to report.

- TELETYPES CURRENTLY IN EFFECT

  - A teletype sent on 23 August updates the operation of BON project PH2 unscreened units (Units 13-17) to pass flow. This operation is necessary due to the rehabilitation of Gantry 7. During the Gantry 7 outage, the project will not be able to remove or install screens. Additionally, limit flow through PH2 screened units (Units 11, 12, and 18) to a maximum of 15 kcfs per unit. The intent of this limitation is to minimize the chance of damaging an operating screen during the Gantry 7 outage, which would force the unit out of service until February 2013.

  - A teletype sent on 23 August states that on 16 September PH1 will become the priority powerhouse.  In November, MU18 will be taken out of service and the VBS will be removed from MU11 and MU12, when the downstream migrant channel (DSM2) is dewatered for installation of a lamprey passage system. At that time, those units will be operated last in the priority order.

  - A teletype sent 28 February updates the winter spill priority list and wintertime spill caps.

  - A teletype sent on 20 December updates the flow operations necessary to maintain a daytime tailwater appropriate for daytime chum spawning and to pass excess water, effective until further notice.  As hard constraint #1, maintain the tailwater at a minimum of 13.5’ at all hours.  As a hard constraint #2, maintain tailwater during the daytime within a 2.0’ band of 13.5’ – 15.5’ with a target of 14.0’.

  - A teletype sent on 18 February revises the daily schedule for lamprey work.  Beginning at 0600 on 17 February until 2000 on 9 March, at 0600 start the shutdown and lockout of PH2 units.  At 0830 – 1730 dive work will occur.  No later than 1800 divers release the clearances and no later than 2000 all PH2 units will be generating.  If dive work finishes early the units are to return to service as soon as possible.  PH1 units are to be operated to the extent possible to minimize spill.  RCC will monitor water quality and the tailwater minimum for chum remains in effect at all times.

  - A teletype sent on 20 February modifies the previous teletype for chum spawning, in order to gradually reduce the BON tailwater elevation for chum redd protection in response to the continued reduction in the water supply forecast.  The four hard constraints are as follows.  #1: Effective 1000 on 20 February, maintain a minimum tailwater elevation of 13.0’.  #2: Effective 1000 on 22 February, maintain a minimum tailwater of 12.5’.  #3: Effective 1000 on 24 February, maintain a minimum tailwater of 12.0’.  #4: Effective 1000 on 26 February, maintain a tailwater minimum of 11.8’.  For all four hard constraints, for one hour each day during non-dive hours (e.g. between 2000 and 2400) rewet exposed redds by achieving a tailwater elevation of 13.5’ when both powerhouses are in service in order to maintain a tailwater of 13.5’ for 1 hour in every 24 hour period.

  - A teletype sent on 24 February extends the hours for lamprey dive work on 24 February by two hours. The schedule is otherwise the same as that previously stated (see teletype 7.5).  The hours for 25 February have been shortened: the shutdown of PH2 units will begin at 1100 with dive work occurring from 1300-1700. Divers will release clearances by 1700 with PH2 unit generation no later than 1900.

  - A teletype sent on 27 February extends the hours for lamprey dive work on both 27 and 28 February by two hours. The schedule is otherwise the same as that previously stated (see teletype 7.5).

  - A teletype sent on 28 February states that effective 0001 on 01 March, open the B2CC 24 hours a day.  The B2CC will remain open until the PH2 DSM is returned to service, the project has switched to PH2 priority, and screens are installed on operating PH2 units. The switch to PH2 priority will occur when all PH2 fish ladders and the DSM have been returned to service. Unit priority is listed in the FPP.  Unscreened units are considered unavailable and will be operated only at the end of the priority order if necessary.  The B2CC will be open when operating any unscreened PH2 units.  Once the DSM is operating, the project has switched to PH2 priority, and screens are installed, the B2CC will be closed.  The B2CC will be reopened within one hour of notification from project fisheries that the kelt trigger has been reached.  The trigger coordinated for this year is 2 kelts per day for 2 consecutive days as counted at the JMF.  JMF personnel will notify project fisheries when the trigger has been reached.  This special operation is required due to ongoing construction at PH2, delaying the start of the PH2 DSM and screen installation.

  - A teletype sent on 28 February states that from 0001 on 02 March through 2400 on 05 March at Bonneville, the allowed maximum forebay elevation is 77.0’.  This exceedence of the normal 76.5’ maximum was approved by project manager Jerry Carroll in order to provide BPA additional operational flexibility to set up and maintain a restricted pool operation at John Day that begins on 01 March.

  - A teletype sent on 28 February extends the hours for lamprey dive work on 28 February by two hours again.  The schedule is the same as that previously stated (see teletype 7.5), but with dive work occurring from 0830-2130 and divers releasing clearances by 2200 with power generation by 2400.

  - A teletype sent on 1 March extends the hours for lamprey dive work on 02 March by two hours.  The schedule is as previously stated (see teletype 7.5), with the dives occurring from 0830-1930, clearances released by 2000 and power generation by 2200.

JERRY CARROLL

Operations Project Manager

Table 1.  Unit Operation Outages.

| #### Unit | #### OOS | #### Date | #### Return | #### Date | #### Outage Classification |
| --- | --- | --- | --- | --- | --- |
| #### 01 | #### 0722 | #### 25 Feb | #### 1044 | #### 25 Feb | #### Rake Trash |
| #### 01 | #### 1235 | #### 27 Feb | #### 1314 | #### 27 Feb | #### Breaker Swap |
| #### 02 | #### 1048 | #### 25 Feb | #### 1424 | #### 25 Feb | #### Rake Trash |
| #### 03 | #### 1425 | #### 25 Feb | #### 1648 | #### 25 Feb | #### Rake Trash |
| #### 04 | #### 0713 | #### 26 Feb | #### 0924 | #### 26 Feb | #### Rake Trash |
| #### 05 | #### 0926 | #### 26 Feb | #### 1318 | #### 26 Feb | #### Rake Trash |
| #### 06 | #### 1320 | #### 26 Feb | #### 1434 | #### 26 Feb | #### Rake Trash |
| #### 11 | #### 0800 | #### 09 Sept | #### N/A | #### N/A | #### High Thrust Bearing Temperatures |
| #### 12 | #### 0600 | #### 24 Feb | #### 1845 | #### 24 Feb | WA Shore LPS Construction |
| #### 12 | #### 0605 | #### 26 Feb | #### 1855 | #### 26 Feb | WA Shore LPS Construction |
| #### 12 | #### 0606 | #### 27 Feb | #### 1945 | #### 27 Feb | WA Shore LPS Construction |
| #### 12 | #### 0609 | #### 28 Feb | #### 2130 | #### 28 Feb | WA Shore LPS Construction |
| #### 12 | #### 0604 | #### 01 Mar | #### 1651 | #### 01 Mar | WA Shore LPS Construction |
| #### 12 | #### 0601 | #### 02 Mar | #### 1936 | #### 02 Mar | WA Shore LPS Construction |
| #### 13 | #### 0600 | #### 24 Feb | #### 1830 | #### 24 Feb | WA Shore LPS Construction |
| #### 13 | #### 0605 | #### 26 Feb | #### 1826 | #### 26 Feb | WA Shore LPS Construction |
| #### 13 | #### 0606 | #### 27 Feb | #### 1925 | #### 27 Feb | WA Shore LPS Construction |
| #### 13 | #### 0609 | #### 28 Feb | #### 2129 | #### 28 Feb | WA Shore LPS Construction |
| #### 13 | #### 0604 | #### 01 Mar | #### 1651 | #### 01 Mar | WA Shore LPS Construction |
| #### 13 | #### 0601 | #### 02 Mar | #### 1936 | #### 02 Mar | WA Shore LPS Construction |
| #### 14 | #### 0600 | #### 24 Feb | #### 1842 | #### 24 Feb | WA Shore LPS Construction |
| #### 14 | #### 0605 | #### 26 Feb | #### 1835 | #### 26 Feb | WA Shore LPS Construction |
| #### 14 | #### 0606 | #### 27 Feb | #### 1930 | #### 27 Feb | WA Shore LPS Construction |
| #### 14 | #### 0609 | #### 28 Feb | #### 2123 | #### 28 Feb | WA Shore LPS Construction |
| #### 14 | #### 0604 | #### 01 Mar | #### 1651 | #### 01 Mar | WA Shore LPS Construction |
| #### 14 | #### 0601 | #### 02 Mar | #### 1936 | #### 02 Mar | WA Shore LPS Construction |
| #### 15 | #### 0600 | #### 24 Feb | #### 1845 | #### 24 Feb | WA Shore LPS Construction |
| #### 15 | #### 0605 | #### 26 Feb | #### 1907 | #### 26 Feb | WA Shore LPS Construction |
| #### 15 | #### 0606 | #### 27 Feb | #### 1945 | #### 27 Feb | WA Shore LPS Construction |
| #### 15 | #### 0609 | #### 28 Feb | #### 2130 | #### 28 Feb | WA Shore LPS Construction |
| #### 15 | #### 0604 | #### 01 Mar | #### 1651 | #### 01 Mar | WA Shore LPS Construction |
| #### 15 | #### 0601 | #### 02 Mar | #### 1936 | #### 02 Mar | WA Shore LPS Construction |
| #### 16 | #### 0600 | #### 24 Feb | #### 1845 | #### 24 Feb | WA Shore LPS Construction |
| #### 16 | #### 0605 | #### 26 Feb | #### 1855 | #### 26 Feb | WA Shore LPS Construction |
| #### 16 | #### 0606 | #### 27 Feb | #### 1945 | #### 27 Feb | WA Shore LPS Construction |
| #### 16 | #### 0609 | #### 28 Feb | #### 2113 | #### 28 Feb | WA Shore LPS Construction |
| #### 16 | #### 0604 | #### 01 Mar | #### 1651 | #### 01 Mar | WA Shore LPS Construction |
| #### 16 | #### 0601 | #### 02 Mar | #### 1936 | #### 02 Mar | WA Shore LPS Construction |
| #### 17 | #### 0600 | #### 24 Feb | #### 1805 | #### 24 Feb | WA Shore LPS Construction |
| #### 17 | #### 0605 | #### 26 Feb | #### 1845 | #### 26 Feb | WA Shore LPS Construction |
| #### 17 | #### 0606 | #### 27 Feb | #### 1921 | #### 27 Feb | WA Shore LPS Construction |
| #### 17 | #### 0609 | #### 28 Feb | #### 2109 | #### 28 Feb | WA Shore LPS Construction |
| #### 17 | #### 0604 | #### 01 Mar | #### 1651 | #### 01 Mar | WA Shore LPS Construction |
| #### 17 | #### 0601 | #### 02 Mar | #### 1936 | #### 02 Mar | WA Shore LPS Construction |
| #### 18 | #### 0600 | #### 24 Feb | #### 1845 | #### 24 Feb | WA Shore LPS Construction |
| #### 18 | #### 0605 | #### 26 Feb | #### 1855 | #### 26 Feb | WA Shore LPS Construction |
| #### 18 | #### 0606 | #### 27 Feb | #### 1945 | #### 27 Feb | WA Shore LPS Construction |
| #### 18 | #### 0609 | #### 28 Feb | #### 2130 | #### 28 Feb | WA Shore LPS Construction |
| #### 18 | #### 0604 | #### 01 Mar | #### 1651 | #### 01 Mar | WA Shore LPS Construction |
| #### 18 | #### 0601 | #### 02 Mar | #### 1936 | #### 02 Mar | WA Shore LPS Construction |