### CENWP-OP-B                                                                                               23 November 1999

MEMORANDUM FOR CENWP-OP, ATTN:  Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 46 of 1999, which covers the period 14 through 20 November.

- OPERATION SUMMARY.

1.1. Daily average river flow ranged from 145.1 to 177.6 kcfs.  Daily average tailwater elevation for the project ranged from 13.3’ to 15.5’ msl.  River temperature ranged from 53 to 54° F.  Spill bays 1 and 18, which supply attraction flow for the Cascades Island and B-branch fish ladders respectively, remain open 4”.

- First powerhouse Unit 4 remains out of service for rehab, unit 10 for stator rewind, unit 11 for four year overhaul, and unit 16 for stator re-wedge.  Unit 8 was out of service from 0530-1636 on 16 November for semi annual maintenance.

1.3. The first powerhouse ice and trash sluiceway remained open for debris removal this reporting week.  The second powerhouse ice and trash sluiceway gate remained closed however, was opened from 1250-1605 on 18 November for debris removal.

1.4. Second powerhouse fish units remained in service this reporting week except when placed on standby from approximately 0000-0300 to float trash if drawdown exceeds 1.0’.

- ACTIVITIES.

2.1. STS Inspections. One units’ STS’s were inspected this reporting week.  All screens were in good condition unless otherwise noted below.  See Table 1.

| #### Unit | #### Date | #### Run Hours | #### Comments |
| --- | --- | --- | --- |
| 17 | 11/17 | 705 | Replaced B-slot screen. |

Table 1.  STS Inspection Data.

2.2. VBS Inspections. There were no VBS inspections this reporting week.

2.3. AWS Closures.  FV1-1 was closed for cleaning from 1520-1533 on 17 November.

2.4. Fish Salvage. There was no fish salvage this reporting week.

- RESEARCH.

3.1. Normandeau MGR Testing.  Normandeau and Mid-Columbia Consultants began biological MGR testing at units 5 and 6 on 15 November.

3.2. WDFW Fish Counting.  WDFW continues 24-h/d video counting at Bradford Island and Washington shore.

4.  FISHWAYS.  Project biologists inspected on 16, 18, and 19 November.

4.1. Fish Passage Plan Observations.

| DATE | LOCATion | FPP VIOLATION | CAUSE | RESPONSE |
| --- | --- | --- | --- | --- |
| All Week | A-branch diffuser FG3-4. | Diffuser should be open at 14.4’ tailwater elevation and is stuck closed due to mechanical failure. | Diffuser gate is separated from its shaft and will not be repaired until the winter maintenance season. | Other diffusers are being operated in place of FG3-4 depending on tailwater elevations. |
| All Week | A-branch diffuser FG3-6. | Diffuser should be open at 20.4’ tailwater elevation and is stuck closed due to mechanical failure. | Diffuser gate is separated from its shaft and will not be repaired until the winter maintenance season. | Other diffusers are being operated in place of FG3-4 depending on tailwater elevations. |
| All Week | PH1 orifice gate 21. | Gate should be closed according to tailwater elevations. | Panel is missing, allowing water to pass freely when gate is closed. | Sluice gate has been closed and orifice gate will be repaired this winter maintenance season. |
| All week | PH1 collection channel electronic velocity meter. | Meter was not working and should register 1.5-4.0 fps. | Unknown. Meter is working intermittently. | No action taken. |
| 11/19 | PH2 collection channel electronic velocity meter. | Meter was not working and should register 1.5-4.0 fps. | Unknown. Meter is working intermittently. | No action taken. |

4.2. Sensor Calibration.  Water level sensors were checked for calibration on 19 November.

4.3. Avian Predation Status.  There are currently three avian lines down at PH1.

4.4. Zebra Mussel Monitoring.  The zebra mussel monitoring station was inspected and showed no signs of colonization this reporting week.

- CONSTRUCTION UPDATE.

5.1. Second Powerhouse DSM channel and flume continue to operate in automatic control.  Orifice 11AS remains closed because of poor flow characteristics.  Add-in water supply remains closed.  The outfall remains in low outfall bypass.  DSM screen cleaners are controlled automatically and cycle every three hours.

DEBORAH L. CHENOWETH

# Operations Project Manager