## SR
FISHWAY STATUS REPORT | [6 empty] | JOHN DAY DAM
Date: | 2011-01-18 | [7 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 01/09 thru 01/15/2011 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishway inspections once daily until March 1
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 7 | Temperature: |  | 39.5714 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 5.4286 | Ft.
NORTH FISHWAY |  |  |  |  | Dewatered on 12/2/10. Returning back to service at the end of January, 2011.
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir EW1 |  |  | 0 | depth (≥ 8')
Entrance weir EW2 |  |  | 0 | No criteria
SOUTH FISHWAY |  |  |  |  | Scheduled to be dewatered on 3 February, after JD North returns back to service.
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay | Set for MID forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.1714
Entrance weir SE1 |  |  | 0 | depth (≥ 8') | AVG | 8.4857
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | AVG
Bay 1 differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.6286
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.5714
Entrance weir NE1 |  |  | 0 | depth (≥ 8') | AVG | 8.8
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | AVG | 8.5
JUVENILE BYPASS |  |  |  |  | 1/3 JBS orifices open and rotated daily, 11/29/2010 thru last week in March 2011
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0' | AVG | 4.5857
Submersible traveling screens |  |  | 0 | visual inspect | All STSs were removed on 12/16 through 12/ 19. They will be reinstalled before 1 April
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly
Spill volume |  |  | 0 | per FPP | On Seal
Spill pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY |  |  | End of 2010 season's dewatering was on 11/29/10.
Operation: | OOS until the next year's passage season starting on 1 April 2011.
Maintenance:
3 and 2 way gates have been already fixed; NOAA engineers recommended the "slack" running belts for their improved performance.
2010 extended operation resulted in the SMF flushing water pipes and valves being frozen/ cracked. All damages will be repaired before 1 April.
SMF was not designed for freezing temperatures and we request FPOM permission to shut it down earlier next year, after November 15.
PSMFC electrical crew completed updates to the SMF control system, they will allow access to various sampling settings in real time over the internet
PMs activities are ongoing.
OTHER ISSUES:
JOHN DAY
Birds: | see bird tab
Contract with USDA Animal Control Unit is being processed for 2011 gull hazing coverage at JD tailrace to minimize predation on juvenile salmonids.
New construction: 15 kV tap's installation by contractor (for the North Ladder's future AWS pumps ) is almost complete.
JD Fisheries participating in JDN entrance improvements' design, surveys and inspections. Construction activities are planned of the next year.
BPA approved additional funding for completion of the JD South AWS turbine 3 rehab. Specific plans for this challenging job are formulated by the
Portland District's engineering team in coordination with JD Maintenance. ETR is March 2012.
Maintenance:
JD North fishway was dewatered for annual maintenance on 12/2 and its entrance on 12/8. It is scheduled to return back to service at the end of January.
JD North AWS conduit was dewatered on 1/5 with help of a rental submersible pump. Its laser survey by contractor was completed on 1/13.
Over 30 avian lines continue to be submerged at the JD tailrace BRZ. PM and Project Management were notified.
South Fishway's automation work on hold due to a temporary shortage of labor at JDE (Electrical) ; expected completion in approximately a month (?)
One out of six North AWS pumps is currently OOS due to the gear box failure. It won’t be repaired/ available during 2011 passage season; all six pumps
are scheduled for replacement the next year.
Calibration: Conducted on 12/17, all were within established limits.
Operations:
Only one adult fishway, JD South is in regular service and it is meeting all FPP criteria.
Good news ! North Ladder's CS crowder box window and auto cleaning brush fixes are completed.
After prolonged outage in 2010, the JD trashrack gentry is being repaired. It will be available for service before April as required by FPP.
STS camera device 's old video system failed beyond repair at the end of August '10 inspection. JDE(Electrical) is replacing it with brand new
cameras / hardware during this winter outage. RTS is April 2011.
All remaining fishways' passage equipment is working well and fully meeting FPP criteria.
Research:
ROV inspection of JD North entrance (from tailrace side) is scheduled for 1/20. District's Structural engineers need to confirm the concrete condition
for the next year construction activities; coffer dam is being considered there.
Planning for 2011 research activities is underway.
U of I continues with adult lamprey PIT detections and with adult salmonids radiotelemetry tracking at both JD ladders.
Approved by Jerry Carroll
Operation Project Manager
John Day Dam

## Birds
S2:No birds observed
S1: No birds observed
S3:4 cormorants
P4: NO birds observes
P3: 15 DCC, 10 gulls,
8 merganser
P2: No birds observed
P1: NO birds observed
S4: 25 gulls

## AVGS
John Day:
| Temp: |  | Secchi: |  | Fallbacks
Sun | 41 |  | 4
Mon | 41 |  | 5
Tues | 39 |  | 5
Wed | 39 |  | 6
Thur | 39 |  | 6
Fri | 39 |  | 6
Sat | 39 |  | 6
AVG: | 39.5714 | AVG: | 5.4286 | AVG | #DIV/0!
|  |  |  | MAX | 0
|  |  |  | MIN | 0
| NE1 | NE2 | S.Ent | SE1 | N.Ent | EW1 | JBS Diff | Bay1 | Bay19
Sun | 8.4 | 8.4 | 1.1 | 8.7 |  |  | 4.6 | 1.6 | 1.6
Sun
Mon | 8.9 | 8.6 | 1.2 | 8.3 |  |  | 4.6 | 1.6 | 1.6
Mon
Tues | 8.9 | 8.3 | 1.1 | 8.5 |  |  | 4.6 | 1.5 | 1.8
Tues
Wed | 9.4 | 9.2 | 1.2 | 8.4 |  |  | 4.6 | 1.6 | 1.5
Wed
Thur | 8.6 | 8.2 | 1.2 | 8.2 |  |  | 4.6 | 1.8 | 1.7
Thur
Fri | 8.6 | 8.4 | 1.2 | 8.6 |  |  | 4.5 | 1.6 | 1.5
Fri
Sat | 8.8 | 8.4 | 1.2 | 8.7 |  |  | 4.6 | 1.7 | 1.3
Sat
AVG: | 8.8 | 8.5 | 1.1714 | 8.4857 | #DIV/0! | #DIV/0! | 4.5857 | 1.6286 | 1.5714