## SR
FISHWAY STATUS REPORT | [7 empty] | JOHN DAY DAM
Date: | 2011-03-05 | [8 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 2/27 to 3/5/11 | [7 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishway inspections twice daily.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  |  | 11 | Temperature: |  | 38.4286 | F
|  |  | Out of Criteria | Limit | Comments |  |  |  | Secchi: | 5.5 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay | Set for HIGH forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.3818
Entrance weir EW1 |  |  | 0 | depth (≥ 8') | AVG | 9.0273
Entrance weir EW2 |  |  | 0 | No criteria | Weir closed
SOUTH FISHWAY |  |  |  |  | RTS 2/28/11
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay | Set for MID forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.3111
Entrance weir SE1 |  |  | 0 | depth (≥ 8') | AVG | 8.3889
Collection channel velocity |  |  | na | 1.5 - 4 fps | AVG | no data collected
Bay 1 differential |  |  | 1 | 1.0' - 2.0' | AVG | 1.5778
N.entrance PH(Bay 19)differential |  |  | 3 | 1.0' - 2.0' | AVG | 1.8556
Entrance weir NE1 |  |  | 7 | depth (≥ 8') | AVG | 7.7667 | TR written for NE1/NE2 calibration
Entrance weir NE2 |  |  | 8 | depth (≥ 8') | AVG | 6.6556
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | OOS | 4.0' - 5.0' | AVG | #DIV/0!
Submersible traveling screens |  |  | OOS | visual inspect
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | 2011-03-03
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly | 2011-03-03
Spill volume |  |  | 0 | per FPP
Spill pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | OOS until 3/31/11
Maintenance: Routine PM
OTHER ISSUES:
JOHN DAY
Birds: | see bird tab
Calibration: | 2011-03-05
Research:

## Birds
S2:none observed
S1: No birds observed
S3:none observed
P4: 6 gulls
P3: 11 cormorants
P2: none observed
P1: NO birds observed
S4: 10 gulls, 3 cormorants

## AVGS
John Day:
| Temp: |  | Secchi: |  | Fallbacks
Sun | 39 |  | 6
Mon | 39 |  | 6
Tues | 39 |  | 5.5
Wed | 38 |  | 5
Thur | 38 |  | 5
Fri | 38 |  | 5.5
Sat | 38 |  | 5.5
AVG: | 38.4286 | AVG: | 5.5 | AVG | #DIV/0!
|  |  |  | MAX | 0
|  |  |  | MIN | 0
| NE1 | NE2 | S.Ent | SE1 | N.Ent | EW1 | JBS Diff | Bay1 | Bay19
Sun | OOS | OOS | OOS | OOS | 1.4 | 8.8 | OOS | OOS | OOS
Sun | OOS | OOS | OOS | OOS |  |  | OOS | OOS | OOS
Mon | OOS | OOS | OOS | OOS | 1.4 | 8.6 | OOS | OOS | OOS
Mon | OOS | OOS | OOS | OOS |  |  | OOS | OOS | OOS
Tues | 7.9 | 4.8 | 1.4 | 8.7 | 1.4 | 8.8 | OOS | -0.5 | 0.6
Tues | 7.5 | 4.8 | 1.3 | 8.5 | 1.4 | 8.5 | OOS | 1.9 | 2.3
Wed | 7.9 | 4.9 | 1.4 | 8.5 | 1.4 | 8.8 | OOS | 1.9 | 2.5
Wed | [6 empty] | OOS
Thur | 8.6 | 8.3 | 1.3 | 8.4 | 1.4 | 9.3 | OOS | 1.7 | 1.3
Thur | 7.2 | 7.2 | 1.3 | 8 | 1.4 | 9.3 | OOS | 2 | 2
Fri | 8.2 | 7.7 | 1.1 | 8.6 | 1.5 | 9.5 | OOS | 1.7 | 2
Fri | 7.6 | 7.4 | 1.3 | 8.3 | 1.4 | 9.2 | OOS | 1.8 | 2
Sat | 7.7 | 7.5 | 1.3 | 8.4 | 1.4 | 9.2 | OOS | 1.7 | 2
Sat | 7.3 | 7.3 | 1.4 | 8.1 | 1.1 | 9.3 | OOS | 2 | 2
AVG: | 7.7667 | 6.6556 | 1.3111 | 8.3889 | 1.3818 | 9.0273 | #DIV/0! | 1.5778 | 1.8556