## SR
FISHWAY STATUS REPORT | [6 empty] | JOHN DAY DAM
Date: |  | 2013-03-10 | [6 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 03/03 thru 03/09/2013 | [6 empty] | P.O. Box 564
Rufus, Oregon 97050
Phone: 541-506-7860
Fishway inspected daily.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 40 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 5.2143 | Ft.
NORTH FISHWAY |  |  |  |  | Dewatered/ OOS since 11/5 |  | ETR is mid March 2013.
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | [5 empty] | `
Entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | #DIV/0!
SOUTH FISHWAY |  |  |  |  | Returned to service after winter maintenance on 2/12/13 PM.
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.3
Entrance weir SE1 |  |  | 0 | depth (≥ 8') | AVG | 9.5929
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | ft/sec | 3.2675
Bay 1 differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.7857
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.3
Entrance weir NE1 |  |  | 1 | depth (≥ 8') | AVG | 8.3857
Entrance weir NE2 |  |  | 1 | depth (≥ 8') | AVG | 8.3857
JUVENILE PASSAGE |  |  |  |  | JBS collection channel dewatered since 1/1012. ETR in mid March 2013.
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0' | AVG | na
Submersible traveling screens |  |  | 0 | visual inspect
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | No discrepancies.
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly | No discrepancies
Spill volume |  |  | 0 | per FPP
Spill pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | SMF OOS since 11/30/12. ETR is 3/28; the juvenile salmonids' daily sampling starting on 4/1/13.
JBS was regular service for the kelt migrants' protection through 12/15/12. All STSs were removed from gatewells by JD Structural crew by 12/20.
Debris: | NA
Maintenance: winter maintenance/PM activities continues.
SMF CCTV replacement is advancing; the original system installed in 1998 is barely usable and its components have been failing
frequently.
JDS repairing expansion joints in the elevated chute between the tainter gate and the PDS.
Research: None
OTHER ISSUES:
JOHN DAY
Birds: | See Avian tabs.
124 avian lines are properly installed; two are currently missing.
JDS re-installed broken line on 3/1.
Operations:
2013 adult fish passage season for adult salmonids began on 3/1.
JD North Fishway continues OOS; its entrance improvements' construction activities by Slayden underway. ETR is 3/12.
JD South fishway entrance weirs NE1 & NE2 failed to respond to the lowering tailwater. Both weirs were recorded at 7.8' on 3/6. 0.2' out of compliance.
Weirs were lowered manually to meet criteria. JDE was notified and the bottom set point was adjusted. The laddder has returned in FPP criteria.
JBS collection channel was dewatered on 1/10; ETR mid March. Sealing/repair to leaking expansion joints under way by JDS & JD Engineers
New construction:
Contractor / Construction Office are working on bringing of all 6 new JDN AWS pumps into service soon. ETR is mid March.
Slayden continues with the second year of JD North entrance improvements; all their work is on schedule. Entrance clearance released 3/8.
Two JD TSWs are undergoing installation by a contractor; they will be a permanent part of JD juvenile fish passage configuration.
JD South automated lamprey trap installation completed on 2/12/13. The trap's hoist will be installed outside of fishway in March.
JD North LPS installed at ladder entrance.
Maintenance:
JD North count station's crowder repaired and operable by JDM/JDE. JD South CS window completed; new limit switches were installed by JDE.
MU intake raking crane returned to service on 12/5/12.
STS winter maintenance by JD Mechanical crew is underway.
Gatewell draw down: OOS. ETR in late March 2013.
Calibration: | 2013-03-07 | All JD Fishways' PLCs/ water level sensors were within 0.3' margin of error.
JD Resources/JD Fisheries-- repaired/replaced JD North tailwater staff gauge on 2/25.
Research:
No fish research or fish counting taking place at JD since October 31.
JD South Counting Station' automated lamprey trap in-water installation complete on 2/12; the trap's hoist will be installed outside of fishway in March.
JD Fisheries involved in PDTs for JD South lamprey trap and in JD North LPS designs; the installations complete.
JD Fisheries involved in planning for winter maintenance/new equipment installations.

## TEMPS
River Temperature
Temp
Sun | 40
Mon | 39
Tues | 40
Wed | 40
Thur | 40
Fri | 40
Sat | 41

## Velocities
JDA COLLECTION CHANNEL VELOCITY
|  | Date | 2013-02-26
|  | By: | pete
| Bay(s) | Time | Sec. | Velocity (f/s)
| 0-2 | 0:01 | 85 | 2.1176
| 2 - 4 | 0:02 | 145 | 3
| 4 - 6 | 0:03 | 201 | 3.2143
| 6 - 8 | 0:04 | 256 | 3.2727
| 8 - 10 | 0:05 | 315 | 3.0508
| 10 - 12 | 0:06 | 372 | 3.1579
| 12 - 14 | 0:07 | 433 | 2.9508
| 14 - 16 | 0:08 | 491 | 3.1034
| 16 - 18 | 0:09 | 532 | 4.3902
3.2675

## Avian Numbers
Bird Count by Activity for week ending 3/09/2013
Date | Total Count | Mean Foraging Count | Mean Flyby Count | Mean Resting Count | Mean Scavenging Count
2013-03-03 | 26 | 10 | 0 | 16 | 0
2013-03-04 | 14 | 3 | 0 | 11 | 0
2013-03-05 | 9 | 3 | 0 | 6 | 0
2013-03-06 | 5 | 2 | 0 | 3 | 0
2013-03-07 | 19 | 4 | 0 | 15 | 0
2013-03-08 | 25 | 3 | 0 | 22 | 0
2013-03-09 | 9 | 0 | 0 | 9 | 0

## AVGS
John Day:
| Temp: |  | Secchi: |  | Fallbacks
Sun | 40 |  | 5 |  | na
Mon | 39 |  | 5 |  | na
Tues | 40 |  | 5 |  | na
Wed | 40 |  | 5.5 |  | na
Thur | 40 |  | 5 |  | na
Fri | 40 |  | 5.5 |  | na
Sat | 41 |  | 5.5 |  | na
AVG: | 40 | AVG: | 5.2143 | AVG | #DIV/0!
|  |  |  | MAX | #DIV/0!
|  |  |  | MIN | #DIV/0!
| NE1 | NE2 | S.Ent | SE1 | N.Ent | JBS Diff | Bay1 | Bay19
Sun | 8.7 | 8.7 | 1.3 | 10.2 | OOS | OOS | 1.8 | 1.4
Sun | 8.7 | 8.7 | 1.3 | 10.3 |  |  | 1.8 | 1.4
Mon | 8.5 | 8.5 | 1.2 | 9.4 | OOS | OOS | 1.9 | 1.4
Mon | 9 | 9 | 1.3 | 9.9 |  |  | 1.8 | 1.3
Tues | 8.5 | 8.5 | 1.3 | 9.4 | OOS | OOS | 1.9 | 1.5
Tues | 8 | 8 | 1.1 | 9.6 |  |  | 1.6 | 1
Wed | 8 | 8 | 1.2 | 9.6 | OOS | OOS | 1.6 | 1.1
Wed | 8.2 | 8.2 | 1.4 | 10 |  |  | 2 | 1.2
Thur | 7.8 | 7.8 | 1.3 | 10.7 | OOS | OOS | 1.7 | 1.5
Thur | 8.3 | 8.3 | 1.2 | 9.2 |  |  | 1.8 | 1.1
Fri | 8.1 | 8.1 | 1.4 | 9.1 | OOS | OOS | 1.8 | 1.4
Fri | 8.4 | 8.4 | 1.4 | 8.9 | OOS | OOS | 1.7 | 1.1
Sat | 8.5 | 8.5 | 1.5 | 8.9 | OOS | OOS | 1.9 | 1.5
Sat | 8.7 | 8.7 | 1.3 | 9.1 | OOS | OOS | 1.7 | 1.3
AVG: | 8.3857 | 8.3857 | 1.3 | 9.5929 | #DIV/0! | #DIV/0! | 1.7857 | 1.3