## SR
FISHWAY STATUS REPORT | [7 empty] | JOHN DAY DAM
Date: |  | 2012-04-08 | [7 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 4/1 thru 4/7/2012 | [7 empty] | P.O. Box 564
Rufus, Oregon 97050
Phone: 541-506-7860
Fishway inspections twice daily.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  |  | 14 | Temperature: |  | 45 | F
|  |  | Out of Criteria | Limit | Comments |  |  |  | Secchi: | 3.6429 | Ft.
NORTH FISHWAY |  |  |  |  | In regular service & meeting all FPP criteria since 3/30.
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay | Set for HIGH forebay (normal setting)
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.5857
Entrance weir EW1 |  |  | na | New Fixed | AVG | na
SOUTH FISHWAY |  |  |  |  | Orifice flow only 4/6-4/10; necessary outage of AWS for returning turbine 3 to service
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay | Set for MID forebay (normal setting)
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.19
Entrance weir SE1 |  |  | 0 | depth (≥ 8') | AVG | 8.37
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | AVG
Bay 1 differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.45
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.46
Entrance weir NE1 |  |  | 0 | depth (≥ 8') | AVG | 9.37
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | AVG | 9.37
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0' | AVG | 4.59
Submersible traveling screens |  |  | 0 | visual inspect | MU 5 operating unscreened until 4/7, then on forced outage through 4/9.
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly | No discrepancies
Spill volume |  |  | 0 | per FPP | Fish spill starting on 4/10 at 0001 hrs. Flood control spill underway since 3/25.
Spill pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 0 | per FPP | Line 1, MU 1-4 on BPA outage, 3/26 through 4/6.
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | JBS returned to regular service on 3/26. SMF in service since 3/29, sampling mode since 3/31. | [7 empty] | High debris loads observed already.
Maintenance: JD Electrical fine tuning the PDS screen cleaners' controls daily, 4/2-4/5, intermittent service
Research: Coordinating with PSMFC, PNNL and tribes for their 2012 fish sampling, collecting and marking activities at SMF.
Fallbacks | AVG | 14.2 | MAX | 19 |  | MIN | 11
OTHER ISSUES:
JOHN DAY
Birds: | see bird tab
JD tailrace BRZ Avian Lines repair and improvements' contract was completed in February. Out of 125 lines total, only two Powerhouse BRZ lines, at
bay 9 are missing and another one is askew, hooked on the avian canon at SMF outfall. All Spillway lines are properly installed.
Coordination for reinstallation of two missing Powerhouse lines is underway.
Operations:
Line 1 (MU 1-4) returned to service after a two weeks long outage as planned on 4/6. | [6 empty] | MU5 operated unscreened through 4/7, then on forced outage
through 4/9. STSs were installed at MU 5 on 4/9.
JD North fishway in full FPP compliance since 3/31; the new AWS pumps operated in Manual mode for a few days, Auto mode was activated on 4/2.
JD South fishway continues in regular service, with two AWS turbines operation. Its AWS outage started on 4/6 and it is scheduled to end on 4/9.
New construction:
JD North entrance improvements' winter construction was completed by a contractor (Slayden) as scheduled on 3/9. The four new AWS pumps
were also installed on time, and return to regular service, in Manual mode on 3/30. Kudos to Ms. Richards, PM for her excellent contract execution !
JD South fishway started its necessary/FPOM coordinated outage on 4/6, it continued as scheduled through 4/9. Then, JD Maintenance had difficulties
with the AWS penstock bulkhead's removal and the work to accomplish this tricky task continued through 4/10. More details next week.
Maintenance:
An ROV inspection of the JD South turbine 3 components occurred on 3/23, 1800-2200 hrs. It was necessary to survey its submerged discharge
bulkhead before it can be safely removed as part of returning of AWS turbine 3 to service in April. JD Structural provided crane and rigger support.
All JD STS were installed by 3/30; they are required in service by 1 April, by FPP. MU5 unscreened/on waver through 4/7.
Powerhouse Trashrack Crane/Rake's repairs by JD Maintenance completed on 3/30. Al trashracks and gatewells where cleaned and free of debris by
4/5 , which is only a slight delay from FPP requirement of 4/1. Kudos to JD Structural for their great debris removing support !
JD South Fishway Automation is in service and working properly.
Gatewell drawdown: Conducted on 4/4. No measurement exceed 1.0 ft.
Calibration:
Research:
Fish counter training took place at Bonneville on 2/21. Fish counting will commenced at both JD fishways, south and north on 4/1.
Avian predation training for JD Fisheries crew was provided by FFU staff on 3/29. It enhanced our abilities to properly monitor and report avian predation.
PNNL crew continuing with their powerhouse and spillway hydrophones' testing and training of personnel.
JD Fisheries team continues with conducting safety and security briefings for all new contract personnel slated to work at our project in 2012.

## FishCounts
John Day 2012
| South | North | South | North | South | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd
2012-04-01 | 0 | 0 | 0 | 0 | 36 | 76
2012-04-02 | 0 | 0 | 0 | 0 | 43 | 41
2012-04-03 | 0 | 0 | 0 | 0 | 30 | 15
2012-04-04 | 0 | 0 | 0 | 0 | 35 | 21
2012-04-05 | 1 | 0 | 0 | 0 | 19 | 14
2012-04-06 | 1 | 0 | 0 | 0 | 37 | 21
2012-04-07 | 1 | 1 | 0 | 0 | 46 | 23

## Birds
S2: No bird
observed
S1: No birds observed
S3:No bird observed
P4: 8 grebe
P3: No birds observed
P2: No bird
observed
P1: NO birds observed
S4 No bird observed

## AVGS
John Day:
| Temp: |  | Secchi: |  | Fallbacks
Sun | 48 |  | 4 |  | 19
Mon | 44 |  | 4
Tues | 44 |  | 4
Wed | 45 |  | 4.5 |  | 13
Thur | 45 |  | 3 |  | 11
Fri | 44 |  | 3 |  | 17
Sat | 45 |  | 3 |  | 11
AVG: | 45 | AVG: | 3.6429 | AVG | 14.2
|  |  |  | MAX | 19
|  |  |  | MIN | 11
| NE1 | NE2 | S.Ent | SE1 | N.Ent | EW1 | JBS Diff | Bay1 | Bay19
Sun | 9.7 | 9.7 | 1.2 | 8.6 | 1.6 |  | 4.6 | 1.4 | 1.4
Sun | 9.8 | 9.8 | 1.1 | 8.8 | 1.6 |  | 4.5 | 1.4 | 1.5
Mon | 9.8 | 9.8 | 1 | 8.7 | 1.6 |  | 4.6 | 1.3 | 1.5
Mon | 9.1 | 9.1 | 1.1 | 8 | 1.8 |  | 4.6 | 1.5 | 1.5
Tues | 9.2 | 9.2 | 1.2 | 8.4 | 1.6 |  | 4.5 | 1.4 | 1.5
Tues | 9.5 | 9.5 | 1.2 | 8.5 | 1.5 |  | 4.6 | 1.4 | 1.4
Wed | 9.5 | 9.5 | 1.2 | 8 | 1.6 |  | 4.6 | 1.5 | 1.4
Wed | 9 | 9 | 1.5 | 8 | 1.6 |  | 4.6 | 1.6 | 1.4
Thur | 8.8 | 8.8 | 1.2 | 8.1 | 1.5 |  | 4.7 | 1.5 | 1.4
Thur | 9.3 | 9.3 | 1.2 | 8.6 | 1.6 |  | 4.6 | 1.5 | 1.6
Fri |  |  |  |  | 1.5
Fri |  |  |  |  | 1.5
Sat |  |  |  |  | 1.6
Sat |  |  |  |  | 1.6
AVG: | 9.37 | 9.37 | 1.19 | 8.37 | 1.5857 | na | 4.59 | 1.45 | 1.46