## SR
FISHWAY STATUS REPORT | [6 empty] | JOHN DAY DAM
Date: | 2010-04-11 | [7 empty] | JD/WC Project-Fisheries
Inspection Period: 04/4 - 04/10/2010 | [8 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishway inspections twice daily.
John Day Dam |  | Inspections | Criteria | Total Number of Inspections: |  |  | 14 | Temperature: |  | 47.4286 | F
|  | Out of Criteria | Limit | Comments |  |  |  | Secchi: | 5.3571 | Ft.
NORTH FISHWAY |  |  |  | North fishway was back in service 4/9/10
Exit differential |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  | 0 | Per forebay | Set for forebay >263'
Count station differential |  | 0 | ≤ 0.3'
Weir crest depth |  | 0 | 1.0' ± 0.1'
Entrance differential |  | 0 | 1.0' - 2.0' | AVG | 1.4
Entrance weir EW1 |  | 0 | depth (≥ 8') | AVG | 8.2
Entrance weir EW2 |  | 0 | No criteria | Weir closed
SOUTH FISHWAY
Exit differential |  | 0 | ≤ 0.5'
Hydraulic weir positions |  | 0 | Per forebay | Set at mid forebay range
Count station differential |  | 0 | ≤ 0.3'
Weir crest depth |  | 0 | 1.0' ± 0.1'
South entrance differential |  | 1 | 1.0' - 2.0' | AVG | 1.1929 | Caused by low tailwater, short duration ?
Entrance weir SE1 |  | 1 | depth (≥ 8') | AVG | 8.4714 | Caused by low tailwater, short duration ?
Collection channel velocity |  | 0 | 1.5 - 4 fps | AVG
Bay 1 differential |  | 0 | 1.0' - 2.0' | AVG | 1.8071
N. Entrance PH(Bay 19)differential |  | 0 | 1.0' - 2.0' | AVG | 1.5571
Entrance weir NE1 |  | 3 | depth (≥ 8') | AVG | 8.5429 | Caused by low tailwater, short duration ?
Entrance weir NE2 |  | 3 | depth (≥ 8') | AVG | 8.4643 | Caused by low tailwater, short duration ?
JUVENILE PASSAGE
Forebay/bypass conduit differential |  | 0 | 4.0' - 5.0' | AVG | 4.5857
Submersible traveling screens |  | 0 | visual inspect | Monthly inspection schedule
Turbine trashrack drawdown |  | 0 | <1.5', wkly
Vert barrier screen drawdown |  | 0 | <1.5', wkly
Spill volume |  | 0 | 30%, 24 hrs | Fish spill season started on 4/10 at 0001 hrs.
Spill pattern |  | 0 | per FPP
Turbine Unit Priority |  | 0 | per FPP
Turbine 1% Efficiency |  | 0 | per FPP
SMOLT MONITORING FACILITY
Juvenile passage season started on 1 April.
SMF was watered up on 30 March, AM; first fish sample by PSMFC on 4/1. It will remain in sampling mode through 15 September.
Operation: | Winter maintenance season ended on 3/29. 24 hrs /7 days biotech coverage started on 3/31.
All gatewell orifices are open and working properly.
Maintenance:
JDM planning for repainting of faded AWS and drainage pipes in summer (contract.)
All SMF equipment in service and working properly.
Research: PNNL and Kintama setting up their fish collection and tagging system. First collection on 4/26.
OTHER ISSUES:
JOHN DAY
Birds: | No birds yet
Avian lines grid's phase 2 construction was completed on 4/9. All 128 primary lines have been already installed but two broke.
FFU Avian study/observations are starting on 4/12. They have 5 interns which will be monitoring the avian presence and avian lines' effectiveness.
New construction: JD North ladder's counting station and control weirs' contract was completed on 4/8. Final water up was on 4/8 PM.
Spillway bay 20 flow deflector completed on 3/25. JDS removed bulkheads on 4/2.
Maintenance:
South fish turbine # 3 rehab - new plan is under discussion with some internal coordination by JDM underway. Expected contract award this April.
New ETR is March 2011.
Fishways' automation design is in the planning stage with installation activities by JDE (Electrical) starting as soon as all ordered parts are received.
Calibration: Conducted on 4/10. All parameters were within established criteria.
Operations:
South and North fishways are both in regular service; North has been meeting all FPP criteria since 4/9, PM.
Fish spill season started on 4/10 at 0001 hrs without two TSWs. Then it was shut down completely from 0700 hrs to 1700 hrs for avian lines installation.
Two TSWs were opened up by JDS at approximately 1800 hrs.
All MUs intake trashracks were raked in preparation for fish passage season 3/15-20.
STS camera device without the VBS capability. JDE(Electrical) will be replacing video system with brand new hardware for 2010 season soon.
All remaining fishways' passage equipment is working well and fully meeting FPP criteria.
Research:
Planning and coordinating with contractors for 2010 research season continues.; Kintama fish collection/ tagging at SMF is a new addition.
Normandeau JD bay 20 flow deflector post-construction biological evaluations is scheduled for completion on 4/11-12. Release pipe will be removed
from bay 20 on Tuesday, 4/13. No project support required outside of safe clearance (MZ.)
PNNL crew completed spillway hydrophones already. All 8 forebay clusters were installed by 4/9. Power hydrophones will be installed next, 4/12- 19.
First fish releases are planned to occur on 4/28. No project support required outside of safe clearance (MZ.)
University of Idaho telemetry crew completed installation of lamprey PIT half-duplex antennas. Additionally, they are reinstalling radio telemetry
antennas at both fishways for 2010 adult salmon tracking.
Approved by; Jerry Carroll
Operation Project Manager
John Day Dam

## FishCounts
| South | North | South | North | South | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd
2010-04-01 | 48 | OOS | 0 | OOS | 126 | OOS
2010-04-02 | 10 | OOS | 0 | OOS | 61 | OOS
2010-04-03 | 43 | OOS | 0 | OOS | 138 | OOS

## Birds
S2:
S1:
S3:
P4:
P3:
P2:
P1:
S4:

## AVGS
John Day:
| Temp: |  | Secchi: |  | Fallbacks
Sun | 48 |  | 5 |  | 19
Mon | 48 |  | 5.5 |  | 26
Tues | 48 |  | 5 |  | 20
Wed | 47 |  | 5.5 |  | 18
Thur | 47 |  | 5.5 |  | 10
Fri | 47 |  | 5.5 |  | 25
Sat | 47 |  | 5.5 |  | 21
AVG: | 47.4286 | AVG: | 5.3571 | AVG | 19.8571
|  |  |  | MAX | 26
|  |  |  | MIN | 10
| N.Ent | EW1 | S.Ent | SE1 | Bay1 | Bay19 | NE1 | NE2 | JBS Diff
Sun |  |  | 1 | 8.7 | 2 | 1.5 | 8.6 | 8.6 | 4.5
Sun |  |  | 1.2 | 8 | 1.8 | 1.5 | 7.6 | 7.6 | 4.5
Mon |  |  | 2.1 | 7.9 | 2 | 2 | 7.2 | 7.2 | 4.6
Mon |  |  | 1.2 | 7.8 | 2 | 1.9 | 7.2 | 7.2 | 4.6
Tues |  |  | 1.1 | 8.6 | 2 | 1.6 | 8.4 | 8.4 | 4.6
Tues |  |  | 1.3 | 8.2 | 2 | 1.6 | 8.2 | 8.2 | 4.6
Wed |  |  | 1.2 | 8.6 | 1.9 | 1.5 | 8.8 | 8.8 | 4.6
Wed |  |  | 1.1 | 10 | 1.5 | 1.4 | 9.3 | 9 | 4.6
Thur |  |  | 1 | 8.4 | 1.7 | 1.6 | 8.8 | 8.8 | 4.6
Thur |  |  | 1.1 | 8.3 | 1.8 | 1.5 | 8.8 | 8.8 | 4.6
Fri | 1.4 | 8.1 | 1.1 | 8.4 | 1.7 | 1.4 | 8.9 | 8.9 | 4.6
Fri | 1.4 | 8 | 1.1 | 8.4 | 1.7 | 1.5 | 8.8 | 8.9 | 4.6
Sat | 1.4 | 8.3 | 1.1 | 8.8 | 1.5 | 1.3 | 9.4 | 8.9 | 4.6
Sat | 1.4 | 8.4 | 1.1 | 8.5 | 1.7 | 1.5 | 9.6 | 9.2 | 4.6
AVG: | 1.4 | 8.2 | 1.1929 | 8.4714 | 1.8071 | 1.5571 | 8.5429 | 8.4643 | 4.5857