## SR
FISHWAY STATUS REPORT | [5 empty] | JOHN DAY DAM
Date: | 2009-04-18 | [6 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 04/12-04/18/2009 | [5 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishway inspections twice daily.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: | 14 | Temperature: |  | 47.7 | F
|  |  | Out of Criteria | Limit | Comments |  | Secchi: | 3.6 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  |  | 0 | Per forebay | Set for forebay >263'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir EW1 |  |  | 0 | depth (≥ 8')
Entrance weir EW2 |  |  |  |  | Weir closed
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Hydraulic weir positions |  |  | 0 | Per forebay | Set at mid forebay range
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir SE1 |  |  | 0 | depth (≥ 8')
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | Average velocity 2.2 fps. For more complete velocities, see tab below.
Bay 1 differential |  |  | 0 | 1.0' - 2.0'
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0'
Entrance weir NE1 |  |  | 0 | depth (≥ 8')
Entrance weir NE2 |  |  | 0 | depth (≥ 8')
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0'
Submersible traveling screens |  |  | 0 | visual inspect | Monthly inspection schedule
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | 4/16 All in criteria
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly | 4/16 All in criteria
Spill volume |  |  | 0 | 30%/40 % | Spill started 10 April. Volume varies between 30 and 40 % according to experimental block design.
Spill pattern |  |  | 0 | per FPP | Special spill pattern for the TSW in bays 15 and 16.
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | The Smolt Monitoring Facility was watered up on 3/30/2009 at 1711 in bypass mode and switched to sample mode at 0645 on 3/31/09
SMF will be manned 24/7(one biotech there all the time) during the main sampling season until 15 September; full flow PIT tag detection mode
afterwards until 1 December.
Three-way rotating gate OOS for several hours on 4/18 because a stick was preventing it from rotating; the first occurrence since SMF came on line
in 1998! The debris loads have been low so it is difficult to understand why it happened now (?)
Maintenance:
Three-way rotating gate OOS for 73 minutes on 4/16 for the diverting pipe's realignment by JDM (Mechanical.) This short outage had been coordinated
with the PSMFC bios to minimize impact on their sampling.
FDS Adult Fall-back counts: |  | Min=30, Max=56, Ave=43
OTHER ISSUES:
JOHN DAY
Birds: | Up to 16 grebes in powerhouse forebay.
New avian lines grid was completed in the tailrace BRZ by a contractor on 4/8 but some of critical lines to the downstream Navlock wing wall could not
be implemented due to the project's minimum elevations criteria of 20 feet. The design of a better grid will continue and it will be based on this year's
performance observations by FFU.
USDA avian hazing will commence on 1 May and USDA pikeminnow angling will start on 15 May. Fisheries coordinating safety and security issues.
Operations: STS/VBS camera inspection scheduled for this week could not be accomplished due to the camera device's failure. JDE (Electrical)
is having serious difficulties to repair since this equipment is old/outdated with many components no longer available for procurement.
Calibration: 04/17 - All in criteria.
Project fisheries is participating in the North fishladder improvements' studies by reviewing proposals/designs. The control section is slated to be
modified / contracted out during the upcoming in-water season, November '09- March '10. The entrance section mods are at the DDR stage
with the new AWS pumps upgrades slated for implementation approximately during FY '10-'12.
Research: University of Idaho lamprey PIT tag detection antenna maintenance completed; system ready to detect passing adult fish.
Battelle's crews continue with spillway and powerhouse hydrophones installation for their '09 TSW evaluations starting on 25 April.
Specifically, they are installing the new/permanent cable trays which are required by the project safety rules for any extensive cable routing.
The spring component of Battelle's study is to be completed in late May and then summer evaluations are planned for mid June to mid July.
Cramer Associates and Columbia River Inter-Tribal Fish Commission (CRITFC) coordinating for an installation of underwater video cameras at the
north counting station to monitor the adult lamprey passage. The study will attempt to determine what proportion of adult lampreys are passing
through count window and through picketed leads.
Approved by Glen Smith, OPM, John Day Dam

## FishCounts
| South | North | South | North | South | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd
2009-04-12 | 18 | 1 | 0 | 1 | 79 | 54
2009-04-13 | 13 | 0 | 0 | 0 | 52 | 123
2009-04-14 | 7 | -6 | 0 | 0 | 71 | 86
2009-04-15 | 20 | 5 | 0 | 0 | 71 | 109
2009-04-16 | 26 | 0 | 0 | 0 | 72 | 63
2009-04-17 | 19 | 6 | 0 | 0 | 46 | 58
2009-04-18 | 7 | 0 | 0 | 1 | 38 | 109

## Velocities
[5 empty] | 2009-01-15 | 2009-01-29 | 2009-02-11 | 2009-02-18 | 2009-03-02 | 2009-03-05 | 2009-03-10 | 2009-03-12 | 2009-03-16 | 2009-03-19 | 2009-03-23 | 2009-03-25 | 2009-03-31 | 2009-04-02 | 2009-04-07 | 2009-04-10 | 2009-04-14
The Dalles Collection Channel
Bay(s) | Enter time |  | Seconds | Velocity (f/s)
Bay 1 | 0:14 | 860 | 36 | 2.4111 | 2.0186 | 2.17 | 2.5529 | 2.5529 | 2.8933 | 2.0186 | 2.4111 | 2.8933 | 2.4111 | 2.7125 | 2.17 | 2.9931 | 2.6303 | 2.7125 | 2.7125 | 2.3459 | 2.4111
Bay 2 | 0:14 | 824 | 33 | 2.6303 | 2.0186 | 2.1171 | 2.7125 | 2.5529 | 2.9931 | 2.17 | 2.8 | 2.17 | 2.8 | 1.8468 | 2.0667 | 2.6303 | 2.5529 | 1.9727 | 2.4111 | 2.4111 | 2.6303
Bay 3 | 0:13 | 791 | 43 | 2.0186 | 2.17 | 1.9727 | 2.4111 | 2.1171 | 3.2148 | 2.48 | 2.3459 | 2.5529 | 2.5529 | 2.2256 | 2.1171 | 2.7125 | 2.8933 | 2.8 | 2.7125 | 2.6303 | 2.0186
Bay 4 | 0:12 | 748 | 38 | 2.2842 | 1.9727 | 1.8083 | 1.887 | 2.6303 | 2.8 | 2.7125 | 2.2842 | 2.4111 | 2.1171 | 2.5529 | 2.17 | 2.5529 | 2.3459 | 2.8 | 2.7125 | 2.6303 | 2.2842
Bay 5 | 0:12 | 710 | 40 | 2.17 | 1.887 | 1.4467 | 1.8468 | 2.5529 | 2.2842 | 2.2842 | 2.3459 | 1.887 | 1.6074 | 2.0667 | 1.9727 | 1.887 | 1.9727 | 2.5529 | 2.17 | 2.48 | 2.17
Bay 6 | 0:11 | 670 | 47 | 1.8468 | 1.8083 | 1.55 | 1.7714 | 2.7125 | 2.0186 | 2.2842 | 2.0186 | 2.3459 | 1.8468 | 2.0667 | 1.9727 | 2.17 | 1.9727 | 2.48 | 1.9289 | 2.48 | 1.8468
Bay 7 | 0:10 | 623 | 38 | 2.2842 | 1.8468 | 1.6377 | 2.48 | 2.48 | 2.3459 | 2.17 | 2.1171 | 2.8933 | 2.0186 | 2.3459 | 2.3459 | 2.8933 | 2.5529 | 2.3459 | 2.6303 | 2.2842 | 2.2842
Bay 8 | 0:10 | 585 | 51 | 1.702 | 1.736 | 1.887 | 2.2842 | 2.6303 | 2.7125 | 2.0667 | 2.0186 | 2.48 | 2.3459 | 2.6303 | 2.48 | 2.3459 | 2.48 | 2.48 | 2.48 | 2.5529 | 1.702
SS | 0:09 | 534 | 40 | 2.17 | 1.5228 | 1.9727 | 1.887 | 1.9727 | 2.5529 | 1.887 | 1.9727 | 2.2842 | 2.1171 | 2.0186 | 0.98636 | 1.9727 | 2.4111 | 1.887 | 1.9289 | 1.702 | 2.17
Bay 9 | 0:08 | 494 | 38 | 2.2842 | 1.8468 | 1.7714 | 2.0186 | 2.5529 | 2.3459 | 1.9727 | 2.48 | 2.17 | 1.887 | 2.48 | 1.702 | 1.8468 | 2.4111 | 2.1171 | 2.17 | 1.9289 | 2.2842
Bay 10 | 0:08 | 456 | 36 | 2.4111 | 1.6074 | 2.1171 | 2.4111 | 2.7125 | 2.8933 | 1.8083 | 1.9727 | 2.3459 | 2.0667 | 2.0667 | 2.1171 | 2.8933 | 2.48 | 2.2842 | 2.8 | 2.3459 | 2.4111
Bay 11 | 0:07 | 420 | 36 | 2.4111 | 1.7714 | 1.8468 | 2.2256 | 2.48 | 2.5529 | 2.2256 | 2.1171 | 2.2842 | 2.48 | 2.3459 | 2.2256 | 2.2256 | 2.3459 | 2.2842 | 2.7125 | 2.0667 | 2.4111
Bay 12 | 0:06 | 384 | 43 | 2.0186 | 1.6692 | 2.0667 | 1.887 | 2.2842 | 2.2256 | 2.2842 | 2.1171 | 2.2256 | 2.2256 | 2.4111 | 1.736 | 2.8 | 1.6377 | 2.6303 | 2.6303 | 1.9727 | 2.0186
Bay 13 | 0:06 | 341 | 39 | 2.2256 | 1.8468 | 2.1171 | 1.702 | 2.6303 | 2.2842 | 2.2256 | 2.2842 | 2.2842 | 2.17 | 2.48 | 2.17 | 2.8 | 2.3459 | 2.5529 | 2.48 | 2.1171 | 2.2256
Bay 14 | 0:05 | 302 | 41 | 2.1171 | 2.17 | 1.9289 | 2.3459 | 2.6303 | 2.6303 | 1.7714 | 2.0186 | 2.3459 | 2.2256 | 2.3459 | 1.8468 | 2.3459 | 2.6303 | 2.0667 | 2.6303 | 2.3459 | 2.1171
Bay 15 | 0:04 | 261 | 40 | 2.17 | 2.0667 | 2.0186 | 2.48 | 2.8933 | 1.9727 | 2.0667 | 2.1171 | 2.2256 | 2.5529 | 2.48 | 1.8083 | 2.2842 | 2.6303 | 2.5529 | 2.4111 | 2.4111 | 2.17
Bay 16 | 0:04 | 221 | 38 | 2.2842 | 2.0186 | 2.0186 | 2.3459 | 2.6303 | 1.887 | 2.3459 | 2.17 | 2.2842 | 2.3459 | 2.5529 | 1.736 | 2.0667 | 2.3459 | 2.48 | 1.6692 | 2.3459 | 2.2842
Bay 17 | 0:03 | 183 | 38 | 2.2842 | 2.17 | 2.0186 | 2.0186 | 2.7125 | 1.8468 | 2.1171 | 1.9289 | 2.3459 | 2.3459 | 2.5529 | 1.9727 | 2.48 | 2.2256 | 2.17 | 2.4111 | 2.1171 | 2.2842
Bay 18 | 0:02 | 145 | 39 | 2.2256 | 2.1171 | 2.1171 | 2.0667 | 2.5529 | 2.3459 | 1.9727 | 2.1171 | 2.48 | 1.9727 | 2.4111 | 2.2256 | 2.2842 | 2.17 | 2.2842 | 2.7125 | 1.887 | 2.2256
Bay 19 | 0:02 | 106 | 39 | 2.2256 | 1.9289 | 1.9727 | 1.9727 | 2.17 | 2.2842 | 1.9727 | 2.0667 | 2.1171 | 2.2256 | 2.48 | 1.8468 | 2.2842 | 2.0667 | 2.4111 | 2.48 | 1.9289 | 2.2256
Bay 20 | 0:01 | 67 | 36 | 2.4111 | 1.9289 | 2.0667 | 2.2842 | 2.8 | 2.2842 | 2.0667 | 2.0667 | 2.2256 | 2.2256 | 2.17 | 1.9727 | 2.3459 | 1.9289 | 2.48 | 2.48 | 2.17 | 2.4111
Bay 21 | 0:01 | 31 | 31 | 2.8 | 1.8468 | 2.17 | 2.5529 | 2.6303 | 2.7125 | 2.3459 | 2.5529 | 2.9931 | 2.7125 | 2.4111 | 2.8 | 2.5529 | 2.6303 | 2.3459 | 2.8933 | 2.1171 | 2.8
Average |  |  |  | 2.2448 | 1.9077 | 1.9451 | 2.1884 | 2.5401 | 2.4582 | 2.1477 | 2.1965 | 2.3748 | 2.2388 | 2.3479 | 2.0201 | 2.4258 | 2.3482 | 2.395 | 2.4621 | 2.2396 | 2.2448
The Dalles Transportation Channel
Bay#'s | Enter time |  | Seconds | Velocity (f/s)
Bay 1 | 0:12 | 744 | 34 | 2.5529 | 2009-01-15: 1.5228; 2009-01-29: 1.8468; 2009-02-11: 2.9931; 2009-03-02: 2.8; 2009-03-10: 2.8; 2009-03-16: 2.5529
Bay 2 | 0:12 | 710 | 32 | 2.7125 | 2009-01-15: 1.4966; 2009-01-29: 1.8083; 2009-02-11: 3.1; 2009-03-02: 2.8933; 2009-03-10: 2.5529; 2009-03-16: 2.7125
Bay 3 | 0:11 | 678 | 30 | 2.8933 | 2009-01-15: 1.4966; 2009-01-29: 1.8083; 2009-02-11: 3.1; 2009-03-02: 2.8; 2009-03-10: 2.8; 2009-03-16: 2.8933
Bay 4 | 0:11 | 648 | 34 | 2.5529 | 2009-01-15: 1.6074; 2009-01-29: 1.9289; 2009-02-11: 2.8933; 2009-03-02: 2.8; 2009-03-10: 2.6303; 2009-03-16: 2.5529
Bay 5 | 0:10 | 614 | 31 | 2.8 | 2009-01-15: 1.6692; 2009-01-29: 1.7714; 2009-02-11: 2.9931; 2009-03-02: 2.8; 2009-03-10: 2.48; 2009-03-16: 2.8
Bay 6 | 0:10 | 583 | 34 | 2.5529 | 2009-01-15: 1.6692; 2009-01-29: 1.702; 2009-02-11: 2.8; 2009-03-02: 2.8; 2009-03-10: 2.3459; 2009-03-16: 2.5529
Bay 7 | 0:09 | 549 | 33 | 2.6303 | 2009-01-15: 1.6692; 2009-01-29: 1.702; 2009-02-11: 2.8933; 2009-03-02: 2.7125; 2009-03-10: 2.3459; 2009-03-16: 2.6303
Bay 8 | 0:09 | 516 | 36 | 2.4111 | 2009-01-15: 1.6074; 2009-01-29: 1.6074; 2009-02-11: 2.8; 2009-03-02: 2.5529; 2009-03-10: 2.2842; 2009-03-16: 2.4111
SS | 0:08 | 480 | 31 | 2.8 | 2009-01-15: 1.4966; 2009-01-29: 1.3778; 2009-02-11: 2.8; 2009-03-02: 2.5529; 2009-03-10: 2.5529; 2009-03-16: 2.8
Bay 9 | 0:07 | 449 | 32 | 2.7125 | 2009-01-15: 1.55; 2009-01-29: 1.6692; 2009-02-11: 2.8933; 2009-03-02: 2.9931; 2009-03-10: 2.5529; 2009-03-16: 2.7125
Bay 10 | 0:07 | 417 | 35 | 2.48 | 2009-01-15: 1.5782; 2009-01-29: 1.702; 2009-02-11: 2.7125; 2009-03-02: 2.5529; 2009-03-10: 2.3459; 2009-03-16: 2.48
Bay 11 | 0:06 | 382 | 36 | 2.4111 | 2009-01-15: 1.55; 2009-01-29: 1.8083; 2009-02-11: 2.9931; 2009-03-02: 2.2256; 2009-03-10: 2.5529; 2009-03-16: 2.4111
Bay 12 | 0:06 | 346 | 33 | 2.6303 | 2009-01-15: 1.55; 2009-01-29: 1.9289; 2009-02-11: 2.9931; 2009-03-02: 2.4111; 2009-03-10: 2.3459; 2009-03-16: 2.6303
Bay 13 | 0:05 | 313 | 36 | 2.4111 | 2009-01-15: 1.6074; 2009-01-29: 1.7714; 2009-02-11: 2.8933; 2009-03-02: 2.17; 2009-03-10: 2.2256; 2009-03-16: 2.4111
Bay 14 | 0:05 | 277 | 35 | 2.48 | 2009-01-15: 1.4966; 2009-01-29: 1.7714; 2009-02-11: 2.8; 2009-03-02: 2.1171; 2009-03-10: 2.48; 2009-03-16: 2.48
Bay 15 | 0:04 | 242 | 35 | 2.48 | 2009-01-15: 1.4966; 2009-01-29: 1.7714; 2009-02-11: 2.8; 2009-03-02: 2.17; 2009-03-10: 2.2256; 2009-03-16: 2.48
Bay 16 | 0:03 | 207 | 35 | 2.48 | 2009-01-15: 1.4; 2009-01-29: 1.702; 2009-02-11: 2.7125; 2009-03-02: 2.2256; 2009-03-10: 2.0667; 2009-03-16: 2.48
Bay 17 | 0:03 | 172 | 36 | 2.4111 | 2009-01-15: 1.6074; 2009-01-29: 1.702; 2009-02-11: 2.6303; 2009-03-02: 2.4111; 2009-03-10: 2.48; 2009-03-16: 2.4111
Bay 18 | 0:02 | 136 | 32 | 2.7125 | 2009-01-15: 1.4467; 2009-01-29: 1.736; 2009-02-11: 2.8; 2009-03-02: 2.3459; 2009-03-10: 2.5529; 2009-03-16: 2.7125
Bay 19 | 0:02 | 104 | 35 | 2.48 | 2009-01-15: 1.3778; 2009-01-29: 1.8468; 2009-02-11: 2.7125; 2009-03-02: 2.4111; 2009-03-10: 2.3459; 2009-03-16: 2.48
Bay 20 | 0:01 | 69 | 33 | 2.6303 | 2009-01-15: 1.4712; 2009-01-29: 1.6074; 2009-02-11: 2.5529; 2009-03-02: 2.3459; 2009-03-10: 2.17; 2009-03-16: 2.6303
Bay 21 | 0:01 | 36 | 36 | 2.4111 | 2009-01-15: 1.258; 2009-01-29: 1.8083; 2009-02-11: 2.8; 2009-03-02: 2.3459; 2009-03-10: 2.4111; 2009-03-16: 2.4111
Average |  |  |  | 2.5744 | 2009-01-15: 1.5284; 2009-01-29: 1.7445; 2009-02-11: 2.8485; 2009-03-02: 2.5199; 2009-03-10: 2.434; 2009-03-16: 2.5744
Average | 0:12 | 708 | 708 | 2.6972 | 2009-03-23: 2.4577; 2009-03-31: 2.5126; 2009-04-07: 2.6972
The Dalles North entrance
d/s of PUD bridge to start of 180 bend
Distance | Enter time | Seconds |  | Velocity (f/s)
156' | 0:01 | 60 |  | 2.6 | 2009-01-15: dewatered; 2009-01-29: dewatered; 2009-02-11: 2.5161; 2009-02-18: 2.4375; 2009-03-02: 2.2286; 2009-03-10: 2.4; 2009-03-16: 2.4; 2009-03-23: 2.3636; 2009-03-31: 2.6; 2009-04-07: 2.6
Tailwater
The Dalles South Rock Channel
d/s edge of sluice brdg. to u/s edge of Westrick brdg.
Distance | Enter time | Seconds |  | Velocity (f/s)
570' | 0:03 | 175 |  | 3.2571 | 2009-01-15: 1.8874; 2009-01-29: 2.2008; 2009-02-11: 3.314; 2009-02-18: 3.3529; 2009-03-02: 3.3333; 2009-03-10: 3.1319; 2009-03-16: 3.1667; 2009-03-23: 3.1319; 2009-03-31: 2.9534; 2009-04-07: 3.2571
Tailwater
The Dalles South Rock Channel
d/s edge of sluice bridge to u/s edge of s. ent. deck
(cannot float lower half at high TW due to support)
Distance | Enter time | Seconds |  | Velocity (f/s)
1480' | 0:07 | 446 |  | 3.3184 | 2009-01-15: N/A; 2009-01-29: N/A; 2009-02-11: 3.6098; 2009-03-02: 3.4579; 2009-03-10: 3.311; 2009-03-16: 3.3184; 2009-03-23: N/A; 2009-03-31: N/A; 2009-04-07: N/A
Tailwater
John Day Collection Channel
| Enter time |  | Seconds | Velocity (f/s)
Bay 1&2 | 0:02 | 94 | 94 | 1.9149 | 1.7143 | 2.0225 | 1.5929 |  | 1.5385 | 1.6071 | 1.6364 | 1.6364 | 1.4634 | 1.4876 | 1.6364 | 1.5929 | 1.6822 | 1.5 | 2.0225 | 1.7143 | 1.9149
Bay 3&4 | 0:03 | 164 | 70 | 2.5714 | 2.7692 | 2.093 | 2.6866 |  | 2.3077 | 2.3684 | 2.4658 | 2.5714 | 2.5 | 2.5 | 2.5714 | 2.2785 | 2.4658 | 2.3684 | 2.9032 | 2.3684 | 2.5714
Bay 5&6 | 0:04 | 232 | 68 | 2.6471 | 2.1687 | 2.3377 | 2.4 |  | 2.4 | 2.25 | 2.25 | 2.7273 | 2.25 | 2.5352 | 2.5714 | 2.4324 | 2.5 | 2.4 | 2.7273 | 2.6087 | 2.6471
Bay 7&8 | 0:05 | 304 | 72 | 2.5 | 2.3077 | 2.2222 | 2.2785 |  | 2.5352 | 2.3377 | 2.0455 | 2.4658 | 2.1429 | 2.6866 | 2.7273 | 2.4 | 2.3377 | 2.3684 | 2.4658 | 2.6471 | 2.5
Bay 9&10 | 0:06 | 369 | 65 | 2.7692 | 2.4 | 2.1951 | 2.3377 |  | 2.7273 | 2.25 | 2.3377 | 2.5 | 2.25 | 2.4324 | 2.3377 | 2.5 | 2.5352 | 2.4658 | 2.5352 | 2.5714 | 2.7692
Bay 11&12 | 0:07 | 439 | 70 | 2.5714 | 2.5 | 2.3684 | 2.4324 |  | 2.4 | 2.2785 | 2.5352 | 2.4 | 2.1687 | 2.3377 | 2.5352 | 2.6087 | 2.5714 | 2.6471 | 2.5714 | 2.5 | 2.5714
Bay 13&14 | 0:09 | 517 | 78 | 2.3077 | 2.25 | 2.1429 | 2.3377 |  | 2.4324 | 2.093 | 2.25 | 2.2785 | 1.9355 | 2.2222 | 2.0225 | 2.3684 | 2.1687 | 2.25 | 2.4658 | 2.5 | 2.3077
Bay 15&16 | 0:10 | 584 | 67 | 2.6866 | 2.4658 | 2.25 | 2.0455 |  | 2.5714 | 2.2785 | 2.5352 | 2.4658 | 2.3684 | 2.4658 | 2.2785 | 2.3377 | 2.4324 | 2.3684 | 2.3684 | 2.4 | 2.6866
Bay 17&18 | 0:11 | 635 | 51 | 3.5294 | 3.5294 | 3.5294 | 3.5294 |  | 3.75 | 3.8298 | 3.6735 | 3.5294 | 3.2143 | 3.2143 | 3.4615 | 3.6735 | 3.3962 | 3.75 | 3.6 | 3.4615 | 3.5294
|  | Average |  | 2.6109 | 2.4561 | 2.3512 | 2.4045 |  | 2.5181 | 2.3659 | 2.4143 | 2.5083 | 2.2548 | 2.4313 | 2.4602 | 2.4658 | 2.4544 | 2.4576 | 2.6288 | 2.5302 | 2.6109
John Day South Entrance
Distance | Enter time | Seconds |  | Velocity (f/s)
49' | 0:00 | 9 |  | 5.4444 | 2009-01-15: 7; 2009-01-29: 4.9; 2009-02-11: 6.125; 2009-03-02: 6.125; 2009-03-10: 6.125; 2009-03-16: 6.125; 2009-03-23: 5.4444; 2009-03-31: 6.125; 2009-04-07: 5.4444
John Day North Entrance
Lowest weir to start of deck 180 curve
Distance | Enter Time | Seconds |  | Velocity ((f/s)
139' | 0:01 | 59 |  | 2.3559 | 2009-01-15: dewatered; 2009-01-29: dewatered; 2009-02-11: dewatered; 2009-03-02: 2.3966; 2009-03-10: 2.3559; 2009-03-16: 2.1061; 2009-03-23: 2.3167; 2009-03-31: 2.1385; 2009-04-07: 2.3559
Comments
[5 empty] | 2009-03-23: Averages |  |  | TD's CC | [22 empty] | JD's CC
[5 empty] | 2009-03-23: Date; 2009-03-25: The Dalles Collection Channel; 2009-03-31: The Dalles Transportation Channel; 2009-04-02: The Dalles North Entrance; 2009-04-07: The Dalles South Rock Channel; 2009-04-10: Date; 2009-04-14: John Day Collection Channel | John Day South Entrance | John Day North Entrance | Date | Bay 1 | Bay 2 | Bay 3 | Bay 4 | Bay 5 | Bay 6 | Bay 7 | Bay 8 | SS | Bay 9 | Bay 10 | Bay 11 | Bay 12 | Bay 13 | Bay 14 | Bay 15 | Bay 16 | Bay 17 | Bay 18 | Bay 19 | Bay 20 | Bay 21 | Date | Bay 1 & 2 | Bay 3 & 4 | Bay 5 & 6 | Bay 7 & 8 | Bay 9 & 10 | Bay 11 & 12 | Bay 13 & 14 | Bay 15 & 16 | Bay 17 & 18
[5 empty] | 2009-03-23: 2009-01-15; 2009-03-25: 1.9077; 2009-03-31: 1.5284; 2009-04-07: 1.8874; 2009-04-10: 2009-01-15; 2009-04-14: 2.4561 | 7 |  | 2009-01-15 | 2.0186 | 2.0186 | 2.17 | 1.9727 | 1.887 | 1.8083 | 1.8468 | 1.736 | 1.5228 | 1.8468 | 1.6074 | 1.7714 | 1.6692 | 1.8468 | 2.17 | 2.0667 | 2.0186 | 2.17 | 2.1171 | 1.9289 | 1.9289 | 1.8468 | 2009-01-15 | 1.7143 | 2.7692 | 2.1687 | 2.3077 | 2.4 | 2.5 | 2.25 | 2.4658 | 3.5294
[5 empty] | 2009-03-23: 2009-01-29; 2009-03-25: 1.9451; 2009-03-31: 1.7445; 2009-04-07: 2.2008; 2009-04-10: 2009-01-29; 2009-04-14: 2.3512 | 4.9 |  | 2009-01-29 | 2.17 | 2.1171 | 1.9727 | 1.8083 | 1.4467 | 1.55 | 1.6377 | 1.887 | 1.9727 | 1.7714 | 2.1171 | 1.8468 | 2.0667 | 2.1171 | 1.9289 | 2.0186 | 2.0186 | 2.0186 | 2.1171 | 1.9727 | 2.0667 | 2.17 | 2009-01-29 | 2.0225 | 2.093 | 2.3377 | 2.2222 | 2.1951 | 2.3684 | 2.1429 | 2.25 | 3.5294
[5 empty] | 2009-03-23: 2009-02-11; 2009-03-25: 2.1884; 2009-03-31: 2.8485; 2009-04-02: 2.5161; 2009-04-07: 3.314; 2009-04-10: 2009-02-11; 2009-04-14: 2.4045 | 6.125 |  | 2009-02-11 | 2.5529 | 2.7125 | 2.4111 | 1.887 | 1.8468 | 1.7714 | 2.48 | 2.2842 | 1.887 | 2.0186 | 2.4111 | 2.2256 | 1.887 | 1.702 | 2.3459 | 2.48 | 2.3459 | 2.0186 | 2.0667 | 1.9727 | 2.2842 | 2.5529 | 2009-02-12 | 1.5929 | 2.6866 | 2.4 | 2.2785 | 2.3377 | 2.4324 | 2.3377 | 2.0455 | 3.5294
[5 empty] | 2009-03-23: 2009-02-18; 2009-03-25: 2.5401; 2009-04-02: 2.4375; 2009-04-07: 3.3529; 2009-04-10: 2009-02-18 |  |  | 2009-02-18 | 2.5529 | 2.5529 | 2.1171 | 2.6303 | 2.5529 | 2.7125 | 2.48 | 2.6303 | 1.9727 | 2.5529 | 2.7125 | 2.48 | 2.2842 | 2.6303 | 2.6303 | 2.8933 | 2.6303 | 2.7125 | 2.5529 | 2.17 | 2.8 | 2.6303 | 2009-03-02 | 1.5385 | 2.3077 | 2.4 | 2.5352 | 2.7273 | 2.4 | 2.4324 | 2.5714 | 3.75
[5 empty] | 2009-03-23: 2009-03-02; 2009-03-25: 2.4582; 2009-03-31: 2.5199; 2009-04-02: 2.2286; 2009-04-07: 3.3333; 2009-04-10: 2009-03-02; 2009-04-14: 2.5181 | 6.125 | 2.3966 | 2009-03-02 | 2.8933 | 2.9931 | 3.2148 | 2.8 | 2.2842 | 2.0186 | 2.3459 | 2.7125 | 2.5529 | 2.3459 | 2.8933 | 2.5529 | 2.2256 | 2.2842 | 2.6303 | 1.9727 | 1.887 | 1.8468 | 2.3459 | 2.2842 | 2.2842 | 2.7125 | 2009-03-05 | 1.6071 | 2.3684 | 2.25 | 2.3377 | 2.25 | 2.2785 | 2.093 | 2.2785 | 3.8298
[5 empty] | 2009-03-23: 2009-03-05; 2009-03-25: 2.1477; 2009-04-10: 2009-03-05; 2009-04-14: 2.3659 |  |  | 2009-03-05 | 2.0186 | 2.17 | 2.48 | 2.7125 | 2.2842 | 2.2842 | 2.17 | 2.0667 | 1.887 | 1.9727 | 1.8083 | 2.2256 | 2.2842 | 2.2256 | 1.7714 | 2.0667 | 2.3459 | 2.1171 | 1.9727 | 1.9727 | 2.0667 | 2.3459 | 2009-03-10 | 1.6364 | 2.4658 | 2.25 | 2.0455 | 2.3377 | 2.5352 | 2.25 | 2.5352 | 3.6735
[5 empty] | 2009-03-23: 2009-03-10; 2009-03-25: 2.1965; 2009-03-31: 2.434; 2009-04-02: 2.4; 2009-04-07: 3.1319; 2009-04-10: 2009-03-10; 2009-04-14: 2.4143 | 6.125 | 2.3559 | 2009-03-10 | 2.4111 | 2.8 | 2.3459 | 2.2842 | 2.3459 | 2.0186 | 2.1171 | 2.0186 | 1.9727 | 2.48 | 1.9727 | 2.1171 | 2.1171 | 2.2842 | 2.0186 | 2.1171 | 2.17 | 1.9289 | 2.1171 | 2.0667 | 2.0667 | 2.5529 | 2009-03-12 | 1.6364 | 2.5714 | 2.7273 | 2.4658 | 2.5 | 2.4 | 2.2785 | 2.4658 | 3.5294
[5 empty] | 2009-03-23: 2009-03-12; 2009-03-25: 2.3748; 2009-04-10: 2009-03-12; 2009-04-14: 2.5083 |  |  | 2009-03-12 | 2.8933 | 2.17 | 2.5529 | 2.4111 | 1.887 | 2.3459 | 2.8933 | 2.48 | 2.2842 | 2.17 | 2.3459 | 2.2842 | 2.2256 | 2.2842 | 2.3459 | 2.2256 | 2.2842 | 2.3459 | 2.48 | 2.1171 | 2.2256 | 2.9931 | 2009-03-16 | 1.4634 | 2.5 | 2.25 | 2.1429 | 2.25 | 2.1687 | 1.9355 | 2.3684 | 3.2143
[5 empty] | 2009-03-23: 2009-03-16; 2009-03-25: 2.2388; 2009-03-31: 2.5744; 2009-04-02: 2.4; 2009-04-07: 3.1667; 2009-04-10: 2009-03-16; 2009-04-14: 2.2548 | 6.125 | 2.1061 | 2009-03-16 | 2.4111 | 2.8 | 2.5529 | 2.1171 | 1.6074 | 1.8468 | 2.0186 | 2.3459 | 2.1171 | 1.887 | 2.0667 | 2.48 | 2.2256 | 2.17 | 2.2256 | 2.5529 | 2.3459 | 2.3459 | 1.9727 | 2.2256 | 2.2256 | 2.7125 | 2009-03-19 | 1.4876 | 2.5 | 2.5352 | 2.6866 | 2.4324 | 2.3377 | 2.2222 | 2.4658 | 3.2143
[5 empty] | 2009-03-23: 2009-03-19; 2009-03-25: 2.3479; 2009-04-10: 2009-03-19; 2009-04-14: 2.4313 |  |  | 2009-03-19 | 2.7125 | 1.8468 | 2.2256 | 2.5529 | 2.0667 | 2.0667 | 2.3459 | 2.6303 | 2.0186 | 2.48 | 2.0667 | 2.3459 | 2.4111 | 2.48 | 2.3459 | 2.48 | 2.5529 | 2.5529 | 2.4111 | 2.48 | 2.17 | 2.4111 | 2009-03-23 | 1.6364 | 2.5714 | 2.5714 | 2.7273 | 2.3377 | 2.5352 | 2.0225 | 2.2785 | 3.4615
[5 empty] | 2009-03-23: 2009-03-23; 2009-03-25: 2.0201; 2009-03-31: 2.4577; 2009-04-02: 2.3636; 2009-04-07: 3.1319; 2009-04-10: 2009-03-23; 2009-04-14: 2.4602 | 5.4444 | 2.3167 | 2009-03-23 | 2.17 | 2.0667 | 2.1171 | 2.17 | 1.9727 | 1.9727 | 2.3459 | 2.48 | 0.98636 | 1.702 | 2.1171 | 2.2256 | 1.736 | 2.17 | 1.8468 | 1.8083 | 1.736 | 1.9727 | 2.2256 | 1.8468 | 1.9727 | 2.8 | 2009-03-25 | 1.5929 | 2.2785 | 2.4324 | 2.4 | 2.5 | 2.6087 | 2.3684 | 2.3377 | 3.6735
[5 empty] | 2009-03-23: 2009-03-25; 2009-03-25: 2.4258; 2009-04-10: 2009-03-25; 2009-04-14: 2.4658 |  |  | 2009-03-25 | 2.9931 | 2.6303 | 2.7125 | 2.5529 | 1.887 | 2.17 | 2.8933 | 2.3459 | 1.9727 | 1.8468 | 2.8933 | 2.2256 | 2.8 | 2.8 | 2.3459 | 2.2842 | 2.0667 | 2.48 | 2.2842 | 2.2842 | 2.3459 | 2.5529 | 2009-03-31 | 1.6822 | 2.4658 | 2.5 | 2.3377 | 2.5352 | 2.5714 | 2.1687 | 2.4324 | 3.3962
[5 empty] | 2009-03-23: 2009-03-31; 2009-03-25: 2.3482; 2009-03-31: 2.5126; 2009-04-02: 2.6; 2009-04-07: 2.9534; 2009-04-10: 2009-03-31; 2009-04-14: 2.4544 | 6.125 | 2.1385 | 2009-03-31 | 2.6303 | 2.5529 | 2.8933 | 2.3459 | 1.9727 | 1.9727 | 2.5529 | 2.48 | 2.4111 | 2.4111 | 2.48 | 2.3459 | 1.6377 | 2.3459 | 2.6303 | 2.6303 | 2.3459 | 2.2256 | 2.17 | 2.0667 | 1.9289 | 2.6303 | 2009-04-02 | 1.5 | 2.3684 | 2.4 | 2.3684 | 2.4658 | 2.6471 | 2.25 | 2.3684 | 3.75
[5 empty] | 2009-03-23: 2009-04-02; 2009-03-25: 2.395; 2009-04-10: 2009-04-02; 2009-04-14: 2.4576 |  |  | 2009-04-02 | 2.7125 | 1.9727 | 2.8 | 2.8 | 2.5529 | 2.48 | 2.3459 | 2.48 | 1.887 | 2.1171 | 2.2842 | 2.2842 | 2.6303 | 2.5529 | 2.0667 | 2.5529 | 2.48 | 2.17 | 2.2842 | 2.4111 | 2.48 | 2.3459 | 2009-04-07 | 2.0225 | 2.9032 | 2.7273 | 2.4658 | 2.5352 | 2.5714 | 2.4658 | 2.3684 | 3.6
[5 empty] | 2009-03-23: 2009-04-07; 2009-03-25: 2.4621; 2009-03-31: 2.6972; 2009-04-02: 2.6; 2009-04-07: 3.2571; 2009-04-10: 2009-04-07; 2009-04-14: 2.6288 | 5.4444 | 2.3559 | 2009-04-07 | 2.7125 | 2.4111 | 2.7125 | 2.7125 | 2.17 | 1.9289 | 2.6303 | 2.48 | 1.9289 | 2.17 | 2.8 | 2.7125 | 2.6303 | 2.48 | 2.6303 | 2.4111 | 1.6692 | 2.4111 | 2.7125 | 2.48 | 2.48 | 2.8933 | 2009-04-10 | 1.7143 | 2.3684 | 2.6087 | 2.6471 | 2.5714 | 2.5 | 2.5 | 2.4 | 3.4615
[5 empty] | 2009-03-23: 2009-04-10; 2009-03-25: 2.2396; 2009-04-10: 2009-04-10; 2009-04-14: 2.5302 |  |  | 2009-04-10 | 2.3459 | 2.4111 | 2.6303 | 2.6303 | 2.48 | 2.48 | 2.2842 | 2.5529 | 1.702 | 1.9289 | 2.3459 | 2.0667 | 1.9727 | 2.1171 | 2.3459 | 2.4111 | 2.3459 | 2.1171 | 1.887 | 1.9289 | 2.17 | 2.1171 | 2009-04-14 | 1.9149 | 2.5714 | 2.6471 | 2.5 | 2.7692 | 2.5714 | 2.3077 | 2.6866 | 3.5294
[5 empty] | 2009-03-23: 2009-04-14; 2009-03-25: 2.2448; 2009-04-10: 2009-04-14; 2009-04-14: 2.6109 |  |  | 2009-04-14 | 2.4111 | 2.6303 | 2.0186 | 2.2842 | 2.17 | 1.8468 | 2.2842 | 1.702 | 2.17 | 2.2842 | 2.4111 | 2.4111 | 2.0186 | 2.2256 | 2.1171 | 2.17 | 2.2842 | 2.2842 | 2.2256 | 2.2256 | 2.4111 | 2.8
Note on A5: g2oddpsk: Fisheries dewatering pump pipe in channel; can cause float at times to hang up on pipe, resulting in slower velocity readings.
Note on A9: g2oddpsk: Fishway dewatering pump pipe in channel.
Note on A13: g2oddpsk: Fishway dewatering pump pipe in channel.
Note on A17: g2oddpsk: Fishway dewatering pump pipe in channel.
Note on A21: g2oddpsk: Fishway dewatering pump pipe in channel..
Note on E1: g2oddpsk: Highlight column, edit, copy, paste special, values; highlight column, format, cells, number, decimal places, 2, OK.
Note on F1: g2oddpsk: One fish unit only (F2), velocities taken at 1000 hrs.
Note on G1: g2oddpsk: One fish unito only (F2), velocities taken at 1530 hrs.
Note on G70: g2oddpsk: float hits cross support in rock channel due to high TW.
Note on G83: g2oddpsk: possible bad data.
Note on H1: g2oddpsk: Both FU1 and FU2 in service.
Note on J1: g2oddpsk: TD's TC 3/3/2009
Note on L1: g2oddpsk: TD's velocities 3/10/09 1500 hrs., JD velocities 3/11/09 pm.
Note on Q1: g2oddpsk: TD's CC 3/25/2009, JD CC 3/26/2009
Note on R1: g2oddpsk: TD's CC 3/30/09, everything else 3/31/09.

## AVGS
John Day:
Temp: | 48 | Secchi: | 3 | Velocity:
| 48 |  | 3
| 48 |  | 3
| 48 |  | 3
| 48 |  | 4.5
| 47 |  | 4.5
| 47 |  | 4
AVG: | 47.7143 | AVG: | 3.5714 | AVG: | #DIV/0!