## SR
FISHWAY STATUS REPORT | [7 empty] | JOHN DAY DAM
Date: |  | 2012-05-05 | [7 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 4/29 thru 5/5/2012 | [7 empty] | P.O. Box 564
Rufus, Oregon 97050
Phone: 541-506-7860
Fishway inspections twice daily.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  |  | 14 | Temperature: |  | 51.1429 | F
|  |  | Out of Criteria | Limit | Comments |  |  |  | Secchi: | 2.2857 | Ft.
NORTH FISHWAY |  |  |  |  | Three AWS pumps in service since 4/26.
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay | Set for HIGH forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.6643 | Meeting optimal criteria since 4/26
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay | Set for MID forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.2929
Entrance weir SE1 |  |  | 0 | depth (≥ 8') | AVG | 9.2143
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | AVG
Bay 1 differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.4833
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.5769
Entrance weir NE1 |  |  | 0 | depth (≥ 8') | AVG | 9.1643
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | AVG | 9.1643
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0' | AVG | 4.5286
Submersible traveling screens |  |  | 0 | visual inspect
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | 5/4/12 No discrepancies
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly | 4/26/12 No discrepancies
Spill volume |  |  | 0 | 30%/40% | Standard testing started on 4/27, 30/40%, 3 day- blocks will continue through mid July.
Spill pattern |  |  | 0 | per FPP | TWSs in service at bays 18 & 19 since 4/10.
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | SMF in sampling mode since 3/31. Condition/ Index sampling by PSMFC biologists occurring 24/7 through 15 September.
260,000 smolts, the highest ever number bypassed through JD SMF in 24 hrs, was estimated by PSMFC biologists on 5/01. The previous record was
on 4/26 /2012, when 245,000 smolts were bypassed (see SMF reports for details)
PDS screen cleaners in regular service, cycling every 4 hours. |  |  |  |  | Debris at A/D separator : light to occasionally moderate (small wood pieces)
Maintenance: None; all SMF equipment has been working properly.
Research: Collection of smolts for the 2012 PNNL's tagging (with acoustic tags) commenced on 4/25. PSMFC biologists will assist this intensive fish
collection effort 7 days a week through mid July. PNNL marking crew/ fish surgeons continue with approximately 400- 500 of smolts per day.
Fallbacks | AVG | 123.1429 | MAX | 149 |  | MIN | 95
OTHER ISSUES:
JOHN DAY
Birds: | see bird tab
JD tailrace BRZ Avian Lines repair and improvements' contract was completed in February. Out of 125 lines total, only two Powerhouse BRZ lines, at
bay 9 are missing and another one is askew, hooked on the avian canon at SMF outfall. All Spillway lines are properly installed.
Coordination to reinstall the two missing Powerhouse lines is underway.
USDA gull hazing crew on site since 4/17; the gulls numbers continue low. The hazing from a boat located just downstream of the JD tailrace BRZ will
occur 0700-1500 hrs , 7 days a week, through the end of July.
Operations:
Due to excessive river flows, 30 % spill/ experimental blocks (standards testing) were not achievable. JD spilled up to 50 %, contact RCC for details.
Portland District engineers/designers continue to monitor the new JDN AWS pumps' performance and make the control's adjustments/ improvements.
JD South fishway continues in regular service, with the two AWS turbines' operation. The newly rehabbed turbine 3 returned to regular service on 4/22,
but the JD Ops and Maintenance prefer to run it for an additional week, before changing the JDS AWS to the three turbines' operation mode.
New construction:
A contractor continues installation of the two remaining JD North's AWS pumps, # 5 and 6. However, a systematic problem with bearings on all pumps
is suspected/investigated; # 5 failed its dry test and # 1 is out of service due to high bearing's temps.
Maintenance:
Gatewell drawdown: 5/4/12. All MU slots had 1.2' or lower differential across the trashracks; they indicate no debris accumulation.
Calibration: | 2012-05-03 | SE1 weir depth was outside calibration limits (deeper.) TR requested.
Research:
Fish counting commenced at both JD Fishways, the South and North on 4/1 and will continue daily, 7 days a week through October.
PNNL commenced their 2012 JD biological evaluations of TSWs and total juvenile passage on 4/27, after the first boat release of fish occurred at
Arlington. The acoustic monitoring/ detections for all JD juvenile fish passage routes will continue 24/7 through July.
PSMFC pikeminnow dam angling/ removal started from JD tailrace deck, on 5/3 and is expected to continue through August. Low catch numbers due
high river flows and turbid water; fishing is expected to improve later in May and June.
JD Fisheries team continues with safety and security briefings for all new fisheries contract personnel slated to work at our project in 2012.

## FishCounts
John Day 2012
| South | North | South | North | South | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd
2012-04-29 | 524 | 503 | 16 | 25 | 6 | 4
2012-04-30 | 244 | 527 | 8 | 6 | 7 | 10
2012-05-01 | 491 | 731 | 11 | 6 | 9 | 7
2012-05-02 | 491 | 486 | 7 | 23 | 2 | 6
2012-05-03 | 496 | 379 | 17 | 2 | 2 | 3
2012-05-04 | 508 | 230 | 17 | 13 | 6 | 1
2012-05-05 | 444 | 202 | 19 | 8 | 2 | 1

## Birds
SW T2: No birds
SW T3: 1 gulls foraging.
SW T1: : No birds .
PH FB: 27 grebes resting,5 grebes feeding, 11 gulls foraging, 14 gulls resting.
PH T1: No birds
PH T2: 1 gulls foraging.
PH T3: No birds
SW FB: 4 gulls foraging, 10gulls resting, gulls flyby.

## AVGS
John Day:
| Temp: |  | Secchi: |  | Fallbacks
Sun | 51 |  | 2 |  | 149
Mon | 51 |  | 2 |  | 138
Tues | 52 |  | 3 |  | 127
Wed | 51 |  | 2 |  | 115
Thur | 51 |  | 2 |  | 110
Fri | 51 |  | 2.5 |  | 128
Sat | 51 |  | 2.5 |  | 95
AVG: | 51.1429 | AVG: | 2.2857 | AVG | 123.1429
|  |  |  | MAX | 149
|  |  |  | MIN | 95
| NE1 | NE2 | S.Ent | SE1 | N.Ent | EW1 | JBS Diff | Bay1 | Bay19
Sun | 8.1 | 8 | 1.4 | 8.1 | 1.9 | fixed | 4.6 | 1.7 | 1.7
Sun | 8.2 | 8.1 | 1.4 | 8.1 | 1.8 | fixed | 4.6 | 1.6 | 1.7
Mon | 8.1 | 8 | 1.4 | 8 | 1.8 | fixed | 4.6 | 1.6 | 1.7
Mon | 8.4 | 8.3 | 1.3 | 8.4 | 1.8 | fixed | 4.5 | 1.5 | 1.8
Tues | 8.4 | 8.3 | 1.8 | 8.1 | 1.6 | fixed | 4.5 | 1.5 | 1.6
Tues | 10.5 | 10.3 | 1.4 | 9.6 | 1.7 | fixed | 4.5 |  | 1.5
Wed | 10.2 | 10 | 1.1 | 10.5 | 1.7 | fixed | 4.6 | 1.3 | 1.2
Wed | 10.4 | 10.2 | 1.1 | 9.7 | 1.5 | fixed | 4.5 | 1.5 | 1.5
Thur | 10.2 | 10.1 | 1.2 | 9.6 | 1.6 | fixed | 4.5 | 1.3 | 1.4
Thur | 8.8 | 10.1 | 1.1 | 10.3 | 1.6 | fixed | 4.5 | 1.4 | 1.4
Fri | 8.9 | 8.8 | 1 | 10 | 1.7 | fixed | 4.5
Fri | 9.1 | 9.1 | 1.4 | 9.9 | 1.5 | fixed | 4.5 | 1.5 | 1.3
Sat | 9.1 | 9.1 | 1.2 | 9 | 1.6 | fixed | 4.5 | 1.4 | 1.8
Sat | 9.9 | 9.9 | 1.3 | 9.7 | 1.5 | fixed | 4.5 | 1.5 | 1.9
AVG: | 9.1643 | 9.1643 | 1.2929 | 9.2143 | 1.6643 | na | 4.5286 | 1.4833 | 1.5769