## SR
FISHWAY STATUS REPORT | [7 empty] | JOHN DAY DAM
Date: |  | 2012-07-14 | [7 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 7/8 thru 7/14/12 | [7 empty] | P.O. Box 564
Rufus, Oregon 97050
Phone: 541-506-7860
Fishway inspections twice daily.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  |  | 14 | Temperature: |  | 63.2857 | F
|  |  | Out of Criteria | Limit | Comments |  |  |  | Secchi: | 4 | Ft.
NORTH FISHWAY |  |  |  |  | Three AWS pumps in service
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | MID | Set for MID forebay to lower sockeye's fallback through CS.
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.3' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.5786
SOUTH FISHWAY |  |  |  |  | Regular three turbine operation with four floating orifices since 5/8/12
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | MID | Set for MID forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.3' ± 0.1'
South entrance differential |  |  | 2 | 1.0' - 2.0' | AVG | 1.3143 | AWS turbine 3 oos July 8, 9 & 10. Back in service on 7/11 AM
Entrance weir SE1 |  |  | 0 | depth (≥ 8') | AVG | 8.9214
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | AVG
Bay 1 differential |  |  | 1 | 1.0' - 2.0' | AVG | 1.5143 | turbine 3 oos
N.entrance PH(Bay 19)differential |  |  | 2 | 1.0' - 2.0' | AVG | 1.2857 | turbine 3 oos
Entrance weir NE1 |  |  | 1 | depth (≥ 8') | AVG | 8.9714 | turbine 3 oos
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | AVG | 9.0214
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0' | AVG | 4.6357
Submersible traveling screens |  |  | 0 | visual inspect
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | Inspected twice weekly. Trashracks are raked immediately if differential is above 1.5'
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly | No discrepancies
Spill volume |  |  | 0 | 30%/40% | 30/40%, 3 day- blocks will continue through 20 July for standard/ TSW testing.
Spill pattern |  |  | 0 | per FPP | TSWs in service at bays 18 & 19 since 4/10.
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | SMF in sampling mode since 3/31. Condition/ Index sampling by PSMFC biologists occurring 24/7 through 15 September.
Debris: Light, mostly tumbleweed and other small sticks/twigs.
PDS screen cleaners in regular service, cycling every 4 hours.
Maintenance: None; all SMF equipment has been working properly.
Research: Collection of smolts for the 2012 PNNL's tagging with acoustic tags continues daily according to schedule. PSMFC biologists are assisting
this intensive collection effort through 20 July. Spring study successfully completed on 5/31, collecting for the summer component commenced on 6/11.
Increase in fallbacks due to spawned out shad
Fallbacks | AVG | 194.4286 | MAX | 245 |  | MIN | 130 | Mostly dead shad
OTHER ISSUES:
JOHN DAY
Birds: | see bird tab
123 avian lines are properly installed; two are currently missing after breaking in June, but without any impact to the grid's overall effectiveness.
Planning for reinstallation of all lines before the 2013 passage season underway.
USDA gull hazing crew on site since 4/17. Hazing from a boat located just downstream of JD tailrace BRZ will occur 0700-1500 hrs, 7 days a week,
through the end of July. Gull presence minimal and well under control.
Operations:
Three JD North AWS pumps currently available and are providing sufficient attraction water.
JD South AWS turbine # 3 was OOS 7/8 -11 due to its lubrication system's oil leaks; the entrances' differentials were borderline/OOC during this outage.
This is a warranty issue and the turbine's contractor will be coming back to replace the lubrication system's leaking conduits soon.
JD Ops closed two floating orifices to obtain more flow through the main entrances while # 3 was OOS; they were reopen after # 3 returned to service
on 7/11 and the South fishways has been in regular service with four floating orifices since.
JD MU intake trashracks (drawdown) checked twice weekly. None have been above 1.5 ' differential.
Gatewell debris checked daily; all were clean and free of debris during this report period.
Regular, monthly MU intake trashracks' raking by JD Structural crew is scheduled for the next week, starting on 7/16.
New construction:
Contractor / Construction Office planning for bringing additional (4 th) JDN AWS pump into service ASAP (end of July?)
Maintenance:
Calibration: | 2012-07-12 | All JD Fishways' PLCs/ water level sensors were within 0.3' margin of error/ in criteria.
Research:
Fish counting continues at both JD Fishways 0500- 2100 hrs, 7 days a week, through October.
PNNL's 2012 JD biological evaluation of TSWs and of total juvenile passage continue as scheduled. Boat releases of marked fish continue daily at
Arlington. Summer component started on 6/11 and acoustic monitoring/ detections for all JD juvenile fish passage routes will continue through
13 August.
Tribal trapping of adult lamprey at both JD counting stations started on 7/9 and will continue until their limit of 200 fish is caught.
PSMFC pikeminnow dam angling/ removal started from JD tailrace deck, on 5/3 and is expected to continue through August.
ODFW smallmouth bass survey/ research angling started at JD on 5/7. Their crew continues fishing at different tailrace and forebay locations
a couple of days a week, through August.
JD Fisheries team continues with safety and security briefings for all new fisheries contract personnel slated to work at our project in 2012.

## FishCounts
John Day 2012
| South | North | South | North | South | North | South | North | South | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd | Sockeye | Sockeye | Lamprey | Lamprey
2012-07-08 | 770 | 334 | 164 | 109 | 222 | 135 | 4787 | 6506 | 12 | 14
2012-07-09 | 559 | 559 | 160 | 67 | 174 | 228 | 4997 | 6266 | 14 | 19
2012-07-10 | 368 | 762 | 152 | 66 | 173 | 264 | 3764 | 4968 | 23 | 13
2012-07-11 | 478 | 414 | 82 | 92 | 108 | 256 | 2886 | 3540 | 4 | 22
2012-07-12 | 894 | 268 | 127 | 54 | 270 | 203 | 2645 | 1585 | 13 | 30
2012-07-13 | 552 | 179 | 138 | 37 | 308 | 237 | 2688 | 1402 | 11 | 49
2012-07-14 | 834 | 314 | 214 | 41 | 574 | 225 | 2608 | 1281 | 25 | 37

## TEMPS
JDA Fishway Temperatures
| min | max | avg
N ladder entrance | 59.8 | 61.1 | 60.6
N ladder exit | 59.7 | 61.4 | 60.4
S ladder entrance | 59.8 | 61.2 | 60.5
S ladder exit | 59.8 | 62.4 | 60.8

## Velocities
John Day Collection Channel Velocities
Bay(s) | Time | Sec. | Velocity (f/s)
0-2 | 0:01 | 65 | 2.7692
2 - 4 | 0:02 | 126 | 2.9508
4 - 6 | 0:03 | 187 | 2.9508
6 - 8 | 0:04 | 246 | 3.0508
8 - 10 | 0:05 | 305 | 3.0508
10 - 12 | 0:06 | 358 | 3.3962
12 - 14 | 0:07 | 423 | 2.7692
14 - 16 | 0:08 | 479 | 3.2143
16 - 18 | 0:09 | 521 | 4.2857
3.2086

## Birds
SW T2: 8 gulls-fly
SW T3: 5 gulls - fly SW T4 32 gulls-fly, 4 pelicans-rest
SW T1: 13 gulls-fly
.
PH FB: 22 grebes-rest, 38 gulls-fly
PH T1: 7 gulls
PH T2: 4 gulls
PH T3 10 pelicans - rest PH T4: 15 gulls-fly
SW FB: 3 gulls-fly, 4 grebes-rest

## AVGS
John Day:
| Temp: |  | Secchi: |  | Fallbacks
Sun | 62 |  | 4 |  | 222
Mon | 63 |  | 4 |  | 187
Tues | 63 |  | 4 |  | 130
Wed | 63 |  | 4 |  | 164
Thur | 64 |  | 4 |  | 184
Fri | 64 |  | 4 |  | 229
Sat | 64 |  | 4 |  | 245
AVG: | 63.2857 | AVG: | 4 | AVG | 194.4286
|  |  |  | MAX | 245
|  |  |  | MIN | 130
| NE1 | NE2 | S.Ent | SE1 | N.Ent | EW1 | JBS Diff | Bay1 | Bay19
Sun | 8.2 | 8.2 | 1.3 | 9.1 | 1.6 | fixed | 4.5 | 2 | 1.7
Sun | 8.4 | 8.5 | 1 | 9.1 | 1.5 | fixed | 4.7 | 1.3 | 1.4
Mon | 8.6 | 8 | 1 | 9 | 1.5 | fixed | 5 | 1.1 | 1.6
Mon | 8.4 | 8.2 | 1.2 | 8.4 | 1.6 | fixed | 4.6 | 1.3 | 1.3
Tues | 8.3 | 8.3 | 0.6 | 8.1 | 1.6 | fixed | 4.7 | 0.6 | 0.4
Tues | 8.1 | 8.2 | 0.8 | 8.4 | 1.5 | fixed | 4.6 | 1.1 | 0.7
Wed | 7.8 | 8 | 1.5 | 8.4 | 1.6 | fixed | 4.6 | 1.2 | 1.2
Wed | 8.7 | 8.5 | 1.5 | 8.1 | 1.6 | fixed | 4.7 | 2 | 1.6
Thur | 11.1 | 11.2 | 1.3 | 10.3 | 1.5 | fixed | 4.6 | 1.7 | 1.2
Thur | 8.7 | 9.9 | 1.9 | 9 | 1.6 | fixed | 4.6 | 1.8 | 1.4
Fri | 9.5 | 9.4 | 2 | 9.4 | 1.6 | fixed | 4.6 | 1.9 | 1.4
Fri | 10.9 | 11 | 1.2 | 10 | 1.6 | fixed | 4.5 | 1.6 | 1.2
Sat | 9.3 | 9.3 | 1.5 | 8.7 | 1.6 | fixed | 4.6 | 1.8 | 1.5
Sat | 9.6 | 9.6 | 1.6 | 8.9 | 1.7 | fixed | 4.6 | 1.8 | 1.4
AVG: | 8.9714 | 9.0214 | 1.3143 | 8.9214 | 1.5786 | na | 4.6357 | 1.5143 | 1.2857