## SR
FISHWAY STATUS REPORT | [7 empty] | JOHN DAY DAM
Date: | 2009-08-01 | [8 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 07/26 thru 08/01 | [7 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishway inspections twice daily.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  |  | 14 | Temperature: |  | 72.5714 | F
|  |  | Out of Criteria | Limit | Comments |  |  |  | Secchi: | 5.5 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  |  | 0 | Per forebay | Set for forebay >263'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.3357
Entrance weir EW1 |  |  | 2 | depth (≥ 8') | AVG | 8.1643 | Weir at lower, due to low tailwater.
Entrance weir EW2 |  |  |  |  | Weir closed
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Hydraulic weir positions |  |  | 0 | Per forebay | Set at mid forebay range
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.25
Entrance weir SE1 |  |  | 1 | depth (≥ 8') | AVG | 8.4571
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | AVG | 2.7
Bay 1 differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.6143
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.5
Entrance weir NE1 |  |  | 1 | depth (≥ 8') | AVG | 8.5786 | Weir at lower limit, due to low tailwater
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | AVG | 8.8643
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0' | AVG | 4.6
Submersible traveling screens |  |  | 0 | visual inspect | Per monthly inspection schedule; STS only due to lack of VBS capabilities.
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly
Spill volume |  |  | 0 | 30/40% | AVG | 29.9
Spill pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 0 | per FPP | Unit 2 annual, returned July 17. Unit 4 out of service for 6- year overhaul.
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | Very light debris. Normal numbers of dead shad.
SMF staffed 24/7through Sept 15 and 16/7 Sept 16 through Nov 30 (full flow PIT tag detection)
River temps at JDA went over 70 F on 7/20 and are now approaching 74 F.
PSMFC bios will continue limited, twice a week smolt condition sampling until the temps drop down to 70F.
Maintenance: |  | HVAC problems repaired. Two way separation gate OOS but without any SbyC requests this year it is not critical to have it
operational; the problem appears to be lack of use.
Separator adult fall-back counts: |  | Max: | 25 | Min: | 16 | Avg: | 20.5
OTHER ISSUES:
JOHN DAY
Birds: | powerhouse forebay: 6 gulls, 24 grebes, 2 pelicans |  |  |  |  | Spill tailrace: 10 gulls, 6 pelicans. Bird #'s falling of significantly.
USDA avian hazing crew ended their season on 7/31. USDA pikeminnow dam angling will continue through 8/14.
New and improved, 2010 tailrace avian lines grid design/ planning by Portland District team is underway. | [8 empty] | Mr. Mackintosh is POC.
New construction: North ladder control section's plans and specs on schedule for the summer contract award. Construction activities to start on
17November, '09 with all work to be completed by 1 April, '10.
Calibration: | checked July 31. All within established limits.
Gatewell Drawdown: |  | checked August 1st. All within established limits.
Maintenance:
South fish turbine # 3 rehab ongoing - removing project equipment in preparation for completion by a contractor.
Mid season fishway grating ROV inspection scheduled for August 5. Half day AWS outage is required for each fishway.
MUs intake trashracks rake OOS since May, due to long procurement time for a critical part. Good news is the little river debris and fish condition
appears normal/excellent throughout this summer.
STS camera device without the VBS capability. JDE will be fixing/ replacing entire video system with brand new hardware for 2010 season.
New underwater/ replacement camera was just received and will be tested soon.
Research: | Battelle's last summer smolt collection completed July 13 with the final release July 15. Equipment demob and cleanup completed on 7/24.
Two office trailers will be removed from forebay deck in mid August.
Lamprey Collection: Umatilla tribe continues collecting adult lamprey at both counting stations (between pickets) for their restocking program.
University of Idaho telemetry crew continues with weekly downloading of adult lamprey PIT tag data.
Approved by Glen Smith, OPM
John Day Lock and Dam

## TEMPS
Date/Time | North Fish Ladder | South Fish Ladder | USGS
07/19/09 10:00:00.0 | 68.699 | 68.999 | 68.47
07/19/09 11:00:00.0 | 68.871 | 69.257 | 68.58
07/19/09 12:00:00.0 | 68.956 | 69.557 | 68.61
07/19/09 13:00:00.0 | 69.042 | 69.9 | 68.61
07/19/09 14:00:00.0 | 69.171 | 69.9 | 68.92
07/19/09 15:00:00.0 | 69.299 | 70.716 | 68.99
07/19/09 16:00:00.0 | 69.257 | 70.759 | 68.97
07/19/09 17:00:00.0 | 69.257 | 70.587 | 68.86
07/19/09 18:00:00.0 | 69.342 | 70.458 | 69.1
07/19/09 19:00:00.0 | 69.214 | 70.372 | 68.97
07/19/09 20:00:00.0 | 69.342 | 70.072 | 69.03
07/19/09 21:00:00.0 | 69.342 | 69.814 | 69.08
07/19/09 22:00:00.0 | 69.171 | 69.771 | 68.95
07/19/09 23:00:00.0 | 69.085 | 69.771 | 69.04
07/20/09 00:00:00.0 | 69.128 | 69.6 | 68.99
07/20/09 01:00:00.0 | 69.128 | 69.728 | 69.01
07/20/09 02:00:00.0 | 69.171 | 69.771 | 69.06
07/20/09 03:00:00.0 | 69.385 | 69.857 | 69.12
07/20/09 04:00:00.0 | 69.686 | 69.557 | 69.21
07/20/09 05:00:00.0 | 69.686 | 69.643 | 69.12
07/20/09 06:00:00.0 | 69.557 | 69.728 | 69.24
07/20/09 07:00:00.0 | 69.6 | 69.514 | 69.13
07/20/09 08:00:00.0 | 69.471 | 69.814 | 69.21
07/20/09 09:00:00.0 | 69.6 | 69.986 | 69.26
07/20/09 10:00:00.0 | 69.771 | 70.329 | 69.37
07/20/09 11:00:00.0 | 69.814 | 70.63 | 69.51
07/20/09 12:00:00.0 | 69.986 | 70.759 | 69.35
07/20/09 13:00:00.0 | 70.201 | 70.802 | 69.4
07/20/09 14:00:00.0 | 70.587 | 71.92 | 69.6
07/20/09 15:00:00.0 | 71.49 | 72.136 | 69.85
07/20/09 16:00:00.0 | 71.576 | 71.06 | 69.71
07/20/09 17:00:00.0 | 71.619 | 71.103 | 69.84
07/20/09 18:00:00.0 | 71.619 | 71.103 | 69.91
07/20/09 19:00:00.0 | 71.447 | 71.232 | 70.07
07/20/09 20:00:00.0 | 71.447 | 71.576 | 70.21
07/20/09 21:00:00.0 | 71.619 | 71.662 | 70.23
07/20/09 22:00:00.0 | 71.791 | 71.447 | 70.03
07/20/09 23:00:00.0 | 71.619 | 71.318 | 70.03
07/21/09 00:00:00.0 | 71.576 | 72.739 | 70.75
07/21/09 01:00:00.0 | 71.92 | 72.868 | 70.48
07/21/09 02:00:00.0 | 71.963 | 72.739 | 70.92
07/21/09 03:00:00.0 | 71.877 | 72.351 | 70.9
07/21/09 04:00:00.0 | 71.533 | 72.049 | 70.86
07/21/09 05:00:00.0 | 71.447 | 71.877 | 71.1
07/21/09 06:00:00.0 | 71.361 | 71.748 | 70.92
07/21/09 07:00:00.0 | 71.232 | 71.662 | 70.88
07/21/09 08:00:00.0 | 71.146 | 71.533 | 70.77
07/21/09 09:00:00.0 | 70.974 | 71.275 | 70.75
07/21/09 10:00:00.0 | 70.759 | 71.275 | 70.86
07/21/09 11:00:00.0 | 70.759 | 71.447 | 70.65
07/21/09 12:00:00.0 | 70.931 | 71.662 | 70.63
07/21/09 13:00:00.0 | 71.189 | 72.049 | 70.7
07/21/09 14:00:00.0 | 71.318 | 72.782 | 70.68
07/21/09 15:00:00.0 | 71.404 | 73.905 | 70.5
07/21/09 16:00:00.0 | 71.447 | 73.818 | 70.57
07/21/09 17:00:00.0 | 71.533 | 73.775 | 70.75
07/21/09 18:00:00.0 | 72.394 | 73.602 | 70.92
07/21/09 19:00:00.0 | 72.566 | 73.472 | 70.9
07/21/09 20:00:00.0 | 71.576 | 73.429 | 70.52
07/21/09 21:00:00.0 | 71.619 | 73.775 | 70.39
07/21/09 22:00:00.0 | 71.447 | 73.213 | 70.57
07/21/09 23:00:00.0 | 71.49 | 72.911 | 70.21
07/22/09 00:00:00.0 | 71.017 | 72.825 | 69.96
07/22/09 01:00:00.0 | 70.673 | 72.566 | 69.8
07/22/09 02:00:00.0 | 70.759 | 72.049 | 69.96
07/22/09 03:00:00.0 | 70.63 | 71.662 | 69.87
07/22/09 04:00:00.0 | 70.501 | 71.447 | 69.75
07/22/09 05:00:00.0 | 70.372 | 71.232 | 69.91
07/22/09 06:00:00.0 | 70.329 | 71.06 | 70.11
07/22/09 07:00:00.0 | 70.158 | 70.759 | 69.84
07/22/09 08:00:00.0 | 70.115 | 70.587 | 69.84
07/22/09 09:00:00.0 | 70.029 | 70.501 | 69.93
07/22/09 10:00:00.0 | 69.986 | 70.802 | 69.76
07/22/09 11:00:00.0 | 70.029 | 70.716 | 69.84
07/22/09 12:00:00.0 | 70.029 | 70.501 | 69.71
07/22/09 13:00:00.0 | 70.501 | 70.587 | 69.94
07/22/09 14:00:00.0 | 70.544 | 71.791 | 69.98
07/22/09 15:00:00.0 | 70.415 | 72.049 | 69.94
07/22/09 16:00:00.0 | 70.329 | 72.049 | 69.91
07/22/09 17:00:00.0 | 70.115 | 71.963 | 69.58
07/22/09 18:00:00.0 | 70.158 | 71.748 | 69.89
07/22/09 19:00:00.0 | 70.115 | 71.619 | 69.51
07/22/09 20:00:00.0 | 70.072 | 71.318 | 69.78
07/22/09 21:00:00.0 | 69.986 | 71.06 | 69.75
07/22/09 22:00:00.0 | 69.9 | 70.673 | 69.71
07/22/09 23:00:00.0 | 69.771 | 70.63 | 69.62
07/23/09 00:00:00.0 | 69.9 | 70.63 | 69.76
07/23/09 01:00:00.0 | 69.986 | 70.673 | 69.85
07/23/09 02:00:00.0 | 70.072 | 70.544 | 69.85
07/23/09 03:00:00.0 | 70.072 | 70.415 | 69.76
07/23/09 04:00:00.0 | 69.986 | 70.415 | 69.78
07/23/09 05:00:00.0 | 69.9 | 70.458 | 69.76
07/23/09 06:00:00.0 | 69.9 | 70.372 | 69.75
07/23/09 07:00:00.0 | 69.943 | 70.244 | 69.84
07/23/09 08:00:00.0 | 69.986 | 70.286 | 69.91
07/23/09 09:00:00.0 | 70.029 | 70.286 | 69.89
07/23/09 10:00:00.0 | 70.072 | 70.244 | 69.84
07/23/09 11:00:00.0 | 70.072 | 70.372 | 69.91
07/23/09 12:00:00.0 | 70.115 | 70.458 | 70
07/23/09 13:00:00.0 | 70.286 | 70.458 | 70.18
07/23/09 14:00:00.0 | 70.372 | 70.501 | 69.84
07/23/09 15:00:00.0 | 70.415 | 70.802 | 70.23
07/23/09 16:00:00.0 | 70.372 | 70.802 | 70.18
07/23/09 17:00:00.0 | 70.372 | 70.802 | 70.29
07/23/09 18:00:00.0 | 70.329 | 70.845 | 70.21
07/23/09 19:00:00.0 | 70.372 | 70.759 | 70.23
07/23/09 20:00:00.0 | 70.329 | 70.673 | 70.25
07/23/09 21:00:00.0 | 70.329 | 70.544 | 70.18
07/23/09 22:00:00.0 | 70.329 | 70.544 | 70.14
07/23/09 23:00:00.0 | 70.286 | 70.501 | 70.14
07/24/09 00:00:00.0 | 70.201 | 70.458 | 70.14
07/24/09 01:00:00.0 | 70.244 | 70.415 | 70.16
07/24/09 02:00:00.0 | 70.286 | 70.415 | 70.23
07/24/09 03:00:00.0 | 70.329 | 70.329 | 70.23
07/24/09 04:00:00.0 | 70.372 | 70.329 | 70.18
07/24/09 05:00:00.0 | 70.372 | 70.329 | 70.2
07/24/09 06:00:00.0 | 70.372 | 70.244 | 70.2
07/24/09 07:00:00.0 | 70.372 | 70.158 | 70.21
07/24/09 08:00:00.0 | 70.372 | 70.115 | 70.23
07/24/09 09:00:00.0 | 70.372 | 70.158 | 70.18
07/24/09 10:00:00.0 | 70.458 | 70.501 | 70.27
07/24/09 11:00:00.0 | 70.587 | 71.06 | 70.32
07/24/09 12:00:00.0 | 70.63 | 71.791 | 70.36
07/24/09 13:00:00.0 | 70.63 | 72.523 | 70.38
07/24/09 14:00:00.0 | 70.716 | 73.084 | 70.36
07/24/09 15:00:00.0 | 70.63 | 72.136 | 70.36
07/24/09 16:00:00.0 | 70.63 | 72.308 | 70.34
07/24/09 17:00:00.0 | 70.716 | 73.257 | 70.43
07/24/09 18:00:00.0 | 70.802 | 74.207 | 70.43
07/24/09 19:00:00.0 | 71.49 | 75.073 | 70.47
07/24/09 20:00:00.0 | 71.877 | 74.164 | 70.45
07/24/09 21:00:00.0 | 71.791 | 73.386 | 70.45
07/24/09 22:00:00.0 | 71.92 | 72.437 | 70.48
07/24/09 23:00:00.0 | 71.748 | 72.006 | 70.61
07/25/09 00:00:00.0 | 71.662 | 71.877 | 70.5
07/25/09 01:00:00.0 | 71.791 | 72.179 | 70.43
07/25/09 02:00:00.0 | 71.705 | 72.48 | 70.56
07/25/09 03:00:00.0 | 71.791 | 72.48 | 70.56
07/25/09 04:00:00.0 | 71.877 | 72.222 | 70.68
07/25/09 05:00:00.0 | 71.748 | 71.877 | 70.68
07/25/09 06:00:00.0 | 71.49 | 72.437 | 70.83
07/25/09 07:00:00.0 | 71.533 | 72.653 | 70.75
07/25/09 08:00:00.0 | 71.404 | 72.653 | 70.59
07/25/09 09:00:00.0 | 71.447 | 72.61 | 70.84
07/25/09 10:00:00.0 | 71.404 | 72.653 | 70.84
07/25/09 11:00:00.0 | 71.361 | 72.696 | 70.79
07/25/09 12:00:00.0 | 71.361 | 72.825 | 70.83
07/25/09 13:00:00.0 | 71.275 | 73.041 | 70.56
07/25/09 14:00:00.0 | 71.189 | 73.257 | 70.59
07/25/09 15:00:00.0 | 71.103 | 73.343 | 70.7
07/25/09 16:00:00.0 | 71.361 | 73.127 | 70.72
07/25/09 17:00:00.0 | 71.361 | 73.257 | 70.66
07/25/09 18:00:00.0 | 71.103 | 73.17 | 70.65
07/25/09 19:00:00.0 | 70.974 | 73.257 | 70.65
07/25/09 20:00:00.0 | 70.802 | 73.213 | 70.52
07/25/09 21:00:00.0 | 70.673 | 72.955 | 70.48
07/25/09 22:00:00.0 | 70.673 | 72.653 | 70.59
07/25/09 23:00:00.0 | 70.888 | 72.136 | 70.56
07/26/09 00:00:00.0 | 70.888 | 71.877 | 70.43
07/26/09 01:00:00.0 | 70.802 | 71.748 | 70.65
07/26/09 02:00:00.0 | 70.716 | 71.705 | 70.5
07/26/09 03:00:00.0 | 70.63 | 71.791 | 70.45
07/26/09 04:00:00.0 | 70.544 | 71.361 | 70.52
07/26/09 05:00:00.0 | 70.501 | 71.576 | 70.52
07/26/09 06:00:00.0 | 70.544 | 71.619 | 70.5
07/26/09 07:00:00.0 | 70.587 | 71.619 | 70.5
07/26/09 08:00:00.0 | 70.759 | 71.576 | 70.5
07/26/09 09:00:00.0 | 70.931 | 71.576 | 70.5
07/26/09 10:00:00.0 | 71.017 | 72.093 | 70.52
07/26/09 11:00:00.0 | 71.189 | 72.179 | 70.77
07/26/09 12:00:00.0 | 71.275 | 72.351 | 70.84
07/26/09 13:00:00.0 | 71.533 | 72.998 | 71.04
07/26/09 14:00:00.0 | 71.834 | 74.207 | 71.06
07/26/09 15:00:00.0 | 72.48 | 73.775 | 71.28
07/26/09 16:00:00.0 | 72.61 | 73.386 | 71.13
07/26/09 17:00:00.0 | 72.868 | 73.213 | 71.11
07/26/09 18:00:00.0 | 72.782 | 73.948 | 71.06
07/26/09 19:00:00.0 | 73.17 | 73.818 | 71.28
07/26/09 20:00:00.0 | 73.127 | 74.034 | 71.42
07/26/09 21:00:00.0 | 73.041 | 73.905 | 71.4
07/26/09 22:00:00.0 | 72.61 | 74.337 | 71.33
07/26/09 23:00:00.0 | 72.739 | 74.77 | 71.35
07/27/09 00:00:00.0 | 73.257 | 74.64 | 71.58
07/27/09 01:00:00.0 | 73.732 | 75.073 | 71.26
07/27/09 02:00:00.0 | 73.472 | 75.42 | 71.6
07/27/09 03:00:00.0 | 73.17 | 75.377 | 71.8
07/27/09 04:00:00.0 | 72.782 | 75.42 | 71.51
07/27/09 05:00:00.0 | 72.998 | 75.073 | 71.8
07/27/09 06:00:00.0 | 73.17 | 75.117 | 71.67
07/27/09 07:00:00.0 | 73.429 | 74.683 | 71.78
07/27/09 08:00:00.0 | 73.213 | 74.467 | 71.71
07/27/09 09:00:00.0 | 73.127 | 74.424 | 71.92
07/27/09 10:00:00.0 | 73.732 | 74.813 | 71.92
07/27/09 11:00:00.0 | 73.732 | 74.813 | 72.34
07/27/09 12:00:00.0 | 73.343 | 75.203 | 72.61
07/27/09 13:00:00.0 | 74.164 | 76.115 | 71.91
07/27/09 14:00:00.0 | 74.25 | 75.203 | 72.7
07/27/09 15:00:00.0 | 74.857 | 75.55 | 72.52
07/27/09 16:00:00.0 | 75.377 | 76.637 | 72.19
07/27/09 17:00:00.0 | 75.073 | 77.029 | 72.55
07/27/09 18:00:00.0 | 75.16 | 76.594 | 72.68
07/27/09 19:00:00.0 | 75.333 | 76.986 | 72.43
07/27/09 20:00:00.0 | 75.247 | 77.16 | 72.45
07/27/09 21:00:00.0 | 75.117 | 77.553 | 72.9
07/27/09 22:00:00.0 | 75.377 | 77.596 | 73.47
07/27/09 23:00:00.0 | 75.811 | 77.247 | 73.67
07/28/09 00:00:00.0 | 76.202 | 77.116 | 73.49
07/28/09 01:00:00.0 | 74.813 | 77.116 | 73.71
07/28/09 02:00:00.0 | 75.898 | 76.506 | 74.21
07/28/09 03:00:00.0 | 75.42 | 75.681 | 73.92
07/28/09 04:00:00.0 | 74.77 | 75.29 | 73.85
07/28/09 05:00:00.0 | 74.77 | 75.811 | 73.65
07/28/09 06:00:00.0 | 74.683 | 75.767 | 73.06
07/28/09 07:00:00.0 | 74.424 | 75.55 | 73.69
07/28/09 08:00:00.0 | 74.51 | 75.464 | 74.41
07/28/09 09:00:00.0 | 74.9 | 75.42 | 73.56
07/28/09 10:00:00.0 | 74.207 | 75.594 | 73.26
07/28/09 11:00:00.0 | 73.991 | 75.767 | 73.63
07/28/09 12:00:00.0 | 74.597 | 76.289 | 73.9
07/28/09 13:00:00.0 | 74.51 | 76.463 | 73.08
07/28/09 14:00:00.0 | 74.337 | 76.855 | 73.49
07/28/09 15:00:00.0 | 74.51 | 77.247 | 73.08
07/28/09 16:00:00.0 | 74.857 | 77.073 | 72.99
07/28/09 17:00:00.0 | 74.51 | 77.422 | 73.18
07/28/09 18:00:00.0 | 74.9 | 77.465 | 73.33
07/28/09 19:00:00.0 | 75.42 | 76.986 | 73.54
07/28/09 20:00:00.0 | 75.985 | 77.465 | 73.6
07/28/09 21:00:00.0 | 75.55 | 77.203 | 72.9
07/28/09 22:00:00.0 | 75.03 | 77.116 | 73.31
07/28/09 23:00:00.0 | 75.811 | 76.637 | 73.2
07/29/09 00:00:00.0 | 75.594 | 76.289 | 73.58
07/29/09 01:00:00.0 | 75.42 | 76.463 | 73.38
07/29/09 02:00:00.0 | 75.073 | 76.55 | 73.38
07/29/09 03:00:00.0 | 74.987 | 76.681 | 73.38
07/29/09 04:00:00.0 | 74.597 | 76.463 | 73.24
07/29/09 05:00:00.0 | 74.683 | 76.55 | 73.13
07/29/09 06:00:00.0 | 74.9 | 76.463 | 72.95
07/29/09 07:00:00.0 | 74.9 | 76.332 | 73.81
07/29/09 08:00:00.0 | 75.03 | 76.376 | 73.99
07/29/09 09:00:00.0 | 75.073 | 76.376 | 73.96
07/29/09 10:00:00.0 | 75.073 | 76.332 | 73.69
07/29/09 11:00:00.0 | 75.333 | 76.289 | 74.48
07/29/09 12:00:00.0 | 74.987 | 76.637 | 74.14
07/29/09 13:00:00.0 | 75.854 | 76.942 | 74.26
07/29/09 14:00:00.0 | 76.637 | 76.724 | 75.9
07/29/09 15:00:00.0 | 76.637 | 76.289 | 76.23
07/29/09 16:00:00.0 | 76.724 | 76.376 | 76.68
07/29/09 17:00:00.0 | 76.594 | 76.506 | 76.75
07/29/09 18:00:00.0 | 76.768 | 76.724 | 76.64
07/29/09 19:00:00.0 | 76.986 | 77.16 | 76.86
07/29/09 20:00:00.0 | 76.942 | 76.898 | 77.02
07/29/09 21:00:00.0 | 76.55 | 76.594 | 75.24
07/29/09 22:00:00.0 | 75.464 | 76.289 | 75.09
07/29/09 23:00:00.0 | 75.507 | 76.115 | 75.24
07/30/09 00:00:00.0 | 74.987 | 75.941 | 74.8
07/30/09 01:00:00.0 | 74.943 | 75.42 | 74.55
07/30/09 02:00:00.0 | 74.987 | 75.29 | 74.64
07/30/09 03:00:00.0 | 74.727 | 75.247 | 74.14
07/30/09 04:00:00.0 | 74.51 | 74.987 | 74.28
07/30/09 05:00:00.0 | 73.991 | 74.683 | 74.12
07/30/09 06:00:00.0 | 74.424 | 74.727 | 74.25
07/30/09 07:00:00.0 | 74.38 | 74.121 | 74.26
07/30/09 08:00:00.0 | 74.337 | 74.164 | 74.16
07/30/09 09:00:00.0 | 74.077 | 74.294 | 73.9
07/30/09 10:00:00.0 | 73.905 | 74.467 | 73.92
07/30/09 11:00:00.0 | 73.948 | 74.164 | 73.74
07/30/09 12:00:00.0 | 73.775 | 74.597 | 73.58
07/30/09 13:00:00.0 | 73.688 | 76.289 | 73.56
07/30/09 14:00:00.0 | 73.905 | 76.245 | 73.67
07/30/09 15:00:00.0 | 74.683 | 75.333 | 73.44
07/30/09 16:00:00.0 | 74.943 | 74.857 | 73.44
07/30/09 17:00:00.0 | 74.987 | 75.247 | 73.24
07/30/09 18:00:00.0 | 75.203 | 75.854 | 73.18
07/30/09 19:00:00.0 | 74.77 | 75.681 | 73.2
07/30/09 20:00:00.0 | 74.857 | 75.724 | 73.2
07/30/09 21:00:00.0 | 75.767 | 76.202 | 73.2
07/30/09 22:00:00.0 | 75.333 | 75.811 | 73.2
07/30/09 23:00:00.0 | 75.247 | 75.464 | 73.13
07/31/09 00:00:00.0 | 75.16 | 75.854 | 73.36
07/31/09 01:00:00.0 | 75.073 | 75.767 | 73.67
07/31/09 02:00:00.0 | 74.683 | 75.333 | 73.69
07/31/09 03:00:00.0 | 74.51 | 75.594 | 73.9
07/31/09 04:00:00.0 | 74.38 | 75.203 | 73.65
07/31/09 05:00:00.0 | 74.034 | 75.073 | 73.51
07/31/09 06:00:00.0 | 73.861 | 74.943 | 73.47
07/31/09 07:00:00.0 | 73.732 | 74.77 | 73.56
07/31/09 08:00:00.0 | 73.645 | 74.51 | 73.18
07/31/09 09:00:00.0 | 73.688 | 74.164 | 73.06
07/31/09 10:00:00.0 | 73.775 | 74.294 | 73.11
07/31/09 11:00:00.0 | 73.818 | 74.553 | 73.35
07/31/09 12:00:00.0 | 74.034 | 74.51 | 73.53
07/31/09 13:00:00.0 | 74.207 | 74.943 | 73.94
07/31/09 14:00:00.0 | 74.25 | 75.377 | 73.56
07/31/09 15:00:00.0 | 74.38 | 75.854 | 73.87
07/31/09 16:00:00.0 | 74.553 | 76.202 | 73.94
07/31/09 17:00:00.0 | 74.553 | 76.855 | 73.67
07/31/09 18:00:00.0 | 74.64 | 76.419 | 73.78
07/31/09 19:00:00.0 | 74.337 | 75.637 | 73.9
07/31/09 20:00:00.0 | 74.337 | 75.681 | 73.44
07/31/09 21:00:00.0 | 73.991 | 75.681 | 73.49
07/31/09 22:00:00.0 | 74.034 | 75.681 | 73.42
07/31/09 23:00:00.0 | 73.948 | 75.594 | 73.53
08/01/09 00:00:00.0 | 73.905 | 75.464 | 73.29
08/01/09 01:00:00.0 | 74.077 | 75.247 | 73.58
08/01/09 02:00:00.0 | 74.121 | 74.943 | 73.49
08/01/09 03:00:00.0 | 73.991 | 74.64 | 73.4
08/01/09 04:00:00.0 | 73.861 | 74.467 | 73.56
08/01/09 05:00:00.0 | 74.034 | 74.467 | 73.65
08/01/09 06:00:00.0 | 73.818 | 74.597 | 73.54
08/01/09 07:00:00.0 | 74.077 | 74.727 | 73.35
08/01/09 08:00:00.0 | 73.948 | 74.553 | 73.27
08/01/09 09:00:00.0 | 74.121 | 74.38 | 73.38
08/01/09 10:00:00.0 | 73.905 | 74.424 | 73.4
08/01/09 11:00:00.0 | 74.034 | 74.987 | 73.56
08/01/09 12:00:00.0 | 74.034 | 75.811 | 73.56
08/01/09 13:00:00.0 | 74.207 | 76.202 | 73.4
08/01/09 14:00:00.0 | 74.207 | 76.028 | 73.44
08/01/09 15:00:00.0 | 74.25 | 75.724 | 73.15
08/01/09 16:00:00.0 | 74.424 | 76.072 | 73.31
08/01/09 17:00:00.0 | 74.121 | 76.332 | 73.51
08/01/09 18:00:00.0 | 74.207 | 76.376 | 73.62
08/01/09 19:00:00.0 | 74.034 | 76.289 | 73.78
08/01/09 20:00:00.0 | 74.121 | 76.289 | 73.72
08/01/09 21:00:00.0 | 73.991 | 76.332 | 73.56
08/01/09 22:00:00.0 | 73.948 | 75.811 | 73.45
08/01/09 23:00:00.0 | 73.559 | 75.464 | 73.31
08/02/09 00:00:00.0 | 73.645 | 75.464 | 73.35
08/02/09 01:00:00.0 | 73.472 | 74.9 | 73.36
08/02/09 02:00:00.0 | 73.645 | 74.164 | 73.15
08/02/09 03:00:00.0 | 73.559 | 74.077 | 73.08
08/02/09 04:00:00.0 | 73.343 | 74.207 | 73.18
08/02/09 05:00:00.0 | 73.472 | 74.337 | 73.26
08/02/09 06:00:00.0 | 73.472 | 74.424 | 73.4
08/02/09 07:00:00.0 | 73.602 | 74.467 | 73.51
08/02/09 08:00:00.0 | 73.818 | 74.467 | 73.58
08/02/09 09:00:00.0 | 74.034 | 74.294 | 73.51
08/02/09 10:00:00.0 | 74.121 | 74.813 | 73.72
08/02/09 11:00:00.0 | 74.034 | 74.857 | 73.74
08/02/09 12:00:00.0 | 74.034 | 75.03 | 73.71
08/02/09 13:00:00.0 | 74.164 | 75.29 | 73.71
08/02/09 14:00:00.0 | 74.121 | 75.55 | 73.67
08/02/09 15:00:00.0 | 73.948 | 75.681 | 73.45
08/02/09 16:00:00.0 | 74.337 | 75.724 | 73.69
08/02/09 17:00:00.0 | 74.25 | 75.767 | 73.63
08/02/09 18:00:00.0 | 74.121 | 75.724 | 73.51
08/02/09 19:00:00.0 | 73.905 | 75.681 | 73.42

## Velocities
[5 empty] | 2009-01-15 | 2009-01-29 | 2009-02-11 | 2009-02-18 | 2009-03-02 | 2009-03-05 | 2009-03-10 | 2009-03-12 | 2009-03-16 | 2009-03-19 | 2009-03-23 | 2009-03-25 | 2009-03-31 | 2009-04-02 | 2009-04-07 | 2009-04-10 | 2009-04-14 | 2009-04-21 | 2009-04-24 | 2009-04-27 | 2009-05-05 | 2009-05-08 | 2009-05-12 | 2009-05-19 | 2009-05-22 | 2009-05-26 | 2009-06-02 | 2009-06-05 | 2009-06-09 | 2009-06-16 | 2009-06-18 | 2009-06-23 | 2009-07-01 | 2009-07-03 | 2009-07-06 | 2009-07-14 | 2009-07-16 | 2009-07-20 | 2009-07-28 | 2009-07-30
The Dalles Collection Channel
Bay(s) | Enter time |  | Seconds | Velocity (f/s)
Bay 1 | 0:13 | 795 | 30 | 2.8933 | 2.0186 | 2.17 | 2.5529 | 2.5529 | 2.8933 | 2.0186 | 2.4111 | 2.8933 | 2.4111 | 2.7125 | 2.17 | 2.9931 | 2.6303 | 2.7125 | 2.7125 | 2.3459 | 2.4111 | 2.8933 | 2.8 | 2.5529 | 2.7125 | 3.6167 | 3.2148 | 2.8933 | 3.472 | 2.5529 | 2.7125 | 3.2148 | 3.2148 | 2.9931 | 2.9931 | 2.4111 | 3.7739 | 3.1 | 1.8468 | 2.3459 | 1.9289 | 1.887 | 1.702 | 2.8933
Bay 2 | 0:13 | 765 | 38 | 2.2842 | 2.0186 | 2.1171 | 2.7125 | 2.5529 | 2.9931 | 2.17 | 2.8 | 2.17 | 2.8 | 1.8468 | 2.0667 | 2.6303 | 2.5529 | 1.9727 | 2.4111 | 2.4111 | 2.6303 | 2.7125 | 2.8933 | 2.8 | 2.7125 | 3.3385 | 3.2148 | 2.4111 | 2.8933 | 2.3459 | 2.9931 | 2.9931 | 3.3385 | 2.6303 | 3.6167 | 2.6303 | 3.3385 | 2.9931 | 2.48 | 2.9931 | 2.1171 | 2.4111 | 1.9727 | 2.2842
Bay 3 | 0:12 | 727 | 30 | 2.8933 | 2.17 | 1.9727 | 2.4111 | 2.1171 | 3.2148 | 2.48 | 2.3459 | 2.5529 | 2.5529 | 2.2256 | 2.1171 | 2.7125 | 2.8933 | 2.8 | 2.7125 | 2.6303 | 2.0186 | 2.48 | 2.7125 | 1.887 | 2.8 | 3.3385 | 3.3385 | 3.2148 | 3.472 | 3.2148 | 3.2148 | 3.3385 | 3.6167 | 3.3385 | 3.1 | 3.2148 | 3.2148 | 2.7125 | 2.6303 | 2.8 | 2.4111 | 2.4111 | 2.1171 | 2.8933
Bay 4 | 0:12 | 697 | 43 | 2.0186 | 1.9727 | 1.8083 | 1.887 | 2.6303 | 2.8 | 2.7125 | 2.2842 | 2.4111 | 2.1171 | 2.5529 | 2.17 | 2.5529 | 2.3459 | 2.8 | 2.7125 | 2.6303 | 2.2842 | 2.3459 | 2.8933 | 2.48 | 2.8 | 3.2148 | 3.3385 | 3.1 | 2.5529 | 3.1 | 3.2148 | 2.4111 | 3.1 | 3.2148 | 3.1 | 2.5529 | 3.3385 | 2.8 | 2.4111 | 2.6303 | 2.4111 | 2.48 | 2.17 | 2.0186
Bay 5 | 0:11 | 654 | 37 | 2.3459 | 1.887 | 1.4467 | 1.8468 | 2.5529 | 2.2842 | 2.2842 | 2.3459 | 1.887 | 1.6074 | 2.0667 | 1.9727 | 1.887 | 1.9727 | 2.5529 | 2.17 | 2.48 | 2.17 | 1.887 | 2.5529 | 3.1 | 2.6303 | 3.2148 | 3.1 | 1.9289 | 2.9931 | 2.6303 | 3.1 | 3.472 | 2.9931 | 2.9931 | 2.8933 | 2.9931 | 2.3459 | 2.7125 | 2.1171 | 2.5529 | 1.7714 | 2.48 | 1.9727 | 2.3459
Bay 6 | 0:10 | 617 | 34 | 2.5529 | 1.8083 | 1.55 | 1.7714 | 2.7125 | 2.0186 | 2.2842 | 2.0186 | 2.3459 | 1.8468 | 2.0667 | 1.9727 | 2.17 | 1.9727 | 2.48 | 1.9289 | 2.48 | 1.8468 | 2.0667 | 2.8 | 2.0667 | 2.7125 | 3.3385 | 2.8933 | 2.8 | 2.7125 | 2.6303 | 3.1 | 2.5529 | 2.9931 | 2.6303 | 2.2842 | 2.9931 | 2.7125 | 2.8933 | 2.1171 | 2.7125 | 1.9289 | 2.0667 | 1.8468 | 2.5529
Bay 7 | 0:10 | 583 | 32 | 2.7125 | 1.8468 | 1.6377 | 2.48 | 2.48 | 2.3459 | 2.17 | 2.1171 | 2.8933 | 2.0186 | 2.3459 | 2.3459 | 2.8933 | 2.5529 | 2.3459 | 2.6303 | 2.2842 | 2.2842 | 2.8933 | 2.5529 | 2.5529 | 2.48 | 2.8933 | 3.2148 | 2.5529 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.3385 | 3.2148 | 3.1 | 3.1 | 2.8 | 2.7125 | 2.0667 | 2.0186 | 1.7714 | 2.17 | 2.7125
Bay 8 | 0:09 | 551 | 34 | 2.5529 | 1.736 | 1.887 | 2.2842 | 2.6303 | 2.7125 | 2.0667 | 2.0186 | 2.48 | 2.3459 | 2.6303 | 2.48 | 2.3459 | 2.48 | 2.48 | 2.48 | 2.5529 | 1.702 | 2.6303 | 2.48 | 2.8 | 2.2842 | 3.3385 | 3.1 | 3.1 | 2.9931 | 3.1 | 3.1 | 3.2148 | 2.8933 | 2.6303 | 2.8933 | 2.48 | 3.472 | 2.5529 | 2.3459 | 2.4111 | 2.3459 | 2.4111 | 2.48 | 2.5529
SS | 0:09 | 517 | 33 | 2.6303 | 1.5228 | 1.9727 | 1.887 | 1.9727 | 2.5529 | 1.887 | 1.9727 | 2.2842 | 2.1171 | 2.0186 | 0.98636 | 1.9727 | 2.4111 | 1.887 | 1.9289 | 1.702 | 2.17 | 2.5529 | 2.7125 | 2.7125 | 2.48 | 3.2148 | 3.3385 | 2.1171 | 2.7125 | 2.8 | 2.8933 | 3.1 | 2.9931 | 2.8 | 2.2256 | 2.9931 | 3.1 | 2.4111 | 2.6303 | 2.6303 | 2.4111 | 2.0186 | 1.9289 | 2.6303
Bay 9 | 0:08 | 484 | 36 | 2.4111 | 1.8468 | 1.7714 | 2.0186 | 2.5529 | 2.3459 | 1.9727 | 2.48 | 2.17 | 1.887 | 2.48 | 1.702 | 1.8468 | 2.4111 | 2.1171 | 2.17 | 1.9289 | 2.2842 | 2.2842 | 2.7125 | 2.3459 | 2.0667 | 2.9931 | 2.8933 | 2.17 | 2.8 | 3.2148 | 2.3459 | 3.472 | 3.472 | 2.4111 | 3.2148 | 3.1 | 3.1 | 2.2842 | 2.7125 | 2.7125 | 2.1171 | 2.2842 | 1.736 | 2.4111
Bay 10 | 0:07 | 448 | 33 | 2.6303 | 1.6074 | 2.1171 | 2.4111 | 2.7125 | 2.8933 | 1.8083 | 1.9727 | 2.3459 | 2.0667 | 2.0667 | 2.1171 | 2.8933 | 2.48 | 2.2842 | 2.8 | 2.3459 | 2.4111 | 2.7125 | 2.8 | 3.472 | 2.48 | 3.3385 | 2.8 | 2.5529 | 2.5529 | 2.8933 | 3.1 | 3.2148 | 3.1 | 2.8933 | 2.8933 | 2.6303 | 3.1 | 2.7125 | 2.6303 | 2.6303 | 2.4111 | 2.0667 | 2.1171 | 2.6303
Bay 11 | 0:07 | 415 | 35 | 2.48 | 1.7714 | 1.8468 | 2.2256 | 2.48 | 2.5529 | 2.2256 | 2.1171 | 2.2842 | 2.48 | 2.3459 | 2.2256 | 2.2256 | 2.3459 | 2.2842 | 2.7125 | 2.0667 | 2.4111 | 2.1171 | 2.3459 | 2.48 | 2.3459 | 3.3385 | 3.3385 | 2.4111 | 2.8933 | 2.6303 | 2.7125 | 2.8 | 3.472 | 3.1 | 2.4111 | 2.17 | 3.2148 | 2.5529 | 2.2256 | 2.3459 | 2.17 | 2.2256 | 1.887 | 2.48
Bay 12 | 0:06 | 380 | 38 | 2.2842 | 1.6692 | 2.0667 | 1.887 | 2.2842 | 2.2256 | 2.2842 | 2.1171 | 2.2256 | 2.2256 | 2.4111 | 1.736 | 2.8 | 1.6377 | 2.6303 | 2.6303 | 1.9727 | 2.0186 | 2.4111 | 2.6303 | 2.7125 | 2.8933 | 2.7125 | 2.9931 | 2.8 | 2.7125 | 2.7125 | 2.7125 | 3.2148 | 3.2148 | 2.6303 | 2.5529 | 2.48 | 2.9931 | 2.1171 | 1.8468 | 2.4111 | 2.2842 | 1.736 | 2.0667 | 2.2842
Bay 13 | 0:06 | 342 | 37 | 2.3459 | 1.8468 | 2.1171 | 1.702 | 2.6303 | 2.2842 | 2.2256 | 2.2842 | 2.2842 | 2.17 | 2.48 | 2.17 | 2.8 | 2.3459 | 2.5529 | 2.48 | 2.1171 | 2.2256 | 2.3459 | 2.2842 | 2.4111 | 2.8933 | 2.5529 | 2.6303 | 2.8933 | 3.1 | 2.9931 | 2.7125 | 3.3385 | 2.9931 | 3.472 | 2.0667 | 2.48 | 2.9931 | 2.1171 | 1.887 | 1.7714 | 2.0186 | 1.8468 | 2.2256 | 2.3459
Bay 14 | 0:05 | 305 | 33 | 2.6303 | 2.17 | 1.9289 | 2.3459 | 2.6303 | 2.6303 | 1.7714 | 2.0186 | 2.3459 | 2.2256 | 2.3459 | 1.8468 | 2.3459 | 2.6303 | 2.0667 | 2.6303 | 2.3459 | 2.1171 | 2.0667 | 2.7125 | 2.8933 | 2.3459 | 3.2148 | 3.3385 | 2.9931 | 3.1 | 2.5529 | 2.5529 | 3.2148 | 3.1 | 3.1 | 2.7125 | 2.2842 | 3.2148 | 2.6303 | 1.9289 | 2.3459 | 2.4111 | 2.0186 | 2.17 | 2.6303
Bay 15 | 0:05 | 272 | 37 | 2.3459 | 2.0667 | 2.0186 | 2.48 | 2.8933 | 1.9727 | 2.0667 | 2.1171 | 2.2256 | 2.5529 | 2.48 | 1.8083 | 2.2842 | 2.6303 | 2.5529 | 2.4111 | 2.4111 | 2.17 | 2.48 | 2.7125 | 2.8933 | 2.4111 | 3.3385 | 3.1 | 2.8933 | 3.2148 | 2.9931 | 2.7125 | 3.3385 | 3.2148 | 3.2148 | 2.6303 | 2.17 | 2.9931 | 2.5529 | 2.1171 | 2.2842 | 2.2842 | 2.0186 | 2.0186 | 2.3459
Bay 16 | 0:04 | 235 | 36 | 2.4111 | 2.0186 | 2.0186 | 2.3459 | 2.6303 | 1.887 | 2.3459 | 2.17 | 2.2842 | 2.3459 | 2.5529 | 1.736 | 2.0667 | 2.3459 | 2.48 | 1.6692 | 2.3459 | 2.2842 | 2.6303 | 2.6303 | 2.48 | 2.1171 | 2.9931 | 2.8933 | 2.6303 | 3.2148 | 3.1 | 1.7714 | 2.8933 | 2.48 | 2.2256 | 2.8 | 2.8 | 2.0667 | 2.5529 | 2.1171 | 2.0667 | 2.2842 | 2.0186 | 2.2256 | 2.4111
Bay 17 | 0:03 | 199 | 45 | 1.9289 | 2.17 | 2.0186 | 2.0186 | 2.7125 | 1.8468 | 2.1171 | 1.9289 | 2.3459 | 2.3459 | 2.5529 | 1.9727 | 2.48 | 2.2256 | 2.17 | 2.4111 | 2.1171 | 2.2842 | 2.6303 | 2.6303 | 2.6303 | 2.2256 | 3.1 | 3.1 | 2.9931 | 2.9931 | 2.8933 | 3.1 | 3.2148 | 2.5529 | 2.17 | 2.4111 | 2.0667 | 2.7125 | 1.7714 | 2.5529 | 1.9727 | 2.3459 | 1.887 | 2.17 | 1.9289
Bay 18 | 0:03 | 154 | 41 | 2.1171 | 2.1171 | 2.1171 | 2.0667 | 2.5529 | 2.3459 | 1.9727 | 2.1171 | 2.48 | 1.9727 | 2.4111 | 2.2256 | 2.2842 | 2.17 | 2.2842 | 2.7125 | 1.887 | 2.2256 | 2.2842 | 2.8933 | 2.7125 | 2.6303 | 3.2148 | 2.8933 | 3.3385 | 3.472 | 2.9931 | 3.1 | 3.6167 | 2.7125 | 3.2148 | 3.2148 | 2.8933 | 2.9931 | 1.7714 | 2.2842 | 2.3459 | 2.0667 | 1.887 | 1.887 | 2.1171
Bay 19 | 0:02 | 113 | 38 | 2.2842 | 1.9289 | 1.9727 | 1.9727 | 2.17 | 2.2842 | 1.9727 | 2.0667 | 2.1171 | 2.2256 | 2.48 | 1.8468 | 2.2842 | 2.0667 | 2.4111 | 2.48 | 1.9289 | 2.2256 | 2.2842 | 3.3385 | 2.7125 | 2.8 | 3.1 | 2.8 | 3.6167 | 3.3385 | 2.9931 | 3.472 | 3.472 | 2.8 | 3.1 | 3.2148 | 2.8933 | 3.472 | 2.2842 | 2.3459 | 2.2256 | 2.4111 | 2.0186 | 1.8083 | 2.2842
Bay 20 | 0:01 | 75 | 38 | 2.2842 | 1.9289 | 2.0667 | 2.2842 | 2.8 | 2.2842 | 2.0667 | 2.0667 | 2.2256 | 2.2256 | 2.17 | 1.9727 | 2.3459 | 1.9289 | 2.48 | 2.48 | 2.17 | 2.4111 | 2.5529 | 3.2148 | 2.7125 | 2.5529 | 3.472 | 2.7125 | 3.472 | 2.8 | 3.472 | 3.1 | 2.2842 | 2.2842 | 3.3385 | 2.9931 | 2.7125 | 2.9931 | 2.7125 | 2.3459 | 2.2842 | 2.0186 | 2.1171 | 1.9727 | 2.2842
Bay 21 | 0:01 | 37 | 37 | 2.3459 | 1.8468 | 2.17 | 2.5529 | 2.6303 | 2.7125 | 2.3459 | 2.5529 | 2.9931 | 2.7125 | 2.4111 | 2.8 | 2.5529 | 2.6303 | 2.3459 | 2.8933 | 2.1171 | 2.8 | 2.6303 | 3.3385 | 3.1 | 3.472 | 3.472 | 2.2256 | 3.3385 | 2.6303 | 3.3385 | 2.8933 | 2.7125 | 2.2842 | 3.7739 | 3.3385 | 3.3385 | 3.7739 | 3.2148 | 2.4111 | 2.2842 | 2.2842 | 2.5529 | 1.887 | 2.3459
Average |  |  |  | 2.4265 | 1.9077 | 1.9451 | 2.1884 | 2.5401 | 2.4582 | 2.1477 | 2.1965 | 2.3748 | 2.2388 | 2.3479 | 2.0201 | 2.4258 | 2.3482 | 2.395 | 2.4621 | 2.2396 | 2.2448 | 2.4496 | 2.7564 | 2.6595 | 2.5839 | 3.1977 | 3.0214 | 2.8282 | 2.9874 | 2.9207 | 2.8961 | 3.0993 | 2.9965 | 2.9642 | 2.8534 | 2.6994 | 3.0917 | 2.5568 | 2.3044 | 2.4011 | 2.2023 | 2.1188 | 2.0242 | 2.4265
The Dalles Transportation Channel
Bay#'s | Enter time |  | Seconds | Velocity (f/s)
Bay 1 | 0:12 | 744 | 34 | 2.5529 | 2009-01-15: 1.5228; 2009-01-29: 1.8468; 2009-02-11: 2.9931; 2009-03-02: 2.8; 2009-03-10: 2.8; 2009-03-16: 2.5529
Bay 2 | 0:12 | 710 | 32 | 2.7125 | 2009-01-15: 1.4966; 2009-01-29: 1.8083; 2009-02-11: 3.1; 2009-03-02: 2.8933; 2009-03-10: 2.5529; 2009-03-16: 2.7125
Bay 3 | 0:11 | 678 | 30 | 2.8933 | 2009-01-15: 1.4966; 2009-01-29: 1.8083; 2009-02-11: 3.1; 2009-03-02: 2.8; 2009-03-10: 2.8; 2009-03-16: 2.8933
Bay 4 | 0:11 | 648 | 34 | 2.5529 | 2009-01-15: 1.6074; 2009-01-29: 1.9289; 2009-02-11: 2.8933; 2009-03-02: 2.8; 2009-03-10: 2.6303; 2009-03-16: 2.5529
Bay 5 | 0:10 | 614 | 31 | 2.8 | 2009-01-15: 1.6692; 2009-01-29: 1.7714; 2009-02-11: 2.9931; 2009-03-02: 2.8; 2009-03-10: 2.48; 2009-03-16: 2.8
Bay 6 | 0:10 | 583 | 34 | 2.5529 | 2009-01-15: 1.6692; 2009-01-29: 1.702; 2009-02-11: 2.8; 2009-03-02: 2.8; 2009-03-10: 2.3459; 2009-03-16: 2.5529
Bay 7 | 0:09 | 549 | 33 | 2.6303 | 2009-01-15: 1.6692; 2009-01-29: 1.702; 2009-02-11: 2.8933; 2009-03-02: 2.7125; 2009-03-10: 2.3459; 2009-03-16: 2.6303
Bay 8 | 0:09 | 516 | 36 | 2.4111 | 2009-01-15: 1.6074; 2009-01-29: 1.6074; 2009-02-11: 2.8; 2009-03-02: 2.5529; 2009-03-10: 2.2842; 2009-03-16: 2.4111
SS | 0:08 | 480 | 31 | 2.8 | 2009-01-15: 1.4966; 2009-01-29: 1.3778; 2009-02-11: 2.8; 2009-03-02: 2.5529; 2009-03-10: 2.5529; 2009-03-16: 2.8
Bay 9 | 0:07 | 449 | 32 | 2.7125 | 2009-01-15: 1.55; 2009-01-29: 1.6692; 2009-02-11: 2.8933; 2009-03-02: 2.9931; 2009-03-10: 2.5529; 2009-03-16: 2.7125
Bay 10 | 0:07 | 417 | 35 | 2.48 | 2009-01-15: 1.5782; 2009-01-29: 1.702; 2009-02-11: 2.7125; 2009-03-02: 2.5529; 2009-03-10: 2.3459; 2009-03-16: 2.48
Bay 11 | 0:06 | 382 | 36 | 2.4111 | 2009-01-15: 1.55; 2009-01-29: 1.8083; 2009-02-11: 2.9931; 2009-03-02: 2.2256; 2009-03-10: 2.5529; 2009-03-16: 2.4111
Bay 12 | 0:06 | 346 | 33 | 2.6303 | 2009-01-15: 1.55; 2009-01-29: 1.9289; 2009-02-11: 2.9931; 2009-03-02: 2.4111; 2009-03-10: 2.3459; 2009-03-16: 2.6303
Bay 13 | 0:05 | 313 | 36 | 2.4111 | 2009-01-15: 1.6074; 2009-01-29: 1.7714; 2009-02-11: 2.8933; 2009-03-02: 2.17; 2009-03-10: 2.2256; 2009-03-16: 2.4111
Bay 14 | 0:05 | 277 | 35 | 2.48 | 2009-01-15: 1.4966; 2009-01-29: 1.7714; 2009-02-11: 2.8; 2009-03-02: 2.1171; 2009-03-10: 2.48; 2009-03-16: 2.48
Bay 15 | 0:04 | 242 | 35 | 2.48 | 2009-01-15: 1.4966; 2009-01-29: 1.7714; 2009-02-11: 2.8; 2009-03-02: 2.17; 2009-03-10: 2.2256; 2009-03-16: 2.48
Bay 16 | 0:03 | 207 | 35 | 2.48 | 2009-01-15: 1.4; 2009-01-29: 1.702; 2009-02-11: 2.7125; 2009-03-02: 2.2256; 2009-03-10: 2.0667; 2009-03-16: 2.48
Bay 17 | 0:03 | 172 | 36 | 2.4111 | 2009-01-15: 1.6074; 2009-01-29: 1.702; 2009-02-11: 2.6303; 2009-03-02: 2.4111; 2009-03-10: 2.48; 2009-03-16: 2.4111
Bay 18 | 0:02 | 136 | 32 | 2.7125 | 2009-01-15: 1.4467; 2009-01-29: 1.736; 2009-02-11: 2.8; 2009-03-02: 2.3459; 2009-03-10: 2.5529; 2009-03-16: 2.7125
Bay 19 | 0:02 | 104 | 35 | 2.48 | 2009-01-15: 1.3778; 2009-01-29: 1.8468; 2009-02-11: 2.7125; 2009-03-02: 2.4111; 2009-03-10: 2.3459; 2009-03-16: 2.48
Bay 20 | 0:01 | 69 | 33 | 2.6303 | 2009-01-15: 1.4712; 2009-01-29: 1.6074; 2009-02-11: 2.5529; 2009-03-02: 2.3459; 2009-03-10: 2.17; 2009-03-16: 2.6303
Bay 21 | 0:01 | 36 | 36 | 2.4111 | 2009-01-15: 1.258; 2009-01-29: 1.8083; 2009-02-11: 2.8; 2009-03-02: 2.3459; 2009-03-10: 2.4111; 2009-03-16: 2.4111
Average |  |  |  | 2.5744 | 2009-01-15: 1.5284; 2009-01-29: 1.7445; 2009-02-11: 2.8485; 2009-03-02: 2.5199; 2009-03-10: 2.434; 2009-03-16: 2.5744
Average | 0:13 | 765 | 765 | 2.4962 | 2009-03-23: 2.4577; 2009-03-31: 2.5126; 2009-04-07: 2.6972; 2009-04-21: 2.6376; 2009-05-05: 2.39; 2009-05-19: 2.19; 2009-06-02: 2.1265; 2009-06-16: 2.2652; 2009-06-18: 1.9606; 2009-07-01: 2.45; 2009-07-14: 2.39; 2009-07-28: 2.4111; 2009-07-30: 2.4962
The Dalles North Entrance
d/s of PUD bridge to start of 180 bend
Distance | Enter time | Seconds |  | Velocity (f/s)
156' | 0:01 | 52 |  | 3 | 2009-01-15: dewatered; 2009-01-29: dewatered; 2009-02-11: 2.5161; 2009-02-18: 2.4375; 2009-03-02: 2.2286; 2009-03-10: 2.4; 2009-03-16: 2.4; 2009-03-23: 2.3636; 2009-03-31: 2.6; 2009-04-07: 2.6; 2009-04-21: 2.7368; 2009-05-05: 2.2609; 2009-05-19: 2.026; 2009-06-02: 2.1972; 2009-06-16: 2.137; 2009-06-18: 2; 2009-07-01: 2.2941; 2009-07-14: 2.2609; 2009-07-28: 2.5161; 2009-07-30: 3
Tailwater
The Dalles South Rock Channel
d/s edge of sluice brdg. to u/s edge of Westrick brdg.
Distance | Enter time | Seconds |  | Velocity (f/s)
570' | 0:03 | 192 |  | 2.9688 | 2009-01-15: 1.8874; 2009-01-29: 2.2008; 2009-02-11: 3.314; 2009-02-18: 3.3529; 2009-03-02: 3.3333; 2009-03-10: 3.1319; 2009-03-16: 3.1667; 2009-03-23: 3.1319; 2009-03-31: 2.9534; 2009-04-07: 3.2571; 2009-04-21: 2.6761; 2009-05-05: 3.9041; 2009-05-19: 2.767; 2009-06-02: 2.6027; 2009-06-16: 2.6887; 2009-06-18: 2.3457; 2009-07-01: 2.8358; 2009-07-14: 2.7273; 2009-07-28: 2.9082; 2009-07-30: 2.9688
Tailwater
The Dalles South Rock Channel
d/s edge of sluice bridge to u/s edge of s. ent. deck
(cannot float lower half at high TW due to support)
Distance | Enter time | Seconds |  | Velocity (f/s)
1480' | 0:08 | 461 |  | 3.2104 | 2009-01-15: N/A; 2009-01-29: N/A; 2009-02-11: 3.6098; 2009-03-02: 3.4579; 2009-03-10: 3.311; 2009-03-16: 3.3184; 2009-03-23: N/A; 2009-03-31: N/A; 2009-04-07: N/A; 2009-04-21: 3.3258; 2009-04-27: N/A; 2009-05-19: N/A; 2009-06-02: 2.5919; 2009-06-16: N/A; 2009-06-18: N/A; 2009-07-01: N/A; 2009-07-14: N/A; 2009-07-28: 3.129; 2009-07-30: 3.2104
Tailwater
John Day Collection Channel
| Enter time |  | Seconds | Velocity (f/s)
Bay 1&2 | 0:02 | 102 | 102 | 1.7647 | 1.7143 | 2.0225 | 1.5929 |  | 1.5385 | 1.6071 | 1.6364 | 1.6364 | 1.4634 | 1.4876 | 1.6364 | 1.5929 | 1.6822 | 1.5 | 2.0225 | 1.7143 | 1.9149 | 2.0455 | 1.5652 | 1.8947 | 1.9149 | 2.1687 | 1.5254 | 1.8 | 2.0225 | 1.9149 | 2.1687 | 1.9565 | 2.1687 | 1.8182 | 2.0455 | 1.9355 | 1.9355 | 1.5652 | 1.4173 | 1.9355 | 1.7143 | 1.6364 | 1.8367 | 1.7647
Bay 3&4 | 0:03 | 173 | 71 | 2.5352 | 2.7692 | 2.093 | 2.6866 |  | 2.3077 | 2.3684 | 2.4658 | 2.5714 | 2.5 | 2.5 | 2.5714 | 2.2785 | 2.4658 | 2.3684 | 2.9032 | 2.3684 | 2.5714 | 2.7273 | 2.3377 | 2.6471 | 2.7273 | 2.6866 | 2.2785 | 2.6866 | 2.9032 | 2.4 | 2.8125 | 2.5352 | 2.6866 | 2.25 | 2.6471 | 2.5714 | 2.7692 | 2.4 | 2.25 | 2.2785 | 2.4658 | 2.5 | 2.5714 | 2.5352
Bay 5&6 | 0:04 | 245 | 72 | 2.5 | 2.1687 | 2.3377 | 2.4 |  | 2.4 | 2.25 | 2.25 | 2.7273 | 2.25 | 2.5352 | 2.5714 | 2.4324 | 2.5 | 2.4 | 2.7273 | 2.6087 | 2.6471 | 2.4658 | 2.3684 | 2.6866 | 2.5352 | 2.5 | 2.6866 | 3 | 2.6471 | 2.4324 | 2.6087 | 2.5714 | 2.4658 | 2.4658 | 2.7273 | 2.5714 | 2.5 | 2.3684 | 2.5352 | 2.4 | 2.3377 | 2.4658 | 2.5 | 2.5
Bay 7&8 | 0:05 | 313 | 68 | 2.6471 | 2.3077 | 2.2222 | 2.2785 |  | 2.5352 | 2.3377 | 2.0455 | 2.4658 | 2.1429 | 2.6866 | 2.7273 | 2.4 | 2.3377 | 2.3684 | 2.4658 | 2.6471 | 2.5 | 2.4658 | 2.4658 | 2.7692 | 2.5 | 2.3377 | 2.6087 | 2.5352 | 2.4324 | 2.2785 | 2.6087 | 2.25 | 2.4658 | 2.4 | 2.6471 | 2.5352 | 2.3077 | 2.2785 | 2.3684 | 2.3377 | 2.4 | 2.2785 | 2.4324 | 2.6471
Bay 9&10 | 0:06 | 380 | 67 | 2.6866 | 2.4 | 2.1951 | 2.3377 |  | 2.7273 | 2.25 | 2.3377 | 2.5 | 2.25 | 2.4324 | 2.3377 | 2.5 | 2.5352 | 2.4658 | 2.5352 | 2.5714 | 2.7692 | 2.4 | 2.2222 | 2.4658 | 2.5714 | 2.25 | 2.4 | 2.5714 | 2.5714 | 2.1429 | 2.7692 | 2.3684 | 2.3684 | 2.4658 | 2.5714 | 2.4658 | 2.4 | 2.6471 | 2.3077 | 2.4324 | 2.3684 | 2.3684 | 2.8125 | 2.6866
Bay 11&12 | 0:07 | 445 | 65 | 2.7692 | 2.5 | 2.3684 | 2.4324 |  | 2.4 | 2.2785 | 2.5352 | 2.4 | 2.1687 | 2.3377 | 2.5352 | 2.6087 | 2.5714 | 2.6471 | 2.5714 | 2.5 | 2.5714 | 2.5352 | 2.5714 | 2.5 | 2.5714 | 2.5 | 2.4 | 2.8125 | 2.5714 | 2.2222 | 2.5 | 2.5352 | 2.4324 | 2.4658 | 2.6087 | 2.5352 | 2.2785 | 2.5 | 2.4324 | 2.4324 | 2.5714 | 2.4 | 2.6471 | 2.7692
Bay 13&14 | 0:09 | 519 | 74 | 2.4324 | 2.25 | 2.1429 | 2.3377 |  | 2.4324 | 2.093 | 2.25 | 2.2785 | 1.9355 | 2.2222 | 2.0225 | 2.3684 | 2.1687 | 2.25 | 2.4658 | 2.5 | 2.3077 | 2.4324 | 2.5352 | 2.1176 | 2.25 | 2.5 | 2.2785 | 2.5352 | 2.4658 | 2.4658 | 2.6471 | 2.6866 | 2.3684 | 2.4658 | 2.4658 | 2.3684 | 2.3077 | 2.1687 | 2.1429 | 2.25 | 2.2222 | 2.25 | 2.2785 | 2.4324
Bay 15&16 | 0:10 | 586 | 67 | 2.6866 | 2.4658 | 2.25 | 2.0455 |  | 2.5714 | 2.2785 | 2.5352 | 2.4658 | 2.3684 | 2.4658 | 2.2785 | 2.3377 | 2.4324 | 2.3684 | 2.3684 | 2.4 | 2.6866 | 2.3377 | 2.5714 | 3 | 2.1176 | 2.6087 | 2.4658 | 2.5714 | 2.4658 | 2.4658 | 2.5352 | 2.6471 | 2.4324 | 2.4 | 2.5714 | 2.6471 | 2.5714 | 2.5352 | 2.2222 | 2.4324 | 2.3377 | 2.4658 | 2.4 | 2.6866
Bay 17&18 | 0:11 | 632 | 46 | 3.913 | 3.5294 | 3.5294 | 3.5294 |  | 3.75 | 3.8298 | 3.6735 | 3.5294 | 3.2143 | 3.2143 | 3.4615 | 3.6735 | 3.3962 | 3.75 | 3.6 | 3.4615 | 3.5294 | 3.75 | 3.3962 | 3.75 | 3.2727 | 3.6 | 3.6 | 3.4615 | 3.4615 | 3.3333 | 3.2727 | 3.3333 | 3.2143 | 3.4615 | 3.3962 | 3.6 | 3.6 | 3.5294 | 3.3333 | 3.3962 | 3.5294 | 3.75 | 3.0508 | 3.913
|  | Average |  | 2.6594 | 2.4561 | 2.3512 | 2.4045 |  | 2.5181 | 2.3659 | 2.4143 | 2.5083 | 2.2548 | 2.4313 | 2.4602 | 2.4658 | 2.4544 | 2.4576 | 2.6288 | 2.5302 | 2.6109 | 2.5733 | 2.4482 | 2.6479 | 2.4956 | 2.5724 | 2.4715 | 2.6638 | 2.6157 | 2.4062 | 2.6581 | 2.5426 | 2.5114 | 2.4659 | 2.6312 | 2.5811 | 2.5189 | 2.4436 | 2.3344 | 2.4328 | 2.4385 | 2.4572 | 2.5033 | 2.6594
John Day South Entrance
Distance | Enter time | Seconds |  | Velocity (f/s)
49' | 0:00 | 9 |  | 5.4444 | 2009-01-15: 7; 2009-01-29: 4.9; 2009-02-11: 6.125; 2009-03-02: 6.125; 2009-03-10: 6.125; 2009-03-16: 6.125; 2009-03-23: 5.4444; 2009-03-31: 6.125; 2009-04-07: 5.4444; 2009-04-21: 3.7692; 2009-05-05: 4.9; 2009-05-19: 4.0833; 2009-06-02: 4.0833; 2009-06-16: 4.0833; 2009-06-18: 3.5; 2009-07-01: 4.9; 2009-07-14: 5.4444; 2009-07-28: 3.5; 2009-07-30: 5.4444
John Day North Entrance
Lowest weir to start of deck 180 curve
Distance | Enter Time | Seconds |  | Velocity ((f/s)
139' | 0:01 | 60 |  | 2.3167 | 2009-01-15: dewatered; 2009-01-29: dewatered; 2009-02-11: dewatered; 2009-03-02: 2.3966; 2009-03-10: 2.3559; 2009-03-16: 2.1061; 2009-03-23: 2.3167; 2009-03-31: 2.1385; 2009-04-07: 2.3559; 2009-04-21: 2.3559; 2009-05-05: 2.4821; 2009-05-19: 2.1061; 2009-06-02: 2.4386; 2009-06-16: 2.0441; 2009-06-18: 2.3559; 2009-07-01: 2.2787; 2009-07-14: 2.5273; 2009-07-28: 2.1719; 2009-07-30: 2.3167
Comments
[5 empty] | 2009-03-23: Averages; 2009-05-08: TD's CC | [5 empty] | JD's CC
[15 empty] | Date | The Dalles Collection Channel | The Dalles Transportation Channel | The Dalles North Entrance | The Dalles South Rock Channel |  | John Day Collection Channel | John Day South Entrance | John Day North Entrance |  |  | Date | Bay 1 | Bay 2 | Bay 3 | Bay 4 | Bay 5 | Bay 6 | Bay 7 | Bay 8 | SS | Bay 9 | Bay 10 | Bay 11 | Bay 12 | Bay 13 | Bay 14 | Bay 15 | Bay 16 | Bay 17 | Bay 18 | Bay 19 | Bay 20 | Bay 21 | Date | Bay 1 & 2 | Bay 3 & 4 | Bay 5 & 6 | Bay 7 & 8 | Bay 9 & 10 | Bay 11 & 12 | Bay 13 & 14 | Bay 15 & 16 | Bay 17 & 18
[15 empty] | 2009-01-15 | 1.9077 | 1.5284 |  | 1.8874 | 2009-01-15 | 2.4561 | 7 |  |  |  | 2009-01-15 | 2.0186 | 2.0186 | 2.17 | 1.9727 | 1.887 | 1.8083 | 1.8468 | 1.736 | 1.5228 | 1.8468 | 1.6074 | 1.7714 | 1.6692 | 1.8468 | 2.17 | 2.0667 | 2.0186 | 2.17 | 2.1171 | 1.9289 | 1.9289 | 1.8468 | 2009-01-15 | 1.7143 | 2.7692 | 2.1687 | 2.3077 | 2.4 | 2.5 | 2.25 | 2.4658 | 3.5294
[15 empty] | 2009-01-29 | 1.9451 | 1.7445 |  | 2.2008 | 2009-01-29 | 2.3512 | 4.9 |  |  |  | 2009-01-29 | 2.17 | 2.1171 | 1.9727 | 1.8083 | 1.4467 | 1.55 | 1.6377 | 1.887 | 1.9727 | 1.7714 | 2.1171 | 1.8468 | 2.0667 | 2.1171 | 1.9289 | 2.0186 | 2.0186 | 2.0186 | 2.1171 | 1.9727 | 2.0667 | 2.17 | 2009-01-29 | 2.0225 | 2.093 | 2.3377 | 2.2222 | 2.1951 | 2.3684 | 2.1429 | 2.25 | 3.5294
[15 empty] | 2009-02-11 | 2.1884 | 2.8485 | 2.5161 | 3.314 | 2009-02-11 | 2.4045 | 6.125 |  |  |  | 2009-02-11 | 2.5529 | 2.7125 | 2.4111 | 1.887 | 1.8468 | 1.7714 | 2.48 | 2.2842 | 1.887 | 2.0186 | 2.4111 | 2.2256 | 1.887 | 1.702 | 2.3459 | 2.48 | 2.3459 | 2.0186 | 2.0667 | 1.9727 | 2.2842 | 2.5529 | 2009-02-12 | 1.5929 | 2.6866 | 2.4 | 2.2785 | 2.3377 | 2.4324 | 2.3377 | 2.0455 | 3.5294
[15 empty] | 2009-02-18 | 2.5401 |  | 2.4375 | 3.3529 | 2009-02-18 | [5 empty] | 2009-02-18 | 2.5529 | 2.5529 | 2.1171 | 2.6303 | 2.5529 | 2.7125 | 2.48 | 2.6303 | 1.9727 | 2.5529 | 2.7125 | 2.48 | 2.2842 | 2.6303 | 2.6303 | 2.8933 | 2.6303 | 2.7125 | 2.5529 | 2.17 | 2.8 | 2.6303 | 2009-03-02 | 1.5385 | 2.3077 | 2.4 | 2.5352 | 2.7273 | 2.4 | 2.4324 | 2.5714 | 3.75
[15 empty] | 2009-03-02 | 2.4582 | 2.5199 | 2.2286 | 3.3333 | 2009-03-02 | 2.5181 | 6.125 | 2.3966 |  |  | 2009-03-02 | 2.8933 | 2.9931 | 3.2148 | 2.8 | 2.2842 | 2.0186 | 2.3459 | 2.7125 | 2.5529 | 2.3459 | 2.8933 | 2.5529 | 2.2256 | 2.2842 | 2.6303 | 1.9727 | 1.887 | 1.8468 | 2.3459 | 2.2842 | 2.2842 | 2.7125 | 2009-03-05 | 1.6071 | 2.3684 | 2.25 | 2.3377 | 2.25 | 2.2785 | 2.093 | 2.2785 | 3.8298
[5 empty] | 2009-03-23: 2009-03-05; 2009-03-25: 2.1477; 2009-04-10: 2009-03-05; 2009-04-14: 2.3659; 2009-05-08: 2009-03-05; 2009-05-12: 2.0186; 2009-05-19: 2.17; 2009-05-22: 2.48; 2009-05-26: 2.7125; 2009-06-02: 2.2842; 2009-06-05: 2.2842; 2009-06-09: 2.17; 2009-06-16: 2.0667; 2009-06-18: 1.887; 2009-06-23: 1.9727; 2009-07-01: 1.8083; 2009-07-03: 2.2256; 2009-07-06: 2.2842; 2009-07-14: 2.2256; 2009-07-16: 1.7714; 2009-07-20: 2.0667; 2009-07-28: 2.3459; 2009-07-30: 2.1171 | 1.9727 | 1.9727 | 2.0667 | 2.3459 | 2009-03-10 | 1.6364 | 2.4658 | 2.25 | 2.0455 | 2.3377 | 2.5352 | 2.25 | 2.5352 | 3.6735
[15 empty] | 2009-03-10 | 2.1965 | 2.434 | 2.4 | 3.1319 | 2009-03-10 | 2.4143 | 6.125 | 2.3559 |  |  | 2009-03-10 | 2.4111 | 2.8 | 2.3459 | 2.2842 | 2.3459 | 2.0186 | 2.1171 | 2.0186 | 1.9727 | 2.48 | 1.9727 | 2.1171 | 2.1171 | 2.2842 | 2.0186 | 2.1171 | 2.17 | 1.9289 | 2.1171 | 2.0667 | 2.0667 | 2.5529 | 2009-03-12 | 1.6364 | 2.5714 | 2.7273 | 2.4658 | 2.5 | 2.4 | 2.2785 | 2.4658 | 3.5294
[5 empty] | 2009-03-23: 2009-03-12; 2009-03-25: 2.3748; 2009-04-10: 2009-03-12; 2009-04-14: 2.5083; 2009-05-08: 2009-03-12; 2009-05-12: 2.8933; 2009-05-19: 2.17; 2009-05-22: 2.5529; 2009-05-26: 2.4111; 2009-06-02: 1.887; 2009-06-05: 2.3459; 2009-06-09: 2.8933; 2009-06-16: 2.48; 2009-06-18: 2.2842; 2009-06-23: 2.17; 2009-07-01: 2.3459; 2009-07-03: 2.2842; 2009-07-06: 2.2256; 2009-07-14: 2.2842; 2009-07-16: 2.3459; 2009-07-20: 2.2256; 2009-07-28: 2.2842; 2009-07-30: 2.3459 | 2.48 | 2.1171 | 2.2256 | 2.9931 | 2009-03-16 | 1.4634 | 2.5 | 2.25 | 2.1429 | 2.25 | 2.1687 | 1.9355 | 2.3684 | 3.2143
[15 empty] | 2009-03-16 | 2.2388 | 2.5744 | 2.4 | 3.1667 | 2009-03-16 | 2.2548 | 6.125 | 2.1061 |  |  | 2009-03-16 | 2.4111 | 2.8 | 2.5529 | 2.1171 | 1.6074 | 1.8468 | 2.0186 | 2.3459 | 2.1171 | 1.887 | 2.0667 | 2.48 | 2.2256 | 2.17 | 2.2256 | 2.5529 | 2.3459 | 2.3459 | 1.9727 | 2.2256 | 2.2256 | 2.7125 | 2009-03-19 | 1.4876 | 2.5 | 2.5352 | 2.6866 | 2.4324 | 2.3377 | 2.2222 | 2.4658 | 3.2143
[5 empty] | 2009-03-23: 2009-03-19; 2009-03-25: 2.3479; 2009-04-10: 2009-03-19; 2009-04-14: 2.4313; 2009-05-08: 2009-03-19; 2009-05-12: 2.7125; 2009-05-19: 1.8468; 2009-05-22: 2.2256; 2009-05-26: 2.5529; 2009-06-02: 2.0667; 2009-06-05: 2.0667; 2009-06-09: 2.3459; 2009-06-16: 2.6303; 2009-06-18: 2.0186; 2009-06-23: 2.48; 2009-07-01: 2.0667; 2009-07-03: 2.3459; 2009-07-06: 2.4111; 2009-07-14: 2.48; 2009-07-16: 2.3459; 2009-07-20: 2.48; 2009-07-28: 2.5529; 2009-07-30: 2.5529 | 2.4111 | 2.48 | 2.17 | 2.4111 | 2009-03-23 | 1.6364 | 2.5714 | 2.5714 | 2.7273 | 2.3377 | 2.5352 | 2.0225 | 2.2785 | 3.4615
[15 empty] | 2009-03-23 | 2.0201 | 2.4577 | 2.3636 | 3.1319 | 2009-03-23 | 2.4602 | 5.4444 | 2.3167 |  |  | 2009-03-23 | 2.17 | 2.0667 | 2.1171 | 2.17 | 1.9727 | 1.9727 | 2.3459 | 2.48 | 0.98636 | 1.702 | 2.1171 | 2.2256 | 1.736 | 2.17 | 1.8468 | 1.8083 | 1.736 | 1.9727 | 2.2256 | 1.8468 | 1.9727 | 2.8 | 2009-03-25 | 1.5929 | 2.2785 | 2.4324 | 2.4 | 2.5 | 2.6087 | 2.3684 | 2.3377 | 3.6735
[5 empty] | 2009-03-23: 2009-03-25; 2009-03-25: 2.4258; 2009-04-10: 2009-03-25; 2009-04-14: 2.4658; 2009-05-08: 2009-03-25; 2009-05-12: 2.9931; 2009-05-19: 2.6303; 2009-05-22: 2.7125; 2009-05-26: 2.5529; 2009-06-02: 1.887; 2009-06-05: 2.17; 2009-06-09: 2.8933; 2009-06-16: 2.3459; 2009-06-18: 1.9727; 2009-06-23: 1.8468; 2009-07-01: 2.8933; 2009-07-03: 2.2256; 2009-07-06: 2.8; 2009-07-14: 2.8; 2009-07-16: 2.3459; 2009-07-20: 2.2842; 2009-07-28: 2.0667; 2009-07-30: 2.48 | 2.2842 | 2.2842 | 2.3459 | 2.5529 | 2009-03-31 | 1.6822 | 2.4658 | 2.5 | 2.3377 | 2.5352 | 2.5714 | 2.1687 | 2.4324 | 3.3962
[15 empty] | 2009-03-31 | 2.3482 | 2.5126 | 2.6 | 2.9534 | 2009-03-31 | 2.4544 | 6.125 | 2.1385 |  |  | 2009-03-31 | 2.6303 | 2.5529 | 2.8933 | 2.3459 | 1.9727 | 1.9727 | 2.5529 | 2.48 | 2.4111 | 2.4111 | 2.48 | 2.3459 | 1.6377 | 2.3459 | 2.6303 | 2.6303 | 2.3459 | 2.2256 | 2.17 | 2.0667 | 1.9289 | 2.6303 | 2009-04-02 | 1.5 | 2.3684 | 2.4 | 2.3684 | 2.4658 | 2.6471 | 2.25 | 2.3684 | 3.75
[5 empty] | 2009-03-23: 2009-04-02; 2009-03-25: 2.395; 2009-04-10: 2009-04-02; 2009-04-14: 2.4576; 2009-05-08: 2009-04-02; 2009-05-12: 2.7125; 2009-05-19: 1.9727; 2009-05-22: 2.8; 2009-05-26: 2.8; 2009-06-02: 2.5529; 2009-06-05: 2.48; 2009-06-09: 2.3459; 2009-06-16: 2.48; 2009-06-18: 1.887; 2009-06-23: 2.1171; 2009-07-01: 2.2842; 2009-07-03: 2.2842; 2009-07-06: 2.6303; 2009-07-14: 2.5529; 2009-07-16: 2.0667; 2009-07-20: 2.5529; 2009-07-28: 2.48; 2009-07-30: 2.17 | 2.2842 | 2.4111 | 2.48 | 2.3459 | 2009-04-07 | 2.0225 | 2.9032 | 2.7273 | 2.4658 | 2.5352 | 2.5714 | 2.4658 | 2.3684 | 3.6
[15 empty] | 2009-04-07 | 2.4621 | 2.6972 | 2.6 | 3.2571 | 2009-04-07 | 2.6288 | 5.4444 | 2.3559 |  |  | 2009-04-07 | 2.7125 | 2.4111 | 2.7125 | 2.7125 | 2.17 | 1.9289 | 2.6303 | 2.48 | 1.9289 | 2.17 | 2.8 | 2.7125 | 2.6303 | 2.48 | 2.6303 | 2.4111 | 1.6692 | 2.4111 | 2.7125 | 2.48 | 2.48 | 2.8933 | 2009-04-10 | 1.7143 | 2.3684 | 2.6087 | 2.6471 | 2.5714 | 2.5 | 2.5 | 2.4 | 3.4615
[5 empty] | 2009-03-23: 2009-04-10; 2009-03-25: 2.2396; 2009-04-10: 2009-04-10; 2009-04-14: 2.5302; 2009-05-08: 2009-04-10; 2009-05-12: 2.3459; 2009-05-19: 2.4111; 2009-05-22: 2.6303; 2009-05-26: 2.6303; 2009-06-02: 2.48; 2009-06-05: 2.48; 2009-06-09: 2.2842; 2009-06-16: 2.5529; 2009-06-18: 1.702; 2009-06-23: 1.9289; 2009-07-01: 2.3459; 2009-07-03: 2.0667; 2009-07-06: 1.9727; 2009-07-14: 2.1171; 2009-07-16: 2.3459; 2009-07-20: 2.4111; 2009-07-28: 2.3459; 2009-07-30: 2.1171 | 1.887 | 1.9289 | 2.17 | 2.1171 | 2009-04-14 | 1.9149 | 2.5714 | 2.6471 | 2.5 | 2.7692 | 2.5714 | 2.3077 | 2.6866 | 3.5294
[5 empty] | 2009-03-23: 2009-04-14; 2009-03-25: 2.2448; 2009-04-10: 2009-04-14; 2009-04-14: 2.6109; 2009-05-08: 2009-04-14; 2009-05-12: 2.4111; 2009-05-19: 2.6303; 2009-05-22: 2.0186; 2009-05-26: 2.2842; 2009-06-02: 2.17; 2009-06-05: 1.8468; 2009-06-09: 2.2842; 2009-06-16: 1.702; 2009-06-18: 2.17; 2009-06-23: 2.2842; 2009-07-01: 2.4111; 2009-07-03: 2.4111; 2009-07-06: 2.0186; 2009-07-14: 2.2256; 2009-07-16: 2.1171; 2009-07-20: 2.17; 2009-07-28: 2.2842; 2009-07-30: 2.2842 | 2.2256 | 2.2256 | 2.4111 | 2.8 | 2009-04-21 | 2.0455 | 2.7273 | 2.4658 | 2.4658 | 2.4 | 2.5352 | 2.4324 | 2.3377 | 3.75
[15 empty] | 2009-04-21 | 2.4496 | 2.6376 | 2.7368 | 2.6761 | 2009-04-21 | 2.5733 | 3.7692 | 2.3559 |  |  | 2009-04-21 | 2.8933 | 2.7125 | 2.48 | 2.3459 | 1.887 | 2.0667 | 2.8933 | 2.6303 | 2.5529 | 2.2842 | 2.7125 | 2.1171 | 2.4111 | 2.3459 | 2.0667 | 2.48 | 2.6303 | 2.6303 | 2.2842 | 2.2842 | 2.5529 | 2.6303 | 2009-04-24 | 1.5652 | 2.3377 | 2.3684 | 2.4658 | 2.2222 | 2.5714 | 2.5352 | 2.5714 | 3.3962
[5 empty] | 2009-03-23: 2009-04-24; 2009-03-25: 2.7564; 2009-04-10: 2009-04-24; 2009-04-14: 2.4482; 2009-05-08: 2009-04-24; 2009-05-12: 2.8; 2009-05-19: 2.8933; 2009-05-22: 2.7125; 2009-05-26: 2.8933; 2009-06-02: 2.5529; 2009-06-05: 2.8; 2009-06-09: 2.5529; 2009-06-16: 2.48; 2009-06-18: 2.7125; 2009-06-23: 2.7125; 2009-07-01: 2.8; 2009-07-03: 2.3459; 2009-07-06: 2.6303; 2009-07-14: 2.2842; 2009-07-16: 2.7125; 2009-07-20: 2.7125; 2009-07-28: 2.6303; 2009-07-30: 2.6303 | 2.8933 | 3.3385 | 3.2148 | 3.3385 | 2009-04-27 | 1.8947 | 2.6471 | 2.6866 | 2.7692 | 2.4658 | 2.5 | 2.1176 | 3 | 3.75
[5 empty] | 2009-03-23: 2009-04-27; 2009-03-25: 2.6595; 2009-04-10: 2009-04-27; 2009-04-14: 2.6479; 2009-05-08: 2009-04-27; 2009-05-12: 2.5529; 2009-05-19: 2.8; 2009-05-22: 1.887; 2009-05-26: 2.48; 2009-06-02: 3.1; 2009-06-05: 2.0667; 2009-06-09: 2.5529; 2009-06-16: 2.8; 2009-06-18: 2.7125; 2009-06-23: 2.3459; 2009-07-01: 3.472; 2009-07-03: 2.48; 2009-07-06: 2.7125; 2009-07-14: 2.4111; 2009-07-16: 2.8933; 2009-07-20: 2.8933; 2009-07-28: 2.48; 2009-07-30: 2.6303 | 2.7125 | 2.7125 | 2.7125 | 3.1 | 2009-05-05 | 1.9149 | 2.7273 | 2.5352 | 2.5 | 2.5714 | 2.5714 | 2.25 | 2.1176 | 3.2727
[15 empty] | 2009-05-05 | 2.5839 | 2.39 | 2.2609 | 3.9041 | 2009-05-05 | 2.4956 | 4.9 | 2.4821 |  |  | 2009-05-05 | 2.7125 | 2.7125 | 2.8 | 2.8 | 2.6303 | 2.7125 | 2.48 | 2.2842 | 2.48 | 2.0667 | 2.48 | 2.3459 | 2.8933 | 2.8933 | 2.3459 | 2.4111 | 2.1171 | 2.2256 | 2.6303 | 2.8 | 2.5529 | 3.472 | 2009-05-08 | 2.1687 | 2.6866 | 2.5 | 2.3377 | 2.25 | 2.5 | 2.5 | 2.6087 | 3.6
[5 empty] | 2009-03-23: 2009-05-08; 2009-03-25: 3.1977; 2009-04-10: 2009-05-08; 2009-04-14: 2.5724; 2009-05-08: 2009-05-08; 2009-05-12: 3.6167; 2009-05-19: 3.3385; 2009-05-22: 3.3385; 2009-05-26: 3.2148; 2009-06-02: 3.2148; 2009-06-05: 3.3385; 2009-06-09: 2.8933; 2009-06-16: 3.3385; 2009-06-18: 3.2148; 2009-06-23: 2.9931; 2009-07-01: 3.3385; 2009-07-03: 3.3385; 2009-07-06: 2.7125; 2009-07-14: 2.5529; 2009-07-16: 3.2148; 2009-07-20: 3.3385; 2009-07-28: 2.9931; 2009-07-30: 3.1 | 3.2148 | 3.1 | 3.472 | 3.472 | 2009-05-12 | 1.5254 | 2.2785 | 2.6866 | 2.6087 | 2.4 | 2.4 | 2.2785 | 2.4658 | 3.6
[5 empty] | 2009-03-23: 2009-05-12; 2009-03-25: 3.0214; 2009-04-10: 2009-05-12; 2009-04-14: 2.4715; 2009-05-08: 2009-05-12; 2009-05-12: 3.2148; 2009-05-19: 3.2148; 2009-05-22: 3.3385; 2009-05-26: 3.3385; 2009-06-02: 3.1; 2009-06-05: 2.8933; 2009-06-09: 3.2148; 2009-06-16: 3.1; 2009-06-18: 3.3385; 2009-06-23: 2.8933; 2009-07-01: 2.8; 2009-07-03: 3.3385; 2009-07-06: 2.9931; 2009-07-14: 2.6303; 2009-07-16: 3.3385; 2009-07-20: 3.1; 2009-07-28: 2.8933; 2009-07-30: 3.1 | 2.8933 | 2.8 | 2.7125 | 2.2256 | 2009-05-19 | 1.8 | 2.6866 | 3 | 2.5352 | 2.5714 | 2.8125 | 2.5352 | 2.5714 | 3.4615
[15 empty] | 2009-05-19 | 2.8282 | 2.19 | 2.026 | 2.767 | 2009-05-19 | 2.6638 | 4.0833 | 2.1061 |  |  | 2009-05-19 | 2.8933 | 2.4111 | 3.2148 | 3.1 | 1.9289 | 2.8 | 2.5529 | 3.1 | 2.1171 | 2.17 | 2.5529 | 2.4111 | 2.8 | 2.8933 | 2.9931 | 2.8933 | 2.6303 | 2.9931 | 3.3385 | 3.6167 | 3.472 | 3.3385 | 2009-05-22 | 2.0225 | 2.9032 | 2.6471 | 2.4324 | 2.5714 | 2.5714 | 2.4658 | 2.4658 | 3.4615
[5 empty] | 2009-03-23: 2009-05-22; 2009-03-25: 2.9874; 2009-04-10: 2009-05-22; 2009-04-14: 2.6157; 2009-05-08: 2009-05-22; 2009-05-12: 3.472; 2009-05-19: 2.8933; 2009-05-22: 3.472; 2009-05-26: 2.5529; 2009-06-02: 2.9931; 2009-06-05: 2.7125; 2009-06-09: 3.1; 2009-06-16: 2.9931; 2009-06-18: 2.7125; 2009-06-23: 2.8; 2009-07-01: 2.5529; 2009-07-03: 2.8933; 2009-07-06: 2.7125; 2009-07-14: 3.1; 2009-07-16: 3.1; 2009-07-20: 3.2148; 2009-07-28: 3.2148; 2009-07-30: 2.9931 | 3.472 | 3.3385 | 2.8 | 2.6303 | 2009-05-26 | 1.9149 | 2.4 | 2.4324 | 2.2785 | 2.1429 | 2.2222 | 2.4658 | 2.4658 | 3.3333
[5 empty] | 2009-03-23: 2009-05-26; 2009-03-25: 2.9207; 2009-04-10: 2009-05-26; 2009-04-14: 2.4062; 2009-05-08: 2009-05-26; 2009-05-12: 2.5529; 2009-05-19: 2.3459; 2009-05-22: 3.2148; 2009-05-26: 3.1; 2009-06-02: 2.6303; 2009-06-05: 2.6303; 2009-06-09: 3.1; 2009-06-16: 3.1; 2009-06-18: 2.8; 2009-06-23: 3.2148; 2009-07-01: 2.8933; 2009-07-03: 2.6303; 2009-07-06: 2.7125; 2009-07-14: 2.9931; 2009-07-16: 2.5529; 2009-07-20: 2.9931; 2009-07-28: 3.1; 2009-07-30: 2.8933 | 2.9931 | 2.9931 | 3.472 | 3.3385 | 2009-06-02 | 2.1687 | 2.8125 | 2.6087 | 2.6087 | 2.7692 | 2.5 | 2.6471 | 2.5352 | 3.2727
[15 empty] | 2009-06-02 | 2.8961 | 2.1265 | 2.1972 | 2.6027 | 2009-06-02 | 2.6581 | 4.0833 | 2.4386 |  |  | 2009-06-02 | 2.7125 | 2.9931 | 3.2148 | 3.2148 | 3.1 | 3.1 | 3.1 | 3.1 | 2.8933 | 2.3459 | 3.1 | 2.7125 | 2.7125 | 2.7125 | 2.5529 | 2.7125 | 1.7714 | 3.1 | 3.1 | 3.472 | 3.1 | 2.8933 | 2009-06-05 | 1.9565 | 2.5352 | 2.5714 | 2.25 | 2.3684 | 2.5352 | 2.6866 | 2.6471 | 3.3333
[5 empty] | 2009-03-23: 2009-06-05; 2009-03-25: 3.0993; 2009-04-10: 2009-06-05; 2009-04-14: 2.5426; 2009-05-08: 2009-06-05; 2009-05-12: 3.2148; 2009-05-19: 2.9931; 2009-05-22: 3.3385; 2009-05-26: 2.4111; 2009-06-02: 3.472; 2009-06-05: 2.5529; 2009-06-09: 3.1; 2009-06-16: 3.2148; 2009-06-18: 3.1; 2009-06-23: 3.472; 2009-07-01: 3.2148; 2009-07-03: 2.8; 2009-07-06: 3.2148; 2009-07-14: 3.3385; 2009-07-16: 3.2148; 2009-07-20: 3.3385; 2009-07-28: 2.8933; 2009-07-30: 3.2148 | 3.6167 | 3.472 | 2.2842 | 2.7125 | 2009-06-09 | 2.1687 | 2.6866 | 2.4658 | 2.4658 | 2.3684 | 2.4324 | 2.3684 | 2.4324 | 3.2143
[5 empty] | 2009-03-23: 2009-06-09; 2009-03-25: 2.9965; 2009-04-10: 2009-06-09; 2009-04-14: 2.5114; 2009-05-08: 2009-06-09; 2009-05-12: 3.2148; 2009-05-19: 3.3385; 2009-05-22: 3.6167; 2009-05-26: 3.1; 2009-06-02: 2.9931; 2009-06-05: 2.9931; 2009-06-09: 3.1; 2009-06-16: 2.8933; 2009-06-18: 2.9931; 2009-06-23: 3.472; 2009-07-01: 3.1; 2009-07-03: 3.472; 2009-07-06: 3.2148; 2009-07-14: 2.9931; 2009-07-16: 3.1; 2009-07-20: 3.2148; 2009-07-28: 2.48; 2009-07-30: 2.5529 | 2.7125 | 2.8 | 2.2842 | 2.2842 | 2009-06-16 | 1.8182 | 2.25 | 2.4658 | 2.4 | 2.4658 | 2.4658 | 2.4658 | 2.4 | 3.4615
[15 empty] | 2009-06-16 | 2.9642 | 2.2652 | 2.137 | 2.6887 | 2009-06-16 | 2.4659 | 4.0833 | 2.0441 |  |  | 2009-06-16 | 2.9931 | 2.6303 | 3.3385 | 3.2148 | 2.9931 | 2.6303 | 3.3385 | 2.6303 | 2.8 | 2.4111 | 2.8933 | 3.1 | 2.6303 | 3.472 | 3.1 | 3.2148 | 2.2256 | 2.17 | 3.2148 | 3.1 | 3.3385 | 3.7739 | 2009-06-18 | 2.0455 | 2.6471 | 2.7273 | 2.6471 | 2.5714 | 2.6087 | 2.4658 | 2.5714 | 3.3962
[15 empty] | 2009-06-18 | 2.8534 | 1.9606 | 2 | 2.3457 | 2009-06-18 | 2.6312 | 3.5 | 2.3559 |  |  | 2009-06-18 | 2.9931 | 3.6167 | 3.1 | 3.1 | 2.8933 | 2.2842 | 3.2148 | 2.8933 | 2.2256 | 3.2148 | 2.8933 | 2.4111 | 2.5529 | 2.0667 | 2.7125 | 2.6303 | 2.8 | 2.4111 | 3.2148 | 3.2148 | 2.9931 | 3.3385 | 2009-06-23 | 1.97 | 2.57 | 2.57 | 2.54 | 2.47 | 2.54 | 2.37 | 2.65 | 3.6
[5 empty] | 2009-03-23: 2009-06-23; 2009-03-25: 2.7; 2009-04-10: 2009-06-23; 2009-04-14: 2.58; 2009-05-08: 2009-06-23; 2009-05-12: 2.4111; 2009-05-19: 2.6303; 2009-05-22: 3.2148; 2009-05-26: 2.5529; 2009-06-02: 2.9931; 2009-06-05: 2.9931; 2009-06-09: 3.1; 2009-06-16: 2.48; 2009-06-18: 2.9931; 2009-06-23: 3.1; 2009-07-01: 2.6303; 2009-07-03: 2.17; 2009-07-06: 2.48; 2009-07-14: 2.48; 2009-07-16: 2.2842; 2009-07-20: 2.17; 2009-07-28: 2.8; 2009-07-30: 2.0667 | 2.8933 | 2.8933 | 2.7125 | 3.3385 | 2009-07-01 | 1.9355 | 2.7692 | 2.5 | 2.3077 | 2.4 | 2.2785 | 2.3077 | 2.5714 | 3.6
[15 empty] | 2009-07-01 | 3.0917 | 2.45 | 2.2941 | 2.8358 | 2009-07-01 | 2.5189 | 4.9 | 2.2787 |  |  | 2009-07-01 | 3.7739 | 3.3385 | 3.2148 | 3.3385 | 2.3459 | 2.7125 | 3.1 | 3.472 | 3.1 | 3.1 | 3.1 | 3.2148 | 2.9931 | 2.9931 | 3.2148 | 2.9931 | 2.0667 | 2.7125 | 2.9931 | 3.472 | 2.9931 | 3.7739 | 2009-07-03 | 1.5652 | 2.4 | 2.3684 | 2.2785 | 2.6471 | 2.5 | 2.1687 | 2.5352 | 3.5294
[5 empty] | 2009-03-23: 2009-07-03; 2009-03-25: 2.5568; 2009-04-10: 2009-07-03; 2009-04-14: 2.4436; 2009-05-08: 2009-07-03; 2009-05-12: 3.1; 2009-05-19: 2.9931; 2009-05-22: 2.7125; 2009-05-26: 2.8; 2009-06-02: 2.7125; 2009-06-05: 2.8933; 2009-06-09: 2.8; 2009-06-16: 2.5529; 2009-06-18: 2.4111; 2009-06-23: 2.2842; 2009-07-01: 2.7125; 2009-07-03: 2.5529; 2009-07-06: 2.1171; 2009-07-14: 2.1171; 2009-07-16: 2.6303; 2009-07-20: 2.5529; 2009-07-28: 2.5529; 2009-07-30: 1.7714 | 1.7714 | 2.2842 | 2.7125 | 3.2148 | 2009-07-06 | 1.4173 | 2.25 | 2.5352 | 2.3684 | 2.3077 | 2.4324 | 2.1429 | 2.2222 | 3.3333
[5 empty] | 2009-03-23: 2009-07-06; 2009-03-25: 2.3044; 2009-04-10: 2009-07-06; 2009-04-14: 2.3344; 2009-05-08: 2009-07-06; 2009-05-12: 1.8468; 2009-05-19: 2.48; 2009-05-22: 2.6303; 2009-05-26: 2.4111; 2009-06-02: 2.1171; 2009-06-05: 2.1171; 2009-06-09: 2.7125; 2009-06-16: 2.3459; 2009-06-18: 2.6303; 2009-06-23: 2.7125; 2009-07-01: 2.6303; 2009-07-03: 2.2256; 2009-07-06: 1.8468; 2009-07-14: 1.887; 2009-07-16: 1.9289; 2009-07-20: 2.1171; 2009-07-28: 2.1171; 2009-07-30: 2.5529 | 2.2842 | 2.3459 | 2.3459 | 2.4111 | 2009-07-14 | 1.9355 | 2.2785 | 2.4 | 2.3377 | 2.4324 | 2.4324 | 2.25 | 2.4324 | 3.3962
[15 empty] | 2009-07-14 | 2.4011 | 2.39 | 2.2609 | 2.7273 | 2009-07-14 | 2.4328 | 5.4444 | 2.5273 |  |  | 2009-07-14 | 2.3459 | 2.9931 | 2.8 | 2.6303 | 2.5529 | 2.7125 | 2.0667 | 2.4111 | 2.6303 | 2.7125 | 2.6303 | 2.3459 | 2.4111 | 1.7714 | 2.3459 | 2.2842 | 2.0667 | 1.9727 | 2.3459 | 2.2256 | 2.2842 | 2.2842 | 2009-07-16 | 1.7143 | 2.4658 | 2.3377 | 2.4 | 2.3684 | 2.5714 | 2.2222 | 2.3377 | 3.5294
[5 empty] | 2009-03-23: 2009-07-16; 2009-03-25: 2.2023; 2009-04-10: 2009-07-16; 2009-04-14: 2.4385; 2009-05-08: 2009-07-16; 2009-05-12: 1.9289; 2009-05-19: 2.1171; 2009-05-22: 2.4111; 2009-05-26: 2.4111; 2009-06-02: 1.7714; 2009-06-05: 1.9289; 2009-06-09: 2.0186; 2009-06-16: 2.3459; 2009-06-18: 2.4111; 2009-06-23: 2.1171; 2009-07-01: 2.4111; 2009-07-03: 2.17; 2009-07-06: 2.2842; 2009-07-14: 2.0186; 2009-07-16: 2.4111; 2009-07-20: 2.2842; 2009-07-28: 2.2842; 2009-07-30: 2.3459 | 2.0667 | 2.4111 | 2.0186 | 2.2842 | 2009-07-20 | 1.6364 | 2.5 | 2.4658 | 2.2785 | 2.3684 | 2.4 | 2.25 | 2.4658 | 3.75
[5 empty] | 2009-03-23: 2009-07-20; 2009-03-25: 2.1188; 2009-04-10: 2009-07-20; 2009-04-14: 2.4572; 2009-05-08: 2009-07-20; 2009-05-12: 1.887; 2009-05-19: 2.4111; 2009-05-22: 2.4111; 2009-05-26: 2.48; 2009-06-02: 2.48; 2009-06-05: 2.0667; 2009-06-09: 1.7714; 2009-06-16: 2.4111; 2009-06-18: 2.0186; 2009-06-23: 2.2842; 2009-07-01: 2.0667; 2009-07-03: 2.2256; 2009-07-06: 1.736; 2009-07-14: 1.8468; 2009-07-16: 2.0186; 2009-07-20: 2.0186; 2009-07-28: 2.0186; 2009-07-30: 1.887 | 1.887 | 2.0186 | 2.1171 | 2.5529 | 2009-07-28 | 1.8367 | 2.5714 | 2.5 | 2.4324 | 2.8125 | 2.6471 | 2.2785 | 2.4 | 3.0508
[15 empty] | 2009-07-28 | 2.0242 | 2.4111 | 2.5161 | 2.9082 | 2009-07-28 | 2.5033 | 3.5 | 2.1719 |  |  | 2009-07-28 | 1.702 | 1.9727 | 2.1171 | 2.17 | 1.9727 | 1.8468 | 2.17 | 2.48 | 1.9289 | 1.736 | 2.1171 | 1.887 | 2.0667 | 2.2256 | 2.17 | 2.0186 | 2.2256 | 2.17 | 1.887 | 1.8083 | 1.9727 | 1.887 | 2009-07-30 | 1.7647 | 2.5352 | 2.5 | 2.6471 | 2.6866 | 2.7692 | 2.4324 | 2.6866 | 3.913
[15 empty] | 2009-07-30 | 2.4265 | 2.4962 | 3 | 2.9688 | 2009-07-30 | 2.6594 | 5.4444 | 2.3167 |  |  | 2009-07-30 | 2.8933 | 2.2842 | 2.8933 | 2.0186 | 2.3459 | 2.5529 | 2.7125 | 2.5529 | 2.6303 | 2.4111 | 2.6303 | 2.48 | 2.2842 | 2.3459 | 2.6303 | 2.3459 | 2.4111 | 1.9289 | 2.1171 | 2.2842 | 2.2842 | 2.3459
Note on A5: g2oddpsk: Fisheries dewatering pump pipe in channel; can cause float at times to hang up on pipe, resulting in slower velocity readings.
Note on A9: g2oddpsk: Fishway dewatering pump pipe in channel.
Note on A13: g2oddpsk: Fishway dewatering pump pipe in channel.
Note on A17: g2oddpsk: Fishway dewatering pump pipe in channel.
Note on A21: g2oddpsk: Fishway dewatering pump pipe in channel..
Note on E1: g2oddpsk: Highlight column, edit, copy, paste special, values; highlight column, format, cells, number, decimal places, 2, OK.
Note on F1: g2oddpsk: One fish unit only (F2), velocities taken at 1000 hrs.
Note on G1: g2oddpsk: One fish unito only (F2), velocities taken at 1530 hrs.
Note on G70: g2oddpsk: float hits cross support in rock channel due to high TW.
Note on G83: g2oddpsk: possible bad data.
Note on H1: g2oddpsk: Both FU1 and FU2 in service.
Note on J1: g2oddpsk: TD's TC 3/3/2009
Note on L1: g2oddpsk: TD's velocities 3/10/09 1500 hrs., JD velocities 3/11/09 pm.
Note on Q1: g2oddpsk: TD's CC 3/25/2009, JD CC 3/26/2009
Note on R1: g2oddpsk: TD's CC 3/30/09, everything else 3/31/09.
Note on Z1: g2oddpsk: JD velocities completed 5/6/2009
Note on AJ1: g2oddpsk: JD velocities 6/19/2009, TD velocities 6/20/2009.

## AVGS
John Day:
| Temp: |  | Secchi: |  | Fall Backs
Sun | 71 |  | 5.5
Mon | 71 |  | 5.5 |  | 16
Tues | 71 |  | 5.5 |  |  | Max: | 25
Wed | 73 |  | 5.5
Thur | 74 |  | 5.5 |  | 25 | Min: | 16
Fri | 74 |  | 5.5
Sat | 74 |  | 5.5
AVG: | 72.5714 | AVG: | 5.5 | AVG: | 20.5
| N.Ent | EW1 | S.Ent | SE1 | Bay1 | Bay19 | NE1 | NE2 | JBS Diff | Spill %
Sun | 1.3 | 8 | 1.3 | 8.4 | 1.7 | 1.4 | 8.8 | 8.9 | 4.5 | 30
Sun | 1.2 | 8.1 | 1.2 | 8.6 | 1.7 | 1.4 | 8.8 | 8.9 | 4.5 | 30
Mon | 1.5 | 8.3 | 1.3 | 8.6 | 1.6 | 1.4 | 9.9 | 9.1 | 4.7 | 29.7
Mon | 1.5 | 8.3 | 1.2 | 8.2 | 1.5 | 1.4 | 9.3 | 9.1 | 4.5 | 29.3
Tues | 1.3 | 8.2 | 1.1 | 8.8 | 1.4 | 1.4 | 8.6 | 9.2 | 4.7 | 30.4
Tues | 1.3 | 8.5 | 1.6 | 8.5 | 1.9 | 1.6 | 8.5 | 8.8 | 4.6 | 30
Wed | 1.3 | 7.9 | 1.1 | 8.8 | 1.7 | 1.9 | 8.4 | 9 | 4.6 | 29.8
Wed | 1.4 | 8.6 | 1 | 8.7 | 1.2 | 1.3 | 8.8 | 9 | 4.5 | 29.9
Thur | 1.3 | 8 | 1.7 | 8.1 | 2 | 1.7 | 8 | 8.6 | 4.6 | 30.2
Thur | 1.4 | 8 | 1.1 | 8.9 | 1.6 | 1.7 | 8.4 | 9 | 4.6 | 30
Fri | 1.3 | 7.9 | 1.1 | 7.3 | 1.5 | 1.3 | 7.6 | 8.5 | 4.7 | 30
Fri | 1.3 | 8 | 1.2 | 8.8 | 1.5 | 1.2 | 8.5 | 8.3 | 4.7 | 29.8
Sat | 1.2 | 8 | 1.4 | 8.2 | 1.8 | 1.5 | 8.2 | 9.1 | 4.6 | 29.9
Sat | 1.4 | 8.5 | 1.2 | 8.5 | 1.5 | 1.8 | 8.3 | 8.6 | 4.6 | 29.6
AVG: | 1.3357 | 8.1643 | 1.25 | 8.4571 | 1.6143 | 1.5 | 8.5786 | 8.8643 | 4.6 | 29.9
Note on C22: g2oddjwr: Tailwater at 158.5
Note on C26: g2oddjwr: Tailwater at 158.2
Note on E26: g2oddjwr: Tailwater at 158.9
Note on F5: g2oddjwr: Limited samples on Mondays and Thursdays 6hr samples
Note on H26: g2oddjwr: Tailwater at 158.9