## SR
FISHWAY STATUS REPORT | [7 empty] | JOHN DAY DAM
Date: | 2010-08-14 | [8 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 8/8 thru 8/14/2010 | [7 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishway inspections twice daily.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  |  | 14 | Temperature: |  | 71.2857 | F
|  |  | Out of Criteria | Limit | Comments |  |  |  | Secchi: | 5.4286 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit weirs settings |  |  | 0 | Per forebay | Set for mid forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.3643
Entrance weir EW1 |  |  | 4 | depth (≥ 8') | AVG | 8.3929 | Low Tailwater, normal this time of year
Entrance weir EW2 |  |  | 0 | No criteria | Weir closed
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit weir settings |  |  | 0 | Per forebay | Set for mid forebay to improve fish passage through CS
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.2538
Entrance weir SE1 |  |  | 1 | depth (≥ 8') | AVG | 8.3 | Low Tailwater, normal this time of year
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | AVG
Bay 1 differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.7077
N. Entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.4
Entrance weir NE1 |  |  | 0 | depth (≥ 8') | AVG | 8.6538
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | AVG | 8.5692
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0' | AVG | 1.4
Submersible traveling screens |  |  | 0 | visual inspect | Last inspection was week of 7/19. Next inspection the next week.
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | 8/13. All OK
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly | 8/13. All OK
Spill volume |  |  | 0 | 30% 24 hrs | Spill season is ending on 8/30 at 2400 hrs.
Spill pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
SMF was changed to bypass on 7/29 at 1300 hours to protect migrating smolts from excessive stress when river temperature is above 70 ⁰F.
Reduced sampling, smolt condition only will be conducted twice a week for 6 hours, Mondays and Thursdays, until river temperature drops below 70 ⁰F.
SMF will remain in sampling mode through 15 September. Then, it will operate in bypass for full flow PIT detection through November 30.
Operation: | 24 hrs /7 days biotech coverage started on 3/31, will continue through 15 September.
Elevated juvenile salmonids mortality ended on 5/19 and continues to be low/normal (less than 0.5%)
Maintenance:
Repainting of faded AWS pipes was moved out to FY '11.
All SMF equipment in service and working properly. 2-way gate is sticking and will be fixed after September 15.
Research: PNNL's research was completed on 7/20.
No research activities of any kind are occurring at SMF at this time.
Fallback | Ave | 8.5 | Minimum | 5 | Maximum | 12 | (Total of 12 hrs sample time due to water temperature)
OTHER ISSUES:
JOHN DAY
Birds: | See bird tab
Very few gulls are being observed at JD tailrace BRZ at this time. Hazing season ended on 7/27.
PSMFC pikeminnow anglers continue fishing from JD tailrace deck , they had great week catching 471 fish for the season total of 2035, through 8/8.
New construction: 15 kV tap's installation by contractor (for the North Ladder's future AWS pumps ) is ongoing.
Maintenance:
Mid season ROV grating inspection in JD South and North lower sections was accomplished on 8/9. All grating panels were found to be firmly
attached, with not even one bolt or bracket missing. NWP Office of Diving Safety's newly acquired ROV worked great in its first use within District.
It is upper end , large unit with amazing video and control capabilities, it is also significantly cheaper since it is operated by COE own team.
South fish turbine # 3 rehab - new plan is under discussion with some internal coordination by JDM underway. Contract has been awarded with new
RTS in December 2011.
South Fishway's automation work on hold due to depleted small cap funding in FY '10; expected completion is early FY'11.
Two out of six North AWS pumps are currently OOS due to mechanical failures; one bad motor, another bad gear box. One failed pump will return back
to service soon but bad motor may take longer to repair (winter maintenance ?) Three good AWS pumps are in service with one spare available at this
time.
Calibration: Conducted on 8/12. EW1 was TRd, all others OK. Gatewell drawdown was done 8/13, all are within established limits.
Operations:
South and North adult fishways are in regular service and are meeting all FPP criteria.
Summer spill operation started on 7/21. TSWs were closed and spill pattern was changed to bulk through North bays (Washington shore.)
North Ladder's CS window cleaner was fixed on 8/4 and is working well. Crowder is schedule for a motor upgrade on 8/20.
All MUs intake trashracks were raked the week of 6/7. Low debris' levels due to drought conditions this year so July raking was postponed to August.
All STS and orifices were video inspected week of 7/19; one STS had bad mesh and was replaced immediately with spare. June's inspection delayed
due to high flows, but smolt sampling results at SMF have been OK so no big issue.
STS camera device without the VBS capability. JDE(Electrical) will be replacing video system with brand new cameras/hardware soon; in contracting.
All remaining fishways' passage equipment is working well and fully meeting FPP criteria.
Research:
PNNL's TWS' 2010 evaluation was completed on 7/20. Last fish release occurred at Roosevelt on 7/17. Their crew will start removing equipment and
clean up at the forebay deck in August.
Umatilla tribe continues their adult lamprey trapping at both JD counting stations, low numbers captured so far.
CRITFC continues with monitoring of adult lamprey passage through picketed leads at JD North counting station.
U of I continues with adult lamprey PIT detections and with adult salmonids radiotelemetry tracking at both JD ladders.
Approved by; Jerry Carroll
Operation Project Manager
John Day Dam

## FishCounts
| South | North | South | North | South | North | South | North | South | North | South | North | South | North
Date | ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd | Sockeye | Sockeye | Lamprey | Lamprey | CohoAdult | CohoAdult | CohoJack | CohoJack
2010-08-08 | 210 | 11 | 40 | 1 | 479 | 187 | 5 | 2 | 14 | 42 | 0 | 0
2010-08-09 | 139 | 31 | 34 | 11 | 420 | 252 | 4 | 4 | 13 | 20 | 0 | 0
2010-08-10 | 184 | 18 | 49 | 2 | 378 | 265 | 5 | 2 | 8 | 19 | 0 | 0
2010-08-11 | 150 | 40 | 34 | 7 | 359 | 302 | 4 | 0 | 4 | 26 | 0 | 0
2010-08-12 | 68 | 22 | 38 | 4 | 283 | 268 | 2 | 1 | 2 | 18 | 0 | 0 | 0 | 1
2010-08-13 | 102 | 14 | 12 | 4 | 473 | 150 | 0 | 0 | 1 | 31 | 0 | 0 | 0 | 0
2010-08-14 | 180 | 14 | 25 | 5 | 383 | 114 | 0 | 0 | 7 | 12 | 0 | 0 | 0 | 0
Formulas:
Date = [Date, row above]+1

## Birds
S2:
S1:
S3:
P4: 18 Grebe, 14 Gulls,
3 Pelican
P3:
P2:
P1:
S4:

## AVGS
John Day:
| Temp: |  | Secchi: |  | Fallbacks
Sun | 71 |  | 5
Mon | 71 |  | 5.5 |  | 5
Tues | 71 |  | 5.5
Wed | 72 |  | 5.5
Thur | 72 |  | 5.5 |  | 12
Fri | 71 |  | 5.5
Sat | 71 |  | 5.5
AVG: | 71.2857 | AVG: | 5.4286 | AVG | 8.5
|  |  |  | MAX | 12
|  |  |  | MIN | 5
| NE1 | NE2 | S.Ent | SE1 | N.Ent | EW1 | JBS Diff | Bay1 | Bay19
Sun | 8.8 | 8.7 | 1.1 | 8.3 | 1.2 | 9 | 4.6 | 1.7 | 1.4
Sun | 9.2 | 8.7 | 1.2 | 8.4 | 1.1 | 9.8 | 4.7 | 1.7 | 1.4
Mon |  |  |  |  | 1.8 | 8.9 | 4.5
Mon | 9.3 | 8.8 | 1 | 8.5 | 1.1 | 9.9 | 4.7 | 1.6 | 1.2
Tues | 8.8 | 8.8 | 1.2 | 8.1 | 1.4 | 8.8 | 4.5 | 1.7 | 1.4
Tues | 8.4 | 8.3 | 1.3 | 8.4 | 1.4 | 8.4 | 4.5 | 1.6 | 1.8
Wed | 8 | 8.8 | 1.5 | 8 | 1.4 | 7.4 | 4.5 | 1.9 | 1.2
Wed | 8.8 | 8.7 | 1.2 | 8.4 | 1.4 | 7.8 | 4.6 | 1.8 | 1.4
Thur | 8.3 | 8.3 | 1.3 | 7.9 | 1.7 | 7.6 | 4.6 | 1.9 | 1.7
Thur | 9 | 8.8 | 1.4 | 8.5 | 1.3 | 8.1 | 4.5 | 1.7 | 1.4
Fri | 8.4 | 8.2 | 1.4 | 8.2 | 1.4 | 7.8 | 4.5 | 1.8 | 1.4
Fri | 8.4 | 8.2 | 1.2 | 8.6 | 1.2 | 8 | 4.6 | 1.5 | 1.1
Sat | 8.5 | 8.5 | 1.2 | 8.1 | 1.4 | 8 | 4.6 | 1.6 | 1.5
Sat | 8.6 | 8.6 | 1.3 | 8.5 | 1.3 | 8 | 4.5 | 1.7 | 1.3
AVG: | 8.6538 | 8.5692 | 1.2538 | 8.3 | 1.3643 | 8.3929 | 4.5643 | 1.7077 | 1.4