## SR
FISHWAY STATUS REPORT | [7 empty] | JOHN DAY DAM
Date: |  | 2010-10-03 | [7 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 9/26-10/2/2010 | [7 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishway inspections twice daily.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  |  | 14 | Temperature: |  | 67 | F
|  |  | Out of Criteria | Limit | Comments |  |  |  | Secchi: | 5.7857 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | High setting | Set for MID forebay to improve fish passage through CS
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 1 | 1.0' - 2.0' | AVG | 1.4357 | One AWS pump | pump tripped of line, resetting it may take up to 1 hr.
Entrance weir EW1 |  |  | 0 | depth (≥ 8') | AVG | 9.0714 | (see explanation in Operations paragraph)
Entrance weir EW2 |  |  | 0 | No criteria | Weir closed
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Mid setting | Set for MID forebay , regular setting.
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.2429
Entrance weir SE1 |  |  | 0 | depth (≥ 8') | AVG | 8.3929
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | AVG
Bay 1 differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.6643
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.4714
Entrance weir NE1 |  |  | 0 | depth (≥ 8') | AVG | 8.7857
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | AVG | 8.5643
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0' | AVG | 4.5857
Submersible traveling screens |  |  | 0 | visual inspect | Visual inspection with all STS s pulled was completed 9/28. Six screens were repaired.
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly | 10/2/10 all in criteria
Spill volume |  |  | 0 | per FPP | Bay two open one stop during daylight hours
Spill pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation:
SMF smolt sampling season ended and the facility was changed to bypass at switch gate on 9/15 at 0700 hrs. It will operate in bypass for full flow
PIT tag detection through 29 Nov. Staffing coverage was reduced from 24 hrs to 18 hrs a day due to less risk to fish bypassing the A/D separator.
Maintenance:
Fish sampling lab was winterized on 9/23 since it won't be used until 1 April '11.
PDS screen cleaner is OOS due to auto control issues. JDE trouble shooting it, no debris now so no problem. All other SMF equipment in service and
working properly. 2-way gate is sticking and will be fixed this coming winter.
Research: PNNL's research was completed on 7/20.
No research activities at SMF at this time.
OTHER ISSUES:
JOHN DAY
Birds: | see bird tab |  | 42 cormorants roosting on transformer towers
Very few gulls are being observed at JD tailrace BRZ at this time. Hazing season ended on 7/27. Planning for 2011 passage season underway.
PSMFC pikeminnow anglers ended fishing from JD tailrace deck on 8/28 , the season's total was 2,666 fish removed. Final report will be available soon.
New construction: 15 kV tap's installation by contractor (for the North Ladder's future AWS pumps ) is ongoing.
JD Fisheries participating in JDN entrance improvements' design; number of surveys/ inspections are scheduled for this coming winter outage.
JD south AWS turbine 3 rehab's funding was cancelled on 9/23 and this task needs a need approach again …It is likely all rehab work will be done in
house by JD Maintenance crews since this option appears to be most efficient and cost effective. ERT is still March '12.
Maintenance:
South Fishway's automation work on hold due to depleted small cap funding in FY '10; expected completion is early FY'11.
Two out of six North AWS pumps are currently OOS due to mechanical failures; one bad motor, another bad gear box. One failed pump will return
back to service soon, but bad motor may take longer to repair (winter maintenance) Three good AWS pumps are in service with one spare available at
this time.
Calibration: Conducted on 10/2. All PLCs and staff gauges were OK. Gatewell drawdown was done 10/3, all are within established limits.
Operations:
JD North AWS pumps status - one out of 3 pumps has been occasionally tripping of line due to low tailrace conditions this time of year. Due to their
current configuration pumps 1 & 2 have to be turned off first for pump 5 or 6 to start properly. From alarm , back to 3 pumps may take up to 1 hr.
South and North adult fishways are in regular service and are meeting all FPP criteria.
2010 spill operations for fish passage ended on 8/31. Bay 2 remains open at 1.6 Kcfs for adult attraction to JD North entrance through 11/30.
North Ladder's CS window brush was fixed on 8/4 . Crowder's motor upgrade was done on 8/20, but limit switch was damaged on 8/26. The repair
by contractor is pending; coordination by Construction office.
All MUs intake trashracks were raked the week of 9/13. Low debris' levels this time of year.
All STSs were pulled for direct inspection completed on 9/28. Two screens were found with bad motors and four with mesh holes/ problems.
JDM will fix them before they are returned back to service.
STS camera device 's old video system failed beyond repair at the end of August inspection. JDE(Electrical) will be replacing it with
brand new cameras / hardware over this winter outage. RTS is May 2011. All remaining '10 inspections will pull STSs for visual assessments.
All remaining fishways' passage equipment is working well and fully meeting FPP criteria.
Research:
PNNL's TWS' 2010 evaluation was completed on 7/20. Their crew will be removing equipment and performing general cleanups in October.
Planning for 2011 work underway.
Umatilla tribe continues their adult lamprey trapping at both JD counting stations, low numbers captured so far.
CRITFC continues with monitoring of adult lamprey passage through picketed leads at JD North counting station.
U of I continues with adult lamprey PIT detections and with adult salmonids radiotelemetry tracking at both JD ladders.
Approved by; Jerry Carroll
Operation Project Manager
John Day Dam
Note on H16: Terry W. Hurd: OOC at 0.4 - fish pumps off

## FishCounts
| South | North | South | North | South | North | South | North | South | North | South | North
Date | ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd | Lamprey | Lamprey | CohoAdult | CohoAdult | CohoJack | CohoJack
2010-09-26 | 11090 | 150 | 4350 | 23 | 2678 | 247 | 0 | 0 | 784 | 17 | 127 | 2
2010-09-27 | 8054 | 12 | 1505 | 12 | 2252 | 151 | 0 | 1 | 209 | 0 | 14 | 0
2010-09-28 | 2399 | 13 | 1294 | 16 | 2111 | 223 | 0 | 1 | 235 | 4 | 48 | 1
2010-09-29 | 2094 | 48 | 1070 | 23 | 2005 | 532 | 0 | 2 | 186 | 10 | 38 | 7
2010-09-30 | 6653 | 92 | 820 | 50 | 2582 | 416 | 0 | 0 | 349 | 13 | 47 | 0
2010-10-01 | 2525 | 42 | 968 | 24 | 1506 | 341 | 0 | 1 | 119 | 8 | 10 | 2
2010-10-02 | 2952 | 62 | 689 | 18 | 1846 | 340 | 2 | 1 | 250 | 2 | 19 | 0
Full flow PIT tag detections
3D9.1C2C853283 Hat. Summer Steelhead CLWH LOLOC 04/21/08 09/26/10 09/26/10 4 (4)
3D9.1C2D5A5872 Hat. Fall Chinook DWOR SNAKE3 05/31/10 09/26/10 09/26/10 3 (3)
3D9.1C2CAA65C8 Hat. Summer Steelhead NISP LSALR 04/09/09 09/26/10 09/26/10 4 (4)
3D9.1BF26ACCA8 Hat. Summer Steelhead LGR LGRRBR 05/19/08 09/27/10 09/27/10 3 (3)
3D9.1C2CAEE8C1 Hat. Fall Chinook YAKIM1 YAKIM1 04/25/08 09/29/10 09/29/10 4 (4)
3D9.1C2CE4F8E3 Hat. Summer Steelhead MAVA SALR3 04/13/09 09/30/10 09/30/10 4 (4)
3D9.1C2CFB7106 Wild Winter Steelhead 15MILC 15MILC 05/08/09 09/30/10 09/30/10 4 (4)
3D9.1C2C8D596B Hat. Fall Chinook LYFE CJRAP 04/05/10 09/30/10 09/30/10 4 (4)
3D9.1C2C9633CF Hat. Summer Steelhead GRNTRP GRNTRP 05/06/08 09/30/10 09/30/10 3 (3)
3D9.1C2D21C158 Hat. Fall Chinook DWOR SNAKE3 06/01/09 09/30/10 09/30/10 3 (3)
3D9.1C2D3CE166 ORPHAN -- Data Not Available -- 10/01/10 10/01/10 3 (3)
3D9.1C2CF9759A Wild Fall Chinook CLWR CLWR 06/28/10 10/01/10 10/01/10 2 (2)
3D9.1C2C8DDB5A Hat. Fall Chinook LYFE CJRAP 04/05/10 10/01/10 10/01/10 4 (4)
3D9.1C2CDC6820 Hat. Coho ENTH LEAV 04/23/09 10/02/10 10/02/10 4 (4)
3D9.1C2C8546DB Hat. Fall Chinook LYFE CJRAP 04/05/10 10/02/10 10/02/10 4 (4)
3D9.1BF26AB361 Wild Summer Steelhead LGR LGRRBR 05/28/08 10/02/10 10/02/10 4 (4)

## Birds
S2:
S1:
S3:3 cormorants
P4:35 gulls, 70 grebes, 1 cormorant
P3:11 cormorants, 1 gull, 3 grebes
P2:
P1:2 gulls
S4:40 grebes, 28 gulls

## AVGS
John Day:
| Temp: |  | Secchi: |  | Fallbacks
Sun | 66 |  | 6
Mon | 66 |  | 6
Tues | 66 |  | 6
Wed | 67 |  | 5.5
Thur | 68 |  | 5.5
Fri | 68 |  | 5.5
Sat | 68 |  | 6
AVG: | 67 | AVG: | 5.7857 | AVG | #DIV/0!
|  |  |  | MAX | 0
|  |  |  | MIN | 0
| NE1 | NE2 | S.Ent | SE1 | N.Ent | EW1 | JBS Diff | Bay1 | Bay19
Sun | 8.7 | 8.7 | 1.1 | 8.4 | 1.5 | 8.4 | 4.6 | 1.4 | 1.3
Sun | 9 | 8.7 | 1.4 | 8.7 | 0.4 | 8.8 | 4.6 | 1.8 | 1.3
Mon | 8.9 | 8.5 | 1.3 | 8.2 | 1.7 | 8.7 | 4.6 | 1.9 | 1.7
Mon | 8.8 | 8.6 | 1.3 | 8.3 | 1.4 | 8.8 | 4.6 | 1.7 | 1.3
Tues | 8.7 | 8.6 | 1.3 | 8.4 | 1.5 | 8.6 | 4.6 | 1.3 | 1.5
Tues | 8.2 | 8 | 1.2 | 8.3 | 1.2 | 9.6 | 4.6 | 1.6 | 1.4
Wed | 8.9 | 8.7 | 1.2 | 8.5 | 1.5 | 8.9 | 4.6 | 1.6 | 1.4
Wed | 9.1 | 8.7 | 1.3 | 8.2 | 1.8 | 9.2 | 4.7 | 1.7 | 1.5
Thur | 8.9 | 8.7 | 1.3 | 8.7 | 1.5 | 8.7 | 4.5 | 1.6 | 1.4
Thur | 8.9 | 8.2 | 1.2 | 8.3 | 1.7 | 10.4 | 4.6 | 1.8 | 1.8
Fri | 8.7 | 8.6 | 1.2 | 8.5 | 1.6 | 8.8 | 4.5 | 1.6 | 1.4
Fri | 8.8 | 8.6 | 1.1 | 8.2 | 1.1 | 9.3 | 4.5 | 1.8 | 1.5
Sat | 8.3 | 8.4 | 1.2 | 8.3 | 1.5 | 9.4 | 4.6 | 1.8 | 1.7
Sat | 9.1 | 8.9 | 1.3 | 8.5 | 1.7 | 9.4 | 4.6 | 1.7 | 1.4
AVG: | 8.7857 | 8.5643 | 1.2429 | 8.3929 | 1.4357 | 9.0714 | 4.5857 | 1.6643 | 1.4714
Note on F18: Terry W. Hurd: fish pumps off due to 3 rd pump tripping of line, returning it back to service - up to 1 hr.
Note on F26: Miro Zyndol PLC channel sensor off by .5 '. Per staff gauge, the differential was 1.7'.