## SR
FISHWAY STATUS REPORT | [6 empty] | JOHN DAY DAM
Date: |  | 2010-10-31 | [6 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 10/24-30/10 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishway inspections twice daily.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 60.2857 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 5.7857 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay | Set for HIGH forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.4214
Entrance weir EW1 |  |  | 0 | depth (≥ 8') | AVG | 8.9214
Entrance weir EW2 |  |  | 0 | No criteria | Weir closed
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay | Set for MID forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.2
Entrance weir SE1 |  |  |  | depth (≥ 8') | AVG | 8.3643
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | AVG
Bay 1 differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.7357
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.9857
Entrance weir NE1 |  |  | 0 | depth (≥ 8') | AVG | 8.3071
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | AVG | 8.2286
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0' | AVG | 4.6
Submersible traveling screens |  |  | 0 | visual inspect | Visual inspection with all STS s pulled was completed 9/28. Six screens were repaired.
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | 2010-10-30
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly
Spill volume |  |  | 0 | per FPP | Bay two open one stop during daylight hours for adult attraction to JDN
Spill pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 10 | per FPP | Line One RTS 10/29/10
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation:
SMF smolt sampling season ended and the facility was changed to bypass at switch gate on 9/15 at 0700 hrs. It will operate in bypass for full flow
PIT tag detection through 29 Nov. Staffing coverage was reduced from 24 hrs to 16 hrs a day due to less risk to fish bypassing the A/D separator.
Maintenance:
Fish sampling lab was winterized on 9/23 since it won't be used until 1 April '11.
PDS screen cleaner is OOS due to auto control issues. JDE trouble shooting it, no debris now so no problem. All other SMF equipment in service and
working properly. 2-way gate is sticking and will be fixed this coming winter.
Research: PNNL's research was completed on 7/20.
No research activities at SMF at this time.
OTHER ISSUES:
JOHN DAY
Birds: | see bird tab
Very few gulls are being observed at JD tailrace BRZ at this time. Hazing season ended on 7/27. Planning for 2011 passage season underway.
PSMFC pikeminnow anglers ended fishing from JD tailrace deck on 8/28 , the season's total was 2,666 fish removed. Final report will be available soon.
New construction: 15 kV tap's installation by contractor (for the North Ladder's future AWS pumps ) is ongoing.
JD Fisheries participating in JDN entrance improvements' design; number of surveys/ inspections are scheduled for this coming winter outage.
JD south AWS turbine 3 rehab's funding was cancelled on 9/23 and this task needs a new approach again. ETR is still March '12.
Maintenance:
Line 1 outage from 10/12 through 10/28 was coordinated/approved by FPOM; for the necessary biannual transformer maintenance.
South Fishway's automation work on hold due to a temporary shortage of labor at JDE (Electrical) ; expected completion in approximately a month (?)
Two out of six North AWS pumps are currently OOS due to mechanical failures; one bad motor, another bad gear box. One failed pump will return
back to service soon, but bad motor may take longer to repair (winter maintenance) Three good AWS pumps are in service with one spare available at
this time.
Calibration: Conducted on 10/29. All PLCs and staff gauges were OK. Gatewell drawdown was done 10/30, all are within established limits.
Operations:
MU# 13 dewatered for 5 year overhaul: scroll case on 10/12 and draft tube on 10/13. Fish salvage resulted in 3 ch cats from sc and 6 ch cats from dt,
All salvaged catfish were released back into the tailrace in excellent condition.
JD North AWS pumps status - one out of 3 pumps has been occasionally tripping of line due to low tailrace conditions this time of year. Due to their
current configuration pumps 1 & 2 have to be turned off first for pump 5 or 6 to start properly. From alarm , back to 3 pumps may take up to 1 hr.
South and North adult fishways are in regular service and are meeting all FPP criteria.
2010 spill operations for fish passage ended on 8/31. Bay 2 remains open at 1.6 Kcfs for adult attraction to JD North entrance through 11/30.
North Ladder's CS window brush was fixed on 8/4 . Crowder's motor upgrade was done on 8/20, but limit switch was damaged on 8/26. The repair
by contractor was performed on 10/4 and crowder is working properly again. More adjustments to be done this winter.
All MUs intake trashracks were raked the week of 9/13. Low debris' levels this time of year.
All STSs were pulled for direct inspection completed on 9/28. Two screens were found with bad motors and four with mesh holes/ problems.
All problems have been fixed and all 48 screens are back in service.
STS camera device 's old video system failed beyond repair at the end of August inspection. JDE(Electrical) will be replacing it with
brand new cameras / hardware over this winter outage. RTS is May 2011. All remaining '10 inspections will pull STSs for visual assessments.
All remaining fishways' passage equipment is working well and fully meeting FPP criteria.
Research:
PNNL's TWS' 2010 evaluation was completed on 7/20. Their crew will be removing equipment and performing general cleanups in November.
Planning for 2011 work underway.
Umatilla tribe completed their adult lamprey trapping at both JD counting stations on 9/27, 148 lamprey were captured this year.
CRITFC continues with monitoring of adult lamprey passage through picketed leads at JD North counting station.
U of I continues with adult lamprey PIT detections and with adult salmonids radiotelemetry tracking at both JD ladders.
Approved by Jerry Carroll
Operation Project Manager
John Day Dam

## FishCounts
| South | North | South | North | South | North | South | North | South | North | South | North
Date | ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd | Lamprey | Lamprey | CohoAdult | CohoAdult | CohoJack | CohoJack
2010-10-24 | 319 | 18 | 59 | 2 | 361 | 150 | 0 | 0 | 121 | 14 | 1 | 1
2010-10-25 | 206 | 19 | 37 | 1 | 329 | 175 | 0 | 0 | 90 | 11 | 1 | 1
2010-10-26 | 61 | 30 | 17 | 0 | 238 | 196 | 0 | 0 | 230 | 73 | 8 | 0
2010-10-27 | 181 | 20 | 18 | 2 | 530 | 436 | 0 | 0 | 506 | 73 | 7 | 8
2010-10-28 | 38 | 11 | 13 | 1 | 502 | 422 | 0 | 0 | 304 | 88 | 10 | 0
2010-10-29 | 144 | 17 | 30 | 1 | 727 | 325 | 0 | 0 | 218 | 29 | 10 | 1
2010-10-30 | 19 | 8 | 11 | 5 | 296 | 128 | 0 | 0 | 44 | 29 | 4 | 0
3D9.1C2D59E104 Hat. Fall Chinook DWOR BCCAP 06/23/10 10/24/10 10/24/10 4 (4)
3D9.1C2D4AC711 Hat. Fall Chinook DWOR BCCAP 06/30/10 10/26/10 10/26/10 4 (4)
3D9.1C2D5E7419 Hat. Fall Chinook DWOR BCCAP 06/21/10 10/27/10 10/27/10 4 (4)
3D9.1C2D5E96D6 Wild Chinook SNAKE3 SNAKE3 06/02/10 10/27/10 10/27/10 4 (4)
3D9.1C2D4E6E37 Hat. Fall Chinook DWOR BCCAP 06/23/10 10/27/10 10/27/10 3 (3)
3D9.1C2C948A46 Hat. Fall Chinook CEFLAF 10/28/10 10/28/10 4 (4)
3D9.1C2D010BC9 Hat. Fall Chinook LYFE BCCAP 04/14/10 10/29/10 10/29/10 4 (4)
3D9.1C2D631C5C Hat. Fall Chinook DWOR BCCAP 07/01/10 10/29/10 10/29/10 3 (3)
3D9.1C2D494E5E Hat. Fall Chinook DWOR BCCAP 06/28/10 10/29/10 10/29/10 4 (4)
3D9.1C2D4D92F0 Wild Chinook SNAKE4 SNAKE4 05/27/10 10/30/10 10/30/10 3 (3)
Formulas:
Date = [Date, row above]+1

## Birds
S2:
S1:
S3:
P4:120 grebes 230 gulls
P3:40 cormorants, 40 gulls
P2:
P1:3 gulls SMF outfall
S4:250 gulls on NavLock wall

## AVGS
John Day:
| Temp: |  | Secchi: |  | Fallbacks
Sun | 61 |  | 6
Mon | 60 |  | 6
Tues | 60 |  | 5.5
Wed | 61 |  | 5.5
Thur | 60 |  | 5.5
Fri | 60 |  | 6
Sat | 60 |  | 6
AVG: | 60.2857 | AVG: | 5.7857 | AVG
MAX
MIN
| NE1 | NE2 | S.Ent | SE1 | N.Ent | EW1 | JBS Diff | Bay1 | Bay19
Sun | 8.2 | 8.3 | 1.3 | 8.1 | 1.5 | 8.8 |  | 1.7 | 1.2
Sun | 8.2 | 8.2 | 1.2 | 8.2 | 1.4 | 8.6 |  | 1.6 | 1.4
Mon | 8.5 | 8.2 | 1.1 | 8.4 | 1.4 | 8.7 |  | 1.6 | 1.1
Mon | 8.1 | 8.3 | 1.2 | 8.3 | 1.4 | 8.1 | 4.5 | 1.6 | 8.3
Tues | 8.2 | 8.2 | 1.3 | 8.4 | 1.6 | 9.2 | 4.5 | 1.8 | 1.6
Tues | 8.1 | 8.1 | 1.2 | 8.3 | 1.4 | 8.5 | 4.6 | 1.6 | 1.4
Wed | 8.5 | 8.3 | 1.2 | 8.9 | 1.7 | 9.1 | 4.6 | 1.7 | 1.5
Wed | 8.4 | 8.2 | 1.2 | 8.3 | 1.2 | 9.3 | 4.6 | 2 | 1.8
Thur | 8.4 | 8.4 | 1.2 | 8.4 | 1.6 | 8.8 | 4.6 | 1.7 | 1.4
Thur | 8.3 | 8.2 | 1.2 | 8.3 | 1 | 9.2 | 4.7 | 1.9 | 1.5
Fri | 8.6 | 8.1 | 1.1 | 8.6 | 1.4 | 9.7 | 4.6 | 1.5 | 1.6
Fri | 8.3 | 8.3 | 1.2 | 8.3 | 1.2 | 8.7 | 4.6 | 1.8 | 1.4
Sat | 8.1 | 8.2 | 1.1 | 8.2 | 1.4 | 9 | 4.6 | 2 | 2
Sat | 8.4 | 8.2 | 1.3 | 8.4 | 1.7 | 9.2 | 4.7 | 1.8 | 1.6
AVG: | 8.3071 | 8.2286 | 1.2 | 8.3643 | 1.4214 | 8.9214 | 4.6 | 1.7357 | 1.9857