## SR
FISHWAY STATUS REPORT | [6 empty] | JOHN DAY DAM
Date: | 2011-12-11 | [7 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 12/04 through 12/10/2011 | [6 empty] | P.O. Box 564
Rufus, OR 97050
Phone: 541-506-3800
Fishway inspections twice daily.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 7 | Temperature: |  | 46.8571 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 6 | Ft.
NORTH FISHWAY |  |  |  |  | OOS and dewatered since 7 November. ETR mid March 2012.
Exit differential |  |  | N/A | ≤ 0.5'
Exit Control weirs |  |  | N/A | Per forebay
Count station differential |  |  | N/A | ≤ 0.3'
Weir crest depth |  |  | N/A | 1.0' ± 0.1'
Entrance differential |  |  | N/A | 1.0' - 2.0' | AVG | #DIV/0!
Entrance weir EW1 |  |  | N/A | depth (≥ 8') | AVG | #DIV/0!
Entrance weir EW2 |  |  | N/A | No criteria
SOUTH FISHWAY |  |  |  |  | 2 AWS turbine operation; turbine 3 overhaul continues with ETR January 2012
Exit differential |  |  | 0 | ≤ 0.5'
Exit Control weirs |  |  | 0 | Per forebay | Set for MID forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.2167
Entrance weir SE1 |  |  | 0 | depth (≥ 8') | AVG | 8.65
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | AVG
Bay 1 differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.5167
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.3167
Entrance weir NE1 |  |  | 0 | depth (≥ 8') | AVG | 8.1667
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | AVG | 8.25
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0' | AVG | 4.55
Submersible traveling screens |  |  | 0 | visual inspect | All STSs are working properly |  | Local Amp meters checked twice daily
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | No discrepancies.
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly | No discrepancies
Spill volume |  |  | None | per FPP
Spill pattern |  |  | N/A | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: OOS for winter maintenance. Fully dewatered on 11/17 due to a freezing weather forecast. ETR 1 April 2012
Maintenance: All flushing water pipes/valves were dewatered and SMF fully winterized by 11/18 PM.
Research: None
OTHER ISSUES:
Birds: see bird tab.
JD tailrace BRZ Avian Lines repair and improvements' contract is ongoing. All 125 lines will be available/properly tensioned for the 2012 juvenile passage
season starting on 1 April. JD Engineering and Fisheries are involved in coordination as needed.
Operations:
JD North fishway continues dewatered/OOS since 11/7. ETR is mid March 2012.
JD South fishway remains in regular service and is meeting all FPP criteria; it is scheduled for dewatering on 1/23/2012.
New construction:
Construction of a building for the future JD NFL AWS pumps ' electrical substation continues on the pump deck (downstream of Navlock.)
JD North entrance improvements, 2-years' contract by Slayden Group is underway. The first year's construction activities are to be completed by mid
March 2012.
JD South AWS turbine 3 rehab continues on schedule. ETR is January, 2012. JD Maintenance is providing the contractor's support.
Maintenance:
JD Electrical detected problems with the STS control boxes/Amps meters affecting their annunciation at CR and SMF (status displays) on 11/21.
The repairs to the STS annunciation will be performed during the winter outage, starting 12/16. JD Fisheries commenced a walk by inspections of all
local STS control panels twice a day on 11/21 and will continue them through the end of 2011 passage season to assure the full FPP compliance.
November STSs' video inspection was completed on 11/23. One STS was found with a gill net wrapped around its mesh and was replaced with a spare.
All other STS were found to be OK and are working properly.
JD South Fishway Automation is in service.
Gatewell drawdown: Conducted. All VBSs OK. All MU trashracks are raked as soon as their differential reaches 1.3' or higher.
Calibration: | 12/07/2011 All PLCs were accurate with a reading error of less than 0.3 '.
Research:
JD Fisheries team continues planning/ coordination of the 2012 research activities scheduled to take place at JD the next year.
PNNL crew removed their hydrophones from JD powerhouse and spillway's pier noses by 9/28. Planning for 2012 season's underway.
U of I continues with adult lamprey PIT detections at both JD ladders.

## FishCounts
Fish counts ended Oct. 31, 2011. To resume in the spring 2012.

## Birds
S2:no birds observed
S1: no birds observed
8 cormorant 50 gulls
P4: 100 gulls
6 grebe
P3: 38 cormorant 55 gulls, 4 Grebe
P2: no birds observed
P1: no birds observed
S4: 300+ gulls on wing wall

## AVGS
John Day:
| Temp: |  | Secchi: |  | Fallbacks
Sun | 48 |  | 6 |  | 0
Mon | 48 |  | 6 |  | 0
Tues | 47 |  | 6 |  | 0
Wed | 47 |  | 6 |  | 0
Thur | 46 |  | 6 |  | 0
Fri | 46 |  | 6 |  | 0
Sat | 46 |  | 6 |  | 0
AVG: | 46.8571 | AVG: | 6 | AVG | 0
|  |  |  | MAX | 0
|  |  |  | MIN | 0
| NE1 | NE2 | S.Ent | SE1 | N.Ent | EW1 | JBS Diff | Bay1 | Bay19
Sun | 8.2 | 8.2 | 1.3 | 8.6 | oos | oos | 4.5 | 1.7 | 1.3
Sun |  |  |  |  | oos | oos
Mon |  |  |  |  | oos | oos
Mon |  |  |  |  | oos | oos
Tues | 8.3 | 8.5 | 1 | 8.9 | oos | oos | 4.6 | 1.3 | 1.3
Tues |  |  |  |  | oos | oos
Wed | 8.1 | 8.1 | 1.4 | 8.3 | oos | oos | 4.6 | 1.5 | 1.3
Wed |  |  |  |  | oos | oos
Thur | 8.1 | 8.2 | 1.1 | 8.5 | oos | oos | 4.5 | 1.5 | 1.2
Thur |  |  |  |  | oos | oos
Fri | 8 | 8.1 | 1.1 | 8.7 | oos | oos | 4.5 | 1.4 | 1.3
Fri |  |  |  |  | oos | oos
Sat | 8.3 | 8.4 | 1.4 | 8.9 | oos | oos | 4.6 | 1.7 | 1.5
Sat |  |  |  |  | oos | oos
AVG: | 8.1667 | 8.25 | 1.2167 | 8.65 | #DIV/0! | #DIV/0! | 4.55 | 1.5167 | 1.3167