## SR
FISHWAY STATUS REPORT | [7 empty] | JOHN DAY DAM
Date: | 2009-12-20 | [8 empty] | JD/WC Project-Fisheries
Inspection Period: |  | 12/13-12/19 | [7 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishways are inspected once daily.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  |  | 7 | Temperature: |  | 41.7143 | F
|  |  | Out of Criteria | Limit | Comments |  |  |  | Secchi: | 6 | Ft.
NORTH FISHWAY |  |  |  |  | North ladder dewatered Nov16 -March for exit modification construction.
Exit differential |  |  |  | ≤ 0.5'
Exit hydraulic weirs |  |  |  | Per forebay
Count station differential |  |  |  | ≤ 0.3'
Weir crest depth |  |  |  | 1.0' ± 0.1'
Entrance differential |  |  |  | 1.0' - 2.0' |  | Entrance not to be dewatered below tailwater this winter.
Entrance weir EW1 |  |  |  | depth (≥ 8')
Entrance weir EW2 |  |  |  | No criteria | Weir closed
SOUTH FISHWAY |  |  |  |  | Scheduled for dewatering/maintenance Jan12-28.
Exit differential |  |  | 0 | ≤ 0.5'
Hydraulic weir positions |  |  | 0 | Per forebay | Set at mid forebay range
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.2143
Entrance weir SE1 |  |  | 0 | depth (≥ 8') | AVG | 8.5857
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | AVG
Bay 1 differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.9
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0' | AVG | 1.3143
Entrance weir NE1 |  |  | 0 | depth (≥ 8') | AVG | 8.9714
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | AVG | 8.9429
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0' | AVG | 4.5614 | Adjustto 33% gatewell orifice operation after STS removal
Submersible traveling screens |  |  | 0 | visual inspect | STSs removed Dec16. To be re-installed last week of Mar.
Turbine trashrack drawdown |  |  | n/a | <1.5', wkly | Resume drawdown monitoring Apr1.
Vert barrier screen drawdown |  |  | n/a | <1.5', wkly
Spill volume |  |  |  | 30%, 24hr
Spill pattern |  |  |  | per FPP
Turbine Unit Priority |  |  | 0 | per FPP | Winter priority operation per Fish Passage Plan
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Dewatered Nov30 - Apr1.
Operation: | 2009 Sampling season ended Sept15. SMF operated in bypass with 16hr daily staffing for full flow PIT tag detection from Sept15-Nov30.
Maintenance: |  | Submersible Travelling Screens pulled Dec16
All flushing/supply water pipes and valves were winterize by Fisheries and JDM crews by Dec4.
JDM planning for repaint of all flushing water supply and drainage pipes March 2010; including crest gate.
Cleaning and painting of FDS completed. JDM (Mechanical) repair of the two way gate rotation problem completed Nov18.
OTHER ISSUES:
JOHN DAY
Birds: Small numbers of grebes, cormorants and gulls around the project. Maximum daily observations: Powerhouse tailrace - 30 gulls and 25
cormorants; Powerhouse forebay 18 grebes.
New avian line installation contract in progress. No activity on site yet.
New construction: North ladder's counting station and control weirs overhaul/ improvement work started Nov17. Completion planned by Mar15, '10.
Construction crew on site. Over half original weirs removed and 2 forms installed for new weir design. Count station pickets removed.
Spillway bay 20 flow deflector is currently under construction; expected date completion early Apr '10.
Maintenance:
South fish turbine # 3 rehab ongoing. New plan in discussion. New completion date Mar1,'11.
Remaining two turbines will be completed end FY12. Two turbine operation planned to occur during all fish passage periods.
Fishway automation installation underway.
Calibration Check: |  | Dec 16. All within established limits
Operations:
North fishway winter maintenance activities underway. South fishway to be dewatered Jan12.
Main unit intake trashracks rake repair completed Oct29. Planned raking of all units prior to Apr1.
STS camera device without the VBS capability. Entire camera system to be replaced prior to Apr1.
Spill pattern developed at ERDC last week. Patterns to be incorporated into Fish Passage Plan.
Research:
Planning for hydroacoustic smolt tracking/passage study 2010 continues. Expected to be similar to 2009. All hardware already installed.
PNNL to submit research plan for project review.
University of Idaho telemetry crew continues with weekly downloading of adult lamprey PIT tag data.
Approved by Glen Smith, OPM
John Day Lock and Dam

## AVGS
John Day:
| Temp: |  | Secchi:
Sun | 43 |  | 6
Mon | 42 |  | 6
Tues | 42 |  | 6
Wed | 41 |  | 6
Thur | 42 |  | 6
Fri | 41 |  | 6
Sat | 41 |  | 6
AVG: | 41.7143 | AVG: | 6
| N.Ent | EW1 | S.Ent | SE1 | Bay1 | Bay19 | NE1 | NE2 | JBS Diff
Sun | o |  | 1.2 | 8.7 | 1.9 | 1.1 | 8.5 | 8.6 | 4.5
Sun
Mon |  |  | 1.2 | 8.9 | 2 | 1.6 | 8.5 | 8.5 | 4.6
Mon
Tues |  |  | 1.2 | 8.5 | 1.7 | 1.3 | 9.1 | 9 | 4.5
Tues | o
Wed |  |  | 1.1 | 8.8 | 2 | 1.1 | 9 | 9.1 | 4.5
Wed
Thur |  |  | 1.2 | 8.4 | 1.9 | 1.6 | 8.9 | 8.9 | 4.6
Thur
Fri | s |  | 1.2 | 8.5 | 1.9 | 1.1 | 9.4 | 9.4 | 4.63
Fri
Sat |  |  | 1.4 | 8.3 | 1.9 | 1.4 | 9.4 | 9.1 | 4.6
Sat
AVG: |  |  | 1.2143 | 8.5857 | 1.9 | 1.3143 | 8.9714 | 8.9429 | 4.5614