## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: | 2006-01-31 | [7 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 1/22 - 1/28/06 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
All items inspection once daily through 2/28/06
The Dalles Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 6 | Temperature: |  | 41.5833 | F
NORTH FISHWAY |  |  | Out of Criteria | Comments |  |  |  | Secchi: | 3.9167 | Ft.
Exit differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 2 | Set at 1.0' |  | (2) 1.3'.
Entrance differential |  |  | 0
Entrance weir N1 |  |  | 0
Entrance weir N2 |  |  |  | Closed.
PUD Intake differential |  |  | 0
EAST FISHWAY |  |  |  | Ladder flow start 1/19. Fish unit F1 and F2 return ~ 1/31.
Exit differential |  |  | 0
Removable weirs 154-157 |  |  | 2 | 156 weir out. Maintenance notified.
Weir 158-159 differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.1'
Junction pool weir JP2 |  |  | 0
Junction pool weir JP4 |  |  | 0
Junction pool weir JP6 |  |  | 0
East entrance differential |  |  | n/a | Fish units out of service
Entrance weir E1 |  |  | 0 | Set at ~6' per Fish Passage Plan. Criteria differential not achieved.
Entrance weir E2 |  |  | closed
Entrance weir E3 |  |  | closed
Collection channel velocity |  |  | 0 | 0 | average in fps. |  | Velocity meter calibrated 1/26. Fish units off=no flow.
West entrance differential |  |  | n/a | Fish units out of service
Entrance weir W1 |  |  | closed
Entrance weir W2 |  |  | closed
Entrance weir W3 |  |  | closed
South entrance differential |  |  | n/a | Fish units out of service
Entrance weir S1 |  |  | closed
Entrance weir S2 |  |  | closed
ICE/TRASH SLUICEWAY |  |  |  | Closed
Sluice gate operation |  |  | 0 | East sluicegates open. End gate closed.
SPILLWAY |  |  |  | Closed
Pattern |  |  | 0
UnitPriority |  |  | 0
1% Efficiency of turbines |  |  | 0
John Day Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 7 | Temperature: |  | 41.2857 | F
|  |  | Out of Criteria | Comments |  |  |  | Secchi: | 4.8333 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0
Exit hydraulic weirs |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'
Entrance differential |  |  | 6 | (3) 0.7', (2) 0.8', 0.9'. Maintenance notified 1/23 and corrected.
Entrance weir EW1 |  |  | 0
Entrance weir EW2 |  |  | n/a | Closed.
SOUTH FISHWAY |  |  |  | Dewatered 1/24. Ladder flow only 1/22-1/24 in preparation for dewatering.
Exit differential |  |  | 0
Hydraulic weir positions |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'
South entrance differential |  |  | 0
Entrance weir SE1 |  |  | 0
Collection channel velocity |  |  | OOS | #DIV/0! | average in fps.
Bay 1 differential |  |  | 0
N.entrance PH(Bay 19)differential |  |  | 0
Entrance weir NE1 |  |  | 0
Entrance weir NE2 |  |  | 0
JUVENILE BYPASS SYSTEM |  |  |  | Every third orifice open, rotated twice weekly. All STSs removed and stored in gatewell.
Forebay/conduit differential |  |  | 0
SPILLWAY |  |  |  | Closed
Pattern |  |  | 0
Unit Priority |  |  | 0
1% Efficiency of turbines |  |  | 0
Zebra Mussel Sampling Sites
The Dalles |  |  |  | John Day
| East Ladder | Not Present |  |  | South Ladder | Not Present
| North Ladder | Not Present |  |  | North Ladder | Not Present
SMOLT MONITORING FACILITY
Operation: |  | Dewatered 9/15/05, RTS 4/3/06.
Maintenance: |  | Routine PM underway.
OTHER ISSUES:
THE DALLES
Moderate cormorant numbers roosting on north forebay powerline towers and in forebay. USDA hazing tentive return date 4/1, depending on funding.
Avian line adjustments for spillway still scheduled mid march, likely with project labor.
Fish unit return scheduled for 1/31, after occlusion plate removal contract is out of area.
Occlusion plate removal in progress. Fish units,main unit 1 and part of main unit 2 completed.
Spillway cable replacement in progress. Dewatering challenge overcome with penant mod to hoist tainter gates.
Calibrations completed 1/25. Entrance weirs E1, W2, S1, and south entrance channel/tailwater off. Maintenance corrected.
Research; UofI planning half duplex anntennae install at south exit. Planning meetings underway for 06 research.
JOHN DAY
Very few gulls around project. USDA hazing tentative return date 4/1, depending on funding. Avian line replacements over spillway also pending
funding.
ROV inspection for south fish turbine bulkhead installation 1/23, in preparation for fishway dewatering. Some debris found and removed from area.
South fishladder dewatered for annual maintenance 1/24. Thirteen juvenile steelhead removed and released to tailwater. No adult steelhead or
lamprey observed during dewatering. Grating removed from lower diffusers for lamprey trap installation. No lamprey caught to date. Daily
inspections continue.
No calibrations completed for report period.
Research; UofI planning half duplex anntennae install at north exit.
Approved by;
Gene LaDouceur
Project Manager
The Dalles/JohnDay/Willow Creek

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 42 | Secchi: | 4.5 | Velocity: | 0 | Temp: | 41 | Secchi: | 5.5 | Velocity:
| 41 |  | 4.5 |  | 0 |  | 42 |  | 6
| 42 |  | 3.5 |  | 0 |  | 41 |  | 6
| 41.5 |  | 3 |  |  |  | 41 |  | 3
| 42 |  | 3 |  |  |  | 42 |  | 3
| 41 |  | 5 |  |  |  | 41 |  | 5.5
41
AVG: | 41.5833 | AVG: | 3.9167 | AVG: | 0 | AVG: | 41.2857 | AVG: | 4.8333 | AVG: | #DIV/0!