## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: 3/27/06 | [8 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 3/19-25/2006 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
All areas are checked twice a day.
The Dalles Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 13 | Temperature: |  | 42.9231 | F
NORTH FISHWAY |  |  | Out of Criteria | Comments |  |  |  | Secchi: | 4.3333 | Ft.
Exit differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'
Entrance differential |  |  | 0
Entrance weir N1 |  |  | 0
Entrance weir N2 |  |  |  | Closed.
PUD Intake differential |  |  | 0
EAST FISHWAY
Exit differential |  |  | 0
Removable weirs 154-157 |  |  | 0
Weir 158-159 differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.1'
Junction pool weir JP2 |  |  | N/A
Junction pool weir JP4 |  |  | N/A
Junction pool weir JP6 |  |  | 0
East entrance differential |  |  | 0
Entrance weir E1 |  |  | 0
Entrance weir E2 |  |  | 0
Entrance weir E3 |  |  | 0
Collection channel velocity |  |  | 1 | 1.6692 | average in fps. Minimum of 1.4 fps.
West entrance differential |  |  | 0
Entrance weir W1 |  |  | 0
Entrance weir W2 |  |  | 0
Entrance weir W3 |  |  | 0
South entrance differential |  |  | 0
Entrance weir S1 |  |  | 0
Entrance weir S2 |  |  | 0
ICE/TRASH SLUICEWAY
Sluice gate operation |  |  |  | Closed.
SPILLWAY
Pattern |  |  |  | On seal.
Unit Priority |  |  | 0
1% Efficiency of turbines |  |  | 0
John Day Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 13 | Temperature: |  | 43.3846 | F
|  |  | Out of Criteria | Comments |  |  |  | Secchi: | 8.5385 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0
Exit hydraulic weirs |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'
Entrance differential |  |  | 0
Entrance weir EW1 |  |  | 0
Entrance weir EW2 |  |  |  | Closed.
SOUTH FISHWAY
Exit differential |  |  | 0
Hydraulic weir positions |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'
South entrance differential |  |  | 0
Entrance weir SE1 |  |  | 0
Collection channel velocity |  |  | 7 | 1.4538 | average in fps. Minimum of 1.2 fps.
Bay 1 differential |  |  | 0
N.entrance PH(Bay 19)differential |  |  | 0
Entrance weir NE1 |  |  | 1 | 7.9'
Entrance weir NE2 |  |  | 2 | Minimum of 7.8'
JUVENILE BYPASS SYSTEM
Forebay/conduit differential |  |  | 1 | 3.8'
SPILLWAY
Pattern |  |  | 0
Unit Priority |  |  | 0 | Main units 1-4 unavailable.
1% Efficiency of turbines |  |  | 0
Zebra Mussel Sampling Sites
The Dalles |  |  |  | John Day
| East Ladder | Not Present |  |  | South Ladder | Not Present
| North Ladder | Not Present |  |  | North Ladder | Not Present
SMOLT MONITORING FACILITY
Operation: | The facility will be watered-up on April 3rd.
Maintenance: Maintenance is replacing cracked PVC pipe and capping off a broken valve.
OTHER ISSUES:
THE DALLES
Bird Observations:
North ladder exit - 20 coots and 20 cormorants
Forebay - 74 coots, 6 cormorants, and 1 gull
Tailrace - 1 cormorant, 1 goose, and 1 gull
Calibrations were completed on 3/21/06. All was within criteria except the east entrances. A TR has already been turned in on this.
JOHN DAY
Bird Observations:
Forebay - 13 coots and 3 gull
Tailrace - 6 cormorants and 3 gull
Calibrations were completed on 3/20/06 and all was within criteria.

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 44 | Secchi: | 4 | Velocity: | 1.4 | Temp: | 45 | Secchi: | 6 | Velocity: | 1.4
| 44 |  | 4 |  | 1.7 |  | 45 |  | 6 |  | 1.2
| 43 |  | 4.5 |  | 1.6 |  | 45 |  | 5.5 |  | 1.4
| 44 |  | 4.5 |  | 1.6 |  | 45 |  | 5.5 |  | 1.5
| 43 |  | 4 |  | 1.9 |  | 44 |  | 5.5 |  | 1.7
| 43 |  | 4 |  | 1.8 |  | 43 |  | 5 |  | 1.4
| 43 |  | 4 |  | 1.6 |  | 42 |  | 5 |  | 1.6
| 43 |  | 4.5 |  | 1.7 |  | 43 |  | 5.5 |  | 1.8
| 43 |  | 4.5 |  | 1.7 |  | 42 |  | 5.5 |  | 1.5
| 42 |  | 4 |  | 1.7 |  | 42 |  | 5.5 |  | 1.3
| 42 |  | 4.5 |  | 1.7 |  | 42 |  | 5.5 |  | 1.5
| 42 |  | 5.5 |  | 1.7 |  | 42 |  | 5.5 |  | 1.4
| 42 |  |  |  | 1.6 |  | 44 |  | 45 |  | 1.2
AVG: | 42.9231 | AVG: | 4.3333 | AVG: | 1.6692 | AVG: | 43.3846 | AVG: | 8.5385 | AVG: | 1.4538