## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: 4/28/08 | [8 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 4/20 - 4/26/08 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.298.7406
Fishway inspections twice daily.
The Dalles Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 48.2857 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 3.5714 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir N1 |  |  | 0 | depth (≥ 8') | Set at 9.5' depth
Entrance weir N2 |  |  |  | Closed | Bulkhead installed
PUD Intake differential |  |  | 0 | ≤ 0.5'
EAST FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Removable weirs 154-157 |  |  | 4 | Per forebay | Weir 154 stuck 2' out 4/21, fixed 4/23.
Weir 158-159 differential |  |  | 0 | 1.0' ± 0.1'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Junction pool weir JP6 |  |  | 0 | depth (≥ 7') | Manually adjusted as needed.
East entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir E1 |  |  | 0 | No criteria | Manually adjusted as needed for criteria differential
Entrance weir E2 |  |  | 0 | depth (≥ 8') | Set at 12.5' depth
Entrance weir E3 |  |  | 0 | depth (≥ 8') | Set at 12.5' depth
Collection channel velocity |  |  | 0 | 1.5 - 4 f/s | 1.9388 | Velocity float test performed: |  | 4/25/08; lost float for bays 1-5.
West entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir W1 |  |  | 0 | depth (≥ 8') | Set at 10' depth
Entrance weir W2 |  |  | 0 | depth (≥ 8') | Set at 10' depth
Entrance weir W3 |  |  | 0 | No criteria | Manually adjusted as needed
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir S1 |  |  | 0 | depth (≥ 8') | Set at 9' depth
Entrance weir S2 |  |  | 0 | depth (≥ 8') | Set at 9' depth
JUVENILE PASSAGE
Sluicegate operation |  |  | 0 | units 1,6,18
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | Range: 0.1 - 0.6'.
Spill volume |  |  | 0 | 40%, 24hr
Spill Pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 1 | per FPP | Ops. Testing GDACS 4/21.
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 48 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 4.5 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  |  | 0 | Per forebay | Set for forebay >263'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir EW1 |  |  | 0 | depth (≥ 8')
Entrance weir EW2 |  |  | 0 | No criteria | Weir closed
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Hydraulic weir positions |  |  | 0 | Per forebay | Set at mid forebay range
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir SE1 |  |  | 0 | depth (≥ 8')
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | 2.4487 | Velocity float test performed: |  | 2008-04-26
Bay 1 differential |  |  | 0 | 1.0' - 2.0'
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0'
Entrance weir NE1 |  |  | 0 | depth (≥ 8')
Entrance weir NE2 |  |  | 0 | depth (≥ 8')
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0'
Submersible traveling screens |  |  | 0 | visual inspect | Behind schedule due to trolly camera problems which were fixed by 4/24.
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | Range: 0.3 - 1.1'.
Vert barrier screen drawdown |  |  | 0 | <1.0', wkly | Range: 0.3 - 0.7'.
Spill volume |  |  | 0 | 30%, 24 hrs | Two TSWs at bays 15 and 16 open since 4/21.
Spill pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operations: Watered up on 4/1 and will be in service until mid November.
Maintenance:
Fine tuning of the auto control weirs 5-14 and 23-28 is being performed by Mr. Harper who has installed a new control software. Thanks Ed!
Debris at FDS: Very light, consisting of tumbleweeds and sticks. Some manmade trash.
Research: Fish collection is underway for Battelle research. Began 4/27. | Fish collection for Battelle research was delayed one day, started on 4/28
and will continue through early June for the spring migrants component.
OTHER ISSUES:
THE DALLES
Birds: Few cormorants on towers at the north ladder exit, maximum 30 gulls spill bay tailrace, 20 at The Dalles bridge.
USDA avian predators hazing contract is expected to start in May and will continue through July.
Maintenance:
Weir 154 had a rear malfunction on 4/21 due to a water leak into the electrical control cabinet. Was fixed on 4/23.
Gatewell drawdown: Completed 4/26. All within criteria.
Calibration: Completed on 4/26/08. All within criteria.
Research:
USGS crew finalized cleaning up/removing their old equipment stored at the project on 4/18. It is all gone now and all areas are looking good !
UofI adult radiotelemetry crew downloading their ladder receivers weekly.
Spillwall between bays 8/9 design in the final stage of preparation for the May '08 contract advertisement.
JOHN DAY
Birds: Max numbers 32 grebes in the forebay, 150 gulls spillway tailrace.
USDA avian predators hazing contract is expected to start in May and will continue through July.
Maintenance:
STS camera inspections are one week behind due to the trolley device malfunction, all screens are expected to be completed the next week.
Mechanical crew is in the process of dismantling of fish pump 3, all large parts are being shipped to Bonneville for sand blasting and painting.
North fish pumps 3 & 4 motors and gear boxes were all overhauled and are ready to be assembled as soon as labor is available.
Gatewell drawdown: Completed 4/26. All within criteria.
Calibration: Completed on 4/25. All within criteria.
Research:
UofI adult radiotelemetry crew downloading their ladder receivers weekly.
Battelle's crew continue with setting up of their powerhouse hydrophones, the third office trailer was delivered and set up in the Navlock area.
approved by;
Gene LaDouceur /s/
Project Manager
The Dalles/John Day/Willow Creek

## AVGS
|  | The Dalles | [5 empty] | John Day
| cc | [9 empty] | cc
BAY | Velocity |  | Temp F |  | Secchi |  | Temp F |  | Secchi |  | Velocity | Bay(s)
1 |  |  | 48 |  | 3.5 | 2008-04-20 | 47 |  | 3.5 |  | 1.6667 | 0 -2
2 |  |  | 48 |  | 3 | 2008-04-21 | 47 |  | 3.5 |  | 2.7273 | 2 - 4
3 |  |  | 48 |  | 4 | 2008-04-22 | 48 |  | 5.5 |  | 2.6471 | 4 - 6
4 |  |  | 48 |  | 4 | 2008-04-23 | 48 |  | 5.5 |  | 2.3684 | 6 - 8
5 |  |  | 48 |  | 3.5 | 2008-04-24 | 49 |  | 4.5 |  | 2.5 | 8 - 10
6 | 2.23 |  | 49 |  | 3.5 | 2008-04-25 | 48 |  | 4.5 |  | 2.5 | 10 - 12
7 | 1.7 |  | 49 |  | 3.5 | 2008-04-26 | 49 |  | 4.5 |  | 2.5714 | 12 - 14
8 | 1.67 |  | 48.2857 | AVG: | 3.5714 |  | 48 | AVG: | 4.5 |  | 2.6087 | 14 - 16
SS | 2.35 | [9 empty] | 2.1951 | 16 - 18
9 | 2.23 | [8 empty] | AVG: | 2.4487
10 | 1.7
11 | 1.74
12 | 2.07
13 | 1.93
14 | 1.67
15 | 1.97
16 | 1.85
17 | 1.85
18 | 1.58
19 | 2.07
20 | 2.28
21 | 2.07
AVG: | 1.9388

## TEMPS
Avg: | 47.16 | Avg: | 47.74
Min: | 45.22 | Min: | 46.12
Max: | 49.43 | Max: | 49.87
Avg: | 47.59 | Avg: | 47.6
Min: | 47.07 | Min: | 45.94
Max: | 48.81 | Max: | 49.25
Avg: | 47.67 | Avg: | 47.7
Min: | 46.12 | Min: | 46.07
Max: | 49.56 | Max: | 49.56