## SR
FISHWAY STATUS REPORT | [7 empty] | THE DALLES/JOHN DAY DAM
Date: | 2008-05-11 | [8 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 5/4/2008 - 5/10/2008 | [7 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.298.7406
Fishway inspections twice daily.
The Dalles Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  |  | 14 | Temperature: |  | 51.7143 | F
|  |  | Out of Criteria | Limit | Comments |  |  |  | Secchi: | 3.5 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir N1 |  |  | 0 | depth (≥ 8') | Set at 9.5' depth
Entrance weir N2 |  |  |  | Closed | Bulkhead installed
PUD Intake differential |  |  | 0 | ≤ 0.5' | JBS flow off for sampling 5/7.
EAST FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Removable weirs 154-157 |  |  | 0 | Per forebay | Auto adjusts at 1' increments
Weir 158-159 differential |  |  | 0 | 1.0' ± 0.1'
Count station differential |  |  | 0 | ≤ 0.3' | Raked downstream picket leads; beaver sticks 5/9, 5/10. Window cleaned 5/6.
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Junction pool weir JP6 |  |  | 0 | depth (≥ 7') | Manually adjusted as needed.
East entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir E1 |  |  | 0 | No criteria | Manually adjusted as needed for criteria differential
Entrance weir E2 |  |  | 0 | depth (≥ 8') | Set at 12.5' depth
Entrance weir E3 |  |  | 0 | depth (≥ 8') | Set at 12.5' depth |  | E3 weir PLC not responding auto/manual; notified CR for repair.
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | 2.76 | average in fps. |  | See tab below for more complete velocities.
West entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir W1 |  |  | 0 | depth (≥ 8') | Set at 10' depth
Entrance weir W2 |  |  | 0 | depth (≥ 8') | Set at 10' depth
Entrance weir W3 |  |  | 0 | No criteria | Manually adjusted as needed
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir S1 |  |  | 0 | depth (≥ 8') | Set at 9' depth
Entrance weir S2 |  |  | 0 | depth (≥ 8') | Set at 9' depth
JUVENILE PASSAGE
Sluicegate operation |  |  | 0 | units 1,6,18 | Sluicegates 1-1, 1-2, 1-3, 6-1, 18-2 and 18-3 open. MU5 down for overhaul 5/8.
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly
Spill volume |  |  | 0 | 40%, 24hr
Spill Pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 0 | per FPP | MU1 down for annual 5/8 pm. MU5 down for overhaul 5/8.
Turbine 1% Efficiency |  |  | 0 | per FPP
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  |  | 14 | Temperature: |  | 51.7143 | F
|  |  | Out of Criteria | Limit | Comments |  |  |  | Secchi: | 4.9 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  |  | 0 | Per forebay | Set for forebay >263'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir EW1 |  |  | 0 | depth (≥ 8')
Entrance weir EW2 |  |  | 0 | No criteria | Weir closed
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Hydraulic weir positions |  |  | 0 | Per forebay | Set at mid forebay range
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir SE1 |  |  | 0 | depth (≥ 8')
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | 2.65 | average in fps. |  | See tab below for more complete velocities.
Bay 1 differential |  |  | 0 | 1.0' - 2.0'
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0'
Entrance weir NE1 |  |  | 0 | depth (≥ 8')
Entrance weir NE2 |  |  | 0 | depth (≥ 8')
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0'
Submersible traveling screens |  |  | 0 | visual inspect | Monthly inspection schedule
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | Range; | 0.5 to 1.2'
Vert barrier screen drawdown |  |  | 0 |  | Range; | 0.2 to 0.7'
Spill volume |  |  | 0 | 30% & 40% | Block study design for TSW evaluations; 24 hours per day.
Spill pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | In service through mid November.
Maintenance: Fine tuning of the automatic weirs has been completed and works well.
Debris at FDS: Very light.
Research: Battelle's crew started collecting juvenile salmonids on 4/28 and the first day of tagging was 4/30. Will continue this work daily, seven
days a week through early June for the spring component.
OTHER ISSUES:
THE DALLES
Birds: | North ladder exit - 9 DCC.
FB - 1 osprey.
East ladder entrance- 4 Canada geese.
PH tailrace - 5 grebes.
Spill bay tailrace - 20 gulls.
The Dalles bridge - 50 gulls.
USDA bird hazing started on 5/6 and will continue through the end of July. USDA pikeminnow dam angling is slated to start in late May.
Calibration:
Calibration: Completed on 5/9 and all was within criteria.
Gatewell drawdown:Completed on 5/9 and all was within criteria.
Maintenance: No issues at this time.
Research:
Spillwall between bays 8/9 design in the final stage of preparation for the May '08 contract advertisement.
UofI adult radiotelemetry crew downloading their ladder receivers weekly.
NOAA delayed mortality crew jumping on the fish barges at TD Navlock and riding to Bonneville a couple times a week; will complete in early June.
JOHN DAY
Birds: | Powerhouse FB - 1 merganser, 20 gulls, 136 grebes.
Spill bay tailrace - 160 gulls, 50 gulls TSW side of d/s of avian lines.
USDA bird hazing started on 5/6 and will continue through the end of July. USDA pikeminnow dam angling is slated to start in late May.
Maintenance:
MU # 13 STS slot A was showing tripped on 5/6 and it was traced to faulty breaker which was fixed on 5/9. All STSs are now OK and in
service.
South fish turbine # 3 overhaul is ongoing and on schedule for RTS in March '09.
North fish pump # 3 repairs almost complete, some minor electrical issues may delay RTS to the next week (have one spare already.)
North fish pump # 4 repairs will continue after # 3 is done. RTS is approximately mid May (this is the third spare.)
Calibration:
Calibration: Completed on 5/10 and all was within criteria.
Gatewell drawdown: Completed on 5/10 and all was within criteria.
Research:
USGS crew started their drogue releases from the spillway and SMF outfall on 5/5 and will continue with 10 drogues a couple times a week for the | [10 empty] | times per week for
the duration of TSW evaluations.
UofI adult radiotelemetry crew downloading their ladder receivers weekly.
Battelle acoustics study completed all hydrophones installation/calibration at powerhouse and spillway and started monitoring on 5/1.
Will continue 24/7 through early June for the spring migrants component of TSW evaluation.
approved by;
Gene LaDouceur /s/
Project Manager
The Dalles/John Day/Willow Creek

## FishCounts
THE DALLES 2008
| East | North | East | North | East | North | East | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd | Shad | Shad
2008-04-27 | 803 | 272 | 14 | 0 | 6 | 5
2008-04-28 | 1213 | 62 | 28 | 0 | 8 | 1
2008-04-29 | 3654 | 143 | 43 | 0 | 39 | 0
2008-04-30 | 2167 | 96 | 32 | 0 | 24 | 0
2008-05-01 | 3364 | 79 | 56 | 0 | 20 | 0
2008-05-02 | 3080 | 182 | 91 | 0 | 20 | 0
2008-05-03 | 1798 | 1018 | 100 | 5 | 8 | 4
2008-05-04 | 1783 | 1313 | 83 | 40 | 10 | 6
2008-05-05 | 5521 | 1187 | 168 | 7 | 5 | 0
2008-05-06 | 3175 | 984 | 301 | 5 | 12 | 2
2008-05-07 | 1970 | 271 | 324 | 16 | 14 | 0
2008-05-08 | 1730 | 132 | 306 | 5 | 18 | 0 | 5 | 0
2008-05-09 | 1902 | 13 | 368 | 0 | 5 | 0 | 12 | 0
2008-05-10 | 2197 | 8 | 366 | 0 | 7 | 0 | 0 | 0
JOHN DAY 2008
| South | North | South | North | South | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd
2008-04-27 | 263 | 287 | 8 | 2 | 13 | 18
2008-04-28 | 613 | 400 | 14 | 4 | 17 | 5
2008-04-29 | 700 | 562 | 13 | 7 | 28 | 40
2008-04-30 | 550 | 882 | 11 | 12 | 14 | 50
2008-05-01 | 914 | 756 | 84 | 14 | 6 | 32
2008-05-02 | 1465 | 1046 | 25 | 19 | 7 | 30
2008-05-03 | 1716 | 1346 | 48 | 40 | 4 | 29
2008-05-04 | 1406 | 616 | 66 | 19 | 15 | 24
2008-05-05 | 1958 | 1121 | 58 | 48 | 5 | 20
2008-05-06 | 2292 | 1424 | 118 | 94 | 16 | 48
2008-05-07 | 2125 | 991 | 238 | 59 | 2 | 16
2008-05-08 | 1694 | 794 | 179 | 137 | 12 | 15
2008-05-09 | 1090 | 570 | 162 | 121 | 6 | 7
2008-05-10 | 1111 | 895 | 157 | 200 | 9 | 8

## TEMPS
Avg: | 50.87 | Avg: | 51.26
Min: | 49.07 | Min: | 48.89
Max: | 53.69 | Max: | 54.86
Avg: | 50.96 | Avg: | 51.03
Min: | 48.67 | Min: | 48.89
Max: | 52.86 | Max: | 52.68
Avg: | 51.26 | Avg: | 50.97
Min: | 49.2 | Min: | 49.07
Max: | 53.43 | Max: | 53.17

## Velocities
 | time axis 2008-04-12 to 2009-01-29
The Dalles Collection Channel
Bay(s) | Enter time |  | Seconds | Velocity (f/s)
Bay 1 | 0:12 | 704 | 26 | 3.3385 | 2008-04-26: 1.97; 2008-05-01: 2.2842; 2008-05-08: 3.3385
Bay 2 | 0:11 | 678 | 28 | 3.1 | 2008-04-26: 2.12; 2008-05-01: 2.0186; 2008-05-08: 3.1
Bay 3 | 0:11 | 650 | 27 | 3.2148 | 2008-04-26: 2.35; 2008-05-01: 2.48; 2008-05-08: 3.2148
Bay 4 | 0:10 | 623 | 30 | 2.8933 | 2008-04-12: 2.23; 2008-04-26: 2.23; 2008-05-01: 2.5529; 2008-05-08: 2.8933
Bay 5 | 0:10 | 593 | 32 | 2.7125 | 2008-04-12: 1.7; 2008-04-26: 2.07; 2008-05-01: 2.48; 2008-05-08: 2.7125
Bay 6 | 0:09 | 561 | 29 | 2.9931 | 2008-04-12: 1.67; 2008-04-26: 1.85; 2008-05-01: 2.17; 2008-05-08: 2.9931
Bay 7 | 0:09 | 532 | 30 | 2.8933 | 2008-04-12: 2.35; 2008-04-26: 2.17; 2008-05-01: 2.4111; 2008-05-08: 2.8933
Bay 8 | 0:08 | 502 | 31 | 2.8 | 2008-04-12: 2.23; 2008-04-26: 2.17; 2008-05-01: 2.4111; 2008-05-08: 2.8
SS | 0:08 | 471 | 29 | 2.9931 | 2008-04-12: 1.7; 2008-04-26: 1.81; 2008-05-01: 2.0186; 2008-05-08: 2.9931
Bay 9 | 0:07 | 442 | 47 | 1.8468 | 2008-04-12: 1.74; 2008-04-26: 1.5; 2008-05-01: 1.7714; 2008-05-08: 1.8468
Bay 10 | 0:07 | 395 | 37 | 2.3459 | 2008-04-12: 2.07; 2008-04-26: 2.28; 2008-05-01: 2.1171; 2008-05-08: 2.3459
Bay 11 | 0:06 | 358 | 36 | 2.4111 | 2008-04-12: 1.93; 2008-04-26: 2.23; 2008-05-01: 2.3459; 2008-05-08: 2.4111
Bay 12 | 0:05 | 322 | 29 | 2.9931 | 2008-04-12: 1.67; 2008-04-26: 1.77; 2008-05-01: 2.2256; 2008-05-08: 2.9931
Bay 13 | 0:05 | 293 | 31 | 2.8 | 2008-04-12: 1.97; 2008-04-26: 1.89; 2008-05-01: 2.0667; 2008-05-08: 2.8
Bay 14 | 0:04 | 262 | 39 | 2.2256 | 2008-04-12: 1.89; 2008-04-26: 1.85; 2008-05-01: 2.3459; 2008-05-08: 2.2256
Bay 15 | 0:04 | 223 | 30 | 2.8933 | 2008-04-12: 1.86; 2008-04-26: 1.47; 2008-05-01: 2.3459; 2008-05-08: 2.8933
Bay 16 | 0:03 | 193 | 32 | 2.7125 | 2008-04-12: 1.58; 2008-04-26: 1.85; 2008-05-01: 1.736; 2008-05-08: 2.7125
Bay 17 | 0:03 | 161 | 36 | 2.4111 | 2008-04-12: 2.07; 2008-04-26: 2.07; 2008-05-01: 1.7714; 2008-05-08: 2.4111
Bay 18 | 0:02 | 125 | 33 | 2.6303 | 2008-04-12: 2.28; 2008-04-26: 1.89; 2008-05-01: 2.1171; 2008-05-08: 2.6303
Bay 19 | 0:02 | 92 | 31 | 2.8 | 2008-04-12: 2.07; 2008-04-26: 2.02; 2008-05-01: 2.6303; 2008-05-08: 2.8
Bay 20 | 0:01 | 61 | 30 | 2.8933 | 2008-04-12: 1.77; 2008-04-26: 2.07; 2008-05-01: 2.4111; 2008-05-08: 2.8933
Bay 21 | 0:01 | 31 | 31 | 2.8 | 2008-04-26: 1.89; 2008-05-01: 2.48; 2008-05-08: 2.8
Average |  |  |  | 2.7592 | 2008-04-12: 1.9322; 2008-04-26: 1.98; 2008-05-01: 2.236; 2008-05-08: 2.7592
The Dalles Transportation Channel
Bay#'s | Enter time |  | Seconds | Velocity (f/s)
Bay 1 | 0:15 | 890 | 36 | 2.4111 | 2008-04-12: 2.28; 2008-04-26: 2.12; 2008-05-01: 2.0186; 2008-05-08: 2.4111
Bay 2 | 0:14 | 854 | 48 | 1.8083 | 2008-04-12: 1.89; 2008-04-26: 2.17; 2008-05-01: 2.1171; 2008-05-08: 1.8083
Bay 3 | 0:13 | 806 | 50 | 1.736 | 2008-04-12: 1.97; 2008-04-26: 2.12; 2008-05-01: 2.2256; 2008-05-08: 1.736
Bay 4 | 0:13 | 756 | 35 | 2.48 | 2008-04-12: 2.12; 2008-04-26: 2.07; 2008-05-01: 2.0667; 2008-05-08: 2.48
Bay 5 | 0:12 | 721 | 35 | 2.48 | 2008-04-12: 2.17; 2008-04-26: 2.07; 2008-05-01: 2.0667; 2008-05-08: 2.48
Bay 6 | 0:11 | 686 | 34 | 2.5529 | 2008-04-12: 2.23; 2008-04-26: 2.07; 2008-05-01: 2.1171; 2008-05-08: 2.5529
Bay 7 | 0:11 | 652 | 37 | 2.3459 | 2008-04-12: 1.89; 2008-04-26: 1.85; 2008-05-01: 2.1171; 2008-05-08: 2.3459
Bay 8 | 0:10 | 615 | 35 | 2.48 | 2008-04-12: 1.93; 2008-04-26: 2.17; 2008-05-01: 2.2256; 2008-05-08: 2.48
SS | 0:10 | 580 | 40 | 2.17 | 2008-04-12: 2.02; 2008-04-26: 2.02; 2008-05-01: 2.0667; 2008-05-08: 2.17
Bay 9 | 0:09 | 540 | 38 | 2.2842 | 2008-04-12: 2.02; 2008-04-26: 2.12; 2008-05-01: 2.2256; 2008-05-08: 2.2842
Bay 10 | 0:08 | 502 | 40 | 2.17 | 2008-04-12: 2.02; 2008-04-26: 2.28; 2008-05-01: 2.0667; 2008-05-08: 2.17
Bay 11 | 0:08 | 462 | 41 | 2.1171 | 2008-04-12: 2.02; 2008-04-26: 2.23; 2008-05-01: 2.0667; 2008-05-08: 2.1171
Bay 12 | 0:07 | 421 | 44 | 1.9727 | 2008-04-12: 2.02; 2008-04-26: 2.17; 2008-05-01: 2.0186; 2008-05-08: 1.9727
Bay 13 | 0:06 | 377 | 39 | 2.2256 | 2008-04-12: 2.12; 2008-04-26: 2.02; 2008-05-01: 1.887; 2008-05-08: 2.2256
Bay 14 | 0:06 | 338 | 43 | 2.0186 | 2008-04-12: 2.17; 2008-04-26: 2.12; 2008-05-01: 1.9727; 2008-05-08: 2.0186
Bay 15 | 0:05 | 295 | 45 | 1.9289 | 2008-04-12: 2.17; 2008-04-26: 1.97; 2008-05-01: 1.9289; 2008-05-08: 1.9289
Bay 16 | 0:04 | 250 | 42 | 2.0667 | 2008-04-12: 1.93; 2008-04-26: 1.89; 2008-05-01: 1.9289; 2008-05-08: 2.0667
Bay 17 | 0:03 | 208 | 41 | 2.1171 | 2008-04-12: 1.93; 2008-04-26: 2.07; 2008-05-01: 2.0186; 2008-05-08: 2.1171
Bay 18 | 0:03 | 167 | 45 | 1.9289 | 2008-04-12: 1.89; 2008-04-26: 1.89; 2008-05-01: 1.887; 2008-05-08: 1.9289
Bay 19 | 0:02 | 122 | 43 | 2.0186 | 2008-04-12: 1.97; 2008-04-26: 1.85; 2008-05-01: 1.8468; 2008-05-08: 2.0186
Bay 20 | 0:01 | 79 | 40 | 2.17 | 2008-04-12: 1.64; 2008-04-26: 1.74; 2008-05-01: 2.2256; 2008-05-08: 2.17
Bay 21 | 0:01 | 39 | 39 | 2.2256 | 2008-04-26: 1.74; 2008-05-01: 2.3459; 2008-05-08: 2.2256
Average |  |  |  | 2.1686 | 2008-04-12: 2.019; 2008-04-26: 2.03; 2008-05-01: 2.0655; 2008-05-08: 2.1686
The Dalles North entrance
d/s of PUD bridge to start of 180 bend
Distance | Enter time | Seconds |  | Velocity (f/s)
156' | 0:01 | 86 |  | 1.814 | 2008-04-12: 2.74; 2008-04-26: 2.2; 2008-05-01: 2.6441; 2008-05-08: 1.81
Tailwater
The Dalles South Rock Channel
d/s edge of sluice brdg. to u/s edge of Westrick brdg.
Distance | Enter time | Seconds |  | Velocity (f/s)
570' | 0:03 | 185 |  | 3.0811 | 2008-04-12: 3.02; 2008-04-26: 3.02; 2008-05-01: 2.9381; 2008-05-08: 3.08
Tailwater
The Dalles South Rock Channel
d/s edge of sluice bridge to u/s edge of s. ent. deck
(cannot float lower half at high TW due to support)
Distance | Enter time | Seconds |  | Velocity (f/s)
1480' | 0:07 | 441 |  | 3.356 | 2008-04-12: 3.18; 2008-04-26: 3.36; 2008-05-01: N/A; 2008-05-08: N/A
Tailwater
John Day Collection Channel
| Enter time |  | Seconds | Velocity (f/s)
Bay 1&2 | 0:01 | 81 | 79 | 2.2785 | 2008-04-26: 2.54; 2008-05-01: 2.4; 2008-05-08: 2.2785
Bay 3&4 | 0:03 | 160 | 72 | 2.5 | 2008-04-26: 2.65; 2008-05-01: 2.43; 2008-05-08: 2.5
Bay 5&6 | 0:04 | 232 | 70 | 2.5714 | 2008-04-26: 2.69; 2008-05-01: 2.25; 2008-05-08: 2.5714
Bay 7&8 | 0:05 | 302 | 77 | 2.3377 | 2008-04-26: 2.54; 2008-05-01: 2.02; 2008-05-08: 2.3377
Bay 9&10 | 0:06 | 379 | 82 | 2.1951 | 2008-04-26: 2.47; 2008-05-01: 2.69; 2008-05-08: 2.1951
Bay 11&12 | 0:08 | 461 | 69 | 2.6087 | 2008-04-26: 2.4; 2008-05-01: 2.4; 2008-05-08: 2.6087
Bay 13&14 | 0:09 | 530 | 73 | 2.4658 | 2008-04-26: 2.34; 2008-05-01: 2; 2008-05-08: 2.4658
Bay 15&16 | 0:10 | 603 | 52 | 3.4615 | 2008-04-26: 3.67; 2008-05-01: 3.4; 2008-05-08: 3.4615
Bay 17&18 | 0:11 | 655 | 52 | 3.4615 | 2008-04-26: 3.67; 2008-05-01: 3.4; 2008-05-08: 3.4615
|  | Average |  | 2.6534 | 2008-04-26: 2.77; 2008-05-01: 2.55; 2008-05-08: 2.6534
John Day South Entrance
Distance | Enter time | Seconds |  | Velocity (f/s)
49' | 0:00 | 13 |  | 3.7692 | 2008-04-26: 4.08; 2008-05-01: 4.9; 2008-05-08: 3.7692
John Day North Entrance
Lowest weir to start of deck 180 curve
Distance | Enter Time | Seconds |  | Velocity ((f/s)
139' | 0:01 | 57 |  | 2.4386 | 2008-04-26: 2.44; 2008-05-01: 2.11; 2008-05-08: 2.4386
Note on E1: g2oddpsk: Highlight # column, edit, copy, click on cell where you want to copy it to, edit, paste special, values.

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 53 | Secchi: | 4 | Velocity: | 2.76 | Temp: | 52 | Secchi: | 5 | Velocity: | 2.65
| 52 |  | 3 |  |  |  | 52 |  | 5
| 52 |  | 3 |  |  |  | 52 |  | 5.5
| 51 |  | 4 |  |  |  | 52 |  | 5
| 51 |  | 4 |  |  |  | 52 |  | 4
| 52 |  | 3.5 |  |  |  | 50 |  | 4.3
| 51 |  | 3 |  |  |  | 52 |  | 5.5
AVG: | 51.7143 | AVG: | 3.5 | AVG: | 2.76 | AVG: | 51.7143 | AVG: | 4.9 | AVG: | 2.65