## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: | 2007-06-10 | [7 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 06/03-06/09/2007 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
Fishway inspections twice daily.
The Dalles Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 61.375 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 4.9375 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1' due to low shad passage
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir N1 |  |  | 0 | depth (≥ 8') | Set at 9.5' depth
Entrance weir N2 |  |  |  | Closed | Bulkhead installed
PUD Intake differential |  |  | 0 | ≤ 0.5'
EAST FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Removable weirs 154-157 |  |  | 0 | Per forebay | Auto adjust 1' increments.
Weir 158-159 differential |  |  | 1 | 1.0' ± 0.1' | 1.2 | Manually corrected
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.3' for shad passage.
Junction pool weir JP6 |  |  | 0 | depth (≥ 7') | Manually adjusted as needed.
East entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir E1 |  |  | 0 | No criteria | Manually adjusted as needed for optimal differential. Range 5'-10' depth.
Entrance weir E2 |  |  | 0 | depth (≥ 8') | Set at 12.5' depth
Entrance weir E3 |  |  | 0 | depth (≥ 8') | Set at 12.5' depth
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | 3.0818 | average in fps.
West entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir W1 |  |  | 0 | depth (≥ 8') | Set at 10' depth
Entrance weir W2 |  |  | 0 | depth (≥ 8') | Set at 10' depth
Entrance weir W3 |  |  | 0 | No criteria | Manually adjusted as needed for optimal differential. Range 1'-5' depth.
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir S1 |  |  | 0 | depth (≥ 8') | Set at 9' depth
Entrance weir S2 |  |  | 0 | depth (≥ 8') | Set at 9' depth
ICE/TRASH SLUICEWAY
Sluice gate operation |  |  | 0 | units 1,5,18 | Sluicegates 1-1,1-2,1-3,5-2,18-2,18-3 and endgate open
SPILLWAY |  |  |  |  | 40%, 24hr/day
Pattern |  |  | 0 | per FPP
UnitPriority |  |  | 0 | per FPP
1% Efficiency of turbines |  |  | 0 | per FPP
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 61.9286 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 5.625 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  |  | 0 | Per forebay | Set for forebay <263'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.3' for shad passage
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir EW1 |  |  | 0 | depth (≥ 8') | Set at 9.5'
Entrance weir EW2 |  |  | 0 | No criteria | Weir closed
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Hydraulic weir positions |  |  | 0 | Per forebay | Set at mid forebay range
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.3' for shad passage
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir SE1 |  |  | 0 | depth (≥ 8') | Set at 9'
Collection channel velocity |  |  | 10 | 1.5 - 4 fps | 1.3929 | average in fps. | 1.2-1.4 fps |  | Unable to adjust for correction.
Bay 1 differential |  |  | 0 | 1.0' - 2.0'
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0'
Entrance weir NE1 |  |  | 0 | depth (≥ 8') | Set at 9.3'
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | Set at 9.3'
JUVENILE BYPASS SYSTEM
Forebay/conduit differential |  |  | 0 | 4.0' - 5.0'
Submersible traveling screens |  |  | 0 | visual inspect | Monthly inspection schedule
Gatewell drawdown |  |  | 0 | <1.5' - wkly | Range;
SPILLWAY |  |  |  |  | 0% day, 60% night
Pattern |  |  | 0 | per FPP
Unit Priority |  |  | 0 | per FPP
1% Efficiency of turbines |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | Dewatering Structure screen cleaner returned to service 6/7
Juvenile Bypass System tainter gate operated in manual 6/3 due to conduit sensor malfunction during heat of afternoon. Maintenance
in process of troubleshooting.
Debris at FDS: Light. Dead shad beginning to show up.
OTHER ISSUES:
THE DALLES
Gull numbers below spillway dropping slightly, but still at high levels. Seems to be concentrating more along spillbay 6 eddy line. USDA periodic
hazing continues with temporary effectiveness. Plans underway to improve avian line array for next season.
Pikeminnow dam angling continues with moderate to high success rates. Fishing concentrating more at sluiceway outfall relative to last season.
Calibration check completed 6/9. East entrance E2 and E3 running slightly deeper than reading. Entrance still well within criteria operation.
Unit 18 dewatered for maintenance. No fish found in scroll case. Five small sturgeon and 4 catfish removed from draft tube and released to tailrace.
Tribal shad fishery began at east fishway exit on 6/6. Chinook fallback exceeded 10% for 4 hours. Fishing continued 6/7 with 2 hours exceeding 10%
fallback. Fishing continued 6/8 with all fallback less than 10%. This falls within the agreed fallback tolerance limit. Fallback monitoring will continue.
Research; USGS in process of removing last seasons equipment from south abuttment. Battelle hydrodynamic research at bay 1 in between
spring and summer sampling season. UofI adutl radiotelemetry data collection continues.
JOHN DAY
Birds: PH FB-200 grebes, 20 gulls, Spillway tailrace-50 gulls; SMF outfall- 15 gulls
Calibration check completed 6/10. South entrance weir slightly deeper than reading. Entrance criteria maintained. Monitoring to continue.
STS camera inspection completed on all units except 7 on 6/2. No problems found. Unit 7 will require STS removal, which is in process of
coordination.
Gatewell dipbasket repair underway by maintenance crew.
South fish turbine rehabilitation preparation underway. Machining parts for gearboxes.
Research; UofI adult radiotelemetry data collection continues.
Approved by;
Gene LaDouceur /s/
Project Manager
The Dalles/John Day/Willow Creek

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 61 | Secchi: | 4 | Velocity: | 3 | Temp: | 62 | Secchi: | 4 | Velocity: | 1.3
| 62 |  | 4 |  | 3 |  | 64 |  | 6 |  | 1.2
| 61 |  | 5 |  | 3.5 |  | 62 |  | 6 |  | 1.5
| 61 |  | 4.5 |  | 2.4 |  | 62 |  | 5.5 |  | 1.3
| 61 |  | 5.5 |  | 2.5 |  | 62 |  | 6 |  | 1.5
| 61 |  | 5.5 |  | 2.9 |  | 62 |  | 6 |  | 1.4
| 62 |  | 5.5 |  | 3.4 |  | 62 |  | 5 |  | 1.3
| 62 |  | 5.5 |  | 3.3 |  | 61 |  | 6 |  | 1.4
[5 empty] | 3.1 |  | 61 |  | 6 |  | 1.4
[5 empty] | 3.4 |  | 62 |  | 5.5 |  | 1.2
[5 empty] | 3.4 |  | 63 |  | 6 |  | 1.6
[7 empty] | 61 |  |  |  | 1.4
[7 empty] | 61 |  |  |  | 1.6
[7 empty] | 62 |  | 5.5 |  | 1.4
AVG: | 61.375 | AVG: | 4.9375 | AVG: | 3.0818 | AVG: | 61.9286 | AVG: | 5.625 | AVG: | 1.3929

## FishCounts
THE DALLES 2007
| East | North | East | North | East | North | East | North | East | North | East | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd | Shad | Shad | Sockeye | Sockeye | Lamprey | Lamprey
2006-06-03 | 742 | 113 | 262 | 20 | 11 | 2 | 153187 | 0 | 23 | 0 | 2 | 0
2006-06-04 | 535 | 194 | 148 | 13 | 18 | 2 | 120821 | 830 | 31 | 1 | 2 | 2
2006-06-05 | 616 | 107 | 194 | 14 | 19 | 3 | 114019 | 203 | 19 | 2 | 4 | 8
2006-06-06 | 410 | 80 | 139 | 1 | 20 | 0 | 60860 | 62 | 41 | 0 | 6 | 1
2006-06-07 | 742 | 316 | 238 | 5 | 24 | 1 | 62210 | 34 | 46 | 0 | 0 | 7
2006-06-08 | 907 | 110 | 214 | 6 | 20 | 0 | 65981 | 17 | 62 | 0 | 1 | 0
2006-06-09 | 1036 | 126 | 192 | 4 | 27 | 1 | 80054 | 5 | 76 | 1 | 1 | 2
JOHN DAY 2007
| South | North | South | North | South | North | South | North | South | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd | Sockeye | Sockeye | Lamprey | Lamprey
2007-06-03 | 242 | 107 | 109 | 16 | 17 | -2 | 18 | 6 | 2 | 2
2007-06-04 | 421 | 144 | 144 | 52 | 11 | 4 | 12 | 1 | 2 | 2
2007-06-05 | 458 | 115 | 174 | 23 | 23 | 8 | 31 | 1 | 2 | 5
2007-06-06 | 530 | 96 | 185 | 16 | 18 | 1 | 23 | 2 | -2 | 2
2007-06-07 | 599 | 102 | 136 | 4 | 21 | 8 | 30 | 5 | 0 | 1
2007-06-08 | 517 | 49 | 109 | 6 | 42 | 0 | 35 | 4 | 0 | 2
2007-06-09 | 490 | 85 | 89 | 11 | 12 | 8 | 44 | 0 | 1 | 4

## Temperature
Temperature data graphs every other week.