## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: | 2006-07-15 | [7 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 7/9 - 7/15/2006 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
All areas are checked twice a day.
The Dalles Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 14 | Temperature: |  | 68.4286 | F
NORTH FISHWAY |  |  | Out of Criteria | Comments |  |  |  | Secchi: | 4.2857 | Ft.
Exit differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Returned to 1.0' 7/10 for ~ end of shad passage season. Shad passage < 5000/day.
Entrance differential |  |  | 0
Entrance weir N1 |  |  | 0
Entrance weir N2 |  |  |  | Closed.
PUD Intake differential |  |  | 1 | 0.6'. TR'd, trash racks raked 7/11.
EAST FISHWAY
Exit differential |  |  | 0
Removable weirs 154-157 |  |  | 2 | Weir's 155 & 156 OOC @ FB 157.4' & 157.7'.
Weir 158-159 differential |  |  | 2 | Weir 158 OOC (2) 1.2'.
Count station differential |  |  | 0 | C/S picket leads raked daily.
Weir crest depth |  |  | 0 | Returned to 1.0' depth of water over weir 7/15, approx. end of shad passage season.
Junction pool weir JP2 |  |  | N/A | Pulled out to provide maximum flow to transportation channel and the south entrance.
Junction pool weir JP4 |  |  | N/A | Pulled out of water for increased collection channel velocity and flow to west entrance.
Junction pool weir JP6 |  |  | 0 | Manually adjusted as needed >7' below tailwater.
East entrance differential |  |  | 0
Entrance weir E1 |  |  | 0 | Manually adjusted according to differential.
Entrance weir E2 |  |  | 0
Entrance weir E3 |  |  | 0
Collection channel velocity |  |  | 1 | 1.7769 | average in fps. |  | Minimum 1.4 fps.
West entrance differential |  |  | 0
Entrance weir W1 |  |  | 0
Entrance weir W2 |  |  | 0
Entrance weir W3 |  |  | N/A | Closed.
South entrance differential |  |  | 0
Entrance weir S1 |  |  | 0
Entrance weir S2 |  |  | 0
ICE/TRASH SLUICEWAY
Sluice gate operation |  |  | 0 | 18-2, 18-3, 5-3, 1-1, 1-2, 1-3 open & end gate open.
SPILLWAY |  |  |  | Spill for juvenile fish passage 40% 24/7.
Pattern |  |  | 0
Unit Priority |  |  | 0
1% Efficiency of turbines |  |  | 0
John Day Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 14 | Temperature: |  | 69.0714 | F
|  |  | Out of Criteria | Comments |  |  |  | Secchi: | 4.4286 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0
Exit hydraulic weirs |  |  | 0
Count station differential |  |  | 0 | C/S picket leads raked 7/11.
Weir crest depth |  |  | 0 | Returned to 1.0' depth of water over weir for end of shad passage earlier in the week.
Entrance differential |  |  | 2 | 0.8', 2.1'. Entrance weir EW1 TR'd.
Entrance weir EW1 |  |  | 2 | 7.8', 7.9'. TR'd and maintenance notified. Adjusted during twice daily inspections.
Entrance weir EW2 |  |  |  | Closed.
SOUTH FISHWAY
Exit differential |  |  | 0
Hydraulic weir positions |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.3' for shad passage, will return to 1.0' setting depth of water over weir 7/17.
South entrance differential |  |  | 0
Entrance weir SE1 |  |  | 0
Collection channel velocity |  |  | 4 | 1.55 | average in fps. |  | (2) 1.4', 1.3', 1.2'.
Bay 1 differential |  |  | 0
N.entrance PH(Bay 19)differential |  |  | 0
Entrance weir NE1 |  |  | 0
Entrance weir NE2 |  |  | 1 | 7.9.
JUVENILE BYPASS SYSTEM
Forebay/conduit differential |  |  | 0 | Inspected every 2 hours for SMF inspection program.
SPILLWAY |  |  |  | Spill for juvenile fish passage 30% 24/7.
Pattern |  |  | 0
Unit Priority |  |  | 14 | MU's # 1-4 OOS.
1% Efficiency of turbines |  |  | 0
Zebra Mussel Sampling Sites
The Dalles |  |  |  | John Day
| East Ladder | Not Present |  |  | South Ladder | Not Present
| North Ladder | Not Present |  |  | North Ladder | Not Present
SMOLT MONITORING FACILITY
Operation: | There were seven alarms for screen cleaner #2 for the report period. SMF personnel made all necessary adjustments.
Debris load has been light consisting mainly of dead adult shad.
There were a total of 3,471 strikes on the fallback counter (daily high/low/average, 689/474/496).
Maintenance:
Project electricians are working on a new program for the PLC system for the screen cleaners.
Juvenile Bypass System (JBS) orifice units #1-4; electricians are working on replacing supply cables in gallery.
OTHER ISSUES:
THE DALLES
Bird Observations:
Forebay - one gull.
PH tailrace - one osprey.
Spillbay tailrace - 50 gulls under avian lines.
TD bridge - 20 gulls D/S of bridge.
Weir calibrations were completed on 7/11, all within criteria. (Yes?)
JOHN DAY
Bird Observations:
PH forebay - 50 western grebes, 120 gulls.
Spillway FB - 33 gulls.
Spillway tailrace - 60 gulls.
Miller Island - ~ 300 gulls.
Gatewell drawdown completed on 7/15, all within criteria.
Weir calibrations were completed on 7/11, all within criteria. (Yes?)

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 69 | Secchi: | 4.5 | Velocity: | 1.8 | Temp: | 69 | Secchi: | 4 | Velocity: | 1.6
| 69 |  | 4.5 |  | 1.8 |  | 69 |  | 4.5 |  | 1.7
| 69 |  | 4.5 |  | 1.8 |  | 70 |  | 4.5 |  | 1.6
| 69 |  | 4.5 |  | 1.8 |  | 70 |  | 3.5 |  | 1.8
| 68 |  | 4 |  | 1.8 |  | 69 |  | 4.5 |  | 1.4
| 68 |  | 4 |  | 1.8 |  | 70 |  | 4.5 |  | 1.6
| 68 |  | 4 |  | 1.8 |  | 68 |  | 4.5 |  | 1.3
| 68 |  | 5 |  | 1.9 |  | 69 |  | 4 |  | 1.5
| 68 |  | 4 |  | 1.9 |  | 68 |  | 5 |  | 1.2
| 68 |  | 4 |  | 1.9 |  | 69 |  | 5 |  | 1.7
| 68 |  | 4 |  | 1.8 |  | 68 |  | 5 |  | 1.6
| 68 |  | 4 |  |  |  | 67 |  | 4 |  | 1.4
| 69 |  | 4.5 |  | 1.6 |  | 71 |  | 5 |  | 1.5
| 69 |  | 4.5 |  | 1.4 |  | 70 |  | 4 |  | 1.8
AVG: | 68.4286 | AVG: | 4.2857 | AVG: | 1.7769 | AVG: | 69.0714 | AVG: | 4.4286 | AVG: | 1.55