## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: 09/17/06 | [8 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 09/10 - 09/16/2006 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
All areas are checked twice a day.
The Dalles Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 14 | Temperature: |  | 68.1429 | F
NORTH FISHWAY |  |  | Out of Criteria | Comments |  |  |  | Secchi: | 5.7857 | Ft.
Exit differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'.
Entrance differential |  |  | 0
Entrance weir N1 |  |  | 0
Entrance weir N2 |  |  |  | Closed.
PUD Intake differential |  |  | 0
EAST FISHWAY
Exit differential |  |  | 0
Removable weirs 154-157 |  |  | 0
Weir 158-159 differential |  |  | 0
Count station differential |  |  | 0 | C/S picket leads raked daily.
Weir crest depth |  |  | 0 | Set at 1.0'.
Junction pool weir JP2 |  |  | N/A | Pulled out to provide maximum flow to south entrance.
Junction pool weir JP4 |  |  | N/A | Pulled out to provide maximum flow to west entrance.
Junction pool weir JP6 |  |  | 0 | Manually adjusted as needed >7' below tailwater
East entrance differential |  |  | 0
Entrance weir E1 |  |  | 0
Entrance weir E2 |  |  | 0
Entrance weir E3 |  |  | 0
Collection channel velocity |  |  | 8 | 1.4214 | average in fps. |  | 1.1 - 1.4fps
West entrance differential |  |  | 0
Entrance weir W1 |  |  | 0
Entrance weir W2 |  |  | 0
Entrance weir W3 |  |  | 0
South entrance differential |  |  | 0
Entrance weir S1 |  |  | 0
Entrance weir S2 |  |  | 0
ICE/TRASH SLUICEWAY
Sluice gate operation |  |  | 0 | 18-2, 18-3, 5-3, 1-1, 1-2, 1-3 open & end gate open.
SPILLWAY |  |  |  | Spill for juvenile fish passage 40% 24/7
Pattern |  |  | 0
UnitPriority |  |  | 0
1% Efficiency of turbines |  |  | 0
John Day Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 13 | Temperature: |  | 69.3077 | F
|  |  | Out of Criteria | Comments |  |  |  | Secchi: | 5.9615 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0
Exit hydraulic weirs |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'.
Entrance differential |  |  | 0
Entrance weir EW1 |  |  |  | Closed.
Entrance weir EW2 |  |  | 0
SOUTH FISHWAY
Exit differential |  |  | 0
Hydraulic weir positions |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'.
South entrance differential |  |  | 0
Entrance weir SE1 |  |  | 0
Collection channel velocity |  |  | 0 | 1.6667 | average in fps.
Bay 1 differential |  |  | 0
N.entrance PH(Bay 19)differential |  |  | 0
Entrance weir NE1 |  |  | 0
Entrance weir NE2 |  |  | 0
JUVENILE BYPASS SYSTEM
Forebay/conduit differential |  |  | 0
SPILLWAY |  |  |  | Spill for juvenile fish passage 30% 24/7
Pattern |  |  | 0
Unit Priority |  |  | 4 | Unit 4 was out of service.
1% Efficiency of turbines |  |  | 0
Zebra Mussel Sampling Sites
The Dalles |  |  |  | John Day
| East Ladder | Not Present |  |  | South Ladder | Not Present
| North Ladder | Not Present |  |  | North Ladder | Not Present
SMOLT MONITORING FACILITY
Operation:Smolt Monitoring Faciloty was dewatered 09/14/2006.
Maintenance:
OTHER ISSUES:
THE DALLES
Bird Observations:
N. Ladder exit - 50 cormorants in towers.
E. Ladder exit - 24 cormorants, 6 mergansers
PH tailrace - 20 cormorants
JOHN DAY
Bird Observations:
Spillway tailrace - 10 gulls, 16 cormorants
Calibration of fishway weirs and staff gauges checked 9/10. All within limits.

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 68 | Secchi: | 6 | Velocity: | 1.7 | Temp: | 68 | Secchi: | 6 | Velocity: | 1.5
| 68 |  | 6 |  | 1.5 |  | 68 |  | 6 |  | 1.8
| 68 |  | 6 |  | 1.8 |  | 69 |  | 6 |  | 1.7
| 68 |  | 5 |  | 1.6 |  | 69 |  | 5.5 |  | 1.8
| 67 |  | 5 |  | 1.5 |  | 70 |  | 6 |  | 1.8
| 67 |  | 5 |  | 1.5 |  | 69 |  | 6 |  | 1.6
| 68 |  | 6 |  | 1.3 |  | 70 |  | 6 |  | 1.6
| 68 |  | 6 |  | 1.3 |  | 69 |  | 6 |  | 1.6
| 68 |  | 6 |  | 1.4 |  | 69 |  | 6 |  | 1.5
| 68 |  | 6 |  | 1.3 |  | 71 |  | 6 |  | 1.7
| 69 |  | 6 |  | 1.1 |  | 69 |  | 6 |  | 1.8
| 69 |  | 6 |  | 1.3 |  | 71 |  | 6 |  | 1.6
| 69 |  | 6 |  | 1.3 |  | 69 |  | 6
| 69 |  | 6 |  | 1.3
AVG: | 68.1429 | AVG: | 5.7857 | AVG: | 1.4214 | AVG: | 69.3077 | AVG: | 5.9615 | AVG: | 1.6667