## SR
FISHWAY STATUS REPORT | [5 empty] | THE DALLES/JOHN DAY DAM
Date: | 2007-09-24 | [6 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 9/16-22/07 | [5 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
Fishway inspections twice daily through Nov.
The Dalles Dam |  |  | Inspections | Criteria | Total Number of Inspections: | 14 | Temperature: |  | 67.75 | F
|  |  | Out of Criteria | Limit | Comments |  | Secchi: | 5.4286 | Ft.
NORTH FISHWAY |  |  |  |  | Annual dewatering/maintenance scheduled Feb 12.
Exit differential |  |  | 0 | ≤ 0.5'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 1 | 1.0' ± 0.1' | 1.2'. Forebay change. Automation corrected.
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir N1 |  |  | 0 | depth (≥ 8') | Set at 9' depth
Entrance weir N2 |  |  |  | Closed | Bulkhead installed
PUD Intake differential |  |  | 0 | ≤ 0.5'
EAST FISHWAY |  |  |  |  | Annual dewatering/maintenance scheduled Dec 5..
Exit differential |  |  | 0 | ≤ 0.5'
Removable weirs 154-157 |  |  | 0 | Per forebay | Auto adjusts at 1' increments
Weir 158-159 differential |  |  | 0 | 1.0' ± 0.1'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 1 | 1.0' ± 0.1' | 1.2'. Forebay change. Automation corrected.
Junction pool weir JP6 |  |  | 0 | depth (≥ 7') | Manually adjusted as needed.
East entrance differential |  |  | 1 | 1.0' - 2.0' | 2.3'. Adjusted to criteria.
Entrance weir E1 |  |  | 0 | No criteria | Approx 9' depth. Manually adjusted as needed for criteria differential.
Entrance weir E2 |  |  | 0 | depth (≥ 8') | Set at 12.5' depth
Entrance weir E3 |  |  | 0 | depth (≥ 8') | Set at 12.5' depth
Collection channel velocity |  |  | OOS | 1.5 - 4 fps | Collection channel float measurements avg 2 fps from bays 21 to 1.
West entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir W1 |  |  | 0 | depth (≥ 8') | Set at 9' depth
Entrance weir W2 |  |  | 0 | depth (≥ 8') | Set at 9' depth
Entrance weir W3 |  |  | 0 | No criteria | Manually adjusted as needed
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir S1 |  |  | 2 | depth (≥ 8') | 7.9'. Set at 8.2 depth.
Entrance weir S2 |  |  | 1 | depth (≥ 8') | 7.9'. Set at 8.2 depth.
JUVENILE PASSAGE
Sluice gate operation |  |  | 0 | units 1,5,18 | Sluicegates 1-1,1-2,1-3,5-2,18-1,18-2 and endgate open
Spill volume |  |  |  |  | Closed
Spill pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Trubine 1% Efficiency |  |  | 0 | per FPP
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: | 14 | Temperature: |  | 69 | F
|  |  | Out of Criteria | Limit | Comments |  | Secchi: | 5.7857 | Ft.
NORTH FISHWAY |  |  |  |  | Annual dewatering/maintenance scheduled Feb 19
Exit differential |  |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  |  | 0 | Per forebay | Set for forebay >263'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir EW1 |  |  | 1 | depth (≥ 8') | 7.9'. Set at 8.2' depth.
Entrance weir EW2 |  |  | 0 | No criteria | Weir closed
SOUTH FISHWAY |  |  |  |  | Annual dewatering/maintenance scheduled Dec 3
Exit differential |  |  | 0 | ≤ 0.5'
Hydraulic weir positions |  |  | 0 | Per forebay | Set at mid forebay range
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir SE1 |  |  | 0 | depth (≥ 8') | Set at 8.5' depth
Collection channel velocity |  |  | OOS | 1.5 - 4 fps | Collection channel float test avg 3.2 fps bays 1-19
Bay 1 differential |  |  | 0 | 1.0' - 2.0'
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0'
Entrance weir NE1 |  |  | 0 | depth (≥ 8') | Set at 8.5' depth
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | Set at 8.5' depth
JUVENILE PASSAGE |  |  |  |  | Annual dewatering/maintenance scheduled Dec 19
JBS forebay/conduit differential |  |  | 0 | 4.0' - 5.0'
Submersible traveling screens |  |  | 0 | visual inspect | Monthly inspection schedule
Gatewell drawdown |  |  | 0 | <1.5' - wkly | Range;
Spill volume |  |  |  |  | 30% 24 hours/day
Spill pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 9 | per FPP | Unit 5 off 9/17-20 for maintenance and unit 2 and MU4 on 9/16
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: Dewatered Sept 14.
Maintenance: Routine annual maintenance underway. Plumbing winterization underway. Automation replacement in progress.
Switch gate seal reapir investigation underway
Audit inspection of full flow PIT completed Sept 17
OTHER ISSUES:
THE DALLES
Small number of cormorants and mergansers at the east entrance rocks. USDA gull hazing through Sept.
Calibration: East entrance tailwater slightly off, all others in criteria.
Maintenance preparing to close gatewell orifices as they become available.
Univ of idaho downloading adult radiotelemetry data.
JOHN DAY
Approximately 40 grebes daily in the forebay and small numbers of gulls and cormorants in the tailrace. USDA gull hazing through Sept.
Calibration: EW1 slightly off, all others in criteria.
South fish turbine rehab preparation work continues, requiring periodic short 1 fish unit outages. The remaining 2 units are able to maintain entrance
criteria with increased RPMs.
Univ of Idaho downloading adult radiotelemtry data.
Approved by;
Gene LaDouceur /s/
Project Manager
The Dalles/John Day/Willow Creek

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 67 | Secchi: | 5 | Velocity: |  | Temp: | 68 | Secchi: | 5 | Velocity:
| 67 |  | 5 |  |  |  | 70 |  | 5.5
| 67 |  | 6 |  |  |  | 69 |  | 6
| 68 |  | 6 |  |  |  | 69 |  | 6
| 68 |  | 5.5 |  |  |  | 69 |  | 6
| 68 |  | 5 |  |  |  | 69 |  | 6
| 68 |  | 5.5 |  |  |  | 69 |  | 6
69
AVG: | 67.75 | AVG: | 5.4286 | AVG: | #DIV/0! | AVG: | 69 | AVG: | 5.7857 | AVG: | #DIV/0!

## FishCounts
Next week

## TEMPS
Next week