## SR
FISHWAY STATUS REPORT | [5 empty] | THE DALLES/JOHN DAY DAM
Date: | 2007-12-18 | [6 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 12/09 - 12/15 | [5 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.298.7406
Fishway inspections once daily through Mar1.
The Dalles Dam |  |  | Inspections | Criteria | Total Number of Inspections: | 7 | Temperature: |  | 45 | F
|  |  | Out of Criteria | Limit | Comments |  | Secchi: | 5.75 | Ft.
NORTH FISHWAY |  |  |  |  | Ladder and entrance to be dewatered mid Feb
Exit differential |  |  | 0 | ≤ 0.5'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 5 | 1.0' ± 0.1' | Automation problems. Maintenance notified
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir N1 |  |  | 0 | depth (≥ 8') | Set at 9.5' depth
Entrance weir N2 |  |  |  | Closed | Bulkhead installed
PUD Intake differential |  |  | 0 | ≤ 0.5'
EAST FISHWAY |  |  |  |  | Ladder dewatered. Entrances/channels below tailwater week of Dec17.
Exit differential |  |  | n/a | ≤ 0.5'
Removable weirs 154-157 |  |  | n/a | Per forebay | Inspection and maintenance underway
Weir 158-159 differential |  |  | n/a | 1.0' ± 0.1' | Inspection and maintenance underway
Count station differential |  |  | n/a | ≤ 0.3'
Weir crest depth |  |  | n/a | 1.0' ± 0.1'
Junction pool weir JP6 |  |  | n/a | depth (≥ 7') | Pulled to allow large sturgeon egress from Dec4 ladder dewatering. JP2 and 4 closed.
East entrance differential |  |  | n/a | 1.0' - 2.0'
Entrance weir E1 |  |  | n/a | No criteria | Lowered to sill to allow sturgeon egress. Bulkheads installed Dec13.
Entrance weir E2 |  |  | n/a | depth (≥ 8') | Lowered to sill to allow sturgeon egress. Bulkheads installed Dec13.
Entrance weir E3 |  |  | n/a | depth (≥ 8') | Lowered to sill to allow sturgeon egress. Bulkheads installed Dec13.
Collection channel velocity |  |  | n/a | 1.5 - 4 fps
West entrance differential |  |  | n/a | 1.0' - 2.0'
Entrance weir W1 |  |  | n/a | depth (≥ 8') | Inspection and maintenance underway. Bulkheads installed Dec13.
Entrance weir W2 |  |  | n/a | depth (≥ 8') | Inspection and maintenance underway. Bulkheads installed Dec13.
Entrance weir W3 |  |  | n/a | No criteria | Inspection and maintenance underway. Bulkheads installed Dec13.
South entrance differential |  |  | n/a | 1.0' - 2.0'
Entrance weir S1 |  |  | n/a | depth (≥ 8') | Inspection and maintenance underway. Bulkheads installed Dec13.
Entrance weir S2 |  |  | n/a | depth (≥ 8') | Inspection and maintenance underway. Bulkheads installed Dec13.
JUVENILE PASSAGE
Sluicegate operation |  |  | n/a | units 1,5,18 | Closed for winter
Turbine trashrack drawdown |  |  | n/a | <1.5', wkly | To resume Apr1
Spill volume |  |  | 0 | 40%, 24hr | Closed
Spill Pattern |  |  | 0 | per FPP | Closed
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: | 7 | Temperature: |  | 45.5 | F
|  |  | Out of Criteria | Limit | Comments |  | Secchi: | 5.7857 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  |  | 0 | Per forebay | Set for forebay >263'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir EW1 |  |  | 1 | depth (≥ 8') | 7.4' on 12/9
Entrance weir EW2 |  |  | 0 | No criteria | Weir closed
SOUTH FISHWAY |  |  |  |  | Ladder and collection channel dewatered. South entrance dewatered Dec10.
Exit differential |  |  | n/a | ≤ 0.5'
Hydraulic weir positions |  |  | n/a | Per forebay | Inspection and preventative maintenance underway
Count station differential |  |  | n/a | ≤ 0.3'
Weir crest depth |  |  | n/a | 1.0' ± 0.1'
South entrance differential |  |  | n/a | 1.0' - 2.0'
Entrance weir SE1 |  |  | n/a | depth (≥ 8') | Inspection and preventative maintenance underway
Collection channel velocity |  |  | n/a | 1.5 - 4 fps
Bay 1 differential |  |  | n/a | 1.0' - 2.0'
N.entrance PH(Bay 19)differential |  |  | n/a | 1.0' - 2.0'
Entrance weir NE1 |  |  | n/a | depth (≥ 8') | Inspection and preventative maintenance underway
Entrance weir NE2 |  |  | n/a | depth (≥ 8') | Inspection and preventative maintenance underway
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0'
Submersible traveling screens |  |  | 0 | visual inspect | To be removed for Dec16 for winter. Except unit 14 and 15 for research operation.
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | No gatewell drawdown measurements this week
Vert barrier screen drawdown |  |  | 0 |  | No gatewell drawdown measurements this week
Spill volume |  |  | 0 | 30%, 24hr | Closed
Spill pattern |  |  | 0 | per FPP | Closed
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: |  | Dewatered for winter. To resume operation Apr1.
Maintenance: Work in progress for SMF automation upgrades. Investigation of switchgate seal improvements underway.
OTHER ISSUES:
THE DALLES
Moderate grebe numbers in forebay. Large numbers of gulls. Cormorants and mergansers in powerhouse tailrace and rock outcroppings.
USDA gull hazing contract to resume in April. USDA avian line modifications to be completed in March. Awaiting work plan and estimate.
Weekly equipment calibrations postponed until Mar1.
Fish lock flow test as potential backup for east fishway auxiliary water postponed. Maintenance unable to complete preventative maintenance
within test period. Plan to complete maintenance during summer and conduct flow test next winter outage period.
Fish unit F2 blade seals to be replaced. To be completed within winter work period.
Research: UofI checking anntenae condition in dewatered areas.
JOHN DAY
Large numbers of gulls, grebes and cormorants in forebay. Cormorant roosting on transformer becoming problem. Alternatives for abatement under
investigation through USDA. USDA gull hazing contract to resume in April. USDA avian line modifications to be completed in March. Awaiting work
plan and estimate.
Weekly equipment calibrations postponed until Mar1.
South entrance dewatered Dec10. |  |  | Forty seven juvenile steelhead, 14 adult steelhead and many misc resident fish removed and release to river.
Two lamprey given to NezPerce for restocking program. Auxilairy water conduit dewatered Dec14. No fish found.
South fish turbine rehabilitation work in progress.
Research: | Battelle dive installation of preseason equipment on spillway and units 14 and 15. Unit 14 and 15 STSs to remain in service through test.
UofI checking antennae condition in dewatered areas.
approved by;
Gene LaDouceur /s/
Project Manager
The Dalles/John Day/Willow Creek

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 45 | Secchi: | 6 | Velocity: |  | Temp: | 46 | Secchi: | 5.5 | Velocity:
[7 empty] | 46 |  | 6
| 45 |  | 5.5 |  |  |  | 46 |  | 6
| 45 |  | 5.5 |  |  |  | 45 |  | 6
| 45 |  | 5.5 | [5 empty] | 6
| 45 |  | 6 |  |  |  | 45 |  | 5
|  |  | 6 |  |  |  | 45 |  | 6
AVG: | 45 | AVG: | 5.75 | AVG: | #DIV/0! | AVG: | 45.5 | AVG: | 5.7857 | AVG: | #DIV/0!