## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: | 2006-12-27 | [6 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 12/17 - 12/23/2006 | [5 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
All areas are checked once a day.
The Dalles Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 7
|  |  | Out of Criteria | Limit | Comments
NORTH FISHWAY |  |  |  |  | De-Watered 12/05
Exit differential |  |  | 0 | ≤ 0.5'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 |  | Set at 1.0'.
Entrance differential |  |  | 0 | 1.0' - 2.0' | De-Watered 12/11
Entrance weir N1 |  |  | 0 | depth (≥ 8')
Entrance weir N2 |  |  |  |  | Closed.
PUD Intake differential |  |  | 0 | ≤ 0.5' | De-Watered
EAST FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Removable weirs 154-157 |  |  | 0
Weir 158-159 differential |  |  | 0 | 1.0' ± 0.1'
Count station differential |  |  | 0 | ≤ 0.3' | Picketed leads opened and Crowder lights off 12/06
Weir crest depth |  |  | 0 |  | Set at 1.0'.
Junction pool weir JP6 |  |  | 0 | depth (≥ 7') | Manually adjusted as needed >7' below tailwater
East entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir E1 |  |  | 0 |  | Manually adjusted as needed
Entrance weir E2 |  |  | 0 | depth (≥ 8')
Entrance weir E3 |  |  | 0 | depth (≥ 8')
Collection channel velocity |  |  | 0 | ≥ 1.5 fps | 1.8643 | average in fps. | 1.6 fps minimum
West entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir W1 |  |  | 0 | depth (≥ 8')
Entrance weir W2 |  |  | 0 | depth (≥ 8')
Entrance weir W3 |  |  |  |  | Closed
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir S1 |  |  | 0 | depth (≥ 8')
Entrance weir S2 |  |  | 0 | depth (≥ 8')
ICE/TRASH SLUICEWAY
Sluice gate operation |  |  | 0 |  | 18-2, 5-3, 1-1, open & end gate closed.
SPILLWAY |  |  |  |  | On Seal
Pattern |  |  | 0
UnitPriority |  |  | 0
1% Efficiency of turbines |  |  | 0
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 6
|  |  | Out of Criteria | Limit | Comments
NORTH FISHWAY |  |  |  |  | De-Watered 12/04
Exit differential |  |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  |  | 0 |  | Open at Fore Bay elev. < 263'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 |  | Set at 1.0'.
Entrance differential |  |  | 0 | 1.0' - 2.0' | De-Watered 12/12
Entrance weir EW1 |  |  |  |  | Closed.
Entrance weir EW2 |  |  | 0 | depth (≥ 8')
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Hydraulic weir positions |  |  | 0 |  | low / mid / high
Count station differential |  |  | 0 | ≤ 0.3' | Picketed leads out 12/06
Weir crest depth |  |  | 0 |  | Set at 1.0'.
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir SE1 |  |  | 0 | depth (≥ 8')
Collection channel velocity |  |  | 1 | ≥ 1.5 fps | 1.55 | average in fps. | 1.3 fps minimum
Bay 1 differential |  |  | 0 | 1.0' - 2.0'
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0'
Entrance weir NE1 |  |  | 0 | depth (≥ 8')
Entrance weir NE2 |  |  | 0 | depth (≥ 8')
JUVENILE BYPASS SYSTEM |  |  |  |  | Inspection postponed until January due to excessive leakage
Forebay/conduit differential |  |  | 1 | 4.0' - 5.0'
Submersible traveling screens |  |  | 0
SPILLWAY |  |  |  |  | On Seal
Pattern |  |  | 0
Unit Priority |  |  | 0
1% Efficiency of turbines |  |  | 0
SMOLT MONITORING FACILITY
Operation: | SMF dewatered 9/14/2006. Winterization complete.
Maintenance:
OTHER ISSUES:
THE DALLES
Bird Observations:
N. Ladder exit - 6 merganzers, 2 gulls
Forebay - 12 grebe, 10 cormorants, 3 gulls
E. Ladder entrance - 45 merganzers, 33 cormorants, 1 gull, 1 heron
PH Tailrace - 28 gulls, 20 cormorants, 38 merganzers
Calibration and Drawdown checks suspended for winter.
JOHN DAY
Bird Observations:
PH forebay - 75 gulls, 37 cormorants
PH tailrace - ~100 gulls, 48 cormorants
Calibration and Drawdown checks suspended for winter.

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: |  | Secchi: |  | Velocity: | 1.6 | Temp: |  | Secchi: |  | Velocity: | 1.3
[5 empty] | 1.75 | [5 empty] | 1.5
[5 empty] | 2.2 | [5 empty] | 1.7
[5 empty] | 1.8 | [5 empty] | 1.6
[5 empty] | 2 | [5 empty] | 1.6
1.8
[5 empty] | 1.9 | [5 empty] | 1.6
AVG: | #DIV/0! | AVG: | #DIV/0! | AVG: | 1.8643 | AVG: | #DIV/0! | AVG: | #DIV/0! | AVG: | 1.55