## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: 12/29/07 | [8 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 12/23-29/07 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.298.7406
Fishway inspections once daily.
The Dalles Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 7 | Temperature: |  | 42.3333 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 5.7857 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir N1 |  |  | 0 | depth (≥ 8') | Set at 9.5' depth
Entrance weir N2 |  |  |  | Closed | Bulkhead installed
PUD Intake differential |  |  | 0 | ≤ 0.5'
EAST FISHWAY |  |  |  |  | Dewatered for annual maintenance
Exit differential |  |  |  | ≤ 0.5'
Removable weirs 154-157 |  |  |  | Per forebay | Preventative maintenance underway
Weir 158-159 differential |  |  |  | 1.0' ± 0.1' | Preventative maintenance underway
Count station differential |  |  |  | ≤ 0.3'
Weir crest depth |  |  |  | 1.0' ± 0.1'
Junction pool weir JP6 |  |  |  | depth (≥ 7') | Manually adjusted as needed.
East entrance differential |  |  |  | 1.0' - 2.0'
Entrance weir E1 |  |  |  | No criteria | Preventative maintenance underway. Bulkhead installed.
Entrance weir E2 |  |  |  | depth (≥ 8') | Preventative maintenance underway. Bulkhead installed.
Entrance weir E3 |  |  |  | depth (≥ 8') | Preventative maintenance underway. Bulkhead installed.
Collection channel velocity |  |  |  | 1.5 - 4 fps |  | average in fps.
West entrance differential |  |  |  | 1.0' - 2.0'
Entrance weir W1 |  |  |  | depth (≥ 8') | Preventative maintenance underway. Bulkhead installed.
Entrance weir W2 |  |  |  | depth (≥ 8') | Preventative maintenance underway. Bulkhead installed.
Entrance weir W3 |  |  |  | No criteria | Preventative maintenance underway. Bulkhead installed.
South entrance differential |  |  |  | 1.0' - 2.0'
Entrance weir S1 |  |  |  | depth (≥ 8') | Preventative maintenance underway. Bulkhead installed.
Entrance weir S2 |  |  |  | depth (≥ 8') | Preventative maintenance underway. Bulkhead installed.
JUVENILE PASSAGE
Sluicegate operation |  |  |  | units 1,5,18
Turbine trashrack drawdown |  |  |  | <1.5', wkly
Spill volume |  |  |  | 40%, 24hr | Closed
Spill Pattern |  |  |  | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 7 | Temperature: |  | 42.5 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 5.75 | Ft.
NORTH FISHWAY
Exit differential |  |  | 1 | ≤ 0.5' | 0.6'
Exit hydraulic weirs |  |  | 0 | Per forebay | Set for forebay >263'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir EW1 |  |  | 0 | depth (≥ 8')
Entrance weir EW2 |  |  |  | No criteria | Weir closed
SOUTH FISHWAY |  |  |  |  | Dewatered for annual maintenace
Exit differential |  |  |  | ≤ 0.5'
Exit sills position |  |  |  | Per forebay | Preventative maintenance completed on exit sills and motors
Count station differential |  |  |  | ≤ 0.3' | Crowder seal to be repaired. Preventative maintenance completed.
Weir crest depth |  |  |  | 1.0' ± 0.1'
South entrance differential |  |  |  | 1.0' - 2.0'
Entrance weir SE1 |  |  |  | depth (≥ 8') | Preventative maintenance underway
Collection channel velocity |  |  |  | 1.5 - 4 fps |  | average in fps.
Bay 1 differential |  |  |  | 1.0' - 2.0'
N.entrance PH(Bay 19)differential |  |  |  | 1.0' - 2.0'
Entrance weir NE1 |  |  |  | depth (≥ 8') | Preventative maintenance underway
Entrance weir NE2 |  |  |  | depth (≥ 8') | Preventative maintenance underway
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0'
Submersible traveling screens |  |  | 0 | visual inspect | Screen removal for end of season to start next week. Crane problems corrected.
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly
Vert barrier screen drawdown |  |  | 0 | <1.5', wkly
Spill volume |  |  |  |  | Closed
Spill pattern |  |  |  | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | Dewatered for the winter. Returns to service April 1, 2008.
Maintenance: Automation upgrade underway. Engineering exploring new switch gate seal.
OTHER ISSUES:
THE DALLES
Bird numbers reducing. Small numbers of cormorants observed near the north exit and small numbers of mergansers near the east entrance.
Expansion joint repair of east ladder to be contracted.
East fishway grating replacement on hold due to zinc galvanizing and lamprey friendly gap size concerns. Engineering completed replacement
assessment with recommendations to replace within 3 years. Decision for solution to be made through district / regional managers.
Fishlock flow feasibility test postponed to next winter outage season due to lack of manpower to complete necessary preventative maintenance
on fill valves.
JOHN DAY
Bird numbers reducing. Small numbers of grebes and gulls observed in the forebay and small numbers of cormorants and gulls in the tailrace.
Expansion joint repair of near south ladder exit to be contracted.
One of 3 gatewell orifices to be operated through the non passage season when submersible travelling screens are removed. They will be rotated
twice weekly.
South fish turbine #3 rehabilitation underway. Turbine disassembled, gearbox removed.
Research: Battelle/PNNL test equipment installed on spillway and turbine units 14 and 15. Testing to start week of Jan 7.
approved by;
Mike Colesar for Gene LaDouceur /s/
Project Manager
The Dalles/John Day/Willow Creek

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 42 | Secchi: | 5.5 | Velocity: |  | Temp: | 42 | Secchi: | 6 | Velocity:
| 42 |  | 6 |  |  |  | 42 |  | 5.5
| 42 |  | 6 |  |  |  | 42 |  | 6
| 42 |  | 5.5 |  |  |  | 43 |  | 5
| 43 |  | 5.5 |  |  |  | 43 |  | 6
| 43 |  | 6 |  |  |  | 43 |  | 6
6
AVG: | 42.3333 | AVG: | 5.7857 | AVG: | #DIV/0! | AVG: | 42.5 | AVG: | 5.75 | AVG: | #DIV/0!