## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: | 2006-03-20 | [7 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 3/12 - 3/18/2006 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
Note: italic print represents items inspected once per day; all others are inspected three times per day.
The Dalles Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 12 | Temperature: |  | 41.6667 | F
NORTH FISHWAY |  |  | Out of Criteria | Comments |  |  |  | Secchi: | 4.5417 | Ft.
Exit differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'
Entrance differential |  |  | 0
Entrance weir N1 |  |  | 0
Entrance weir N2 |  |  |  | Closed.
PUD Intake differential |  |  | 1 | excessive trashrack debris, project maintenance notified.
EAST FISHWAY
Exit differential |  |  | 0
Removable weirs 154-157 |  |  | 0
Weir 158-159 differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.1'
Junction pool weir JP2 |  |  | 0
Junction pool weir JP4 |  |  | 0
Junction pool weir JP6 |  |  | 0
East entrance differential |  |  | 1 | entrance weirs adjusted to correct ooc differential at 2.2 feet.
Entrance weir E1 |  |  |  | closed
Entrance weir E2 |  |  | 0
Entrance weir E3 |  |  | 0
Collection channel velocity |  |  | 0 | 1.65 | average in fps.
West entrance differential |  |  | 0
Entrance weir W1 |  |  | 0
Entrance weir W2 |  |  | 0
Entrance weir W3 |  |  |  | closed
South entrance differential |  |  | 0
Entrance weir S1 |  |  | 0
Entrance weir S2 |  |  | 0
ICE/TRASH SLUICEWAY
Sluice gate operation
SPILLWAY |  |  |  | on seal.
Pattern
UnitPriority |  |  | 0
1% Efficiency of turbines |  |  | 0
John Day Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  |  | Temperature: |  | 41.2857 | F
|  |  | Out of Criteria | Comments |  |  |  | Secchi: | 5.3214 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0
Exit hydraulic weirs |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'
Entrance differential |  |  | 0
Entrance weir EW1 |  |  | 0
Entrance weir EW2 |  |  |  | Closed.
SOUTH FISHWAY
Exit differential |  |  | 0
Hydraulic weir positions |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'
South entrance differential |  |  | 0
Entrance weir SE1 |  |  | 0
Collection channel velocity |  |  | 0 | 1.4269 | average in fps. |  | south fish turbine #1 less than 50 rpm 3/13, 15-18.
Bay 1 differential |  |  | 0
N.entrance PH(Bay 19)differential |  |  | 0
Entrance weir NE1 |  |  | 10 | adjustments made during inspections. |  |  |  | faulty control system TR'd.
Entrance weir NE2 |  |  | 11 | adjustments made during inspections. |  |  |  | faulty control system TR'd.
JUVENILE BYPASS SYSTEM
Forebay/conduit differential |  |  | 0
SPILLWAY |  |  |  | on seal.
Pattern
Unit Priority |  |  | 0
1% Efficiency of turbines |  |  | 0
Zebra Mussel Sampling Sites
The Dalles |  |  |  | John Day
| East Ladder | Not Present |  |  | South Ladder | Not Present
| North Ladder | Not Present |  |  | North Ladder | Not Present
SMOLT MONITORING FACILITY
Operation: | The SMF will be watered up on 4/03/2006.
Maintenance: |  | Routine PM.
OTHER ISSUES:
THE DALLES
Bird Observations: |  | 1 seagull, | 46 cormorant.
calibration Tuesday 14 march: calculated value difference E1 = 0.5, E3 = 0.7, East entrance channel = 0.4.
JOHN DAY
Bird Observations: |  | 4 seagull, 3 cormorant.
calibration Tuesday 14 March: no ooc.
John Day unit #9 sensor fish test, 3-DCAM crew tracked the MU #9 performance during the balloon tag test conducted 3/13 - 3/31. no testing
3/18/2006.

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 41 | Secchi: | 4.5 | Velocity: | 1.7 | Temp: | 41 | Secchi: | 6 | Velocity: | 1.5
| 41 |  | 4.5 |  | 1.6 |  | 41 |  | 5.5 |  | 1.1
| 42 |  | 3.5 |  | 1.5 |  | 41 |  | 5.5 |  | 1.7
| 42 |  | 4.5 |  | 1.5 |  | 42 |  | 5.5 |  | 1.4
| 42 |  | 4.5 |  | 1.6 |  | 42 |  | 5 |  | 1.1
| 42 |  | 4.5 |  | 1.9 |  | 41 |  | 5 |  | 1.3
| 41 |  | 4.5 |  | 1.7 |  | 41 |  | 5 |  | 1.5
| 42 |  | 4.5 |  | 1.5 |  | 41 |  | 5 |  | 1.5
| 42 |  | 4.5 |  | 1.8 |  | 42 |  | 5 |  | 1.25
| 42 |  | 4.5 |  | 1.8 |  | 41 |  | 5 |  | 1.4
| 42 |  | 5 |  | 1.7 |  | 42 |  | 5.5 |  | 1.5
| 41 |  | 5.5 |  | 1.5 |  | 41 |  | 5.5 |  | 1.7
[7 empty] | 41 |  | 5.5 |  | 1.6
[7 empty] | 41 |  | 5.5
AVG: | 41.6667 | AVG: | 4.5417 | AVG: | 1.65 | AVG: | 41.2857 | AVG: | 5.3214 | AVG: | 1.4269