## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: | 2008-03-02 | [7 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 02/24 - 03/01/2008 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.298.7406
Fishway inspections twice daily starting Mar 1.
The Dalles Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 8 | Temperature: |  | 40.8571 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 5.5 | Ft.
NORTH FISHWAY |  |  |  |  | Returned to service Feb 28
Exit differential |  |  | 0 | ≤ 0.5'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir N1 |  |  | 0 | depth (≥ 8')
Entrance weir N2 |  |  | closed | no criteria
PUD Intake differential |  |  | 0 | ≤ 0.5'
EAST FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Removable weirs 154-157 |  |  | 0 | Per forebay | Weir 157 malfunction reported to maintenance
Weir 158-159 differential |  |  | 0 | 1.0' ± 0.1'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Junction pool weir JP6 |  |  | 0 | depth (≥ 7') | Manually adjusted as needed.
East entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir E1 |  |  | closed | No criteria | Manually adjusted if needed for differential
Entrance weir E2 |  |  | 0 | depth (≥ 8') | Set at 12.5' depth
Entrance weir E3 |  |  | 0 | depth (≥ 8') | Set at 12.5' depth
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | 2.2528 | average in fps. | Performed by float test
West entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir W1 |  |  | 0 | depth (≥ 8') | Set at 10' depth
Entrance weir W2 |  |  | 0 | depth (≥ 8') | Set at 10' depth
Entrance weir W3 |  |  | closed | no criteria | Manually adjusted as needed
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir S1 |  |  | 0 | depth (≥ 8') | Set at 9' depth
Entrance weir S2 |  |  | 0 | depth (≥ 8') | Set at 9' depth
JUVENILE PASSAGE
Sluicegate operation |  |  | closed | per FPP | Endgate closed thru Feb 29. Endgate open with orifice plunge pool Mar 1.
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly
Spill volume |  |  | closed | 40%, 24hr | Spillway on seal
Spill Pattern |  |  | closed | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 8 | Temperature: |  | 40.4286 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 6 | Ft.
NORTH FISHWAY |  |  |  |  | Return to service Feb 29
Exit differential |  |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  |  | 0 | Per forebay
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Entrance differential |  |  | 0 | 1.0' - 2.0' | 2 of 4 attraction water pumps in service do to low tailwater
Entrance weir EW1 |  |  | 0 | depth (≥ 8')
Entrance weir EW2 |  |  | closed | No criteria
SOUTH FISHWAY |  |  |  |  | 2 fish turbines in service
Exit differential |  |  | 0 | ≤ 0.5'
Hydraulic weir positions |  |  | 0 | Per forebay | Set at mid forebay range
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
South entrance differential |  |  | 1 | 1.0' - 2.0' | Adjusted
Entrance weir SE1 |  |  | 0 | depth (≥ 8')
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | 2.5407 | average in fps. | Performed by float test
Bay 1 differential |  |  | 0 | 1.0' - 2.0'
N.entrance PH(Bay 19)differential |  |  | 2 | 1.0' - 2.0' | Adjusted
Entrance weir NE1 |  |  | 0 | depth (≥ 8')
Entrance weir NE2 |  |  | 1 | depth (≥ 8') | Adjusted
JUVENILE PASSAGE
Forebay/bypass conduit differential |  |  | 0 | 4.0' - 5.0'
Submersible traveling screens |  |  |  | visual inspect | Units 1 - 11 installed early to assure completion by Apr 1.
Turbine trashrack drawdown |  |  |  | <1.5', wkly | Start next week on units 1-11. Remainder aftet Apr 1.
Vert barrier screen drawdown |  |  |  | <1.2', wkly | Same as above.
Spill volume |  |  | closed | 30%, 24hr | Spillway on seal
Spill pattern |  |  | closed | per FPP
Turbine Unit Priority |  |  | 0 | per FPP
Turbine 1% Efficiency |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | Dewatered Sept 15. Return to service Apr 1.
Maintenance:
Preventative maintenance in progress.
Backup Primary Dewatering Screen water level sensor to be installed.
New seal for switch gate in design stage to be implemented soon.
OTHER ISSUES:
THE DALLES
Birds; Very few gulls. Moderate comorant numbers roosting on north forebay towers.
USDA hazing and avian line modification agreement in route for district approval. Avian line mods to be completed third week of March. Hazing to
start Apr 1.
Maintenance; Blackberry brush removed from north fishladder walls. North count station crowder gearboxes replaced. Preventative maintenance
of count station equipment completed.
Calibration; completed. E2 and E3 off, but still within criteria depth. Maintenance notified.
Ice trash sluiceway set at orifice flow with sluice gates closed per Fish Passage Plan. Excessive leakage on many failing chaingates along
powerhouse. Maintenance plan underway. March operational plan in FPOM forum for decision.
Research:
U of I continues downloading their adult radiotelemetry receivers once a week.
USGS cleanup of previous years equipment near complete.
JOHN DAY
Birds; very few gulls
Maintenance; Preventative maintenance completed on north fishway equipment. North fish pumps 3 and 5 rehab udnerway. South fish turbine/pump
rehab on hold due to lack of funding. Expected to resume immediately after navigation lock annual maintenance.
Research:
U of I continues downloading their adult radiotelemetry receivers once a week.
TSW preparation work continues on spill bays 18 and 19. Discussion underway for moving TSW tests to bays 15 and 16.
Dive planned Mar 10 unit 14 and 15 transducer installation, Mar 11 for spilway flex hose removal from previous research.
approved by;
Gene LaDouceur /s/
Project Manager
The Dalles/John Day/Willow Creek

## AVGS
|  | The Dalles | [6 empty] | John Day
[6 empty] | BAY | [6 empty] | Bay(s)
Temp: | 40 | Secchi: | 5 | Velocity: | 2.6303 | 1 | Temp: | 40 | Secchi: | 6 | Velocity: | 2.2785 | 2 - 4
| 40 |  | 5 |  | 2.4111 | 2 |  | 40 |  | 6 |  | 1.978 | 4 - 6
| 42 |  | 5.5 |  | 1.736 | 3 |  | 40 |  | 6 |  | 2.069 | 6 - 8
| 42 |  | 5.5 |  | 2.6303 | 4 |  | 40 |  | 6 |  | 1.8557 | 8 - 10
| 41 |  | 5.5 |  | 2.3459 | 5 |  | 41 |  | 6 |  | 2.8571 | 10 - 12
| 41 |  | 6 |  | 2.4111 | 6 |  | 41 |  | 6 |  | 3.0508 | 12 - 14
| 40 |  | 6 |  | 2.0667 | 7 |  | 41 |  | 6 |  | 2.9032 | 14 - 16
[5 empty] | 2.48 | 8 | [5 empty] | 3.3333 | 16 - 18
[5 empty] | 1.887 | SS |  |  |  |  | AVG: | 2.5407
[5 empty] | 1.736 | 9
[5 empty] | 2.2256 | 10
[5 empty] | 2.17 | 11
[5 empty] | 2.6303 | 12
[5 empty] | 1.8468 | 13
AVG: | 40.8571 | AVG: | 5.5 |  | 1.887 | 14 | AVG: | 40.4286 | AVG: | 6
[5 empty] | 2.48 | 15
[5 empty] | 2.48 | 16
[5 empty] | 2.4111 | 17
[5 empty] | 2.48 | 18
[5 empty] | 2.1171 | 19
[5 empty] | 2.0186 | 20
[5 empty] | 2.48 | 21
|  |  |  | AVG: | 2.2528