## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: | 2007-04-04 | [7 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 03/25 - 03/31/2007 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
All areas are checked once a day.
The Dalles Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 45.2857 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 3.8571 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.0'.
Entrance differential |  |  | 1 | 1.0' - 2.0' | PUD was down on 3/30 due to electrical maintanance of COE equipment.
Entrance weir N1 |  |  | 0 | depth (≥ 8')
Entrance weir N2 |  |  |  |  | Closed.
PUD Intake differential |  |  | 0 | ≤ 0.5'
EAST FISHWAY |  |  |  |  | Returned to Service 2/23
Exit differential |  |  | 0 | ≤ 0.5'
Removable weirs 154-157 |  |  | 1 |  | 155 (03-30)
Weir 158-159 differential |  |  | 0 | 1.0' ± 0.1'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.0'.
Junction pool weir JP6 |  |  | 0 | depth (≥ 7') | Manually adjusted as needed >7' below tailwater
East entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir E1 |  |  | 0 |  | Manually adjusted as needed
Entrance weir E2 |  |  | 0 | depth (≥ 8')
Entrance weir E3 |  |  | 0 | depth (≥ 8')
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | 2.87 | average in fps.
West entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir W1 |  |  | 0 | depth (≥ 8')
Entrance weir W2 |  |  | 0 | depth (≥ 8')
Entrance weir W3 |  |  |  |  | Closed
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir S1 |  |  | 14 | depth (≥ 8')
Entrance weir S2 |  |  | 0 | depth (≥ 8') |  | Avg. 18.1'
ICE/TRASH SLUICEWAY
Sluice gate operation |  |  |  | 1, 5, 18 | 1-1 & 18-3 open End Gate closed
SPILLWAY |  |  |  |  | On Seal
Pattern |  |  | 0 | per FPP
UnitPriority |  |  | 0 | per FPP
1% Efficiency of turbines |  |  | 0 | per FPP
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 45.5714 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 5.2143 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  |  | 0 |  | Open at Fore Bay elev. < 263'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.0'.
Entrance differential |  |  | 1 | 1.0' - 2.0' | Fish pumps were OOS for 6 hours on 3/29 due to diving/ROV inspection.
Entrance weir EW1 |  |  | 0 | depth (≥ 8')
Entrance weir EW2 |  |  |  |  | Closed.
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Hydraulic weir positions |  |  | 0 |  | low / mid / high
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.0'.
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir SE1 |  |  | 4 | depth (≥ 8')
Collection channel velocity |  |  | 5 | 1.5 - 4 fps | 1.4643 | average in fps.
Bay 1 differential |  |  | 0 | 1.0' - 2.0'
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0'
Entrance weir NE1 |  |  | 0 | depth (≥ 8')
Entrance weir NE2 |  |  | 0 | depth (≥ 8')
JUVENILE BYPASS SYSTEM
Forebay/conduit differential |  |  | 0 | 4.0' - 5.0'
Submersible traveling screens |  |  | 0 | inspected
SPILLWAY |  |  |  |  | On Seal
Pattern |  |  | 0 | per FPP
Unit Priority |  |  | 0 | per FPP
1% Efficiency of turbines |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | Dewatered for the season.
Ready to water up and return to 24/7 operation on 2 April.
Maintenance: Regular PMs and specific repairs are underway in preparation for the '07 operation to commence on 2 April.
Full flow PIT detection contract underway, all structural work was completed by 20 March when the leak test was performed with no problems found.
Installation of the electronic equipment will continue through mid May.
OTHER ISSUES:
THE DALLES
Low gull numbers. Moderate cormorant numbers roosting on north forebay towers, but not observed around dam during day.
USDA moved the spillway avian lines from south to north end on 3/28, bays 1 to 8 have them now.
Maintenance:
Calibration was done on March 15. All weirs and still wells were within limits.
South entrance gate S2 remains wide open without the weir. Expected end of weir repairs is mid April. In the meantime, S-1 is shallower than
8.0' minimum criteria to achieve the proper differential criteria in this emergency situation.
PUD turbine was OOS for 8 hrs on 3/30; bypass valve was open to provide attraction water to the north ladder entrance during that outage.
Research : Battelle is planning for their DIDSON study to be performed at the west end of powerhouse during this upcoming season.
Project participation/support for spillway improvements, east/north fishways reliability and adult PIT detection design studies continues as needed.
Uof I adult radiotelemetry installed a full complement of antennas at both adult fishways during the week of March 12. Their crew is downloading
antennas' receivers weekly.
JOHN DAY
Bird Observations:
Low numbers of gulls at this time. USDA repaired avian lines over spillway on March 13. Their avian hazing contract will begin May 1 with reduced
coverage due shortage of staff.
Maintenance:
Calibrations were done on March 15. All weirs and still wells were within limits.
South fish turbine/pump rehab planning and preparation underway. First of 3 to start winter outage '07/'08. Operational adjustments being explored
in preparation of 2 turbine operation during '08 passage season.
Research:
UofI adult radiotelemetry coverage is limited to the entrances and exits for this year. Their crew is downloading antennas' receivers weekly.
Project participation/support for JD configuration, north ladder improvements and adult PIT detection design studies continues as needed.
Approved by;
Gene LaDouceur /s/
Project Manager
The Dalles/John Day/Willow Creek

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 45 | Secchi: | 3 | Velocity: | 2.2 | Temp: | 46 | Secchi: | 3.5 | Velocity: | 1.6
| 46 |  | 3 |  | 2.6 |  | 46 |  | 5 |  | 1.5
| 46 |  | 3.5 |  | 2.9 |  | 46 |  | 5 |  | 1.6
| 45 |  | 4 |  | 2.81 |  | 46 |  | 5.5 |  | 1.5
| 45 |  | 4 |  | 2.5 |  | 45 |  | 6 |  | 1.4
| 45 |  | 4 |  | 3.1 |  | 45 |  | 6 |  | 1.3
| 45 |  | 5.5 |  | 3 |  | 45 |  | 5.5 |  | 1.3
[5 empty] | 3.5 | [5 empty] | 1.3
[5 empty] | 3 | [5 empty] | 1.4
[5 empty] | 2.7 | [5 empty] | 1.5
[5 empty] | 3 | [5 empty] | 1.5
[5 empty] | 3 | [5 empty] | 1.6
[5 empty] | 3 | [5 empty] | 1.5
1.5
AVG: | 45.2857 | AVG: | 3.8571 | AVG: | 2.87 | AVG: | 45.5714 | AVG: | 5.2143 | AVG: | 1.4643