## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: | 2007-04-23 | [7 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 04/15 - 04/21/2007 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
Fishway inspections twice daily.
The Dalles Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 48.7143 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 4.3571 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.0'.
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir N1 |  |  | 0 | depth (≥ 8')
Entrance weir N2 |  |  |  | Closed | Closed with bulkhead
PUD Intake differential |  |  | 0 | ≤ 0.5'
EAST FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Removable weirs 154-157 |  |  | 5 | per forebay | Weir 156 out of sequence. Maintenance corrected contact failure.
Weir 158-159 differential |  |  | 0 | 1.0' ± 0.1'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 1 | 1.0' ± 0.1' | Set at 1.0'. Found at 0.8' due to weir 157 contact failure. Maintenance corrected.
Junction pool weir JP6 |  |  | 0 | depth (≥ 7') | Manually adjusted as needed >7' below tailwater
East entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir E1 |  |  | 0 | closed | Manually adjusted as needed for optimal differential. Approx 6' depth.
Entrance weir E2 |  |  | 0 | depth (≥ 8')
Entrance weir E3 |  |  | 0 | depth (≥ 8')
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | 2.8071 | fps at turbine bay 19 . | Float test avg 2.2fps from bay 21 to 13 on 4/17.
West entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir W1 |  |  | 0 | depth (≥ 8')
Entrance weir W2 |  |  | 0 | depth (≥ 8')
Entrance weir W3 |  |  | 0 |  | Manually adjusted as needed
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir S1 |  |  | 14 | depth (≥ 8') | closed to achieve south entrance criteria differential during S2 weir repair
Entrance weir S2 |  |  | 0 | depth (≥ 8') | Weir removed. Approx 16' entrance depth to channel floor. Repair underway.
ICE/TRASH SLUICEWAY
Sluice gate operation |  |  | 0 | 1, 5, 18 | 1-1/1-2/1-3, 5-2/5-3, 18-2/18-3 and Endgate full open.
SPILLWAY |  |  |  |  | 40% -24hr/day
Pattern |  |  | 0 | per FPP
UnitPriority |  |  | 0 | per FPP
1% Efficiency of turbines |  |  | 0 | per FPP | unit 3 exceeded 1% 4/18
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 48.8571 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 5 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  |  | 0 | forebay 263'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.0'.
Entrance differential |  |  | 0 | 1.0' - 2.0' | 3 of 6 pumps in operation. 1 pump out of service.
Entrance weir EW1 |  |  | 2 | depth (≥ 8') | Manually adjsuted. Maintenance notified.
Entrance weir EW2 |  |  |  | Closed | Closed with weir.
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Hydraulic weir positions |  |  | 0 | per forebay | Set at mid forebay range
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.0'.
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir SE1 |  |  | 0 | depth (≥ 8')
Collection channel velocity |  |  | 14 | 1.5 - 4 fps | 1.3 | fps at bay turbine bay 2. No adjustments made.
Bay 1 differential |  |  | 0 | 1.0' - 2.0'
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0'
Entrance weir NE1 |  |  | 0 | depth (≥ 8')
Entrance weir NE2 |  |  | 0 | depth (≥ 8')
JUVENILE BYPASS SYSTEM
Forebay/conduit differential |  |  | 0 | 4.0' - 5.0'
Submersible traveling screens |  |  | 0 | inspected | Camera inspection Apr 15. Vertical Barrier Screen top panel missing in unit 6.
Gatewell drawdown |  |  | 0 | < 1.5' - wkly | No debris indication on intake trashracks or vertical barrier screens.
SPILLWAY |  |  |  |  | 0% day - 60% night
Pattern |  |  | 0 | per FPP | Spillbay 3 OOS on 4/12. Estimated RTS 4/16. Adjacent bays increased for 60%.
Unit Priority |  |  | 0 | per FPP
1% Efficiency of turbines |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | Screen cleaner 1 failure Apr 14, returned Apr 16. Cleaned manually as needed.
Maintenance: Minor adjustment on screen cleaner 2.
Moderate to heavy debris at FDS, mostly tumbleweeds.
Full flow PIT installation complete and in operation. Construction site cleanup underway.
OTHER ISSUES:
THE DALLES
No observed bird predation activity. Many gulls observed at upstream end of Miller Island nesting site. USDA scheduled to begin hazing
support 5 days/week starting May 1. USDA pikeminnow dam angling to start May 14.
Velocity float measurement of north entrance approx 2fps and transportation channel approx 2.5fps.
Cannot close 5-2 sluice gate at unit 5 per Fish Passage Plan due to contractor work in that vicinity limiting crane space. Will close when clear.
Unit 18 scheduled to be out of service for overhaul maitenance May 21-Jul 13. 18-2, 18-3 sluicegates to be closed. 19-1 and 19-2 will be opened
during that time.
Units 5 and 6 out of service for maintenance.
South entrance S2 weir remains out for repair. Maitenance near complete installing new wheels. Target installation May 1.
Research; Battelle Hydrodynamic research equipment installed at unit 1. Univ of Idaho continues adult radiotelemtry downloading.
JOHN DAY
No observed bird predation activity. Up to 35 grebes observed in forebay. USDA scheduled to begin hazing support 5days/week starting May 1.
USDA pikeminnow dam angling to start May 14.
Vertical Barrier Screen panel was found in bottom or slot during inspection. Emergency dive recovery made Apr 19. Cause of failure investigation
underway.
Unit 5-8 out of service for breaker maintenance.
Research; Univ of Idaho continues adult radiotelemtry downloading.
Approved by;
Gene LaDouceur /s/
Project Manager
The Dalles/John Day/Willow Creek

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 48 | Secchi: | 4 | Velocity: | 2.2 | Temp: | 48 | Secchi: | 5.5 | Velocity: | 1.3
| 48 |  | 4 |  | 2.5 |  | 48 |  | 5.5 |  | 1.4
| 48 |  | 4.5 |  | 2.8 |  | 49 |  | 5 |  | 1.4
| 49 |  | 4.5 |  | 2.8 |  | 49 |  | 5 |  | 1.3
| 49 |  | 4.5 |  | 2.5 |  | 49 |  | 5.5 |  | 1.3
| 49 |  | 5 |  | 2.5 |  | 49 |  | 4 |  | 1
| 50 |  | 4 |  | 2.2 |  | 50 |  | 4.5 |  | 1.4
[5 empty] | 2.3 | [5 empty] | 1.1
[5 empty] | 3.1 | [5 empty] | 1.6
[5 empty] | 3.1 | [5 empty] | 1.2
[5 empty] | 3.3 | [5 empty] | 1.4
[5 empty] | 3.4 | [5 empty] | 1.1
[5 empty] | 2.9 | [5 empty] | 1.3
[5 empty] | 3.7 | [5 empty] | 1.4
AVG: | 48.7143 | AVG: | 4.3571 | AVG: | 2.8071 | AVG: | 48.8571 | AVG: | 5 | AVG: | 1.3