## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: | 2007-06-02 | [7 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 5/27 - 6/2/2007 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
Fishway inspections twice daily.
The Dalles Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 58.5556 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 5.0556 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.0' due to low shad passage in north ladder.
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir N1 |  |  | 0 | depth (≥ 8') | Set at 9.5' depth
Entrance weir N2 |  |  |  | Closed | Bulkhead installed
PUD Intake differential |  |  | 0 | ≤ 0.5'
EAST FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Removable weirs 154-157 |  |  | 0 | Per forebay | Auto adjusts at 1' increments
Weir 158-159 differential |  |  | 3 | 1.0' ± 0.1' | Set point at wrong setting. Corrected.
Count station differential |  |  | 1 | ≤ 0.3' | Picket leads raked as needed
Weir crest depth |  |  | 1 | 1.0' ± 0.1' | Set at 1.3' for shad passage.Found at 1.5' due to forebay change.Manually adjusted.
Junction pool weir JP6 |  |  | 1 | depth (≥ 7') | 6.3'. Manually adjusted to 7.5'
East entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir E1 |  |  | 0 | No criteria | Manually adjusted as needed for criteria differential
Entrance weir E2 |  |  | 0 | depth (≥ 8') | Set at 12.5' depth
Entrance weir E3 |  |  | 0 | depth (≥ 8') | Set at 12.5' depth
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | 3.2 | average in fps.
West entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir W1 |  |  | 0 | depth (≥ 8') | Set at 10' depth
Entrance weir W2 |  |  | 0 | depth (≥ 8') | Set at 10' depth
Entrance weir W3 |  |  | 0 | No criteria | Manually adjusted as needed
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir S1 |  |  | 0 | depth (≥ 8') | Set at 9' depth
Entrance weir S2 |  |  | 0 | depth (≥ 8') | Set at 9' depth
ICE/TRASH SLUICEWAY
Sluice gate operation |  |  | 0 | units 1,5,18 | Sluicegates 1-1,1-2,1-3,5-2,18-2,18-3 and endgate open
SPILLWAY |  |  |  |  | 40%, 24hr/day
Pattern |  |  | 0 | per FPP
UnitPriority |  |  | 0 | per FPP
1% Efficiency of turbines |  |  | 0 | per FPP
John Day Dam |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 59.6667 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 5 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Exit hydraulic weirs |  |  | 0 | Per forebay | Set for forebay <263'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.3' for shad passage
Entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir EW1 |  |  | 0 | depth (≥ 8') | Set at 9.5'
Entrance weir EW2 |  |  | 0 | No criteria | Weir closed
SOUTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Hydraulic weir positions |  |  | 0 | Per forebay | Set at mid forebay range
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1' | Set at 1.3' for shad passage
South entrance differential |  |  | 0 | 1.0' - 2.0'
Entrance weir SE1 |  |  | 0 | depth (≥ 8') | Set at 9'
Collection channel velocity |  |  | 2 | 1.5 - 4 fps | 1.4714 | average in fps. | minimum 1.3 fps
Bay 1 differential |  |  | 0 | 1.0' - 2.0'
N.entrance PH(Bay 19)differential |  |  | 0 | 1.0' - 2.0'
Entrance weir NE1 |  |  | 0 | depth (≥ 8') | Set at 9.3'
Entrance weir NE2 |  |  | 0 | depth (≥ 8') | Set at 9.3'
JUVENILE BYPASS SYSTEM
Forebay/conduit differential |  |  | 0 | 4.0' - 5.0'
Submersible traveling screens |  |  | 0 | visual inspect | Monthly inspection schedule
Gatewell drawdown |  |  | 0 | <1.5' - wkly | Range; 0.2' - 0.8'
SPILLWAY |  |  |  |  | 0% day, 60% night
Pattern |  |  | 0 | per FPP
Unit Priority |  |  | 0 | per FPP
1% Efficiency of turbines |  |  | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: | Juvenile Bypass channel automation malfunction due to excessive heat Tainter Gate operated in manual.
Maintenance working on remedy. Primary Dewatering Screen cleaned manually as needed.
Maintenance: Screen Cleaner positioning system malfunction. Maintenance in process of repairing.
Debris at FDS: Light, some woody debris.
OTHER ISSUES:
THE DALLES
Large numbers of gulls upstream of the bridge, primarily on edges of avian line grid. USDA hazing implimented 5 days week, part time.
USDA pikeminnow dam angling underway. Catch rate steadily increasing. Focusing on powerhouse tailrace and sluiceway outfall.
Calibration check completed June 1. Several weirs with minor discrepencies. Maintenance notified.
Research; Battelle hydrodynamics in break period between spring and summer data collection. UofI continuing adult radiotelemetry data collection.
JOHN DAY
Large numbers of grebes and moderate numbers of gulls in forebay. Large numbers of gulls in spillway tailrace during spill. Moderate gull numbers
at outfall. USDA hazing implimented 5 days/week, part time.
USDA pikeminnow dam angling underway with good catch rates. Focusing on navlovk tailrace wall.
Calibration check completed June 1. All within compliance.
Research; UofI continuing adult radiotelemtry data collection.
Approved by;
Gene LaDouceur /s/
Project Manager
The Dalles/John Day/Willow Creek

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 58 | Secchi: | 5 | Velocity: | 2.6 | Temp: | 58 | Secchi: | 5 | Velocity: | 1.6
1.3
| 58 |  | 5 |  | 3.1 |  | 58 |  | 5 |  | 1.4
[5 empty] | 3.1 | [5 empty] | 1.4
| 59 |  | 5 |  |  |  | 58 |  | 6 |  | 1.4
| 58 |  | 6 |  | 3.6 |  | 58 |  |  |  | 1.6
| 59 |  | 5 |  | 2.9 |  | 58 |  | 5 |  | 1.4
| 58 |  | 6 |  | 3.3 |  | 60 |  |  |  | 1.6
| 58 |  | 5.5 |  | 3.3 |  | 58 |  | 6 |  | 1.5
[5 empty] | 3.4 |  | 63 |  |  |  | 1.5
| 59 |  | 4 |  | 3.3 |  | 59 |  | 4 |  | 1.5
[5 empty] | 3.5 |  | 62 |  |  |  | 1.6
| 60 |  | 4 |  | 3.2 |  | 62 |  | 4 |  | 1.3
[5 empty] | 3.1 |  | 62 |  |  |  | 1.5
AVG: | 58.5556 | AVG: | 5.0556 | AVG: | 3.2 | AVG: | 59.6667 | AVG: | 5 | AVG: | 1.4714

## FishCounts
THE DALLES 2007
| East | North | East | North | East | North | East | North | East | North | East | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd | Shad | Shad | Sockeye | Sockeye | Lamprey | Lamprey
2006-05-26 | 516 | 41 | 324 | 0 | 8 | -1 | 114782 | 0
2006-05-27 | 434 | 122 | 292 | 12 | 14 | 1 | 82891 | 0
2006-05-28 | 512 | 30 | 259 | 0 | 24 | 0 | 52475 | 0
2006-05-29 | 416 | 98 | 142 | 6 | 7 | 1 | 67072 | 0
2006-05-30 | 586 | 73 | 301 | 6 | 19 | 1 | 125671 | 0 | 2 | 0
2006-05-31 | 464 | 116 | 163 | 1 | 9 | 0 | 125153 | 0 | 7 | 0 | 0 | 1
2006-06-01 | 559 | 121 | 216 | 12 | 27 | 2 | 134023 | 0 | 16 | 0 | 2 | 0
2006-06-02 | 365 | 121 | 181 | 4 | 15 | 1 | 165704 | 0 | 25 | 0 | 1 | 0
2006-06-03 | 742 | 113 | 262 | 20 | 11 | 2 | 153187 | 0 | 23 | 0 | 2 | 0
2006-06-04 | 535 | 194 | 148 | 13 | 18 | 2 | 120821 | 830 | 31 | 1 | 2 | 2
2006-06-05 | 616 | 107 | 194 | 14 | 19 | 3 | 114019 | 203 | 19 | 2 | 4 | 8
JOHN DAY 2007
| South | North | South | North | South | North | South | North | South | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd | Sockeye | Sockeye | Lamprey | Lamprey
2006-05-26 | 178 | 100 | 161 | 42 | 6 | -4 | 0 | 0 | 0 | 0
2006-05-27 | 376 | 80 | 246 | 22 | 5 | 0 | 1 | 1 | 2 | 0
2006-05-28 | 355 | 55 | 259 | 14 | 5 | 2 | 0 | 0 | 1 | 1
2006-05-29 | 516 | 35 | 235 | 5 | 10 | -2 | 0 | 1 | 0 | 0
2006-05-30 | 367 | 66 | 140 | 4 | 37 | 5 | 1 | 0 | -4 | 0
2006-05-31 | 336 | 80 | 134 | 8 | 50 | 1 | 0 | 0 | 0 | 0
2006-06-01 | 356 | 48 | 114 | 26 | 15 | 26 | 1 | 0 | 1 | 1
2006-06-02 | 349 | 73 | 90 | 5 | 20 | -11 | 16 | 0 | 4 | 0
2006-06-03 | 242 | 107 | 109 | 16 | 17 | -2 | 18 | 6 | 2 | 2
2006-06-04 | 421 | 144 | 144 | 52 | 11 | 4 | 12 | 1 | 2 | 2
2006-06-05 | 458 | 115 | 174 | 23 | 23 | 8 | 31 | 1 | 2 | 5