## SR
FISHWAY STATUS REPORT |  |  |  |  | THE DALLES/JOHN DAY DAM
Date: 09/01/2007 | [6 empty] | TD/JD/WC Project-Fisheries
Inspection Period: 08/26-09/01/07 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
Fishway inspections twice daily.
The Dalles Dam | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 70 | F
| Out of Criteria | Limit | Comments |  |  | Secchi: | 5.4286 | Ft.
NORTH FISHWAY
Exit differential | 0 | ≤ 0.5'
Count station differential | 0 | ≤ 0.3'
Weir crest depth | 0 | 1.0' ± 0.1' | Set at 1' depth
Entrance differential | 0 | 1.0' - 2.0'
Entrance weir N1 | 0 | depth (≥ 8') | Set at 9.5' depth
Entrance weir N2 |  | Closed | Bulkhead installed
PUD Intake differential | 0 | ≤ 0.5'
EAST FISHWAY
Exit differential | 0 | ≤ 0.5'
Removable weirs 154-157 | 0 | Per forebay | Auto adjusts at 1' increments
Weir 158-159 differential | 0 | 1.0' ± 0.1'
Count station differential | 0 | ≤ 0.3'
Weir crest depth | 0 | 1.0' ± 0.1' | Set at 1' depth
Junction pool weir JP6 | 0 | depth (≥ 7') | Manually adjusted as needed.
East entrance differential | 0 | 1.0' - 2.0'
Entrance weir E1 | 0 | No criteria | Newly installed automation set at 9' depth
Entrance weir E2 | 0 | depth (≥ 8') | Set at 12.5' depth
Entrance weir E3 | 0 | depth (≥ 8') | Set at 12.5' depth
Collection channel velocity | 0 | 1.5 - 4 fps |  | Collection channel float test average; Aug 27 - 2fps, Sept 1 - 1.6fps
West entrance differential | 0 | 1.0' - 2.0'
Entrance weir W1 | 0 | depth (≥ 8') | Set at 8.5' depth
Entrance weir W2 | 0 | depth (≥ 8') | Set at 8.5' depth
Entrance weir W3 | 0 | No criteria | Manually adjusted as needed
South entrance differential | 0 | 1.0' - 2.0'
Entrance weir S1 | 0 | depth (≥ 8') | Set at 8.2' depth
Entrance weir S2 | 0 | depth (≥ 8') | Set at 8.2' depth
ICE/TRASH SLUICEWAY
Sluice gate operation | 0 | units 1,5,18 | Sluicegates 1-1,1-2,1-3,5-2,18-2,18-3 and endgate open
SPILLWAY |  |  | 40%, 24hr/day through Aug 31. Spillway closed Sept 1.
Pattern | 0 | per FPP
UnitPriority | 0 | per FPP
1% Efficiency of turbines | 0 | per FPP
John Day Dam | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 70.4545 | F
| Out of Criteria | Limit | Comments |  |  | Secchi: | 5.2273 | Ft.
NORTH FISHWAY
Exit differential | 0 | ≤ 0.5'
Exit hydraulic weirs | 0 | Per forebay | Set for forebay >263'
Count station differential | 0 | ≤ 0.3'
Weir crest depth | 0 | 1.0' ± 0.1' | Set at 1' depth
Entrance differential | 2 | 1.0' - 2.0' | 0.8'
Entrance weir EW1 | 1 | depth (≥ 8') | 7.7' Wier at lower limit due to low tailwater
Entrance weir EW2 | 0 | No criteria | Weir closed
SOUTH FISHWAY
Exit differential | 0 | ≤ 0.5'
Hydraulic weir positions | 0 | Per forebay | Set at mid forebay range
Count station differential | 0 | ≤ 0.3'
Weir crest depth | 0 | 1.0' ± 0.1' | Set at 1' depth
South entrance differential | 0 | 1.0' - 2.0'
Entrance weir SE1 | 0 | depth (≥ 8')
Collection channel velocity | 0 | 1.5 - 4 fps |  | Collection channel float test bays 6-18 average 3.5fps
Bay 1 differential | 0 | 1.0' - 2.0'
N.entrance PH(Bay 19)differential | 0 | 1.0' - 2.0'
Entrance weir NE1 | 0 | depth (≥ 8')
Entrance weir NE2 | 0 | depth (≥ 8')
JUVENILE BYPASS SYSTEM
Forebay/conduit differential | 0 | 4.0' - 5.0'
Submersible traveling screens | 0 | visual inspect | Inspected this week. Mesh tear on unit 2 and bad gearbox on unit 4, replaced.
Gatewell drawdown | 0 | <1.5' - wkly | Range;
SPILLWAY | 0 |  | 30% 24 hours/day through 8/31 - 1.5 kcfs attraction spill thereafter
Pattern | 0 | per FPP
Unit Priority | 0 | per FPP
1% Efficiency of turbines | 0 | per FPP
SMOLT MONITORING FACILITY
Operation: Daily index sampling of bypassed juveniles was suspended when river/facility temperature reached 70˚ F on 7/17
Minimal, biweekly condition sampling will continue until water temperature drops below 69.5˚ F
Maintenance: None
Debris at FDS: Very light
OTHER ISSUES:
THE DALLES
Birds: Gull numbers reducing to low/moderate levels below spillway. Few cormorants showing downstream powerhouse.
USDA gull hazing continues through Sept.
USDA pikeminnow dam angling concluded with approx 2,000 pikeminnow harvested. Planning for possible program cut for 08. Alternatives being
investigated.
No calibrations done this week
Unit 18 returned to service. Sluiceway chain gates closed on unit 19 and hoist gates 18-2 and 18-3 opened per Fish Passage Plan.
All gearboxes for fishway entrance and east exit weirs replaced with vegetable based oil.
Research planning for 08 underway. Univ of Idaho continues adult radiotelemtry downloading.
JOHN DAY
Birds: Gull numbers below spillway and grebe numbers in forebay reducing to moderate levels. Cormorants showing in powerhouse tailrace.
USDA gull hazing continues through Sept.
USDA pikeminnow dam angline concluded with approx 5,500 pikeminnow harvested. Program cut alternatives for 08 being investigated.
No calibrations done this week
Starting overhaul of north fishway auxiliary water pumps #3 and #4. Remaining 4 pumps in service. Three in operation simultaneously.
Planning and preparation underway for south fish turbine rehabilitation. Work to be begin first week of Dec. One turbine per year for next 3 years.
Operation plan for '08 passage season; 2 turbine operation with RPM increase from 55 to 60. Floating orifice closure on bay 2 nd 18, leaving 1 and
19 open. Evaluation of this configuration will be conducted last week of Nov.
All main unit trashracks raked. Very little debris removed.
Research planning for 08 underway. Univ. of Idaho continues adult radiotelemtry downloading.
Approved by;
Gene LaDouceur /s/
Project Manager
The Dalles/John Day/Willow Creek

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 70 | Secchi: | 6 | Velocity: |  | Temp: | 71 | Secchi: | 5.5 | Velocity:
| 70 |  | 6 |  |  |  | 71 |  | 5
| 70 |  | 5 |  |  |  | 71 |  | 5
| 70 |  | 5 |  |  |  | 71 |  | 5
| 70 |  | 6 |  |  |  | 72 |  | 5
| 70 |  | 4 |  |  |  | 70 |  | 5.5
| 70 |  | 6 |  |  |  | 71 |  | 5
[7 empty] | 69 |  | 5
[7 empty] | 70 |  | 6
[7 empty] | 69 |  | 6
[7 empty] | 70 |  | 4.5
AVG: | 70 | AVG: | 5.4286 | AVG: | #DIV/0! | AVG: | 70.4545 | AVG: | 5.2273 | AVG: | #DIV/0!

## FishCounts
THE DALLES 2007
| East | North | East | North | East | North | East | North | East | North | East | North | East | North | East | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd | Shad | Shad | Sockeye | Sockeye | Lamprey | Lamprey | CohoAdult | CohoAdult | CohoJack | CohoJack
2007-08-26 | 535 | 284 | 80 | 26 | 1390 | 1248 | 7 | 12 |  |  | 4 | 12 | 24 | 40 | 1 | 6
2007-08-27 | 1040 | 292 | 130 | 18 | 1644 | 1020 | 4 | 4 |  |  | 1 | 4 | 30 | 10 | 11 | 2
2007-08-28 | 912 | 342 | 121 | 22 | 1868 | 1440 | 7 | 2 |  |  | 4 | 10 | 44 | 28 | 6 | 2
2007-08-29 | 888 | 191 | 154 | 23 | 1818 | 880 | 1 | 4 |  |  | 14 | 13 | 35 | 17 | 2 | 1
2007-08-30 | 1144 | 270 | 197 | 20 | 1643 | 755 | 43 | 6 |  |  | 8 | 7 | 54 | 23 | 1 | 0
2007-08-31 | 2140 | 811 | 480 | 97 | 1867 | 1144 | 24 | 11 |  |  | 6 | 1 | 62 | 66 | 4 | 6
JOHN DAY 2007
| South | North | South | North | South | North | South | North | South | North | South | North | South | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd | Sockeye | Sockeye | Lamprey | Lamprey | CohoAdult | CohoAdult | CohoJack | CohoJack
2007-08-26 | 761 | 13 | 109 | 1 | 2249 | 847 |  |  | 2 | 42 | 17 | 4 | 7 | 0
2007-08-27 | 179 | 5 | 25 | 5 | 804 | 719 |  |  | 6 | 8 | 10 | 7 | 1 | 0
2007-08-28 | 535 | 12 | 92 | 17 | 997 | 1019 |  |  | 0 | 24 | 30 | 1 | 14 | 0
2007-08-29 | 726 | 18 | 156 | 1 | 934 | 762 |  |  | 5 | 20 | 18 | 1 | -1 | 6
2007-08-30 | 613 | 37 | 89 | 26 | 680 | 858 |  |  | 2 | 29 | 49 | 8 | 13 | 0
2007-08-31 | 1098 | 43 | 220 | 11 | 1022 | 1760 |  |  | 7 | 24 | 12 | 11 | 6 | 1

## TEMPS
Date/Time | Temperature (*F)
08/31/07 07:00:00.0 | 70.63
08/31/07 08:00:00.0 | 69.814
08/31/07 09:00:00.0 | 71.189 | Series | Temperature (*F)
08/31/07 10:00:00.0 | 71.361 | Logger Info | Information specific to the logger
08/31/07 11:00:00.0 | 71.447 | Model | HOBO Water Temp Pro [H20-001]
08/31/07 12:00:00.0 | 71.318 | Serial Number | 657584
08/31/07 13:00:00.0 | 71.318 | Memory Size (Bytes) | 32768
08/31/07 14:00:00.0 | 71.533 | Deployment | 30
08/31/07 15:00:00.0 | 71.576 | Series Info | Information about the data in the series
08/31/07 16:00:00.0 | 71.576 | Points Used | 24
08/31/07 17:00:00.0 | 71.49 | First Point | 08/31/07 07:00:00.0
08/31/07 18:00:00.0 | 71.232 | Last Point | 09/01/07 06:00:00.0
08/31/07 19:00:00.0 | 71.06 | Duration | 23:00:00.0
08/31/07 20:00:00.0 | 70.845 | Stats | Calculated from the series
08/31/07 21:00:00.0 | 70.716 | Wrap Count | 0
08/31/07 22:00:00.0 | 70.759 | Max Value | 71.58
08/31/07 23:00:00.0 | 70.63 | Min Value | 69.81
09/01/07 00:00:00.0 | 70.587 | Avg Value | 70.85
09/01/07 01:00:00.0 | 70.458 | Launch Parameters
09/01/07 02:00:00.0 | 70.329 | Load Time | 08/30/2007 15:48:30 GMT 08/30/2007 08:48:30 Local
09/01/07 03:00:00.0 | 70.201 | Launch Time | 08/30/2007 15:48:32 GMT 08/30/2007 08:48:32 Local
09/01/07 04:00:00.0 | 70.115 | Logging Time | 08/31/2007 14:00:00 GMT 08/31/2007 07:00:00 Local
09/01/07 05:00:00.0 | 70.072 | Sampling Interval | 3600
09/01/07 06:00:00.0 | 70.029 | Wrap | 0 = (FALSE/OFF/OPEN/TYPE 0)
|  | Stealth Enable | 0 = (FALSE/OFF/OPEN/TYPE 0)
|  | End of Data | 0x1B2_00
|  | Wrap Count | 0
|  | Description String | SMF HT
|  | Time Zone | GMT-420 Minutes TZ set on Launch