## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: 09/03/06 | [8 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 08/27 - 09/02/06 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
All areas are checked twice a day.
The Dalles Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 14 | Temperature: |  | 70.5 | F
NORTH FISHWAY |  |  | Out of Criteria | Comments |  |  |  | Secchi: | 4.9286 | Ft.
Exit differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 3 | Set at 1.0'. |  | out at 1.2, 1.3 |  | diffuser adjusted
Entrance differential |  |  | 0
Entrance weir N1 |  |  | 0
Entrance weir N2 |  |  |  | Closed.
PUD Intake differential |  |  | 7 | 0.6, 0.7
EAST FISHWAY
Exit differential |  |  | 0
Removable weirs 154-157 |  |  | 0
Weir 158-159 differential |  |  | 0
Count station differential |  |  | 1 | C/S picket leads raked daily. |  |  | 0.4
Weir crest depth |  |  | 0 | Set at 1.0'.
Junction pool weir JP2 |  |  | N/A | Pulled out to provide maximum flow to south entrance.
Junction pool weir JP4 |  |  | N/A | Pulled out to provide maximum flow to west entrance.
Junction pool weir JP6 |  |  | 0 | Manually adjusted as needed >7' below tailwater
East entrance differential |  |  | 0
Entrance weir E1 |  |  | 0
Entrance weir E2 |  |  | 0
Entrance weir E3 |  |  | 0
Collection channel velocity |  |  | 7 | 1.4143 | average in fps. |  | 1.3-1.4
West entrance differential |  |  | 0
Entrance weir W1 |  |  | 0
Entrance weir W2 |  |  | 0
Entrance weir W3 |  |  | 0
South entrance differential |  |  | 0
Entrance weir S1 |  |  | 1 | 7.3
Entrance weir S2 |  |  | 1 | 7.8
ICE/TRASH SLUICEWAY
Sluice gate operation |  |  | 0 | 18-2, 18-3, 5-3, 1-1, 1-2, 1-3 open & end gate open.
SPILLWAY |  |  |  | Spill for juvenile fish passage 40% 24/7 |  |  |  | Spill ended at 2400 on 8/31
Pattern |  |  | 0
UnitPriority |  |  | 0
1% Efficiency of turbines |  |  | 0
John Day Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 14 | Temperature: |  | 70.6429 | F
|  |  | Out of Criteria | Comments |  |  |  | Secchi: | 5.1429 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0
Exit hydraulic weirs |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'.
Entrance differential |  |  | 0
Entrance weir EW1 |  |  |  | Closed.
Entrance weir EW2 |  |  | 4 | 6.4, 6.9, 7.1, 7.4 |  |  | Low tailwater, weir bottomed out
SOUTH FISHWAY
Exit differential |  |  | 0
Hydraulic weir positions |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'.
South entrance differential |  |  | 0
Entrance weir SE1 |  |  | 0
Collection channel velocity |  |  | 0 | 1.6929 | average in fps.
Bay 1 differential |  |  | 0
N.entrance PH(Bay 19)differential |  |  | 0
Entrance weir NE1 |  |  | 0
Entrance weir NE2 |  |  | 0
JUVENILE BYPASS SYSTEM
Forebay/conduit differential |  |  | 1 | 5.6 | OOC for four hours
SPILLWAY |  |  |  | Spill for juvenile fish passage 30% 24/7 |  |  |  | See below
Pattern |  |  | 0
Unit Priority |  |  | 0
1% Efficiency of turbines |  |  | 0
Zebra Mussel Sampling Sites
The Dalles |  |  |  | John Day
| East Ladder | Not Present |  |  | South Ladder | Not Present
| North Ladder | Not Present |  |  | North Ladder | Not Present
SMOLT MONITORING FACILITY
Operation: | PDS screen cleaner OOS. Screens manually swept as needed.
Maintenance: New shaft for SC1 counter being machined
Debris: Light, fewer than 100 dead shad per day
OTHER ISSUES:
THE DALLES
Bird Observations:
N. Ladder Exit: 30-50 cormorants on tower
Spillway tailrace: Up to 60 gulls under wires
Forebay: One osprey at PUD intake
TD Bridge: 10-20 gulls
Calibration checked on 9/2/06: E1 off by +0.8, E. Entrance tailwater off by -0.4
JOHN DAY
Bird Observations:
Forebay: seven gulls, 16 grebes, nine coots
Tailrace: nine gulls
Calibration and gatewell drawdown checked on 9/2/06 - all in compliance
Beginning on 9/1/06 1.5 KCFS spill through bay two for N. Ladder attraction

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 70 | Secchi: | 5 | Velocity: | 1.4 | Temp: | 70 | Secchi: | 5.5 | Velocity: | 1.7
| 70 |  | 5 |  | 1.3 |  | 71 |  | 5.5 |  | 1.7
| 70 |  | 4 |  | 1.3 |  | 71 |  | 5 |  | 1.7
| 70 |  | 5 |  | 1.5 |  | 70 |  | 5 |  | 1.7
| 70 |  | 5 |  | 1.5 |  | 70 |  | 5 |  | 1.6
| 70 |  | 5 |  | 1.5 |  | 70 |  | 5 |  | 1.6
| 70 |  | 5 |  | 1.5 |  | 70 |  | 5.5 |  | 1.7
| 71 |  | 5 |  | 1.5 |  | 72 |  | 4.5 |  | 1.7
| 71 |  | 5 |  | 1.4 |  | 72 |  | 4.5 |  | 1.7
| 71 |  | 5 |  | 1.4 |  | 71 |  | 4.5 |  | 1.7
| 71 |  | 5 |  | 1.3 |  | 70 |  | 4.5 |  | 1.7
| 71 |  | 5 |  | 1.3 |  | 71 |  | 5.5 |  | 1.8
| 71 |  | 5 |  | 1.4 |  | 70 |  | 6 |  | 1.7
| 71 |  | 5 |  | 1.5 |  | 71 |  | 6 |  | 1.7
AVG: | 70.5 | AVG: | 4.9286 | AVG: | 1.4143 | AVG: | 70.6429 | AVG: | 5.1429 | AVG: | 1.6929