## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES/JOHN DAY DAM
Date: 11/28/04 | [8 empty] | TD/JD/WC Project-Fisheries
Inspection Period: |  | 11/21 - 11/27 - 2004 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541.296.7406
Note; italic print represent an item inspected once per day.
The Dalles Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 19 | Temperature: |  | 51.6 | F
NORTH FISHWAY |  |  | Out of Criteria | Comments |  |  |  | Turbidity: | 5.6 | Ft.
Exit differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'
Entrance differential |  |  | 1 | 0.6'
Entrance weir N1 |  |  | 1 | 7.9'
Entrance weir N2 |  |  | 0 | Closed.
PUD Intake differential |  |  | 0
EAST FISHWAY
Removable weirs 154-157 |  |  | 0
Weir 158-159 differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'
Junction pool weir JP2 |  |  | 0 | Pulled out of the water to allow maximum flow to south.
Junction pool weir JP4 |  |  | 0 | Pulled out of the water to allow maximum flow to west.
Junction pool weir JP6 |  |  | 1 | Manually adjusted as needed. |  |  | 1.9' (deep)
East entrance differential |  |  | 0
Entrance weir E1 |  |  | 0
Entrance weir E2 |  |  | 0
Entrance weir E3 |  |  | 0
Collection channel velocity |  |  | 1 | 1.4 | average in fps. |  | maximum out: 0.5 fps
West entrance differential |  |  | 0
Entrance weir W1 |  |  | 0
Entrance weir W2 |  |  | 0
Entrance weir W3 |  |  | 0 | Closed. Set at 81.0'
South entrance differential |  |  | 0
Entrance weir S1 |  |  | 0
Entrance weir S2 |  |  | 8 | maximum out: 1.5' (shallow). PLC not working TR has been written.
ICE/TRASH SLUICEWAY
Sluice gate operation |  |  | 0
SPILLWAY
Pattern |  |  | 0
1% Efficiency of turbines |  |  | 0
Unit priority |  |  | 0
John Day Dam |  |  | Number of Inspections | Total Number of Inspections: |  |  | 18 | Temperature: |  | 51.1 | F
|  |  | Out of Criteria | Comments |  |  |  | Turbidity: | 5.9 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'
Entrance differential |  |  | 0
Entrance weir EW1 |  |  | 0
Entrance weir EW2 |  |  | 0 | Closed.
SOUTH FISHWAY
Exit differential |  |  | 0
Count station differential |  |  | 0
Weir crest depth |  |  | 0 | Set at 1.0'
South entrance differential |  |  | 0
Entrance weir SE1 |  |  | 0
Collection channel velocity |  |  | oos | 1.1 | average in fps.
Collection channel differential |  |  | 0
N.entrance PH(Bay 19)differential |  |  | 0
Entrance weir NE1 |  |  | 0
Entrance weir NE2 |  |  | 0
JUVENILE BYPASS SYSTEM
Forebay/conduit differential |  |  | 0
SPILLWAY
Pattern |  |  | 0
1% Efficiency of turbines |  |  | 0
Unit priority |  |  | 7 | unit 4 oos
Zebra Mussel Sampling Sites
The Dalles |  |  |  | John Day
| East Ladder | Not Present |  |  | South Ladder | Not Present
| North Ladder | Not Present |  |  | North Ladder | Not Present
SMOLT MONITORING FACILITY
Operation: facility closed September 15.
Maintenance: ongoing winter maintenance.
OTHER ISSUES:
THE DALLES
Maximum Daily Bird Observations:
North ladder entrance: 26 cormorants. 45 gulls.
Forebay: 30 gulls, 12 cormorants.
E. ladder entrance: 36 gulls, 22 cormorants.
W. Ladder entrance: 100-150 mergansers, 100gulls, 20 cormorants.
S. Ladder entrance:
Powerhouse tailrace: 200-300 gulls, 30 cormorants.
Ice / Trash sluiceway:
Spillbay Tailrace:
TD Bridge:200 gulls.
Calibrations and gatewell drawdowns were completed 11/23: all in criteria.
JOHN DAY
Maximum Daily Bird Observations:
Forebay: 300 gulls, 60 grebes.
Tailrace:200 gulls, 50 cormorants.
South Entrance:
SMF outfall: 40 gulls.
Calibration completed 11/26: all in criteria.
Gatewell drawdowns completed 11/27: all in criteria.

## AVGS
The Dalles: | [5 empty] | John Day:
Temp: | 51.6 | Turbidity: | 5.6 | Velocity: | 1.4 | Temp: | 51.1 | Turbidity: | 5.9 | Velocity: | 1.1
AVG: | 51.6 | AVG: | 5.6 | AVG: | 1.4 | AVG: | 51.1 | AVG: | 5.9 | AVG: | 1.1