## StatusReport
FISHWAY STATUS REPORT | [5 empty] | THE DALLES DAM
Date: 2/20/12 | [7 empty] | The Dalles Project-Fisheries
Inspection Period: | 02/12-18/12 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishways are inspected once daily through Feb 29. Additional daily monitoring done via automation system in fisheries office.
The Dalles Dam |  | Inspections | Criteria | Total Number of Inspections: |  | 6 | Temperature: |  | #DIV/0! | F
|  | Out of Criteria | Limit | Comments |  |  | Secchi: | #DIV/0! | Ft.
NORTH FISHWAY |  |  |  | North fish ladder dewatered for annual maintenance through Feb 23
Exit differential |  |  | ≤ 0.5'
Count station differential |  |  | ≤ 0.3'
Weir crest depth |  |  | 1.0' ± 0.1'
Entrance differential |  |  | 1.0' - 2.0'
Entrance weir N1 |  |  | depth (≥ 8')
Entrance weir N2 |  |  | Closed
PUD Intake differential |  |  | ≤ 0.5'
EAST FISHWAY
Exit differential |  | 0 | ≤ 0.5'
Removable weirs 154-157 |  | 2 | Per forebay | Auto adjusts 1' increments. |  | Weir 156 off'. Maintenance adjusted setpoint.
Weir 158-159 differential |  | 1 | 1.0' ± 0.1' | 0.8'
Count station differential |  | 0 | ≤ 0.3' | Picket leads raked ? Window cleaned ?
Weir crest depth |  | 0 | 1.0' ± 0.1'
Junction pool weir JP6 |  | 0 | depth (≥ 7') | Manually adjusted as needed.
East entrance differential |  | 0 | 1.0' - 2.0' | Average | 1.5833 | Daily differentials & weir depths, see AVGS tab.
Entrance weir E1 |  | 0 | No criteria | Average | 7.0667 | Manually adjusted.
Entrance weir E2 |  | 0 | depth (≥ 8') | Average | 10.4
Entrance weir E3 |  | 0 | depth (≥ 8') | Average | 10.3667
Collection channel velocity |  | 0 | 1.5 - 4 fps | Average | N/A | See Velocities tab for more complete information.
West entrance differential |  | 0 | 1.0' - 2.0' | Average | 1.38
Entrance weir W1 |  | 0 | depth (≥ 8') | Average | 10.14
Entrance weir W2 |  | 0 | depth (≥ 8') | Average | 10.16
Entrance weir W3 |  | 0 | No criteria | Average | Closed
South entrance differential |  | 0 | 1.0' - 2.0' | Average | 0 | Daily differentials & weir depths, see AVGS tab.
Entrance weir S1 |  | 0 | depth (≥ 8') | Average | 8.2167 | Manually adjusted.
Entrance weir S2 |  | 0 | depth (≥ 8') | Average | 8.2
JUVENILE PASSAGE
Sluicegate operation |  |  | units 1,8,18 | The end gate is closed.
Turbine trashrack drawdown |  |  | <1.5', wkly
Spill volume |  |  | 40%, 24hr | Spillway is closed.
Spill Pattern |  |  | per FPP
Turbine Unit Priority |  |  | per FPP
Turbine 1% Efficiency |  |  | per FPP
OTHER ISSUES:
THE DALLES
Birds: Bird numbers around the project have decreased since last week. Small numbers of grebes, eagles, cormorants have been observed
around the project. See bird tab below for more information.
Eagle observation data collection continues to evaluate eagle interaction with avian lines. Eagle numbers dropping to single digits.
Final results will help determine future avian line planning.
Operations:
Power feed to west entrance off through Feb20. Weirs are set at elevaton 67' and has maintained fish passage criteria.
Maintenance:
North fishladder out of service for annual maintenance. Return expected Feb 23. Brush removal from ladder walls continues. ROV inspection
of north entrance diffuser grating, north exit trashrack and north PUD intake trashrack completed. All found in good condition and secure.
Studies:
Supporting east fishladder backup water study as needed.Existing fishlock has been selected as source for 400cfs. Four alternatives for the
remaining 100cfs are being evaluated with 2 alternatives to continue toward 90%.
Adult PIT anntennae study continues. PDT site visit planned for Feb 22 to evaluate north fishladder alternatives. Central computer location and
cable routing still being determined.
Research:
PNNL installing hydrophones on spillway and powerhouse. Dive to remove 3 loose spillway trolley pipes and dive to free 4 stuck powerhouse
hydrphones completed Feb 17 and 20. Boat work planned for following week to complete installation.
USFWS lamprey video and didson mounts to be installed at north exit Feb 22.
Approved by;
Ron D. Twiner
Operation Project Manager
The Dalles Dam

## Avian Distribution
FB1: two cormorants resting on boom
The Dalles Dam Maximum Daily Bird Observations
Washington Shore
Oregon Shore
PH-T1: two grebes and one eagle
PH-T2: 0 birds
PH-T3: two eagles roosting
SW-T1: one eagle roosting
SW-T2; 0 birds
SW-T3: ten cormorants resting and one active
SW-T4: 0 birds

## AVGS
|  | Temp: |  | Secchi:
SUN
|  |  | MON |  |  | The Dalles Dam Daily Readings and Averages for
TUES
|  |  | WED |  |  | Temperatures, Secchi, Entrances, and Spill
THUR
FRI
SAT
| AVG: | #DIV/0! | AVG: | #DIV/0!
| North Fish Ladder |  | East Fish Ladder
| North Entrance |  | East Entrance |  |  |  |  | West Entrance |  |  |  | South Entrance
Date: | Differential | N1 Depth | Differential | E1Depth | E2 Depth | E3 Depth | JP 6 | Differential | W1Depth | W2 Depth | W3 Depth | Differential | S1 Depth | S2 Depth | % Spill
2012-02-12 |  |  | 1.6 | 5.1 | 10.7 | 10.7 | 11.1 | 1 | 10.5 | 10.5 |  | 1.4 | 8.2 | 8.3
2012-02-13 |  |  | 1.9 | 5.1 | 10.5 | 10.4 | 11.5 | 1.4 | 10.2 | 10.2 |  | 1.3 | 8.3 | 8.3
2012-02-14 |  |  | 1.7 | 8 | 9.6 | 9.5 | 11.1 |  |  |  |  | 1.5 | 8.1 | 8
2012-02-16 |  |  | 1.5 | 8.1 | 10.6 | 10.6 | 12.6 | 1.1 | 11.7 | 11.8 |  | 1.5 | 8.2 | 8.2
2012-02-17 |  |  | 1.4 | 8 | 10.5 | 10.5 | 10.5 | 1.9 | 8.9 | 8.9 |  | 1.4 | 8.2 | 8.1
2012-02-18 |  |  | 1.4 | 8.1 | 10.5 | 10.5 | 9.1 | 1.5 | 9.4 | 9.4 |  | 1.3 | 8.3 | 8.3
AVG: | #DIV/0! | #DIV/0! | 1.5833 | 7.0667 | 10.4 | 10.3667 | 10.9833 | 1.38 | 10.14 | 10.16 | Closed | 1.4 | 8.2167 | 8.2
Third fish way inspection for east fish ladder, east, west, and south entrances completed via automation system in fisheries office.