## StatusReport
FISHWAY STATUS REPORT |  |  |  |  | THE DALLES DAM
Date: 02/26/12 | [6 empty] | The Dalles Project-Fisheries
Inspection Period: 02/19 – 02/25/2012 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishways are inspected once daily through Feb 29. Additional daily monitoring done via automation system in fisheries office.
The Dalles Dam | Inspections | Criteria | Total Number of Inspections: |  | 6 | Temperature: |  | 39.4571 | F
| Out of Criteria | Limit | Comments |  |  | Secchi: | 6 | Ft.
NORTH FISHWAY |  |  | North fish ladder returned Feb 23. Auxiliary water supply remains out of service.
Exit differential | 0 | ≤ 0.5'
Count station differential | 0 | ≤ 0.3'
Weir crest depth | 0 | 1.0' ± 0.1'
Entrance differential |  | 1.0' - 2.0'
Entrance weir N1 |  | depth (≥ 8')
Entrance weir N2 |  | Closed
PUD Intake differential |  | ≤ 0.5'
EAST FISHWAY
Exit differential | 0 | ≤ 0.5'
Removable weirs 154-157 | 0 | Per forebay | Auto adjusts 1' increments. |  | Weir 156 off'. Maintenance adjusted set point.
Weir 158-159 differential | 0 | 1.0' ± 0.1' | 0.8'
Count station differential | 0 | ≤ 0.3'
Weir crest depth | 0 | 1.0' ± 0.1'
Junction pool weir JP6 | 0 | depth (≥ 7') | Manually adjusted as needed.
East entrance differential | 0 | 1.0' - 2.0' | Average | 1.5 | Daily differentials & weir depths, see AVGS tab.
Entrance weir E1 | 0 | No criteria | Average | 7.4333 | Manually adjusted.
Entrance weir E2 | 0 | depth (≥ 8') | Average | 10.7444
Entrance weir E3 | 0 | depth (≥ 8') | Average | 10.7444
Collection channel velocity | 0 | 1.5 - 4 fps | Average | N/A | See Velocities tab for more complete information.
West entrance differential | 0 | 1.0' - 2.0' | Average | 1.4375
Entrance weir W1 | 0 | depth (≥ 8') | Average | 8.875
Entrance weir W2 | 0 | depth (≥ 8') | Average | 8.8875
Entrance weir W3 | 0 | No criteria | Average | Closed
South entrance differential | 0 | 1.0' - 2.0' | Average | 0 | Daily differentials & weir depths, see AVGS tab.
Entrance weir S1 | 0 | depth (≥ 8') | Average | 8.2 | Manually adjusted.
Entrance weir S2 | 0 | depth (≥ 8') | Average | 8.2111
JUVENILE PASSAGE
Sluicegate operation |  | units 1,8,18 | The end gate is closed. Returns to service Mar 1.
Turbine trash rack drawdown |  | <1.5', wkly
Spill volume |  | 40%, 24hr | Spillway is closed.
Spill Pattern |  | per FPP
Turbine Unit Priority |  | per FPP
Turbine 1% Efficiency |  | per FPP
OTHER ISSUES:
THE DALLES
Birds: Bird numbers around the project have decreased since last week. Small numbers of grebes, eagles, cormorants have been observed
around the project. See bird tab below for more information.
Eagle observation data collection continues to evaluate eagle interaction with avian lines. Only one eagle remains.
Final results will help determine future avian line planning.
Reduced avian hazing plan in place from 16hr/day boat hazing to 8hr/day shore based hazing, per FPOM approval. Contingency plan will be
in place in case excessive predation is observed.
Operations:
Power returned to west entrance Feb20. All entrance weirs in auto and maintaining fish passage criteria.
Maintenance:
North fish ladder out of service for annual maintenance through Feb 23. All planned maintenance completed.
Studies:
Supporting east fish ladder backup water study as needed. Existing fishlock has been selected as source for 400cfs. Two alternatives for the
remaining 1000cfs are selected to be carried to 90% (deep intake from forebay and siphon system with forebay tower).
Adult PIT antennae study continues. PDT site visit Feb 22 to inspect north ladder. Central computer location likely at south abutment.
Research:
PNNL installing hydrophones on spillway and powerhouse. Boat work for spillway installation planned for Feb27.
USFWS lamprey video and DIDSON mounts installed at north exit Feb 22. One of 5 camera mounts broke loose during initial ladder water up.
Remaining mounts were secured via rope.
Approved by;
Ron D. Twiner
Operation Project Manager
The Dalles Dam

## Avian Distribution
FB1: 6 cormorants resting on boom, 2 cormorants active, 1 eagle rest on dam, 3 gulls on wing.
The Dalles Dam Maximum Daily Bird Observations
Washington Shore
Oregon Shore
PH-T1: two grebes on water and one gull on lamp post.
PH-T2: 1 gull on water.
PH-T3: 1 eagle and 1 Heron perched
SW-T1: one grebe-active.
SW-T2: 1 cormorant and 2 gull active
SW-T3: 16 cormorants resting and 5 active.
SW-T4: 1 cormorant and 16 gull rest on rock and water.

## AVGS
|  | Temp: |  | Secchi:
|  | 39 | SUN | 6
|  | 38.9 | MON | 6 |  | The Dalles Dam Daily Readings and Averages for
|  | 39 | TUES | 6
|  | 39.8 | WED | 6 |  | Temperatures, Secchi, Entrances, and Spill
|  | 39.9 | THUR | 6
|  | 39.7 | FRI | 6
|  | 39.9 | SAT | 6
| AVG: | 39.4571 | AVG: | 6
| North Fish Ladder |  | East Fish Ladder
| North Entrance |  | East Entrance |  |  |  |  | West Entrance |  |  |  | South Entrance
Date: | Differential | N1 Depth | Differential | E1Depth | E2 Depth | E3 Depth | JP 6 | Differential | W1Depth | W2 Depth | W3 Depth | Differential | S1 Depth | S2 Depth | % Spill
2012-02-19 | out of service |  | 1.4 | 8.1 | 10.5 | 10.5 | 10.4 | 1.5 | 8.8 | 8.8 |  | 1.3 | 8.2 | 8.2 | on seal
2012-02-20 |  |  | 1.2 | 8 | 10.6 | 10.6 | 11.6 | 1.2 | 10.1 | 10.1 |  | 1.2 | 8.2 | 8.2
2012-02-21 |  |  | 1.4 | 8 | 10.6 | 10.6 | 11.7 | 1.3 | 10 | 10 |  | 1.4 | 8.2 | 8.2
2012-02-22 |  |  | 1.5 | 2 | 10.5 | 10.4 | 12 |  |  |  |  | 1.5 | 8.1 | 8.2
2012-02-23 |  |  | 1.7 | 8 | 10.4 | 10.5 | 13.3 | 2 | 7.9 | 8 |  | 1.6 | 8.3 | 8.2
2012-02-24 |  |  | 1.6 | 5.9 | 11.1 | 11 | 10.4 | 1.5 | 8.6 | 8.6 |  | 1.7 | 8.1 | 8.1
|  |  | 1.7 | 8.9 | 11 | 11.1 | 12.1 | 1.4 | 8.6 | 8.6 |  | 1.4 | 8.4 | 8.3
2012-02-25 |  |  | 1.6 | 8 | 11 | 11 | 8.5 | 1.4 | 8.4 | 8.4 |  | 1.4 | 8.1 | 8.2
|  |  | 1.4 | 10 | 11 | 11 | 9.3 | 1.2 | 8.6 | 8.6 |  | 1.3 | 8.2 | 8.3
AVG: | #DIV/0! | #DIV/0! | 1.5 | 7.4333 | 10.7444 | 10.7444 | 11.0333 | 1.4375 | 8.875 | 8.8875 | Closed | 1.4222 | 8.2 | 8.2111
Third fish way inspection for east fish ladder, east, west, and south entrances completed via automation system in fisheries office.
Note on A37: 2nd inspection via SCADA