## StatusReport
FISHWAY STATUS REPORT |  |  |  |  | THE DALLES DAM
Date: 3/17/2013 | [6 empty] | The Dalles Project-Fisheries
Inspection Period: 3/10 to 3/16/2013 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishways are inspected twice daily. Additional daily monitoring done via automation system in fisheries office.
The Dalles Dam | Inspections | Criteria | Total Number of Inspections: |  | 19 | Temperature: |  | 42.6286 | F
| Out of Criteria | Limit | Comments |  |  | Secchi: | 5 | Ft.
NORTH FISHWAY |  |  | Returned to service on March 11, 2013.
Exit differential | 0 | ≤ 0.5'
Count station differential | 1 | ≤ 0.3' | Out of criteria at 0.8'
Weir crest depth | 0 | 1.0' ± 0.1'
Entrance differential | 0 | 1.0' - 2.0' | Average | 1.24 | Daily differentials & weir depths, see AVGS tab.
Entrance weir N1 | 0 | depth (≥ 8') | Average | 9.33
Entrance weir N2 |  | Closed | Bulkhead installed
PUD Intake differential | 0 | ≤ 0.5'
EAST FISHWAY
Exit differential | 0 | ≤ 0.5'
Removable weirs 154-157 | 1 | Per forebay | Auto adjusts 1' increments. |  | Weir 156 out of criteria at forebay 158.3
Weir 158-159 differential | 0 | 1.0' ± 0.1'
Count station differential | 0 | ≤ 0.3'
Weir crest depth | 0 | 1.0' ± 0.1'
Junction pool weir JP6 | 0 | depth (≥ 7') | Manually adjusted as needed.
East entrance differential | 1 | 1.0' - 2.0' | Average | 1.4526 | Daily differentials & weir depths, see AVGS tab.
Entrance weir E1 | 0 | No criteria | Average | 9.1526 | Manually adjusted.
Entrance weir E2 | 0 | depth (≥ 8') | Average | 10.6895
Entrance weir E3 | 0 | depth (≥ 8') | Average | 10.6526
Collection channel velocity | 0 | 1.5 - 4 fps | Average | 2.4 | See Velocities tab for more complete information.
Transportation channel velocity | 0 | 1.5 - 4 fps | Average | 2.5
North channel velocity | 0 | 1.5 - 4 fps | Average | 2.9
South channel velocity | 0 | 1.5 - 4 fps | Average | 3.4
West entrance differential | 0 | 1.0' - 2.0' | Average | 1.5158
Entrance weir W1 | 0 | depth (≥ 8') | Average | closed
Entrance weir W2 | 0 | depth (≥ 8') | Average | 8.6684
Entrance weir W3 | 0 | No criteria | Average | 8.8105
South entrance differential | 0 | 1.0' - 2.0' | Average | 0 | Daily differentials & weir depths, see AVGS tab.
Entrance weir S1 | 0 | depth (≥ 8') | Average | 8.1813 | Manually adjusted.
Entrance weir S2 | 0 | depth (≥ 8') | Average | 8.2063
JUVENILE PASSAGE
Sluicegate operation | 0 | units 1 & 17 | Sluicegates 1-2, 1-3, 17-1 and 17-2 are open.
Turbine trashrack drawdown |  | <1.5', wkly
Spill volume |  | 40%, 24hr
Spill Pattern |  | per FPP
Turbine Unit Priority |  | per FPP
Turbine 1% Efficiency |  | per FPP
OTHER ISSUES:
THE DALLES
Predation:
Fisheries personnel conducts bird observations twice per day. See Avian tab for more observation results.
Second year of the Bald Eagle study completed Mar 15. Results pending.
California sea lion(s) were observed foraging in tailwater, one unidentified individual was observed feeding on an adult steelhead near south entrance.
Operations:
North fish ladder was returned to service on March 11, 2013.
Fish salvage for Main Unit 4 scroll case and draft tube occurred on March 13 -14; no fish were observed.
Maintenance:
Current Outages:
Main Unit 15, Main Unit 16, and Transformer 8 forced out of service due to transformer oil issues. Return to service June 6.
Main Unit 2 out of service Mar to Mar 3 for digital governor install and annual maintenance.
Main Unit 18 out of service Mar 3 to April 4 for five year over haul, as builts, generator heater, Heat exchanger and cavitation.
Main Unit 4 out of service mar 3 to April 4 for digital governor installation and annual maintenance.
Fishway calibrations performed on 3/12, All entrance and exit numbers were within criteria
Studies:
First ever PIT tag detection at North Ladder occurred Mar 14. A summer steelhead was tagged at Bonneville Oct 4, '12. Antenna acitive since Mar 11.
The PIT tag systems at both ladders are now in full operation with automated uploads to the PTAGIS database. See "Complete Tag History' tab.
Permanent PIT antenna study DDR underway. Project supporting as needed. PDT site visit Mar 25.
East Fish Ladder backup study DDR continues. Project supporting as needed.
PUD freedom turbine planning underway. Project supporting as needed. Working on approvals for moving osprey nesting platform to new location.
Research/Contractors:
Pacific States Marine Fisheries Commission (PSFMC) smolt monitoring at Northern Wasco County People's Utility District (PUD) started March 1.
The University of Oregon Northern Pikeminnow Management Program electrofishing will commence in the tailrace BRZ one night during the week of
April 8-12, 2013 and forebay BRZ one night during the week of April 29-May 3, 2013. Coordination underway.
Project maintenance to remove 45' I-beams at Main Unit 1, 5, and 19 forebay pier noses Date to be determined.
The University of Idaho’s adult radio telemetry new antennae placement throughout both fish ladders completed. U of I will evaluate the extended
spillwall by monitoring the movements of adult salmon and steelhead outfitted with radio tags at Bonneville Dam in addition to monitoring the
movements of adult Pacific lamprey outfitted with half-duplex PIT tags and acoustic tags (JSATS).
Normandau cameras in count stations video recording completed. Fish counters to start April 1. Pre work meeting Mar 20.
Approved by;
Ron D. Twiner
Operation Project Manager
The Dalles Dam

## Avian Distribution
GULL- any gull species, GREBE- Western or Clark's, DCCO- Double Crested Cormorant, AMWP- American White Pelican, CATE Caspian Tern
GBHE- Great Blue Heron, OSPR- Osprey, COME- Common Merganser, BAEA- Bald Eagle

## Avian Zone Maps
The Dalles Dam Maximum Daily Bird Observations
Washington Shore
Oregon Shore
PH-T1
PH-T2
PH-T3
SW-T2
SW-T1
SW-T3
SW-T4
FB1

## AVGS
|  | Temp: |  | Secchi:
|  | 41.7 | SUN | 5
|  | 42 | MON | 5 |  | The Dalles Dam Daily Readings and Averages for
|  | 42.3 | TUES | 5
|  | 42.6 | WED | 5 |  | Temperatures, Secchi, Entrances, and Spill
|  | 42.9 | THUR | 5
|  | 43.2 | FRI | 5
|  | 43.7 | SAT | 5
| AVG: | 42.6286 | AVG: | 5
| North Fish Ladder |  | East Fish Ladder
| North Entrance |  | East Entrance |  |  |  |  | West Entrance |  |  |  | South Entrance
Date: | Differential | N1 Depth | Differential | E1Depth | E2 Depth | E3 Depth | JP 6 | Differential | W1Depth | W2 Depth | W3 Depth | Differential | S1 Depth | S2 Depth | % Spill
2013-03-10 | RTS on March 11 |  | 1.5 | 11 | 11.1 | 10.9 | 11.3 | 1.4 |  | 9 | 10 | 1.4 | 8.4 | 8.4
2013-03-10 |  |  | 1.4 | 11.1 | 11 | 11 | 10.8 | 1.3 |  | 8.6 | 10.1 | 1.4 | 8.2 | 8.2
2013-03-10 |  |  | 2.1 | 10.1 | 10.3 | 10.3 |  | 1.8 |  | 9.1 | 9.1 | 1.7 | 8.2 | 8.2
2013-03-11 |  |  | 1.6 | 10.4 | 10.5 | 10.3 | 10.8 | 1.6 |  | 9 | 9 | 1.5 | 8.2 | 8.2
2013-03-11 | 1.2 | 8.7 | 1.7 | 10.4 | 10.4 | 10.4 | 11.2 | 1.7 |  | 8.9 | 9 | 1.6 | 8.1 | 8.2
2013-03-11 |  |  | 1.2 | 10.9 | 11 | 11 |  | 1.5 |  | 9.1 | 9.1 | 1.4 | 8.2 | 8.3
2013-03-12 | 1.3 | 9.1 | 1.3 | 10 | 10.1 | 10 | 10.5 | 1.6 |  | 8.4 | 8.4 | 1.4 | 8.3 | 8.2
2013-03-12 | 1.4 | 9.1 | 1.5 | 10 | 10 | 10 | 10.1 | 1.6 |  | 8.6 | 8.6 | 1.4 | 8.1 | 8.2
2013-03-12 |  |  | 1.3 | 10.5 | 10.6 | 10.5 |  | 1.4 |  | 8.9 | 8.9 | 1.4 | 8.2 | 8.3
2013-03-13 | 1.3 | 9.3 | 1.5 | 10 | 10 | 10 | 10.6 | 1.6 |  | 8.5 | 8.6
2013-03-13 | 1.2 | 9.5 | 1.5 | 8.5 | 10.9 | 10.9 | 10.4 | 1.6 |  | 8.5 | 8.4 | 1.4 | 8.1 | 8.2
2013-03-13 |  |  | 1.6 | 10.1 | 10.1 | 10.1 |  | 1.7 |  | 8.5 | 8.4
2013-03-14 | 1.2 | 9.5 | 1.5 | 8 | 11 | 11 | 10.5 | 1.5 |  | 8.5 | 8.6 | 1.4 | 8.2 | 8.2
2013-03-14 | 1.2 | 9.1 | 1.3 | 7.9 | 11.1 | 11.1 | 10.3 | 1.5 |  | 8.6 | 8.5 | 1.4 | 8 | 8
2013-03-14 |  |  | 1.4 | 6.9 | 10.9 | 10.9 |  | 1.5 |  | 8.5 | 8.5 | 1.5 | 8 | 8
2013-03-15 | 1.2 | 9.4 | 1.4 | 7.1 | 11.1 | 11.1 | 10.3 | 1.5 |  | 8.5 | 8.5 | 1.4 | 8.2 | 8.2
2013-03-15
2013-03-15
2013-03-16 | 1.2 | 10.3 | 1.3 | 7 | 11 | 11 | 9.1 | 1.3 |  | 8.4 | 8.5 | 1.3 | 8.2 | 8.2
2013-03-16 | 1.2 | 9.3 | 1.1 | 6.9 | 10.9 | 10.9 | 9.2 | 1.4 |  | 8.6 | 8.6 | 1.3 | 8.3 | 8.3
2013-03-16 |  |  | 1.4 | 7.1 | 11.1 | 11 |  | 1.3 |  | 8.5 | 8.6
AVG: | 1.24 | 9.33 | 1.4526 | 9.1526 | 10.6895 | 10.6526 | 10.3923 | 1.5158 | closed | 8.6684 | 8.8105 | 1.4312 | 8.1813 | 8.2063
Third fish way inspection for east fish ladder, east, west, and south entrances completed via automation system in fisheries office.