## StatusReport
FISHWAY STATUS REPORT |  |  |  |  | THE DALLES DAM
Date: 07/22/2012 | [6 empty] | The Dalles Project-Fisheries
Inspection Period: 7/15-21/2012 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishways are inspected twice daily. Additional daily monitoring done via automation system in fisheries office.
The Dalles Dam | Inspections | Criteria | Total Number of Inspections: |  | 21 | Temperature: |  | #DIV/0! | F
| Out of Criteria | Limit | Comments |  |  | Secchi: | 3.5 | Ft.
NORTH FISHWAY
Exit differential | 0 | ≤ 0.5'
Count station differential | 0 | ≤ 0.3' | Window cleaned on 7/20/12
Weir crest depth | 0 | 1.0' ± 0.1'
Entrance differential | 0 | 1.0' - 2.0' | Average | 1.4214 | Daily differentials & weir depths, see AVGS tab.
Entrance weir N1 | 0 | depth (≥ 8') | Average | 10.2214
Entrance weir N2 |  | Closed | Bulkhead installed
PUD Intake differential | 0 | ≤ 0.5'
EAST FISHWAY
Exit differential | 0 | ≤ 0.5'
Removable weirs 154-157 | 0 | Per forebay | Auto adjusts 1' increments.
Weir 158-159 differential | 0 | 1.0' ± 0.1'
Count station differential | 0 | ≤ 0.3' | Picket leads raked on 7/20/12; Window cleaned on 7/20/12
Weir crest depth | 0 | 1.0' ± 0.1'
Junction pool weir JP6 | 0 | depth (≥ 7') | Manually adjusted as needed.
East entrance differential | 2 | 1.0' - 2.0' | Average | 1.5571 | Daily differentials & weir depths, see AVGS tab.
Entrance weir E1 | 0 | No criteria | Average | 9.38 | Manually adjusted.
Entrance weir E2 | 0 | depth (≥ 8') | Average | 9.5762
Entrance weir E3 | 0 | depth (≥ 8') | Average | 9.9143
Collection channel velocity | 0 | 1.5 - 4 fps | Average | 2.31 | See Velocities tab for more complete information.
Transportation channel velocity | 0 | 1.5 - 4 fps | Average | 2.72
North channel velocity | 0 | 1.5 - 4 fps | Average | 2.69
South channel velocity | 0 | 1.5 - 4 fps | Average | 3.39
West entrance differential | 0 | 1.0' - 2.0' | Average | 1.3143
Entrance weir W1 | 0 | depth (≥ 8') | Average | 8.4095
Entrance weir W2 | 0 | depth (≥ 8') | Average | 8.3762
Entrance weir W3 | 0 | No criteria | Average | Closed
South entrance differential | 0 | 1.0' - 2.0' | Average | 1.3 | Daily differentials & weir depths, see AVGS tab.
Entrance weir S1 | 0 | depth (≥ 8') | Average | 8.781 | Manually adjusted.
Entrance weir S2 | 0 | depth (≥ 8') | Average | 8.8381
JUVENILE PASSAGE
Sluicegate operation | 9 | units 1,8,18 | Main unit 1 and 2 forced out of service 7/17; sluicegates open switched to unit 3
Turbine trashrack drawdown | 0 | <1.5', wkly | Range:
Spill volume | 5 | 40%, 24hr | Average | 40.1357
Spill Pattern | 0 | per FPP
Turbine Unit Priority | 9 | per FPP | MU 1&2 forced out of service due to FJX0 breaker failure
Turbine 1% Efficiency | 0 | per FPP
OTHER ISSUES:
THE DALLES
Birds:
Fisheries personnel collecting bird data twice daily. USDA hazing birds 14 hours/day through July 30. See bird tab below for information
Heron numbers increasing in east fishladder with up to 6 actively fishing from atop weirs Various efforts being made to deter them.
Operations:
Weir and stillwell calibration check completed July 16. All values within criteria.
Turbine intake gatewell drawdown completed July 21. All differentials within criteria. Very little noticeable debris in river.
Sluiceway gate Open at MU3 and Closed at MU1.
The Dalles North and East Fish Ladders , Ice/Trash sluiceway and Spillway in service and conforming to fish passage criteria.
Maintenance:
Main turbine unit 1 and 2 had breaker failure on Jul 17 with extensive damage. This tripped Fish unit 1 and 2 , which were returned to service within
and hour. Sluicegates were closed on unit 1 and opened over unit 3 to provide open gates over an operating unit. Unit 1 and 2 ETR unknown.
Current Outages:
MU1 and MU2 out of service due to failed disconnect. Return date unknown.
MU-7 out of service 6/11/2012 0600 to 8/2/2012 1700, Digital Governor Install / Annual Maintenance
MU21 out of service 7/9/2012 0600 to 7/25/2012 1700, Annual Maintenance (Extended)
Studies:
Supporting East Fish Ladder backup supply study as needed. Alternative study 90% phase awaiting fish agency review. Next step start DDR.
Supporting adult PIT study as needed. Alternative review underway.
Research/Contractors:
WDFW pikeminnow removal dam anglers on site. Last week catch 220 for total of 2,742.
ODFW bass diet sampling dam angling continues with moderate catch rate. Data will be in final report.
Battelle JSAT performance testing continues. Impact of main unit 1 and 2 forced outage unknown.
USFWS lamprey video monitoring inside count station picket leads continues.
Tribal (Yakama, Umatilla, Nez Perce) lamprey broodstock trapping inside count station picket leads continues. Total catch 84 lamprey as of Jul 17.
WDFW fish counting continues through Oct 31.
Approved by;
Ron D. Twiner
Operation Project Manager
The Dalles Dam

## FishCounts
The Dalles Dam Fish Counts
Date | East | North | East | North | Total | Total | East | North |  |  |  |  | East | North
| Chinook | Chinook | Chinook | Chinook | East | North | Unclipped | Unclipped | East | North | East | North | Coho | Coho | East | North | East | North | Spill
| Adult | Adult | Jack | Jack | Sthd | Sthd | Sthd | Sthd | Sock | Sock | Coho | Coho | Jack | Jack | Lamprey | Lamprey | Pink | Pink | Volume
2012-07-15 | 890 | 80 | 198 | 4 | 1430 | 57 | 727 | 41 | 1837 | 19 | 0 | 0 | 0 | 0 | 107 | 5 | 0 | 0 | 296.9
2012-07-16 | 858 | 37 | 164 | 0 | 1737 | 19 | 908 | 12 | 1187 | 5 | 0 | 0 | 0 | 0 | 43 | 8 | 0 | 0 | 345.1
2012-07-17 | 644 | 17 | 176 | 2 | 1300 | 21 | 552 | 11 | 736 | 5 | 0 | 0 | 0 | 0 | 76 | 6 | 0 | 0 | 319.2
2012-07-18 | 695 | 180 | 164 | 2 | 1709 | 123 | 882 | 89 | 594 | 23 | 0 | 0 | 0 | 0 | 42 | 16 | 0 | 0 | 282.9
2012-07-19 | 722 | 144 | 209 | 6 | 2007 | 95 | 1004 | 65 | 416 | 6 | 0 | 0 | 0 | 0 | 67 | 30 | 0 | 0 | 279.6
2012-07-20 | 610 | 139 | 142 | 7 | 2165 | 145 | 1014 | 84 | 220 | 8 | 0 | 0 | 0 | 0 | 67 | 23 | 0 | 0 | 288.5
2012-07-21 | 522 | 88 | 164 | 5 | 2510 | 115 | 1190 | 74 | 166 | 0 | 0 | 0 | 0 | 0 | 29 | 14 | 0 | 0 | 320.1
Wkly Tot | 4941 | 685 | 1217 | 26 | 12858 | 575 | 6277 | 376 | 5156 | 66 | 0 | 0 | 0 | 0 | 431 | 102 | 0 | 0 | 304.6143
% Split | 87.82% | 12.18% | 97.91% | 2.092% | 95.72% | 4.281% | 94.35% | 5.652% | 98.74% | 1.264% | 0% | 0% | 0% | 0% | 80.86% | 19.14% | 0% | 0%
Spill range: 39.7 - 41.9%

## Avian Distribution
FB1:Cormorants 1-64 resting in towers, 0-6 foraging, 0-2 fly-by; Gull 0-37 resting, 0-3 fly by, 0-9 foraging; Osprey 0-4 foraging
The Dalles Dam Daily Bird Observations
Washington Shore
Oregon Shore
PH-T1: Cormorant 0-6 foraging, 0-2 resting; Heron 0-3 foraging, Osprey 0-1 resting; Gull 0-1 resting, 0-1 fly-by
PH-T2: Heron 0-1 fly by; Cormorant 0-1 foraging
PH-T3: Gull 0-5 foraging, 0-3 fly-by; Heron 0-1 foraging; Cormorant 0-1 foraging
SW-T1:Osprey 0-1 flyby; cormorant 0-2 flyby
SW-T2: Osprey 0-2 resting, 0-1 foraging; Cormorant 0-1 resting; Gull 0-3 resting, 0-2 foraging, 0-1 flyby
SW-T3:Gull 0-83 resting, 0-14 foraging, 0-7 flyby; Cormorants 0-6 resting
SW-T4: Gulls 0-132 foraging

## AVGS
|  | Temp: |  | Secchi:
|  |  | SUN | 3.5
|  |  | MON |  |  | The Dalles Dam Daily Readings and Averages for
TUES
|  |  | WED |  |  | Temperatures, Secchi, Entrances, and Spill
THUR
FRI
SAT
| AVG: | #DIV/0! | AVG: | 3.5
| North Fish Ladder |  | East Fish Ladder
| North Entrance |  | East Entrance |  |  |  |  | West Entrance |  |  |  | South Entrance
Date: | Differential | N1 Depth | Differential | E1Depth | E2 Depth | E3 Depth | JP 6 | Differential | W1Depth | W2 Depth | W3 Depth | Differential | S1 Depth | S2 Depth | % Spill
2012-07-15 | 1.4 | 10.2 | 1.5 | 8.9 | 9.6 | 9.6 | 10 | 1.2 | 8.6 | 8.5 |  | 1.4 | 8.6 | 8.5 | 41.3
2012-07-15 | 1.4 | 10.2 | 1.5 | 9.1 | 10 | 10 | 8.6 | 1.4 | 8.6 | 8.5 |  | 1.6 | 8.4 | 8.4 | 39.9
2012-07-15 |  |  | 1.4 | 9 | 9.6 | 9.6 |  | 1.4 | 8.5 | 8.4 |  | 1.5 | 8.4 | 8.4
2012-07-16 | 1.5 | 10.1 | 1.5 | 10.9 | 11 | 10.9 | 10.2 | 1.4 | 8.6 | 8.5 |  | 1.5 | 9.4 | 9.4 | 41.2
2012-07-16 | 1.5 | 10.6 | 1.5 | 9.9 | 10.5 | 10.4 | 10.2 | 1.5 | 8.5 | 8.5 |  | 1.5 | 9.3 | 9.4 | 40.5
2012-07-16 |  |  | 1.6 | 8.9 | 10 | 10 |  | 1.6 | 8.4 | 8.4 |  | 1.9 | 8.3 | 8.3
2012-07-17 | 1.4 | 10.2 | 1.9 | 8.5 | 9.1 | 9 | 10 | 1.4 | 8.6 | 8.5 |  | 1.7 | 8.6 | 8.6 | 40.7
2012-07-17 | 1.4 | 10.1 | 1.6 |  | 8.4 | 8.4 | 7.7 | 1.3 | 8.6 | 8.4 |  | 1.6 | 8.3 | 8.4 | 40.5
2012-07-17 |  |  | 1.6 | 8.1 | 8.6 | 8.6 |  | 1.2 | 8.6 | 8.5 |  | 1.7 | 8.5 | 8.5
2012-07-18 | 1.4 | 10.1 | 2.1 | 10.5 | 8.6 | 8.4 | 10.2 | 1.1 | 8.7 | 8.7 |  | 1.4 | 8.6 | 8.6 | 38.2
2012-07-18 | 1.5 | 10.1 | 1.5 | 10.1 | 10.1 | 10 | 10.8 | 1.2 | 8.5 | 8.6 |  | 1.5 | 8.5 | 8.5 | 39.8
2012-07-18 |  |  | 1.3 | 10.6 | 9.1 | 9.1 |  | 1.4 | 8.5 | 8.6 |  | 1.3 | 9 | 10.1
2012-07-19 | 1.4 | 10.2 | 1.5 | 9.1 | 9.1 | 9.1 | 8.9 | 1.5 | 8.2 | 8.3 |  | 1.2 | 8.8 | 8.7 | 39.8
2012-07-19 | 1.4 | 10.3 | 2.1 | 9.1 | 9.1 | 9 | 11 | 1.4 | 8.3 | 8.3 |  | 1.8 | 8.5 | 8.5 | 39.6
2012-07-19 |  |  | 1.1 | 10.1 | 10 | 10.1 |  | 1.5 | 8.1 | 8.1 |  | 1.5 | 8.4 | 8.4
2012-07-20 | 1.3 | 10.2 | 1.3 | 9.1 | 9 | 11 | 8.6 | 1 | 8.3 | 8.3 |  | 1.1 | 9 | 9 | 41.4
2012-07-20 | 1.5 | 10.3 | 1.4 | 9.6 | 9 | 11 | 10.8 | 1.1 | 8.2 | 8 |  | 1.3 | 9 | 9.1 | 43
2012-07-20 |  |  | 1.1 | 8.9 | 9 | 11 |  | 1 | 8 | 8.2 |  | 1.1 | 9.5 | 9.5
2012-07-21 | 1.4 | 10.2 | 1.6 | 9 | 10.6 | 11 | 10.8 | 1.2 | 8.3 | 8.3 |  | 1.3 | 9.2 | 9.1 | 39.5
2012-07-21 | 1.4 | 10.3 | 1.9 | 9.3 | 10.7 | 11.1 | 12.7 | 1.4 | 8.3 | 8.2 |  | 1.6 | 9.1 | 9.1 | 36.5
2012-07-21 |  |  | 1.7 | 8.9 | 10 | 10.9 |  | 1.4 | 8.2 | 8.1 |  | 1.3 | 9 | 9.1
AVG: | 1.4214 | 10.2214 | 1.5571 | 9.38 | 9.5762 | 9.9143 | 10.0357 | 1.3143 | 8.4095 | 8.3762 | Closed | 1.4667 | 8.781 | 8.8381 | 40.1357
Third fish way inspection for east fish ladder, east, west, and south entrances completed via automation system in fisheries office.

## Pic
Caution tape stretched over east fishway to stop herons from fishing off of weirs.