## StatusReport
FISHWAY STATUS REPORT |  |  |  |  | THE DALLES DAM
Date: 8/27/2012 | [6 empty] | The Dalles Project-Fisheries
Inspection Period: 8/19 - 8/25/2012 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishways are inspected twice daily. Additional daily monitoring done via automation system in fisheries office.
The Dalles Dam | Inspections | Criteria | Total Number of Inspections: |  | 21 | Temperature: |  | 69.8286 | F
| Out of Criteria | Limit | Comments |  |  | Secchi: | 4.5 | Ft.
NORTH FISHWAY
Exit differential | 0 | ≤ 0.5'
Count station differential | 0 | ≤ 0.3'
Weir crest depth | 0 | 1.0' ± 0.1'
Entrance differential | 0 | 1.0' - 2.0' | Average | 1.3571 | Daily differentials & weir depths, see AVGS tab.
Entrance weir N1 | 0 | depth (≥ 8') | Average | 9.9857
Entrance weir N2 |  | Closed | Bulkhead installed
PUD Intake differential | 1 | ≤ 0.5' | Trash rack raked as needed. |  | Out of criteria at 0.6'. Maintenance notified.
EAST FISHWAY
Exit differential | 0 | ≤ 0.5'
Removable weirs 154-157 | 0 | Per forebay | Auto adjusts 1' increments.
Weir 158-159 differential | 0 | 1.0' ± 0.1'
Count station differential | 0 | ≤ 0.3' | Picket leads raked on 8/20, 8/24.
Weir crest depth | 0 | 1.0' ± 0.1'
Junction pool weir JP6 | 1 | depth (≥ 7') | Manually adjusted to depth. |  | Out of criteria at 5.6' at low tailwater. Adjustment made.
East entrance differential | 0 | 1.0' - 2.0' | Average | 1.4762 | Daily differentials & weir depths, see AVGS tab.
Entrance weir E1 | 0 | No criteria | Average | 0.97143 | Manually adjusted.
Entrance weir E2 | 0 | depth (≥ 8') | Average | 9.8905
Entrance weir E3 | 0 | depth (≥ 8') | Average | 10.3143
Collection channel velocity | 0 | 1.5 - 4 fps | Average | 3.15 | See Velocities tab for more complete information.
Transportation channel velocity | 0 | 1.5 - 4 fps | Average | 2.8
North channel velocity | 0 | 1.5 - 4 fps | Average | 2.14
South channel velocity | 0 | 1.5 - 4 fps | Average | 3.35
West entrance differential | 0 | 1.0' - 2.0' | Average | 1.4524
Entrance weir W1 | 0 | depth (≥ 8') | Average | 9.6095
Entrance weir W2 | 0 | depth (≥ 8') | Average | 9.6381
Entrance weir W3 | 0 | No criteria | Average | Closed
South entrance differential | 1 | 1.0' - 2.0' | Average | 1.3 | Daily differentials & weir depths, see AVGS tab.
Entrance weir S1 | 0 | depth (≥ 8') | Average | 8.1048
Entrance weir S2 | 0 | depth (≥ 8') | Average | 8.1667
JUVENILE PASSAGE
Sluicegate operation | 0 | units 1,8,18
Turbine trashrack drawdown | 0 | <1.5', wkly | Range: | 0.0' - 0.3'
Spill volume | 0 | 40%, 24hr | Average | 40.2462
Spill Pattern | 0 | per FPP
Turbine Unit Priority | 0 | per FPP
Turbine 1% Efficiency | 0 | per FPP
OTHER ISSUES:
THE DALLES
Birds/SeaLions:
Fisheries personnel are collecting bird count data twice daily. USDA hazing completed for the season. There are small numbers of gulls returning to
spillway tailrace downstream of bridge, though not enough to resume hazing. See bird tab below for more details.
Sea lion continues to be sighted at The Dalles Marina dock. Occasional sighting at dam, but not this week.
Operations:
Gatewell drawdown was completed on 8/20/12. All differentials were within criteria and ranged from 0.0' - 0.3'
Calibration was completed on 8/24/12. Entrance weir E3 off by 0.1'. All other values were within criteria.
Flow restrictions at The Dalles Dam for cross channel swim at Hood River 0600 - 1200 hrs. 9/3/12; flows not to exceed 150 KCFS.
Maintenance:
Maintenance raked the Peoples Utility District (PUD) trash rack.
East fish ladder count station crowder lights burned out and repaired.
First draft of The Dalles Dam Winter Fishway Dewatering Schedule and minor lamprey mods 8/21/12.
Current Outages:
Operations request a one day outage for MU6 on Monday 8/27/2012 from 0600 to 1700 to upgrade the cooling water header.
MU10 out of service 7/23/12 0600 hrs. to 8/30/12 1700 hrs. for digital governor install.
MU11 out of service 7/30/12 0746 hrs. to 9/6/12 for five year over haul, as builts, generator heaters, heat exchangers, and cavitation.
MU13 out of service 8/13/12 0705 hrs. to 9/20/12 1700 hrs., for digital governor install / annual maintenance.
MU 5 forced out for cooling water leak. ETR 8/31.
MU8 out of service 8/21/12 0600 hrs. and returned to service 8/21/12 1256 hrs. Leaky oil filter repair in turbine pit.
Studies:
Project fisheries are supporting the east fishway backup study and adult Passive Integrated Transponder (PIT) antennae study as needed.
Research/Contractors:
Columbia River Northern Pikeminnow Management Dam Angling Program: the pikeminnow dam angling crew has removed 3,004 NPM from The
Dalles tailrace so far in 2012. Presently Washington Department of Fish and Wildlife are concentrating their angling effort at John Day Dam.
United States Fish and Wildlife Service (USFWS) continues adult lamprey camera monitoring at the counting stations, between picketed leads.
Also added Dual Frequency Identification Sonar (DIDSON) camera in the upper north ladder for testing this week.
Oregon Department of Fish and Wildlife Bass Dam Angling Project: Nothing to report.
Washington Department of Fish and Wildlife fish counters continuing 16 hr./day through October.
The final season for Pacific Northwest National Laboratory (PNNL) Battelle juvenile acoustic telemetry completed. Plans are underway for
dismantling and removal of equipment depending on test results.
Approved by;
Ron D. Twiner
Operation Project Manager
The Dalles Dam

## FishCounts
The Dalles Dam Fish Counts
Date | East | North | East | North | Total | Total | East | North |  |  |  |  | East | North |  |  |  |  | KCFS
| Chinook | Chinook | Chinook | Chinook | East | North | Unclipped | Unclipped | East | North | East | North | Coho | Coho | East | North | East | North | Spill
| Adult | Adult | Jack | Jack | Sthd | Sthd | Sthd | Sthd | Sock | Sock | Coho | Coho | Jack | Jack | Lamprey | Lamprey | Pink | Pink | Volume
2012-08-19 | 311 | 258 | 107 | 40 | 463 | 265 | 174 | 101 | 2 | 2 | 13 | 4 | 4 | 0 | 30 | 61 | 0 | 0 | 64.4
2012-08-20 | 510 | 209 | 161 | 19 | 528 | 220 | 184 | 82 | 4 | 1 | 16 | 6 | 0 | 1 | 40 | 80 | 0 | 0 | 73.6
2012-08-21 | 527 | 374 | 179 | 37 | 492 | 234 | 193 | 88 | 2 | 0 | 11 | 5 | 4 | 5 | 20 | 35 | 0 | 0 | 65.4
2012-08-22 | 402 | 162 | 229 | 36 | 547 | 178 | 200 | 70 | 5 | 1 | 10 | 5 | 8 | 0 | 19 | 72 | 0 | 0 | 74.8
2012-08-23 | 354 | 350 | 166 | 83 | 414 | 373 | 166 | 119 | 0 | 0 | 19 | 11 | 10 | 1 | 29 | 28 | 0 | 0 | 65.1
2012-08-24 | 1016 | 475 | 332 | 37 | 609 | 194 | 218 | 70 | 1 | 0 | 38 | 12 | 14 | 0 | 37 | 28 | 0 | 0 | 73.2
2012-08-25 | 1630 | 732 | 424 | 110 | 811 | 357 | 275 | 140 | 0 | -1 | 137 | 19 | 8 | 8 | 30 | 46 | 0 | 0 | 64.2
Wkly Tot | 4750 | 2560 | 1598 | 362 | 3864 | 1821 | 1410 | 670 | 14 | 3 | 244 | 62 | 48 | 15 | 205 | 350 | 0 | 0
% Split | 64.98% | 35.02% | 81.53% | 18.47% | 67.97% | 32.03% | 67.79% | 32.21% | 82.35% | 17.65% | 79.74% | 20.26% | 76.19% | 23.81% | 36.94% | 63.06% | #DIV/0! | #DIV/0!
Chinook and steelhead numbers are increasing; lamprey favor the north ladder.

## Avian Distribution
FB1: 0 to two cormorants foraging, 0 to 64 gulls resting.
The Dalles Dam Daily Bird Observations
Washington Shore
Oregon Shore
PH-T1: 1- 4 gulls foraging; one osprey resting, one cormorant fly-by, 0 to 4 foraging, one to 16 resting; one to two grebes resting.
PH-T2: one cormorant fly-by.
PH-T3: one osprey fly-by.
SW-T1: one cormorant fly-by.
SW-T2: 0 to four gulls resting; one cormorant resting, one fly-by, one to three foraging; one osprey resting, one foraging, 0 to three fly-by.
SW-T3: one to 16 gulls resting, two to 12 foraging, 0 to 5 fly-by, one osprey foraging.
SW-T4: 0 to four gulls scavenging, seven to 28 resting, eight to 38 foraging, 14 to 33 fly-by; two to four cormorants resting, 0 to 24 foraging; 0 to two osprey foraging.

## AVGS
|  | Temp: |  | Secchi:
|  | 70.7 | SUN | 4.5
|  | 70.3 | MON | 4.5 |  | The Dalles Dam Daily Readings and Averages for
|  | 70.2 | TUES | 4
|  | 69.8 | WED | 5 |  | Temperatures, Secchi, Entrances, and Spill
|  | 69.5 | THUR | 5
|  | 69 | FRI | 4
|  | 69.3 | SAT | 4.5
| AVG: | 69.8286 | AVG: | 4.5
| North Fish Ladder |  | East Fish Ladder
| North Entrance |  | East Entrance |  |  |  |  | West Entrance |  |  |  | South Entrance
Date: | Differential | N1 Depth | Differential | E1Depth | E2 Depth | E3 Depth | JP 6 | Differential | W1Depth | W2 Depth | W3 Depth | Differential | S1 Depth | S2 Depth | % Spill
2012-08-19 | 1.2 | 10 | 1.4 | 0 | 11 | 11 | 8.4 | 1.4 | 9.2 | 9.3 |  | 1.1 | 8.2 | 8.1 | 42.2
2012-08-19 | 1.4 | 9.9 | 1.6 | 0 | 11.5 | 11.4 | 10.4 | 1.5 | 9.8 | 9.8 |  | 1.2 | 8.1 | 8.1 | 40.7
2012-08-19 |  |  | 1.4 | 0.9 | 10.9 | 10.9 |  | 1.4 | 9.1 | 9.2 |  | 1.2 | 8.1 | 8.2
2012-08-20 | 1.4 | 9.9 | 1.5 | 0 | 10.9 | 10.9 | 10.1 | 1.5 | 9.1 | 9.2 |  | 1.1 | 8.3 | 8.3 | 40.1
2012-08-20 | 1.4 | 10 | 1.6 | 0.1 | 10.9 | 10.9 | 10.3 | 1.6 | 9.5 | 9.8 |  | 1.1 | 8.1 | 8.1 | 39.2
2012-08-20 |  |  | 1.3 | 0.1 | 10.6 | 10.7 |  | 1 | 9.4 | 9.4 |  | 0.9 | 8.1 | 8.2
2012-08-21 | 1.3 | 10 | 1.4 | 0 | 10.4 | 10.4 | 7 | 1.5 | 9.4 | 9.4 |  | 1.2 | 8.1 | 8.1 | 40.3
2012-08-21 | 1.3 | 10 | 1.4 | 0 | 11 | 11 | 8 | 1.6 | 9.5 | 9.4 |  | 1.2 | 8.2 | 8.2 | 40.7
2012-08-21 |  |  | 1.2 | 0 | 10.9 | 10.9 |  | 1.2 | 10.2 | 10.1 |  | 1.2 | 8 | 8
2012-08-22 | 1.4 | 10.1 | 1.7 | 0 | 10.1 | 10 | 7.4 | 1.5 | 9.6 | 9.5 |  | 1.2 | 8.2 | 8.2 | 40.2
2012-08-22 | 1.4 | 9.9 | 1.5 | 6 | 9.9 | 9.9 | 8.8 | 1.6 | 10.6 | 10.6 |  | 1.3 | 8.1 | 8.2 | 40.5
2012-08-22 |  |  | 1.2 | 0 | 11 | 11 |  | 1.4 | 9.4 | 9.5 |  | 1.2 | 8 | 8.1
2012-08-23 | 1.4 | 10 | 1.4 | 2.1 | 10.1 | 10 | 7.1 | 1.5 | 9.9 | 10 |  | 1.2 | 8 | 8.1 | 39.7
2012-08-23 | 1.3 | 10.1 | 1.6 | 1.9 | 9.9 | 10 | 7.5 | 1.6 | 10 | 10 |  | 1.3 | 8.1 | 9
2012-08-23 |  |  | 1.5 | 3.1 | 10 | 10.1 |  | 1.5 | 10.1 | 10.2 |  | 1.3 | 8.1 | 8.2
2012-08-24 | 1.4 | 10 | 1.6 | 2.1 | 10 | 10 | 7.3 | 1.5 | 10.5 | 10.4 |  | 1.3 | 8 | 8 | 40.4
2012-08-24 | 1.4 | 10 | 1.8 | 2.1 | 10 | 10 | 7.7 | 1.5 | 10.5 | 10.4 |  | 1.3 | 8 | 8 | 40.2
2012-08-24 |  |  | 1.1 | 2 | 10.1 | 10 |  | 1.1 | 10.1 | 10 |  | 1.1 | 8.1 | 8.1
2012-08-25 | 1.4 | 9.9 | 1.6 | 0 | 0 | 9.1 | 5.6 | 1.6 | 8.5 | 8.6 |  | 1.2 | 8.2 | 8.1 | 39.4
2012-08-25 | 1.3 | 10 | 1.6 | 0 | 9.9 | 9.9 | 7.9 | 1.5 | 8.9 | 9 |  | 1.1 | 8.1 | 8.2 | 39.6
2012-08-25 |  |  | 1.6 | 0 | 8.6 | 8.5 |  | 1.5 | 8.5 | 8.6 |  | 1.3 | 8.1 | 8
AVG: | 1.3571 | 9.9857 | 1.4762 | 0.97143 | 9.8905 | 10.3143 | 8.1071 | 1.4524 | 9.6095 | 9.6381 | Closed | 1.1905 | 8.1048 | 8.1667 | 40.2462
Third fish way inspection for east fish ladder, east, west, and south entrances completed via automation system in fisheries office. Out of criteria in red.