## StatusReport
FISHWAY STATUS REPORT | [5 empty] | THE DALLES DAM
Date: 11/12/11 | [7 empty] | The Dalles Project-Fisheries
Inspection Period: | 11/6-12/11 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishways are inspected twice daily. Additional daily monitoring done via automation system in fisheries office.
The Dalles Dam |  | Inspections | Criteria | Total Number of Inspections: |  | 21 | Temperature: |  | 54.3714 | F
|  | Out of Criteria | Limit | Comments |  |  | Secchi: | 6 | Ft.
NORTH FISHWAY
Exit differential |  | 0 | ≤ 0.5'
Count station differential |  | 0 | ≤ 0.3' | Picketed leads opened 11/8/11.
Weir crest depth |  | 0 | 1.0' ± 0.1'
Entrance differential |  | 0 | 1.0' - 2.0' | Average | 1.3 | Daily differentials & weir depths, see AVGS tab.
Entrance weir N1 |  | 0 | depth (≥ 8') | Average | 9.3929
Entrance weir N2 |  |  | Closed | Bulkhead installed
PUD Intake differential |  | 0 | ≤ 0.5' | Trash rack raked on
EAST FISHWAY
Exit differential |  | 0 | ≤ 0.5'
Removable weirs 154-157 |  | 1 | Per forebay | Auto adjusts 1' increments. OOC at forebay 158.3.
Weir 158-159 differential |  | 4 | 1.0' ± 0.1' | min depth of 0.6'. Maintenance notified. Weir manually adjusted until auto repaired.
Count station differential |  | 0 | ≤ 0.3' | Picketed leads opened on 11/8/11.
Weir crest depth |  | 0 | 1.0' ± 0.1'
Junction pool weir JP6 |  | 0 | depth (≥ 7') | Manually adjusted as needed.
East entrance differential |  | 0 | 1.0' - 2.0' | Average | 1.4952 | Daily differentials & weir depths, see AVGS tab.
Entrance weir E1 |  | 0 | No criteria | Average | 7.1095 | Manually adjusted.
Entrance weir E2 |  | 0 | depth (≥ 8') | Average | 11.2857
Entrance weir E3 |  | 0 | depth (≥ 8') | Average | 11.281
Collection channel velocity |  | 0 | 1.5 - 4 fps | Average | 2.3 | See Velocities tab for more complete information.
West entrance differential |  | 0 | 1.0' - 2.0' | Average | 1.4048
Entrance weir W1 |  | 0 | depth (≥ 8') | Average | 8.4143
Entrance weir W2 |  | 0 | depth (≥ 8') | Average | 8.3857
Entrance weir W3 |  | 0 | No criteria | Average | Closed
South entrance differential |  | 0 | 1.0' - 2.0' | Average | 1.3 | Daily differentials & weir depths, see AVGS tab.
Entrance weir S1 |  | 0 | depth (≥ 8') | Average | 8.2476 | Manually adjusted.
Entrance weir S2 |  | 0 | depth (≥ 8') | Average | 8.2857
JUVENILE PASSAGE
Sluicegate operation |  | 0 | units 1,8,18
Turbine trashrack drawdown |  | 0 | <1.5', wkly | Range: | 0.1' - 0.6'
Spill volume |  | 0 | 40%, 24hr | Average | On seal
Spill Pattern |  | 0 | per FPP
Turbine Unit Priority |  | 0 | per FPP
Turbine 1% Efficiency |  | 0 | per FPP
OTHER ISSUES:
THE DALLES
Birds: Large numbers of grebes, cormorants and mergansers around project. See the bird tab for information on species, number and
location. USDA hazing to resume mid April.
Operations:
Gatewell drawdown was completed on 11/11/11. Differentials ranged between 0.1-0.6' and were all within FPP criteria.
Calibration was completed on 11/2/11. Some slightly off but still maintaining criteria entrance conditions.
Maintenance:
Fishway dewatering planning meeting complete. East fishladder to be dewtatered 12/5/11. Primary workload; continue installing new diffuser
grating, repair exit weir guide damage and preparation for fishlock test operation asr backup water supply. North fishladder to be dewatered
1/16/12. Primary workload; brush removal from ladder wall.
Studies:
East Fishladder backup water supply - Project proceeding with prep work to get fishlock operational for testing this winter.
Adult PIT tag anntennae - Alternatives being reviewed. Project support as needed.
Lamprey - NOAA representatives to site visit of east fishladder 12/8/11 to determine feasiblity of small orifice ramp mods. Plans to be made
following visit.
Inland Bird Predation Work Group - periodic planning meetings continue. NWP and NWW bioliogists working on standard data collection
methodology for project biologist to use during season. Also evaluating need for nesting colony abatement.
Research:
Battelle data collection done for season. Planning underway for dive work to repair damaged trolley pipes and dislodge stuck equipment end
of Jan.
USGS derelict gear removal - Dive planning udnerway for removal of remaining USGS gear on powerhouse peirnoses and inside sluiceway.
Continuation of last years efforts.
Approved by;
Ron D. Twiner
Operation Project Manager
The Dalles Dam

## FishCounts
The Dalles Dam Fish Counts
Date | East | North | East | North | Total | Total | East | North |  |  |  |  | East | North
| Chinook | Chinook | Chinook | Chinook | East | North | Unclipped | Unclipped | East | North | East | North | Coho | Coho | East | North | East | North | Spill
| Adult | Adult | Jack | Jack | Sthd | Sthd | Sthd | Sthd | Sock | Sock | Coho | Coho | Jack | Jack | Lamprey | Lamprey | Pink | Pink | Volume
Wkly Tot | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
% Split | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Fish counts ended on October 31, 2011

## Avian Distribution
FB1: 194 grebes and 159 gulls resting on water and six cormorants resting on log boom
The Dalles Dam Maximum Daily Bird Observations
Washington Shore
Oregon Shore
PH-T1: 62 cormorants and 60 mergansers resting
PH-T2: 26 gulls and 18 mergansers resting
PH-T3: 75 gulls and 50 cormorants active and 50 mergansers resting
SW-T1: no birds
SW-T2: 93 geese, 83 gulls and 60 cormorants resting
SW-T3: 131 gulls and 114 cormornants
SW-T4: 42 geese and 36 gulls resting

## AVGS
|  | Temp: |  | Secchi:
|  | 55.5 | SUN | 6
|  | 55.4 | MON | 6 |  | The Dalles Dam Daily Readings and Averages for
|  | 55 | TUES | 6
|  | 54.6 | WED | 6 |  | Temperatures, Secchi, Entrances, and Spill
|  | 54 | THUR | 6
|  | 53.3 | FRI | 6
|  | 52.8 | SAT | 6
| AVG: | 54.3714 | AVG: | 6
| North Fish Ladder |  | East Fish Ladder
| North Entrance |  | East Entrance |  |  |  |  | West Entrance |  |  |  | South Entrance
Date: | Differential | N1 Depth | Differential | E1Depth | E2 Depth | E3 Depth | JP 6 | Differential | W1Depth | W2 Depth | W3 Depth | Differential | S1 Depth | S2 Depth | % Spill
2011-11-06 | 1.2 | 9.5 | 1.4 | 5.9 | 11.3 | 11.3 | 9.7 | 1.3 | 8.5 | 8.6 |  | 1.4 | 8.3 | 8.3
2011-11-06 | 1.2 | 9.4 | 1.5 | 5.7 | 11.2 | 11.3 | 9.3 | 1.2 | 8.5 | 8.5 |  | 1.3 | 8.3 | 8.3
2011-11-06 |  |  | 1.6 | 5.8 | 11.2 | 11.2 |  | 1.4 | 8.5 | 8.4 |  | 1.4 | 8.1 | 8.1
2011-11-07 | 1.3 | 9.4 | 1.3 | 5.9 | 11.3 | 11.4 | 9.8 | 1.3 | 8.6 | 8.5 |  | 1.3 | 8.4 | 8.4
2011-11-07 | 1.3 | 9.3 | 1.3 | 7.1 | 11.5 | 11.5 | 9.5 | 1.3 | 8.5 | 8.5 |  | 1.3 | 8.4 | 8.4
2011-11-07 |  |  | 1.3 | 5.8 | 11.4 | 11.4 |  | 1.2 | 8.5 | 8.5 |  | 1.2 | 8.5 | 8.5
2011-11-08 | 1.4 | 9.4 | 1.7 | 5.9 | 11.5 | 11.6 | 11.7 | 1.7 | 8.4 | 8.4 |  | 1.6 | 8.2 | 8.2
2011-11-08 | 1.4 | 9.3 | 1.7 | 6 | 11.6 | 11.6 | 11.1 | 1.6 | 8.5 | 8.5 |  | 1.4 | 8.3 | 8.3
2011-11-08 |  |  | 1.7 | 5 | 11.1 | 11 |  | 1.3 | 8.5 | 8.5 |  | 1.5 | 8.2 | 8.4
2011-11-09 | 1.3 | 9.4 | 1.6 | 7.9 | 10.9 | 10.9 | 9.9 | 1.5 | 8.5 | 8.4 |  | 1.3 | 8.3 | 8.3
2011-11-09 | 1.2 | 9.4 | 1.6 | 8.1 | 10.9 | 11 | 9.6 | 1.4 | 8.3 | 8.4 |  | 1.3 | 8.3 | 8.4
2011-11-09 |  |  | 1.1 | 6 | 11.6 | 11.6 |  | 1.2 | 8.7 | 8.7 |  | 1.3 | 8.4 | 8.4
2011-11-10 | 1.3 | 9.4 | 1.5 | 7.9 | 11.1 | 11.1 | 10.2 | 1.4 | 8.6 | 8.5 |  | 1.3 | 8.3 | 8.4
2011-11-10 | 1.3 | 9.5 | 1.5 | 8.1 | 11.1 | 11.1 | 9.8 | 1.4 | 8.2 | 8 |  | 1.4 | 8 | 8
2011-11-10 |  |  | 1.6 | 8 | 11 | 11 |  | 1.6 | 8.5 | 8.4 |  | 1.5 | 8.2 | 8.2
2011-11-11 | 1.4 | 9.3 | 1.5 | 8.1 | 11 | 10.9 | 11.3 | 1.5 | 8.3 | 8.3 |  | 1.5 | 8.2 | 8.2
2011-11-11 | 1.3 | 9.5 | 1.5 | 8.5 | 11.5 | 11.4 | 11.5 | 1.7 | 8.2 | 8.1 |  | 1.6 | 8.1 | 8.1
2011-11-11 |  |  | 1.7 | 8.1 | 11.1 | 11.1 |  | 1.4 | 8.3 | 8.3 |  | 1.4 | 8.2 | 8.3
2011-11-12 | 1.3 | 9.4 | 1.5 | 8.5 | 11.6 | 11.5 | 10.1 | 1.3 | 8.3 | 8.3 |  | 1.3 | 8.2 | 8.3
2011-11-12 | 1.3 | 9.3 | 1.5 | 8.5 | 11.5 | 11.5 | 9.8 | 1.3 | 8.2 | 8.2 |  | 1.3 | 8.1 | 8.2
2011-11-12 |  |  | 1.3 | 8.5 | 11.6 | 11.5 |  | 1.5 | 8.1 | 8.1 |  | 1.3 | 8.2 | 8.3
AVG: | 1.3 | 9.3929 | 1.4952 | 7.1095 | 11.2857 | 11.281 | 10.2357 | 1.4048 | 8.4143 | 8.3857 | Closed | 1.3762 | 8.2476 | 8.2857 | On seal
Third fish way inspection for east fish ladder, east, west, and south entrances completed via automation system in fisheries office.