## SR
FISHWAY STATUS REPORT | [6 empty] | THE DALLES DAM
Date: | 2009-09-06 | [7 empty] | The Dalles Project-Fisheries
Inspection Period: |  | 8/30-9/5/2009 | [6 empty] | P.O. Box 564
The Dalles, OR 97058-9998
Phone: 541-506-3800
Fishways are inspected twice daily.
Location |  |  | Inspections | Criteria | Total Number of Inspections: |  | 14 | Temperature: |  | 70.2857 | F
|  |  | Out of Criteria | Limit | Comments |  |  | Secchi: | 5.2143 | Ft.
NORTH FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 1 | 1.0' ± 0.1' | Adjusted to criteria
Entrance differential |  |  | 0 | 1.0' - 2.0' | Average | 1.3462 | Daily differentials & weir depths, see AVGS tab below.
Entrance weir N1 |  |  | 0 | depth (≥ 8') | Average | 9.9385 | Set at 10'
Entrance weir N2 |  |  |  | Closed | Bulkhead installed
PUD Intake differential |  |  | 0 | ≤ 0.5'
EAST FISHWAY
Exit differential |  |  | 0 | ≤ 0.5'
Removable weirs 154-157 |  |  | 0 | Per forebay | Auto adjusts at 1' increments.
Weir 158-159 differential |  |  | 0 | 1.0' ± 0.1'
Count station differential |  |  | 0 | ≤ 0.3'
Weir crest depth |  |  | 0 | 1.0' ± 0.1'
Junction pool weir JP6 |  |  | 0 | depth (≥ 7') | Manually adjusted as needed.
East entrance differential |  |  | 0 | 1.0' - 2.0' | Average | 1.55 | Daily differentials & weir depths, see AVGS tab below.
Entrance weir E1 |  |  | 0 | No criteria | Average | 10.6571 | Set at 10'
Entrance weir E2 |  |  | 0 | depth (≥ 8') | Average | 12.3071 | Set at 12'
Entrance weir E3 |  |  | 0 | depth (≥ 8') | Average | 12.3143 | Set at 12'
Collection channel velocity |  |  | 0 | 1.5 - 4 fps | Average | 1.8 | See Velocity tab below for more complete information.
West entrance differential |  |  | 0 | 1.0' - 2.0' | Average | 1.4929
Entrance weir W1 |  |  | 1 | depth (≥ 8') | Average | 8.1286 | Found at 7.7' with slack cable. Maintenance notified.
Entrance weir W2 |  |  | 0 | depth (≥ 8') | Average | 8.2 | Set at 8.1'
Entrance weir W3 |  |  | 0 | No criteria | Average | Closed
South entrance differential |  |  | 0 | 1.0' - 2.0' | Average | 1.15
Entrance weir S1 |  |  | 0 | depth (≥ 8') | Average | 8.0857 | Set at 8.1'
Entrance weir S2 |  |  | 0 | depth (≥ 8') | Average | 8.0857 | Set at 8.1'
JUVENILE PASSAGE
Sluicegate operation |  |  | 0 | units 1,5,18 | Unit 18 out of service with sluice gates closed. Unit 17 in service with chain gates open.
Turbine trashrack drawdown |  |  | 0 | <1.5', wkly | Range: 0.2 - 0.6'.
Spill volume |  |  | 0 | 40%, 24hr | Average | 39.675 | Spillway off midnight 8/31.
Spill Pattern |  |  | 0 | per FPP
Turbine Unit Priority |  |  | 6 | per FPP | Operations notified for correction.
Turbine 1% Efficiency |  |  | 0 | per FPP
OTHER ISSUES:
THE DALLES
PUD attraction water for the north fishladder off 9/4 at 1900 to change out water level probes. Outage coordinated through fish managers.
Maintenance also made bulkhead adjustments during that time in preparation for this winters dewatering.
Equipment calibration checks completed on 8/31. All PLCs, weirs and staff gauges were within limits.
Gatewell drawdown completed 9/5. Differential range 0.2' to 0.6'. All within criteria.
Avian lines removed from spillway 9/1 in preparation for spillwall construction start.
Fishway winter maintenance planning schedule underway. Planned tasks include; lamprey corner rounding contract, count stations reflooring
contract, east count station reroofing contract, east ladder expansion joint repair, fish unit trashrack inspection, north ladder brush removal, north
upper diffuser grating replacement.
Battelle planning for sluiceway study Nov and Mar. Transducer testing required to determine need for dive.
Univ of Idaho downloading radiotelemetry.
East fishway auxiliary water backup study continues with project support as needed.
Approved by Ron D. Twiner, OPM
The Dalles Lock and Dam

## FishCounts
| East | North | East | North | East | North | East | North | East | North | East | North | East | North | East | North
| ChinAdult | ChinAdult | ChinJack | ChinJack | Sthd | Sthd | Shad | Shad | Sockeye | Sockeye | Lamprey | Lamprey | CohoAdult | CohoAdult | CohoAdult | CohoJack
2009-08-23 | 1494 | 376 | 769 | 166 | 3886 | 2136 | 4 | 2 | 0 | 0 | 1 | 8 | 163 | 107 | 54 | 31
2009-08-24 | 2110 | 492 | 1106 | 157 | 7184 | 3365 | 38 | 0 | 6 | 1 | 5 | 5 | 277 | 103 | 91 | 22
2009-08-25 | 2495 | 1108 | 1004 | 278 | 9332 | 5551 | 6 | 0 | 0 | 0 | 6 | 1 | 400 | 92 | 53 | 49
2009-08-26 | 3144 | 500 | 1390 | 155 | 9809 | 3161 | 14 | 0 | 1 | 0 | 1 | 8 | 355 | 130 | 202 | 20
2009-08-27 | 5052 | 882 | 1372 | 318 | 8025 | 3063 | 10 | 0 | 0 | 1 | 6 | 4 | 500 | 245 | 242 | 34
2009-08-28 | 3278 | 1018 | 1616 | 366 | 4940 | 3152 | 8 | 7 | 0 | 0 | 4 | 5 | 506 | 335 | 139 | 24
2009-08-29 | 3018 | 781 | 1375 | 289 | 3399 | 1985 | 0 | 17 | 0 | 0 | 2 | 6 | 540 | 138 | 128 | 30
2009-08-30 | 3902 | 1526 | 1487 | 347 | 4588 | 2577 | 7 | 0 | 0 | 0 | 4 | 1 | 718 | 306 | 167 | 25
2009-08-31 | 4583 | 1518 | 1478 | 396 | 5603 | 2539 | 0 | 0 | 1 | 0 | 5 | 1 | 451 | 235 | 182 | 42
2009-09-01 | 3722 | 263 | 2060 | 67 | 7472 | 283 | 0 | 0 | 5 | 0 | 19 | 2 | 510 | 37 | 104 | 7
2009-09-02 | 3553 | 20 | 1830 | 40 | 9041 | 130 |  |  | 2 | 0 | 6 | 0 | 607 | 5 | 179 | 1
2009-09-03 | 4950 | 257 | 2312 | 118 | 11131 | 584 |  |  |  |  | 14 | 5 | 511 | 72 | 101 | 7
2009-09-04 | 5645 | 172 | 3838 | 90 | 6810 | 200 |  |  |  |  | 8 | 0 | 970 | 66 | 144 | 7
2009-09-05 | 6851 | 330 | 3940 | 334 | 6096 | 540 |  |  |  |  | 1 | 0 | 840 | 292 | 305 | 23

## Temps
every other week

## Birds
13 cormorants and 11 Canada geese on the rocks
66 cormorants and 2 osprey in the towers
34 gulls and 1 cormorant on the rocks

## Velocities
 | time axis 2009-01-15 to 2009-08-31
The Dalles Collection Channel
Bay(s) | Enter time |  | Seconds | Velocity (f/s)
Bay 1 | 0:17 | 1044 | 48 | 1.8083 | 2.0186 | 2.17 | 2.5529 | 2.5529 | 2.8933 | 2.0186 | 2.4111 | 2.8933 | 2.4111 | 2.7125 | 2.17 | 2.9931 | 2.6303 | 2.7125 | 2.7125 | 2.3459 | 2.4111 | 2.8933 | 2.8 | 2.5529 | 2.7125 | 3.6167 | 3.2148 | 2.8933 | 3.472 | 2.5529 | 2.7125 | 3.2148 | 3.2148 | 2.9931 | 2.9931 | 2.4111 | 3.7739 | 3.1 | 1.8468 | 2.3459 | 1.9289 | 1.887 | 1.702 | 2.8933 | 2.9931 | 2.0186 | 1.258 | 1.702 | 2.2842 | 1.6074 | 1.8083
Bay 2 | 0:17 | 996 | 46 | 1.887 | 2.0186 | 2.1171 | 2.7125 | 2.5529 | 2.9931 | 2.17 | 2.8 | 2.17 | 2.8 | 1.8468 | 2.0667 | 2.6303 | 2.5529 | 1.9727 | 2.4111 | 2.4111 | 2.6303 | 2.7125 | 2.8933 | 2.8 | 2.7125 | 3.3385 | 3.2148 | 2.4111 | 2.8933 | 2.3459 | 2.9931 | 2.9931 | 3.3385 | 2.6303 | 3.6167 | 2.6303 | 3.3385 | 2.9931 | 2.48 | 2.9931 | 2.1171 | 2.4111 | 1.9727 | 2.2842 | 2.2842 | 2.7125 | 1.9727 | 2.48 | 2.1171 | 1.5782 | 1.887
Bay 3 | 0:16 | 950 | 47 | 1.8468 | 2.17 | 1.9727 | 2.4111 | 2.1171 | 3.2148 | 2.48 | 2.3459 | 2.5529 | 2.5529 | 2.2256 | 2.1171 | 2.7125 | 2.8933 | 2.8 | 2.7125 | 2.6303 | 2.0186 | 2.48 | 2.7125 | 1.887 | 2.8 | 3.3385 | 3.3385 | 3.2148 | 3.472 | 3.2148 | 3.2148 | 3.3385 | 3.6167 | 3.3385 | 3.1 | 3.2148 | 3.2148 | 2.7125 | 2.6303 | 2.8 | 2.4111 | 2.4111 | 2.1171 | 2.8933 | 2.5529 | 2.4111 | 1.6074 | 2.3459 | 2.3459 | 1.7714 | 1.8468
Bay 4 | 0:15 | 903 | 50 | 1.736 | 1.9727 | 1.8083 | 1.887 | 2.6303 | 2.8 | 2.7125 | 2.2842 | 2.4111 | 2.1171 | 2.5529 | 2.17 | 2.5529 | 2.3459 | 2.8 | 2.7125 | 2.6303 | 2.2842 | 2.3459 | 2.8933 | 2.48 | 2.8 | 3.2148 | 3.3385 | 3.1 | 2.5529 | 3.1 | 3.2148 | 2.4111 | 3.1 | 3.2148 | 3.1 | 2.5529 | 3.3385 | 2.8 | 2.4111 | 2.6303 | 2.4111 | 2.48 | 2.17 | 2.0186 | 2.3459 | 2.4111 | 2.1171 | 2.0186 | 2.17 | 2.1171 | 1.736
Bay 5 | 0:14 | 853 | 48 | 1.8083 | 1.887 | 1.4467 | 1.8468 | 2.5529 | 2.2842 | 2.2842 | 2.3459 | 1.887 | 1.6074 | 2.0667 | 1.9727 | 1.887 | 1.9727 | 2.5529 | 2.17 | 2.48 | 2.17 | 1.887 | 2.5529 | 3.1 | 2.6303 | 3.2148 | 3.1 | 1.9289 | 2.9931 | 2.6303 | 3.1 | 3.472 | 2.9931 | 2.9931 | 2.8933 | 2.9931 | 2.3459 | 2.7125 | 2.1171 | 2.5529 | 1.7714 | 2.48 | 1.9727 | 2.3459 | 1.736 | 2.1171 | 1.9289 | 2.0186 | 2.0186 | 1.55 | 1.8083
Bay 6 | 0:13 | 805 | 44 | 1.9727 | 1.8083 | 1.55 | 1.7714 | 2.7125 | 2.0186 | 2.2842 | 2.0186 | 2.3459 | 1.8468 | 2.0667 | 1.9727 | 2.17 | 1.9727 | 2.48 | 1.9289 | 2.48 | 1.8468 | 2.0667 | 2.8 | 2.0667 | 2.7125 | 3.3385 | 2.8933 | 2.8 | 2.7125 | 2.6303 | 3.1 | 2.5529 | 2.9931 | 2.6303 | 2.2842 | 2.9931 | 2.7125 | 2.8933 | 2.1171 | 2.7125 | 1.9289 | 2.0667 | 1.8468 | 2.5529 | 1.9289 | 1.887 | 2.0186 | 1.6692 | 2.0667 | 1.5228 | 1.9727
Bay 7 | 0:13 | 761 | 43 | 2.0186 | 1.8468 | 1.6377 | 2.48 | 2.48 | 2.3459 | 2.17 | 2.1171 | 2.8933 | 2.0186 | 2.3459 | 2.3459 | 2.8933 | 2.5529 | 2.3459 | 2.6303 | 2.2842 | 2.2842 | 2.8933 | 2.5529 | 2.5529 | 2.48 | 2.8933 | 3.2148 | 2.5529 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.3385 | 3.2148 | 3.1 | 3.1 | 2.8 | 2.7125 | 2.0667 | 2.0186 | 1.7714 | 2.17 | 2.7125 | 2.2256 | 2.17 | 2.17 | 1.887 | 2.2842 | 2.3459 | 2.0186
Bay 8 | 0:12 | 718 | 46 | 1.887 | 1.736 | 1.887 | 2.2842 | 2.6303 | 2.7125 | 2.0667 | 2.0186 | 2.48 | 2.3459 | 2.6303 | 2.48 | 2.3459 | 2.48 | 2.48 | 2.48 | 2.5529 | 1.702 | 2.6303 | 2.48 | 2.8 | 2.2842 | 3.3385 | 3.1 | 3.1 | 2.9931 | 3.1 | 3.1 | 3.2148 | 2.8933 | 2.6303 | 2.8933 | 2.48 | 3.472 | 2.5529 | 2.3459 | 2.4111 | 2.3459 | 2.4111 | 2.48 | 2.5529 | 2.5529 | 2.4111 | 2.2842 | 2.5529 | 2.17 | 2.17 | 1.887
SS | 0:11 | 672 | 51 | 1.702 | 1.5228 | 1.9727 | 1.887 | 1.9727 | 2.5529 | 1.887 | 1.9727 | 2.2842 | 2.1171 | 2.0186 | 0.98636 | 1.9727 | 2.4111 | 1.887 | 1.9289 | 1.702 | 2.17 | 2.5529 | 2.7125 | 2.7125 | 2.48 | 3.2148 | 3.3385 | 2.1171 | 2.7125 | 2.8 | 2.8933 | 3.1 | 2.9931 | 2.8 | 2.2256 | 2.9931 | 3.1 | 2.4111 | 2.6303 | 2.6303 | 2.4111 | 2.0186 | 1.9289 | 2.6303 | 2.4111 | 2.4111 | 1.6377 | 2.2256 | 1.9289 | 1.887 | 1.702
Bay 9 | 0:10 | 621 | 46 | 1.887 | 1.8468 | 1.7714 | 2.0186 | 2.5529 | 2.3459 | 1.9727 | 2.48 | 2.17 | 1.887 | 2.48 | 1.702 | 1.8468 | 2.4111 | 2.1171 | 2.17 | 1.9289 | 2.2842 | 2.2842 | 2.7125 | 2.3459 | 2.0667 | 2.9931 | 2.8933 | 2.17 | 2.8 | 3.2148 | 2.3459 | 3.472 | 3.472 | 2.4111 | 3.2148 | 3.1 | 3.1 | 2.2842 | 2.7125 | 2.7125 | 2.1171 | 2.2842 | 1.736 | 2.4111 | 2.1171 | 2.1171 | 1.6692 | 1.8468 | 2.1171 | 1.6074 | 1.887
Bay 10 | 0:10 | 575 | 48 | 1.8083 | 1.6074 | 2.1171 | 2.4111 | 2.7125 | 2.8933 | 1.8083 | 1.9727 | 2.3459 | 2.0667 | 2.0667 | 2.1171 | 2.8933 | 2.48 | 2.2842 | 2.8 | 2.3459 | 2.4111 | 2.7125 | 2.8 | 3.472 | 2.48 | 3.3385 | 2.8 | 2.5529 | 2.5529 | 2.8933 | 3.1 | 3.2148 | 3.1 | 2.8933 | 2.8933 | 2.6303 | 3.1 | 2.7125 | 2.6303 | 2.6303 | 2.4111 | 2.0667 | 2.1171 | 2.6303 | 1.9289 | 2.2256 | 2.2256 | 1.9289 | 2.2256 | 1.8468 | 1.8083
Bay 11 | 0:09 | 527 | 49 | 1.7714 | 1.7714 | 1.8468 | 2.2256 | 2.48 | 2.5529 | 2.2256 | 2.1171 | 2.2842 | 2.48 | 2.3459 | 2.2256 | 2.2256 | 2.3459 | 2.2842 | 2.7125 | 2.0667 | 2.4111 | 2.1171 | 2.3459 | 2.48 | 2.3459 | 3.3385 | 3.3385 | 2.4111 | 2.8933 | 2.6303 | 2.7125 | 2.8 | 3.472 | 3.1 | 2.4111 | 2.17 | 3.2148 | 2.5529 | 2.2256 | 2.3459 | 2.17 | 2.2256 | 1.887 | 2.48 | 2.3459 | 2.2842 | 2.2842 | 2.0667 | 2.17 | 1.6377 | 1.7714
Bay 12 | 0:08 | 478 | 57 | 1.5228 | 1.6692 | 2.0667 | 1.887 | 2.2842 | 2.2256 | 2.2842 | 2.1171 | 2.2256 | 2.2256 | 2.4111 | 1.736 | 2.8 | 1.6377 | 2.6303 | 2.6303 | 1.9727 | 2.0186 | 2.4111 | 2.6303 | 2.7125 | 2.8933 | 2.7125 | 2.9931 | 2.8 | 2.7125 | 2.7125 | 2.7125 | 3.2148 | 3.2148 | 2.6303 | 2.5529 | 2.48 | 2.9931 | 2.1171 | 1.8468 | 2.4111 | 2.2842 | 1.736 | 2.0667 | 2.2842 | 2.4111 | 2.2842 | 1.9727 | 1.55 | 2.3459 | 2.17 | 1.5228
Bay 13 | 0:07 | 421 | 50 | 1.736 | 1.8468 | 2.1171 | 1.702 | 2.6303 | 2.2842 | 2.2256 | 2.2842 | 2.2842 | 2.17 | 2.48 | 2.17 | 2.8 | 2.3459 | 2.5529 | 2.48 | 2.1171 | 2.2256 | 2.3459 | 2.2842 | 2.4111 | 2.8933 | 2.5529 | 2.6303 | 2.8933 | 3.1 | 2.9931 | 2.7125 | 3.3385 | 2.9931 | 3.472 | 2.0667 | 2.48 | 2.9931 | 2.1171 | 1.887 | 1.7714 | 2.0186 | 1.8468 | 2.2256 | 2.3459 | 2.3459 | 2.2842 | 2.4111 | 2.2256 | 2.0186 | 1.9289 | 1.736
Bay 14 | 0:06 | 371 | 47 | 1.8468 | 2.17 | 1.9289 | 2.3459 | 2.6303 | 2.6303 | 1.7714 | 2.0186 | 2.3459 | 2.2256 | 2.3459 | 1.8468 | 2.3459 | 2.6303 | 2.0667 | 2.6303 | 2.3459 | 2.1171 | 2.0667 | 2.7125 | 2.8933 | 2.3459 | 3.2148 | 3.3385 | 2.9931 | 3.1 | 2.5529 | 2.5529 | 3.2148 | 3.1 | 3.1 | 2.7125 | 2.2842 | 3.2148 | 2.6303 | 1.9289 | 2.3459 | 2.4111 | 2.0186 | 2.17 | 2.6303 | 2.4111 | 2.17 | 2.1171 | 2.3459 | 2.2842 | 1.9289 | 1.8468
Bay 15 | 0:05 | 324 | 45 | 1.9289 | 2.0667 | 2.0186 | 2.48 | 2.8933 | 1.9727 | 2.0667 | 2.1171 | 2.2256 | 2.5529 | 2.48 | 1.8083 | 2.2842 | 2.6303 | 2.5529 | 2.4111 | 2.4111 | 2.17 | 2.48 | 2.7125 | 2.8933 | 2.4111 | 3.3385 | 3.1 | 2.8933 | 3.2148 | 2.9931 | 2.7125 | 3.3385 | 3.2148 | 3.2148 | 2.6303 | 2.17 | 2.9931 | 2.5529 | 2.1171 | 2.2842 | 2.2842 | 2.0186 | 2.0186 | 2.3459 | 2.4111 | 2.3459 | 2.17 | 2.2256 | 1.9727 | 2.0667 | 1.9289
Bay 16 | 0:05 | 279 | 45 | 1.9289 | 2.0186 | 2.0186 | 2.3459 | 2.6303 | 1.887 | 2.3459 | 2.17 | 2.2842 | 2.3459 | 2.5529 | 1.736 | 2.0667 | 2.3459 | 2.48 | 1.6692 | 2.3459 | 2.2842 | 2.6303 | 2.6303 | 2.48 | 2.1171 | 2.9931 | 2.8933 | 2.6303 | 3.2148 | 3.1 | 1.7714 | 2.8933 | 2.48 | 2.2256 | 2.8 | 2.8 | 2.0667 | 2.5529 | 2.1171 | 2.0667 | 2.2842 | 2.0186 | 2.2256 | 2.4111 | 2.17 | 2.2842 | 2.1171 | 2.2256 | 2.0667 | 1.9727 | 1.9289
Bay 17 | 0:04 | 234 | 46 | 1.887 | 2.17 | 2.0186 | 2.0186 | 2.7125 | 1.8468 | 2.1171 | 1.9289 | 2.3459 | 2.3459 | 2.5529 | 1.9727 | 2.48 | 2.2256 | 2.17 | 2.4111 | 2.1171 | 2.2842 | 2.6303 | 2.6303 | 2.6303 | 2.2256 | 3.1 | 3.1 | 2.9931 | 2.9931 | 2.8933 | 3.1 | 3.2148 | 2.5529 | 2.17 | 2.4111 | 2.0667 | 2.7125 | 1.7714 | 2.5529 | 1.9727 | 2.3459 | 1.887 | 2.17 | 1.9289 | 2.2842 | 2.1171 | 1.7714 | 1.9289 | 2.0667 | 1.7714 | 1.887
Bay 18 | 0:03 | 188 | 46 | 1.887 | 2.1171 | 2.1171 | 2.0667 | 2.5529 | 2.3459 | 1.9727 | 2.1171 | 2.48 | 1.9727 | 2.4111 | 2.2256 | 2.2842 | 2.17 | 2.2842 | 2.7125 | 1.887 | 2.2256 | 2.2842 | 2.8933 | 2.7125 | 2.6303 | 3.2148 | 2.8933 | 3.3385 | 3.472 | 2.9931 | 3.1 | 3.6167 | 2.7125 | 3.2148 | 3.2148 | 2.8933 | 2.9931 | 1.7714 | 2.2842 | 2.3459 | 2.0667 | 1.887 | 1.887 | 2.1171 | 2.4111 | 2.2842 | 1.8468 | 1.736 | 1.9727 | 1.8468 | 1.887
Bay 19 | 0:02 | 142 | 52 | 1.6692 | 1.9289 | 1.9727 | 1.9727 | 2.17 | 2.2842 | 1.9727 | 2.0667 | 2.1171 | 2.2256 | 2.48 | 1.8468 | 2.2842 | 2.0667 | 2.4111 | 2.48 | 1.9289 | 2.2256 | 2.2842 | 3.3385 | 2.7125 | 2.8 | 3.1 | 2.8 | 3.6167 | 3.3385 | 2.9931 | 3.472 | 3.472 | 2.8 | 3.1 | 3.2148 | 2.8933 | 3.472 | 2.2842 | 2.3459 | 2.2256 | 2.4111 | 2.0186 | 1.8083 | 2.2842 | 2.2256 | 2.1171 | 1.8083 | 1.887 | 1.8083 | 1.7714 | 1.6692
Bay 20 | 0:02 | 90 | 49 | 1.7714 | 1.9289 | 2.0667 | 2.2842 | 2.8 | 2.2842 | 2.0667 | 2.0667 | 2.2256 | 2.2256 | 2.17 | 1.9727 | 2.3459 | 1.9289 | 2.48 | 2.48 | 2.17 | 2.4111 | 2.5529 | 3.2148 | 2.7125 | 2.5529 | 3.472 | 2.7125 | 3.472 | 2.8 | 3.472 | 3.1 | 2.2842 | 2.2842 | 3.3385 | 2.9931 | 2.7125 | 2.9931 | 2.7125 | 2.3459 | 2.2842 | 2.0186 | 2.1171 | 1.9727 | 2.2842 | 1.736 | 2.0186 | 1.8083 | 1.8468 | 1.55 | 1.8083 | 1.7714
Bay 21 | 0:01 | 41 | 41 | 2.1171 | 1.8468 | 2.17 | 2.5529 | 2.6303 | 2.7125 | 2.3459 | 2.5529 | 2.9931 | 2.7125 | 2.4111 | 2.8 | 2.5529 | 2.6303 | 2.3459 | 2.8933 | 2.1171 | 2.8 | 2.6303 | 3.3385 | 3.1 | 3.472 | 3.472 | 2.2256 | 3.3385 | 2.6303 | 3.3385 | 2.8933 | 2.7125 | 2.2842 | 3.7739 | 3.3385 | 3.3385 | 3.7739 | 3.2148 | 2.4111 | 2.2842 | 2.2842 | 2.5529 | 1.887 | 2.3459 | 1.9289 | 2.4111 | 2.17 | 1.8468 | 1.736 | 2.48 | 2.1171
Average |  |  |  | 1.8377 | 1.9077 | 1.9451 | 2.1884 | 2.5401 | 2.4582 | 2.1477 | 2.1965 | 2.3748 | 2.2388 | 2.3479 | 2.0201 | 2.4258 | 2.3482 | 2.395 | 2.4621 | 2.2396 | 2.2448 | 2.4496 | 2.7564 | 2.6595 | 2.5839 | 3.1977 | 3.0214 | 2.8282 | 2.9874 | 2.9207 | 2.8961 | 3.0993 | 2.9965 | 2.9642 | 2.8534 | 2.6994 | 3.0917 | 2.5568 | 2.3044 | 2.4011 | 2.2023 | 2.1188 | 2.0242 | 2.4265 | 2.2617 | 2.2497 | 1.9712 | 2.0255 | 2.0782 | 1.8812 | 1.8377
The Dalles Transportation Channel
Bay#'s | Enter time |  | Seconds | Velocity (f/s)
Bay 1 | 0:12 | 744 | 34 | 2.5529 | 2009-01-15: 1.5228; 2009-01-29: 1.8468; 2009-02-11: 2.9931; 2009-03-02: 2.8; 2009-03-10: 2.8; 2009-03-16: 2.5529
Bay 2 | 0:12 | 710 | 32 | 2.7125 | 2009-01-15: 1.4966; 2009-01-29: 1.8083; 2009-02-11: 3.1; 2009-03-02: 2.8933; 2009-03-10: 2.5529; 2009-03-16: 2.7125
Bay 3 | 0:11 | 678 | 30 | 2.8933 | 2009-01-15: 1.4966; 2009-01-29: 1.8083; 2009-02-11: 3.1; 2009-03-02: 2.8; 2009-03-10: 2.8; 2009-03-16: 2.8933
Bay 4 | 0:11 | 648 | 34 | 2.5529 | 2009-01-15: 1.6074; 2009-01-29: 1.9289; 2009-02-11: 2.8933; 2009-03-02: 2.8; 2009-03-10: 2.6303; 2009-03-16: 2.5529
Bay 5 | 0:10 | 614 | 31 | 2.8 | 2009-01-15: 1.6692; 2009-01-29: 1.7714; 2009-02-11: 2.9931; 2009-03-02: 2.8; 2009-03-10: 2.48; 2009-03-16: 2.8
Bay 6 | 0:10 | 583 | 34 | 2.5529 | 2009-01-15: 1.6692; 2009-01-29: 1.702; 2009-02-11: 2.8; 2009-03-02: 2.8; 2009-03-10: 2.3459; 2009-03-16: 2.5529
Bay 7 | 0:09 | 549 | 33 | 2.6303 | 2009-01-15: 1.6692; 2009-01-29: 1.702; 2009-02-11: 2.8933; 2009-03-02: 2.7125; 2009-03-10: 2.3459; 2009-03-16: 2.6303
Bay 8 | 0:09 | 516 | 36 | 2.4111 | 2009-01-15: 1.6074; 2009-01-29: 1.6074; 2009-02-11: 2.8; 2009-03-02: 2.5529; 2009-03-10: 2.2842; 2009-03-16: 2.4111
SS | 0:08 | 480 | 31 | 2.8 | 2009-01-15: 1.4966; 2009-01-29: 1.3778; 2009-02-11: 2.8; 2009-03-02: 2.5529; 2009-03-10: 2.5529; 2009-03-16: 2.8
Bay 9 | 0:07 | 449 | 32 | 2.7125 | 2009-01-15: 1.55; 2009-01-29: 1.6692; 2009-02-11: 2.8933; 2009-03-02: 2.9931; 2009-03-10: 2.5529; 2009-03-16: 2.7125
Bay 10 | 0:07 | 417 | 35 | 2.48 | 2009-01-15: 1.5782; 2009-01-29: 1.702; 2009-02-11: 2.7125; 2009-03-02: 2.5529; 2009-03-10: 2.3459; 2009-03-16: 2.48
Bay 11 | 0:06 | 382 | 36 | 2.4111 | 2009-01-15: 1.55; 2009-01-29: 1.8083; 2009-02-11: 2.9931; 2009-03-02: 2.2256; 2009-03-10: 2.5529; 2009-03-16: 2.4111
Bay 12 | 0:06 | 346 | 33 | 2.6303 | 2009-01-15: 1.55; 2009-01-29: 1.9289; 2009-02-11: 2.9931; 2009-03-02: 2.4111; 2009-03-10: 2.3459; 2009-03-16: 2.6303
Bay 13 | 0:05 | 313 | 36 | 2.4111 | 2009-01-15: 1.6074; 2009-01-29: 1.7714; 2009-02-11: 2.8933; 2009-03-02: 2.17; 2009-03-10: 2.2256; 2009-03-16: 2.4111
Bay 14 | 0:05 | 277 | 35 | 2.48 | 2009-01-15: 1.4966; 2009-01-29: 1.7714; 2009-02-11: 2.8; 2009-03-02: 2.1171; 2009-03-10: 2.48; 2009-03-16: 2.48
Bay 15 | 0:04 | 242 | 35 | 2.48 | 2009-01-15: 1.4966; 2009-01-29: 1.7714; 2009-02-11: 2.8; 2009-03-02: 2.17; 2009-03-10: 2.2256; 2009-03-16: 2.48
Bay 16 | 0:03 | 207 | 35 | 2.48 | 2009-01-15: 1.4; 2009-01-29: 1.702; 2009-02-11: 2.7125; 2009-03-02: 2.2256; 2009-03-10: 2.0667; 2009-03-16: 2.48
Bay 17 | 0:03 | 172 | 36 | 2.4111 | 2009-01-15: 1.6074; 2009-01-29: 1.702; 2009-02-11: 2.6303; 2009-03-02: 2.4111; 2009-03-10: 2.48; 2009-03-16: 2.4111
Bay 18 | 0:02 | 136 | 32 | 2.7125 | 2009-01-15: 1.4467; 2009-01-29: 1.736; 2009-02-11: 2.8; 2009-03-02: 2.3459; 2009-03-10: 2.5529; 2009-03-16: 2.7125
Bay 19 | 0:02 | 104 | 35 | 2.48 | 2009-01-15: 1.3778; 2009-01-29: 1.8468; 2009-02-11: 2.7125; 2009-03-02: 2.4111; 2009-03-10: 2.3459; 2009-03-16: 2.48
Bay 20 | 0:01 | 69 | 33 | 2.6303 | 2009-01-15: 1.4712; 2009-01-29: 1.6074; 2009-02-11: 2.5529; 2009-03-02: 2.3459; 2009-03-10: 2.17; 2009-03-16: 2.6303
Bay 21 | 0:01 | 36 | 36 | 2.4111 | 2009-01-15: 1.258; 2009-01-29: 1.8083; 2009-02-11: 2.8; 2009-03-02: 2.3459; 2009-03-10: 2.4111; 2009-03-16: 2.4111
Average |  |  |  | 2.5744 | 2009-01-15: 1.5284; 2009-01-29: 1.7445; 2009-02-11: 2.8485; 2009-03-02: 2.5199; 2009-03-10: 2.434; 2009-03-16: 2.5744
Average | 0:13 | 800 | 800 | 2.387 | 2009-03-23: 2.4577; 2009-03-31: 2.5126; 2009-04-07: 2.6972; 2009-04-21: 2.6376; 2009-05-05: 2.39; 2009-05-19: 2.19; 2009-06-02: 2.1265; 2009-06-16: 2.2652; 2009-06-18: 1.9606; 2009-07-01: 2.45; 2009-07-14: 2.39; 2009-07-28: 2.4111; 2009-07-30: 2.4962; 2009-08-11: 2.4736; 2009-08-25: 2.387
The Dalles North Entrance
d/s of PUD bridge to start of 180 bend
Distance | Enter time | Seconds |  | Velocity (f/s)
156' | 0:01 | 56 |  | 2.7857 | 2009-01-15: dewatered; 2009-01-29: dewatered; 2009-02-11: 2.5161; 2009-02-18: 2.4375; 2009-03-02: 2.2286; 2009-03-10: 2.4; 2009-03-16: 2.4; 2009-03-23: 2.3636; 2009-03-31: 2.6; 2009-04-07: 2.6; 2009-04-21: 2.7368; 2009-05-05: 2.2609; 2009-05-19: 2.026; 2009-06-02: 2.1972; 2009-06-16: 2.137; 2009-06-18: 2; 2009-07-01: 2.2941; 2009-07-14: 2.2609; 2009-07-28: 2.5161; 2009-07-30: 3; 2009-08-11: 2.7368; 2009-08-25: 2.7857
Tailwater
The Dalles South Rock Channel
d/s edge of sluice brdg. to u/s edge of Westrick brdg.
Distance | Enter time | Seconds |  | Velocity (f/s)
570' | 0:03 | 204 |  | 2.7941 | 2009-01-15: 1.8874; 2009-01-29: 2.2008; 2009-02-11: 3.314; 2009-02-18: 3.3529; 2009-03-02: 3.3333; 2009-03-10: 3.1319; 2009-03-16: 3.1667; 2009-03-23: 3.1319; 2009-03-31: 2.9534; 2009-04-07: 3.2571; 2009-04-21: 2.6761; 2009-05-05: 3.9041; 2009-05-19: 2.767; 2009-06-02: 2.6027; 2009-06-16: 2.6887; 2009-06-18: 2.3457; 2009-07-01: 2.8358; 2009-07-14: 2.7273; 2009-07-28: 2.9082; 2009-07-30: 2.9688; 2009-08-11: 2.9688; 2009-08-25: 2.7941
Tailwater
The Dalles South Rock Channel
d/s edge of sluice bridge to u/s edge of s. ent. deck
(cannot float lower half at high TW due to support)
Distance | Enter time | Seconds |  | Velocity (f/s)
1480' | 0:08 | 489 |  | 3.0266 | 2009-01-15: N/A; 2009-01-29: N/A; 2009-02-11: 3.6098; 2009-03-02: 3.4579; 2009-03-10: 3.311; 2009-03-16: 3.3184; 2009-03-23: N/A; 2009-03-31: N/A; 2009-04-07: N/A; 2009-04-21: 3.3258; 2009-04-27: N/A; 2009-05-19: N/A; 2009-06-02: 2.5919; 2009-06-16: N/A; 2009-06-18: N/A; 2009-07-01: N/A; 2009-07-14: N/A; 2009-07-28: 3.129; 2009-07-30: 3.2104; 2009-08-11: 3.1224; 2009-08-25: 3.0266
Tailwater
John Day Collection Channel
| Enter time |  | Seconds | Velocity (f/s)
Bay 1&2 | 0:02 | 105 | 105 | 1.7143 | 1.7143 | 2.0225 | 1.5929 |  | 1.5385 | 1.6071 | 1.6364 | 1.6364 | 1.4634 | 1.4876 | 1.6364 | 1.5929 | 1.6822 | 1.5 | 2.0225 | 1.7143 | 1.9149 | 2.0455 | 1.5652 | 1.8947 | 1.9149 | 2.1687 | 1.5254 | 1.8 | 2.0225 | 1.9149 | 2.1687 | 1.9565 | 2.1687 | 1.8182 | 2.0455 | 1.9355 | 1.9355 | 1.5652 | 1.4173 | 1.9355 | 1.7143 | 1.6364 | 1.8367 | 1.7647 | 1.6216 | 1.6667 | 1.5254 | 1.5929 | 1.5385 | 1.7143
Bay 3&4 | 0:03 | 180 | 75 | 2.4 | 2.7692 | 2.093 | 2.6866 |  | 2.3077 | 2.3684 | 2.4658 | 2.5714 | 2.5 | 2.5 | 2.5714 | 2.2785 | 2.4658 | 2.3684 | 2.9032 | 2.3684 | 2.5714 | 2.7273 | 2.3377 | 2.6471 | 2.7273 | 2.6866 | 2.2785 | 2.6866 | 2.9032 | 2.4 | 2.8125 | 2.5352 | 2.6866 | 2.25 | 2.6471 | 2.5714 | 2.7692 | 2.4 | 2.25 | 2.2785 | 2.4658 | 2.5 | 2.5714 | 2.5352 | 2.5714 | 2.5 | 2.25 | 2.1176 | 2.4 | 2.4
Bay 5&6 | 0:04 | 253 | 73 | 2.4658 | 2.1687 | 2.3377 | 2.4 |  | 2.4 | 2.25 | 2.25 | 2.7273 | 2.25 | 2.5352 | 2.5714 | 2.4324 | 2.5 | 2.4 | 2.7273 | 2.6087 | 2.6471 | 2.4658 | 2.3684 | 2.6866 | 2.5352 | 2.5 | 2.6866 | 3 | 2.6471 | 2.4324 | 2.6087 | 2.5714 | 2.4658 | 2.4658 | 2.7273 | 2.5714 | 2.5 | 2.3684 | 2.5352 | 2.4 | 2.3377 | 2.4658 | 2.5 | 2.5 | 2.5714 | 2.6866 | 2.4324 | 2.4324 | 2.5352 | 2.4658
Bay 7&8 | 0:05 | 330 | 77 | 2.3377 | 2.3077 | 2.2222 | 2.2785 |  | 2.5352 | 2.3377 | 2.0455 | 2.4658 | 2.1429 | 2.6866 | 2.7273 | 2.4 | 2.3377 | 2.3684 | 2.4658 | 2.6471 | 2.5 | 2.4658 | 2.4658 | 2.7692 | 2.5 | 2.3377 | 2.6087 | 2.5352 | 2.4324 | 2.2785 | 2.6087 | 2.25 | 2.4658 | 2.4 | 2.6471 | 2.5352 | 2.3077 | 2.2785 | 2.3684 | 2.3377 | 2.4 | 2.2785 | 2.4324 | 2.6471 | 2.3684 | 2.4 | 2.5714 | 2.1951 | 2.4324 | 2.3377
Bay 9&10 | 0:07 | 400 | 70 | 2.5714 | 2.4 | 2.1951 | 2.3377 |  | 2.7273 | 2.25 | 2.3377 | 2.5 | 2.25 | 2.4324 | 2.3377 | 2.5 | 2.5352 | 2.4658 | 2.5352 | 2.5714 | 2.7692 | 2.4 | 2.2222 | 2.4658 | 2.5714 | 2.25 | 2.4 | 2.5714 | 2.5714 | 2.1429 | 2.7692 | 2.3684 | 2.3684 | 2.4658 | 2.5714 | 2.4658 | 2.4 | 2.6471 | 2.3077 | 2.4324 | 2.3684 | 2.3684 | 2.8125 | 2.6866 | 2.3377 | 2.3077 | 2.4324 | 2.7273 | 2.5352 | 2.5714
Bay 11&12 | 0:08 | 475 | 75 | 2.4 | 2.5 | 2.3684 | 2.4324 |  | 2.4 | 2.2785 | 2.5352 | 2.4 | 2.1687 | 2.3377 | 2.5352 | 2.6087 | 2.5714 | 2.6471 | 2.5714 | 2.5 | 2.5714 | 2.5352 | 2.5714 | 2.5 | 2.5714 | 2.5 | 2.4 | 2.8125 | 2.5714 | 2.2222 | 2.5 | 2.5352 | 2.4324 | 2.4658 | 2.6087 | 2.5352 | 2.2785 | 2.5 | 2.4324 | 2.4324 | 2.5714 | 2.4 | 2.6471 | 2.7692 | 2.4 | 2.5 | 2.4324 | 2.25 | 2.5 | 2.4
Bay 13&14 | 0:09 | 547 | 72 | 2.5 | 2.25 | 2.1429 | 2.3377 |  | 2.4324 | 2.093 | 2.25 | 2.2785 | 1.9355 | 2.2222 | 2.0225 | 2.3684 | 2.1687 | 2.25 | 2.4658 | 2.5 | 2.3077 | 2.4324 | 2.5352 | 2.1176 | 2.25 | 2.5 | 2.2785 | 2.5352 | 2.4658 | 2.4658 | 2.6471 | 2.6866 | 2.3684 | 2.4658 | 2.4658 | 2.3684 | 2.3077 | 2.1687 | 2.1429 | 2.25 | 2.2222 | 2.25 | 2.2785 | 2.4324 | 2.3377 | 2.3684 | 2.3377 | 2.2785 | 2.4 | 2.5
Bay 15&16 | 0:10 | 615 | 68 | 2.6471 | 2.4658 | 2.25 | 2.0455 |  | 2.5714 | 2.2785 | 2.5352 | 2.4658 | 2.3684 | 2.4658 | 2.2785 | 2.3377 | 2.4324 | 2.3684 | 2.3684 | 2.4 | 2.6866 | 2.3377 | 2.5714 | 3 | 2.1176 | 2.6087 | 2.4658 | 2.5714 | 2.4658 | 2.4658 | 2.5352 | 2.6471 | 2.4324 | 2.4 | 2.5714 | 2.6471 | 2.5714 | 2.5352 | 2.2222 | 2.4324 | 2.3377 | 2.4658 | 2.4 | 2.6866 | 2.3377 | 2.5352 | 2.6866 | 2.5352 | 2.5 | 2.6471
Bay 17&18 | 0:11 | 664 | 49 | 3.6735 | 3.5294 | 3.5294 | 3.5294 |  | 3.75 | 3.8298 | 3.6735 | 3.5294 | 3.2143 | 3.2143 | 3.4615 | 3.6735 | 3.3962 | 3.75 | 3.6 | 3.4615 | 3.5294 | 3.75 | 3.3962 | 3.75 | 3.2727 | 3.6 | 3.6 | 3.4615 | 3.4615 | 3.3333 | 3.2727 | 3.3333 | 3.2143 | 3.4615 | 3.3962 | 3.6 | 3.6 | 3.5294 | 3.3333 | 3.3962 | 3.5294 | 3.75 | 3.0508 | 3.913 | 3.5294 | 3.8298 | 4 | 3.6735 | 4.0909 | 3.6735
|  | Average |  | 2.5233 | 2.4561 | 2.3512 | 2.4045 |  | 2.5181 | 2.3659 | 2.4143 | 2.5083 | 2.2548 | 2.4313 | 2.4602 | 2.4658 | 2.4544 | 2.4576 | 2.6288 | 2.5302 | 2.6109 | 2.5733 | 2.4482 | 2.6479 | 2.4956 | 2.5724 | 2.4715 | 2.6638 | 2.6157 | 2.4062 | 2.6581 | 2.5426 | 2.5114 | 2.4659 | 2.6312 | 2.5811 | 2.5189 | 2.4436 | 2.3344 | 2.4328 | 2.4385 | 2.4572 | 2.5033 | 2.6594 | 2.4528 | 2.5327 | 2.5187 | 2.4225 | 2.548 | 2.5233
John Day South Entrance
Distance | Enter time | Seconds |  | Velocity (f/s)
49' | 0:00 | 10 |  | 4.9 | 2009-01-15: 7; 2009-01-29: 4.9; 2009-02-11: 6.125; 2009-03-02: 6.125; 2009-03-10: 6.125; 2009-03-16: 6.125; 2009-03-23: 5.4444; 2009-03-31: 6.125; 2009-04-07: 5.4444; 2009-04-21: 3.7692; 2009-05-05: 4.9; 2009-05-19: 4.0833; 2009-06-02: 4.0833; 2009-06-16: 4.0833; 2009-06-18: 3.5; 2009-07-01: 4.9; 2009-07-14: 5.4444; 2009-07-28: 3.5; 2009-07-30: 5.4444; 2009-08-11: 4.9; 2009-08-25: 4.9
John Day North Entrance
Lowest weir to start of deck 180 curve
Distance | Enter Time | Seconds |  | Velocity ((f/s)
139' | 0:01 | 55 |  | 2.5273 | 2009-01-15: dewatered; 2009-01-29: dewatered; 2009-02-11: dewatered; 2009-03-02: 2.3966; 2009-03-10: 2.3559; 2009-03-16: 2.1061; 2009-03-23: 2.3167; 2009-03-31: 2.1385; 2009-04-07: 2.3559; 2009-04-21: 2.3559; 2009-05-05: 2.4821; 2009-05-19: 2.1061; 2009-06-02: 2.4386; 2009-06-16: 2.0441; 2009-06-18: 2.3559; 2009-07-01: 2.2787; 2009-07-14: 2.5273; 2009-07-28: 2.1719; 2009-07-30: 2.3167; 2009-08-11: 2.3559; 2009-08-25: 2.5273
Comments
[15 empty] | Averages | [10 empty] | TD's CC | [24 empty] | JD's CC
[15 empty] | Date | The Dalles Collection Channel | The Dalles Transportation Channel | The Dalles North Entrance | The Dalles South Rock Channel |  | John Day Collection Channel | John Day South Entrance | John Day North Entrance |  |  | Date | Bay 1 | Bay 2 | Bay 3 | Bay 4 | Bay 5 | Bay 6 | Bay 7 | Bay 8 | SS | Bay 9 | Bay 10 | Bay 11 | Bay 12 | Bay 13 | Bay 14 | Bay 15 | Bay 16 | Bay 17 | Bay 18 | Bay 19 | Bay 20 | Bay 21 |  | Date | Bay 1 & 2 | Bay 3 & 4 | Bay 5 & 6 | Bay 7 & 8 | Bay 9 & 10 | Bay 11 & 12 | Bay 13 & 14 | Bay 15 & 16 | Bay 17 & 18
[15 empty] | 2009-01-15 | 1.9077 | 1.5284 |  | 1.8874 | 2009-01-15 | 2.4561 | 7 |  |  |  | 2009-01-15 | 2.0186 | 2.0186 | 2.17 | 1.9727 | 1.887 | 1.8083 | 1.8468 | 1.736 | 1.5228 | 1.8468 | 1.6074 | 1.7714 | 1.6692 | 1.8468 | 2.17 | 2.0667 | 2.0186 | 2.17 | 2.1171 | 1.9289 | 1.9289 | 1.8468 |  | 2009-01-15 | 1.7143 | 2.7692 | 2.1687 | 2.3077 | 2.4 | 2.5 | 2.25 | 2.4658 | 3.5294
[15 empty] | 2009-01-29 | 1.9451 | 1.7445 |  | 2.2008 | 2009-01-29 | 2.3512 | 4.9 |  |  |  | 2009-01-29 | 2.17 | 2.1171 | 1.9727 | 1.8083 | 1.4467 | 1.55 | 1.6377 | 1.887 | 1.9727 | 1.7714 | 2.1171 | 1.8468 | 2.0667 | 2.1171 | 1.9289 | 2.0186 | 2.0186 | 2.0186 | 2.1171 | 1.9727 | 2.0667 | 2.17 |  | 2009-01-29 | 2.0225 | 2.093 | 2.3377 | 2.2222 | 2.1951 | 2.3684 | 2.1429 | 2.25 | 3.5294
[15 empty] | 2009-02-11 | 2.1884 | 2.8485 | 2.5161 | 3.314 | 2009-02-11 | 2.4045 | 6.125 |  |  |  | 2009-02-11 | 2.5529 | 2.7125 | 2.4111 | 1.887 | 1.8468 | 1.7714 | 2.48 | 2.2842 | 1.887 | 2.0186 | 2.4111 | 2.2256 | 1.887 | 1.702 | 2.3459 | 2.48 | 2.3459 | 2.0186 | 2.0667 | 1.9727 | 2.2842 | 2.5529 |  | 2009-02-12 | 1.5929 | 2.6866 | 2.4 | 2.2785 | 2.3377 | 2.4324 | 2.3377 | 2.0455 | 3.5294
[15 empty] | 2009-02-18 | 2.5401 |  | 2.4375 | 3.3529 | 2009-02-18 | [5 empty] | 2009-02-18 | 2.5529 | 2.5529 | 2.1171 | 2.6303 | 2.5529 | 2.7125 | 2.48 | 2.6303 | 1.9727 | 2.5529 | 2.7125 | 2.48 | 2.2842 | 2.6303 | 2.6303 | 2.8933 | 2.6303 | 2.7125 | 2.5529 | 2.17 | 2.8 | 2.6303 |  | 2009-03-02 | 1.5385 | 2.3077 | 2.4 | 2.5352 | 2.7273 | 2.4 | 2.4324 | 2.5714 | 3.75
[15 empty] | 2009-03-02 | 2.4582 | 2.5199 | 2.2286 | 3.3333 | 2009-03-02 | 2.5181 | 6.125 | 2.3966 |  |  | 2009-03-02 | 2.8933 | 2.9931 | 3.2148 | 2.8 | 2.2842 | 2.0186 | 2.3459 | 2.7125 | 2.5529 | 2.3459 | 2.8933 | 2.5529 | 2.2256 | 2.2842 | 2.6303 | 1.9727 | 1.887 | 1.8468 | 2.3459 | 2.2842 | 2.2842 | 2.7125 |  | 2009-03-05 | 1.6071 | 2.3684 | 2.25 | 2.3377 | 2.25 | 2.2785 | 2.093 | 2.2785 | 3.8298
[15 empty] | 2009-03-05 | 2.1477 |  |  |  | 2009-03-05 | 2.3659 |  |  |  |  | 2009-03-05 | 2.0186 | 2.17 | 2.48 | 2.7125 | 2.2842 | 2.2842 | 2.17 | 2.0667 | 1.887 | 1.9727 | 1.8083 | 2.2256 | 2.2842 | 2.2256 | 1.7714 | 2.0667 | 2.3459 | 2.1171 | 1.9727 | 1.9727 | 2.0667 | 2.3459 |  | 2009-03-10 | 1.6364 | 2.4658 | 2.25 | 2.0455 | 2.3377 | 2.5352 | 2.25 | 2.5352 | 3.6735
[15 empty] | 2009-03-10 | 2.1965 | 2.434 | 2.4 | 3.1319 | 2009-03-10 | 2.4143 | 6.125 | 2.3559 |  |  | 2009-03-10 | 2.4111 | 2.8 | 2.3459 | 2.2842 | 2.3459 | 2.0186 | 2.1171 | 2.0186 | 1.9727 | 2.48 | 1.9727 | 2.1171 | 2.1171 | 2.2842 | 2.0186 | 2.1171 | 2.17 | 1.9289 | 2.1171 | 2.0667 | 2.0667 | 2.5529 |  | 2009-03-12 | 1.6364 | 2.5714 | 2.7273 | 2.4658 | 2.5 | 2.4 | 2.2785 | 2.4658 | 3.5294
[15 empty] | 2009-03-12 | 2.3748 |  |  |  | 2009-03-12 | 2.5083 |  |  |  |  | 2009-03-12 | 2.8933 | 2.17 | 2.5529 | 2.4111 | 1.887 | 2.3459 | 2.8933 | 2.48 | 2.2842 | 2.17 | 2.3459 | 2.2842 | 2.2256 | 2.2842 | 2.3459 | 2.2256 | 2.2842 | 2.3459 | 2.48 | 2.1171 | 2.2256 | 2.9931 |  | 2009-03-16 | 1.4634 | 2.5 | 2.25 | 2.1429 | 2.25 | 2.1687 | 1.9355 | 2.3684 | 3.2143
[15 empty] | 2009-03-16 | 2.2388 | 2.5744 | 2.4 | 3.1667 | 2009-03-16 | 2.2548 | 6.125 | 2.1061 |  |  | 2009-03-16 | 2.4111 | 2.8 | 2.5529 | 2.1171 | 1.6074 | 1.8468 | 2.0186 | 2.3459 | 2.1171 | 1.887 | 2.0667 | 2.48 | 2.2256 | 2.17 | 2.2256 | 2.5529 | 2.3459 | 2.3459 | 1.9727 | 2.2256 | 2.2256 | 2.7125 |  | 2009-03-19 | 1.4876 | 2.5 | 2.5352 | 2.6866 | 2.4324 | 2.3377 | 2.2222 | 2.4658 | 3.2143
[15 empty] | 2009-03-19 | 2.3479 |  |  |  | 2009-03-19 | 2.4313 |  |  |  |  | 2009-03-19 | 2.7125 | 1.8468 | 2.2256 | 2.5529 | 2.0667 | 2.0667 | 2.3459 | 2.6303 | 2.0186 | 2.48 | 2.0667 | 2.3459 | 2.4111 | 2.48 | 2.3459 | 2.48 | 2.5529 | 2.5529 | 2.4111 | 2.48 | 2.17 | 2.4111 |  | 2009-03-23 | 1.6364 | 2.5714 | 2.5714 | 2.7273 | 2.3377 | 2.5352 | 2.0225 | 2.2785 | 3.4615
[15 empty] | 2009-03-23 | 2.0201 | 2.4577 | 2.3636 | 3.1319 | 2009-03-23 | 2.4602 | 5.4444 | 2.3167 |  |  | 2009-03-23 | 2.17 | 2.0667 | 2.1171 | 2.17 | 1.9727 | 1.9727 | 2.3459 | 2.48 | 0.98636 | 1.702 | 2.1171 | 2.2256 | 1.736 | 2.17 | 1.8468 | 1.8083 | 1.736 | 1.9727 | 2.2256 | 1.8468 | 1.9727 | 2.8 |  | 2009-03-25 | 1.5929 | 2.2785 | 2.4324 | 2.4 | 2.5 | 2.6087 | 2.3684 | 2.3377 | 3.6735
[15 empty] | 2009-03-25 | 2.4258 |  |  |  | 2009-03-25 | 2.4658 |  |  |  |  | 2009-03-25 | 2.9931 | 2.6303 | 2.7125 | 2.5529 | 1.887 | 2.17 | 2.8933 | 2.3459 | 1.9727 | 1.8468 | 2.8933 | 2.2256 | 2.8 | 2.8 | 2.3459 | 2.2842 | 2.0667 | 2.48 | 2.2842 | 2.2842 | 2.3459 | 2.5529 |  | 2009-03-31 | 1.6822 | 2.4658 | 2.5 | 2.3377 | 2.5352 | 2.5714 | 2.1687 | 2.4324 | 3.3962
[15 empty] | 2009-03-31 | 2.3482 | 2.5126 | 2.6 | 2.9534 | 2009-03-31 | 2.4544 | 6.125 | 2.1385 |  |  | 2009-03-31 | 2.6303 | 2.5529 | 2.8933 | 2.3459 | 1.9727 | 1.9727 | 2.5529 | 2.48 | 2.4111 | 2.4111 | 2.48 | 2.3459 | 1.6377 | 2.3459 | 2.6303 | 2.6303 | 2.3459 | 2.2256 | 2.17 | 2.0667 | 1.9289 | 2.6303 |  | 2009-04-02 | 1.5 | 2.3684 | 2.4 | 2.3684 | 2.4658 | 2.6471 | 2.25 | 2.3684 | 3.75
[15 empty] | 2009-04-02 | 2.395 |  |  |  | 2009-04-02 | 2.4576 |  |  |  |  | 2009-04-02 | 2.7125 | 1.9727 | 2.8 | 2.8 | 2.5529 | 2.48 | 2.3459 | 2.48 | 1.887 | 2.1171 | 2.2842 | 2.2842 | 2.6303 | 2.5529 | 2.0667 | 2.5529 | 2.48 | 2.17 | 2.2842 | 2.4111 | 2.48 | 2.3459 |  | 2009-04-07 | 2.0225 | 2.9032 | 2.7273 | 2.4658 | 2.5352 | 2.5714 | 2.4658 | 2.3684 | 3.6
[15 empty] | 2009-04-07 | 2.4621 | 2.6972 | 2.6 | 3.2571 | 2009-04-07 | 2.6288 | 5.4444 | 2.3559 |  |  | 2009-04-07 | 2.7125 | 2.4111 | 2.7125 | 2.7125 | 2.17 | 1.9289 | 2.6303 | 2.48 | 1.9289 | 2.17 | 2.8 | 2.7125 | 2.6303 | 2.48 | 2.6303 | 2.4111 | 1.6692 | 2.4111 | 2.7125 | 2.48 | 2.48 | 2.8933 |  | 2009-04-10 | 1.7143 | 2.3684 | 2.6087 | 2.6471 | 2.5714 | 2.5 | 2.5 | 2.4 | 3.4615
[15 empty] | 2009-04-10 | 2.2396 |  |  |  | 2009-04-10 | 2.5302 |  |  |  |  | 2009-04-10 | 2.3459 | 2.4111 | 2.6303 | 2.6303 | 2.48 | 2.48 | 2.2842 | 2.5529 | 1.702 | 1.9289 | 2.3459 | 2.0667 | 1.9727 | 2.1171 | 2.3459 | 2.4111 | 2.3459 | 2.1171 | 1.887 | 1.9289 | 2.17 | 2.1171 |  | 2009-04-14 | 1.9149 | 2.5714 | 2.6471 | 2.5 | 2.7692 | 2.5714 | 2.3077 | 2.6866 | 3.5294
[15 empty] | 2009-04-14 | 2.2448 |  |  |  | 2009-04-14 | 2.6109 |  |  |  |  | 2009-04-14 | 2.4111 | 2.6303 | 2.0186 | 2.2842 | 2.17 | 1.8468 | 2.2842 | 1.702 | 2.17 | 2.2842 | 2.4111 | 2.4111 | 2.0186 | 2.2256 | 2.1171 | 2.17 | 2.2842 | 2.2842 | 2.2256 | 2.2256 | 2.4111 | 2.8 |  | 2009-04-21 | 2.0455 | 2.7273 | 2.4658 | 2.4658 | 2.4 | 2.5352 | 2.4324 | 2.3377 | 3.75
[15 empty] | 2009-04-21 | 2.4496 | 2.6376 | 2.7368 | 2.6761 | 2009-04-21 | 2.5733 | 3.7692 | 2.3559 |  |  | 2009-04-21 | 2.8933 | 2.7125 | 2.48 | 2.3459 | 1.887 | 2.0667 | 2.8933 | 2.6303 | 2.5529 | 2.2842 | 2.7125 | 2.1171 | 2.4111 | 2.3459 | 2.0667 | 2.48 | 2.6303 | 2.6303 | 2.2842 | 2.2842 | 2.5529 | 2.6303 |  | 2009-04-24 | 1.5652 | 2.3377 | 2.3684 | 2.4658 | 2.2222 | 2.5714 | 2.5352 | 2.5714 | 3.3962
[15 empty] | 2009-04-24 | 2.7564 |  |  |  | 2009-04-24 | 2.4482 |  |  |  |  | 2009-04-24 | 2.8 | 2.8933 | 2.7125 | 2.8933 | 2.5529 | 2.8 | 2.5529 | 2.48 | 2.7125 | 2.7125 | 2.8 | 2.3459 | 2.6303 | 2.2842 | 2.7125 | 2.7125 | 2.6303 | 2.6303 | 2.8933 | 3.3385 | 3.2148 | 3.3385 |  | 2009-04-27 | 1.8947 | 2.6471 | 2.6866 | 2.7692 | 2.4658 | 2.5 | 2.1176 | 3 | 3.75
[15 empty] | 2009-04-27 | 2.6595 |  |  |  | 2009-04-27 | 2.6479 |  |  |  |  | 2009-04-27 | 2.5529 | 2.8 | 1.887 | 2.48 | 3.1 | 2.0667 | 2.5529 | 2.8 | 2.7125 | 2.3459 | 3.472 | 2.48 | 2.7125 | 2.4111 | 2.8933 | 2.8933 | 2.48 | 2.6303 | 2.7125 | 2.7125 | 2.7125 | 3.1 |  | 2009-05-05 | 1.9149 | 2.7273 | 2.5352 | 2.5 | 2.5714 | 2.5714 | 2.25 | 2.1176 | 3.2727
[15 empty] | 2009-05-05 | 2.5839 | 2.39 | 2.2609 | 3.9041 | 2009-05-05 | 2.4956 | 4.9 | 2.4821 |  |  | 2009-05-05 | 2.7125 | 2.7125 | 2.8 | 2.8 | 2.6303 | 2.7125 | 2.48 | 2.2842 | 2.48 | 2.0667 | 2.48 | 2.3459 | 2.8933 | 2.8933 | 2.3459 | 2.4111 | 2.1171 | 2.2256 | 2.6303 | 2.8 | 2.5529 | 3.472 |  | 2009-05-08 | 2.1687 | 2.6866 | 2.5 | 2.3377 | 2.25 | 2.5 | 2.5 | 2.6087 | 3.6
[15 empty] | 2009-05-08 | 3.1977 |  |  |  | 2009-05-08 | 2.5724 |  |  |  |  | 2009-05-08 | 3.6167 | 3.3385 | 3.3385 | 3.2148 | 3.2148 | 3.3385 | 2.8933 | 3.3385 | 3.2148 | 2.9931 | 3.3385 | 3.3385 | 2.7125 | 2.5529 | 3.2148 | 3.3385 | 2.9931 | 3.1 | 3.2148 | 3.1 | 3.472 | 3.472 |  | 2009-05-12 | 1.5254 | 2.2785 | 2.6866 | 2.6087 | 2.4 | 2.4 | 2.2785 | 2.4658 | 3.6
[15 empty] | 2009-05-12 | 3.0214 |  |  |  | 2009-05-12 | 2.4715 |  |  |  |  | 2009-05-12 | 3.2148 | 3.2148 | 3.3385 | 3.3385 | 3.1 | 2.8933 | 3.2148 | 3.1 | 3.3385 | 2.8933 | 2.8 | 3.3385 | 2.9931 | 2.6303 | 3.3385 | 3.1 | 2.8933 | 3.1 | 2.8933 | 2.8 | 2.7125 | 2.2256 |  | 2009-05-19 | 1.8 | 2.6866 | 3 | 2.5352 | 2.5714 | 2.8125 | 2.5352 | 2.5714 | 3.4615
[15 empty] | 2009-05-19 | 2.8282 | 2.19 | 2.026 | 2.767 | 2009-05-19 | 2.6638 | 4.0833 | 2.1061 |  |  | 2009-05-19 | 2.8933 | 2.4111 | 3.2148 | 3.1 | 1.9289 | 2.8 | 2.5529 | 3.1 | 2.1171 | 2.17 | 2.5529 | 2.4111 | 2.8 | 2.8933 | 2.9931 | 2.8933 | 2.6303 | 2.9931 | 3.3385 | 3.6167 | 3.472 | 3.3385 |  | 2009-05-22 | 2.0225 | 2.9032 | 2.6471 | 2.4324 | 2.5714 | 2.5714 | 2.4658 | 2.4658 | 3.4615
[15 empty] | 2009-05-22 | 2.9874 |  |  |  | 2009-05-22 | 2.6157 |  |  |  |  | 2009-05-22 | 3.472 | 2.8933 | 3.472 | 2.5529 | 2.9931 | 2.7125 | 3.1 | 2.9931 | 2.7125 | 2.8 | 2.5529 | 2.8933 | 2.7125 | 3.1 | 3.1 | 3.2148 | 3.2148 | 2.9931 | 3.472 | 3.3385 | 2.8 | 2.6303 |  | 2009-05-26 | 1.9149 | 2.4 | 2.4324 | 2.2785 | 2.1429 | 2.2222 | 2.4658 | 2.4658 | 3.3333
[15 empty] | 2009-05-26 | 2.9207 |  |  |  | 2009-05-26 | 2.4062 |  |  |  |  | 2009-05-26 | 2.5529 | 2.3459 | 3.2148 | 3.1 | 2.6303 | 2.6303 | 3.1 | 3.1 | 2.8 | 3.2148 | 2.8933 | 2.6303 | 2.7125 | 2.9931 | 2.5529 | 2.9931 | 3.1 | 2.8933 | 2.9931 | 2.9931 | 3.472 | 3.3385 |  | 2009-06-02 | 2.1687 | 2.8125 | 2.6087 | 2.6087 | 2.7692 | 2.5 | 2.6471 | 2.5352 | 3.2727
[15 empty] | 2009-06-02 | 2.8961 | 2.1265 | 2.1972 | 2.6027 | 2009-06-02 | 2.6581 | 4.0833 | 2.4386 |  |  | 2009-06-02 | 2.7125 | 2.9931 | 3.2148 | 3.2148 | 3.1 | 3.1 | 3.1 | 3.1 | 2.8933 | 2.3459 | 3.1 | 2.7125 | 2.7125 | 2.7125 | 2.5529 | 2.7125 | 1.7714 | 3.1 | 3.1 | 3.472 | 3.1 | 2.8933 |  | 2009-06-05 | 1.9565 | 2.5352 | 2.5714 | 2.25 | 2.3684 | 2.5352 | 2.6866 | 2.6471 | 3.3333
[15 empty] | 2009-06-05 | 3.0993 |  |  |  | 2009-06-05 | 2.5426 |  |  |  |  | 2009-06-05 | 3.2148 | 2.9931 | 3.3385 | 2.4111 | 3.472 | 2.5529 | 3.1 | 3.2148 | 3.1 | 3.472 | 3.2148 | 2.8 | 3.2148 | 3.3385 | 3.2148 | 3.3385 | 2.8933 | 3.2148 | 3.6167 | 3.472 | 2.2842 | 2.7125 |  | 2009-06-09 | 2.1687 | 2.6866 | 2.4658 | 2.4658 | 2.3684 | 2.4324 | 2.3684 | 2.4324 | 3.2143
[15 empty] | 2009-06-09 | 2.9965 |  |  |  | 2009-06-09 | 2.5114 |  |  |  |  | 2009-06-09 | 3.2148 | 3.3385 | 3.6167 | 3.1 | 2.9931 | 2.9931 | 3.1 | 2.8933 | 2.9931 | 3.472 | 3.1 | 3.472 | 3.2148 | 2.9931 | 3.1 | 3.2148 | 2.48 | 2.5529 | 2.7125 | 2.8 | 2.2842 | 2.2842 |  | 2009-06-16 | 1.8182 | 2.25 | 2.4658 | 2.4 | 2.4658 | 2.4658 | 2.4658 | 2.4 | 3.4615
[15 empty] | 2009-06-16 | 2.9642 | 2.2652 | 2.137 | 2.6887 | 2009-06-16 | 2.4659 | 4.0833 | 2.0441 |  |  | 2009-06-16 | 2.9931 | 2.6303 | 3.3385 | 3.2148 | 2.9931 | 2.6303 | 3.3385 | 2.6303 | 2.8 | 2.4111 | 2.8933 | 3.1 | 2.6303 | 3.472 | 3.1 | 3.2148 | 2.2256 | 2.17 | 3.2148 | 3.1 | 3.3385 | 3.7739 |  | 2009-06-18 | 2.0455 | 2.6471 | 2.7273 | 2.6471 | 2.5714 | 2.6087 | 2.4658 | 2.5714 | 3.3962
[15 empty] | 2009-06-18 | 2.8534 | 1.9606 | 2 | 2.3457 | 2009-06-18 | 2.6312 | 3.5 | 2.3559 |  |  | 2009-06-18 | 2.9931 | 3.6167 | 3.1 | 3.1 | 2.8933 | 2.2842 | 3.2148 | 2.8933 | 2.2256 | 3.2148 | 2.8933 | 2.4111 | 2.5529 | 2.0667 | 2.7125 | 2.6303 | 2.8 | 2.4111 | 3.2148 | 3.2148 | 2.9931 | 3.3385 |  | 2009-06-23 | 1.97 | 2.57 | 2.57 | 2.54 | 2.47 | 2.54 | 2.37 | 2.65 | 3.6
[15 empty] | 2009-06-23 | 2.7 |  |  |  | 2009-06-23 | 2.58 |  |  |  |  | 2009-06-23 | 2.4111 | 2.6303 | 3.2148 | 2.5529 | 2.9931 | 2.9931 | 3.1 | 2.48 | 2.9931 | 3.1 | 2.6303 | 2.17 | 2.48 | 2.48 | 2.2842 | 2.17 | 2.8 | 2.0667 | 2.8933 | 2.8933 | 2.7125 | 3.3385 |  | 2009-07-01 | 1.9355 | 2.7692 | 2.5 | 2.3077 | 2.4 | 2.2785 | 2.3077 | 2.5714 | 3.6
[15 empty] | 2009-07-01 | 3.0917 | 2.45 | 2.2941 | 2.8358 | 2009-07-01 | 2.5189 | 4.9 | 2.2787 |  |  | 2009-07-01 | 3.7739 | 3.3385 | 3.2148 | 3.3385 | 2.3459 | 2.7125 | 3.1 | 3.472 | 3.1 | 3.1 | 3.1 | 3.2148 | 2.9931 | 2.9931 | 3.2148 | 2.9931 | 2.0667 | 2.7125 | 2.9931 | 3.472 | 2.9931 | 3.7739 |  | 2009-07-03 | 1.5652 | 2.4 | 2.3684 | 2.2785 | 2.6471 | 2.5 | 2.1687 | 2.5352 | 3.5294
[15 empty] | 2009-07-03 | 2.5568 |  |  |  | 2009-07-03 | 2.4436 |  |  |  |  | 2009-07-03 | 3.1 | 2.9931 | 2.7125 | 2.8 | 2.7125 | 2.8933 | 2.8 | 2.5529 | 2.4111 | 2.2842 | 2.7125 | 2.5529 | 2.1171 | 2.1171 | 2.6303 | 2.5529 | 2.5529 | 1.7714 | 1.7714 | 2.2842 | 2.7125 | 3.2148 |  | 2009-07-06 | 1.4173 | 2.25 | 2.5352 | 2.3684 | 2.3077 | 2.4324 | 2.1429 | 2.2222 | 3.3333
[15 empty] | 2009-07-06 | 2.3044 |  |  |  | 2009-07-06 | 2.3344 |  |  |  |  | 2009-07-06 | 1.8468 | 2.48 | 2.6303 | 2.4111 | 2.1171 | 2.1171 | 2.7125 | 2.3459 | 2.6303 | 2.7125 | 2.6303 | 2.2256 | 1.8468 | 1.887 | 1.9289 | 2.1171 | 2.1171 | 2.5529 | 2.2842 | 2.3459 | 2.3459 | 2.4111 |  | 2009-07-14 | 1.9355 | 2.2785 | 2.4 | 2.3377 | 2.4324 | 2.4324 | 2.25 | 2.4324 | 3.3962
[15 empty] | 2009-07-14 | 2.4011 | 2.39 | 2.2609 | 2.7273 | 2009-07-14 | 2.4328 | 5.4444 | 2.5273 |  |  | 2009-07-14 | 2.3459 | 2.9931 | 2.8 | 2.6303 | 2.5529 | 2.7125 | 2.0667 | 2.4111 | 2.6303 | 2.7125 | 2.6303 | 2.3459 | 2.4111 | 1.7714 | 2.3459 | 2.2842 | 2.0667 | 1.9727 | 2.3459 | 2.2256 | 2.2842 | 2.2842 |  | 2009-07-16 | 1.7143 | 2.4658 | 2.3377 | 2.4 | 2.3684 | 2.5714 | 2.2222 | 2.3377 | 3.5294
[15 empty] | 2009-07-16 | 2.2023 |  |  |  | 2009-07-16 | 2.4385 |  |  |  |  | 2009-07-16 | 1.9289 | 2.1171 | 2.4111 | 2.4111 | 1.7714 | 1.9289 | 2.0186 | 2.3459 | 2.4111 | 2.1171 | 2.4111 | 2.17 | 2.2842 | 2.0186 | 2.4111 | 2.2842 | 2.2842 | 2.3459 | 2.0667 | 2.4111 | 2.0186 | 2.2842 |  | 2009-07-20 | 1.6364 | 2.5 | 2.4658 | 2.2785 | 2.3684 | 2.4 | 2.25 | 2.4658 | 3.75
[15 empty] | 2009-07-20 | 2.1188 |  |  |  | 2009-07-20 | 2.4572 |  |  |  |  | 2009-07-20 | 1.887 | 2.4111 | 2.4111 | 2.48 | 2.48 | 2.0667 | 1.7714 | 2.4111 | 2.0186 | 2.2842 | 2.0667 | 2.2256 | 1.736 | 1.8468 | 2.0186 | 2.0186 | 2.0186 | 1.887 | 1.887 | 2.0186 | 2.1171 | 2.5529 |  | 2009-07-28 | 1.8367 | 2.5714 | 2.5 | 2.4324 | 2.8125 | 2.6471 | 2.2785 | 2.4 | 3.0508
[15 empty] | 2009-07-28 | 2.0242 | 2.4111 | 2.5161 | 2.9082 | 2009-07-28 | 2.5033 | 3.5 | 2.1719 |  |  | 2009-07-28 | 1.702 | 1.9727 | 2.1171 | 2.17 | 1.9727 | 1.8468 | 2.17 | 2.48 | 1.9289 | 1.736 | 2.1171 | 1.887 | 2.0667 | 2.2256 | 2.17 | 2.0186 | 2.2256 | 2.17 | 1.887 | 1.8083 | 1.9727 | 1.887 |  | 2009-07-30 | 1.7647 | 2.5352 | 2.5 | 2.6471 | 2.6866 | 2.7692 | 2.4324 | 2.6866 | 3.913
[15 empty] | 2009-07-30 | 2.4265 | 2.4962 | 3 | 2.9688 | 2009-07-30 | 2.6594 | 5.4444 | 2.3167 |  |  | 2009-07-30 | 2.8933 | 2.2842 | 2.8933 | 2.0186 | 2.3459 | 2.5529 | 2.7125 | 2.5529 | 2.6303 | 2.4111 | 2.6303 | 2.48 | 2.2842 | 2.3459 | 2.6303 | 2.3459 | 2.4111 | 1.9289 | 2.1171 | 2.2842 | 2.2842 | 2.3459 |  | 2009-08-05 | 1.6216 | 2.5714 | 2.5714 | 2.3684 | 2.3377 | 2.4 | 2.3377 | 2.3377 | 3.5294
[15 empty] | 2009-08-05 | 2.2617 |  |  |  | 2009-08-05 | 2.4528 |  |  |  |  | 2009-08-05 | 2.9931 | 2.2842 | 2.5529 | 2.3459 | 1.736 | 1.9289 | 2.2256 | 2.5529 | 2.4111 | 2.1171 | 1.9289 | 2.3459 | 2.4111 | 2.3459 | 2.4111 | 2.4111 | 2.17 | 2.2842 | 2.4111 | 2.2256 | 1.736 | 1.9289 |  | 2009-08-11 | 1.6667 | 2.5 | 2.6866 | 2.4 | 2.3077 | 2.5 | 2.3684 | 2.5352 | 3.8298
[15 empty] | 2009-08-11 | 2.2497 | 2.4736 | 2.7368 | 2.9688 | 2009-08-11 | 2.5327 | 4.9 | 2.3559 |  |  | 2009-08-11 | 2.0186 | 2.7125 | 2.4111 | 2.4111 | 2.1171 | 1.887 | 2.17 | 2.4111 | 2.4111 | 2.1171 | 2.2256 | 2.2842 | 2.2842 | 2.2842 | 2.17 | 2.3459 | 2.2842 | 2.1171 | 2.2842 | 2.1171 | 2.0186 | 2.4111 |  | 2009-08-14 | 1.5254 | 2.25 | 2.4324 | 2.5714 | 2.4324 | 2.4324 | 2.3377 | 2.6866 | 4
[15 empty] | 2009-08-14 | 1.9712 |  |  |  | 2009-08-14 | 2.5187 |  |  |  |  | 2009-08-14 | 1.258 | 1.9727 | 1.6074 | 2.1171 | 1.9289 | 2.0186 | 2.17 | 2.2842 | 1.6377 | 1.6692 | 2.2256 | 2.2842 | 1.9727 | 2.4111 | 2.1171 | 2.17 | 2.1171 | 1.7714 | 1.8468 | 1.8083 | 1.8083 | 2.17 |  | 2009-08-17 | 1.5929 | 2.1176 | 2.4324 | 2.1951 | 2.7273 | 2.25 | 2.2785 | 2.5352 | 3.6735
[15 empty] | 2009-08-17 | 2.0255 |  |  |  | 2009-08-17 | 2.4225 |  |  |  |  | 2009-08-17 | 1.702 | 2.48 | 2.3459 | 2.0186 | 2.0186 | 1.6692 | 1.887 | 2.5529 | 2.2256 | 1.8468 | 1.9289 | 2.0667 | 1.55 | 2.2256 | 2.3459 | 2.2256 | 2.2256 | 1.9289 | 1.736 | 1.887 | 1.8468 | 1.8468 |  | 2009-08-25 | 1.5385 | 2.4 | 2.5352 | 2.4324 | 2.5352 | 2.5 | 2.4 | 2.5 | 4.0909
[15 empty] | 2009-08-25 | 2.0782 | 2.387 | 2.7857 | 2.7941 | 2009-08-25 | 2.548 | 4.9 | 2.5273 |  |  | 2009-08-25 | 2.2842 | 2.1171 | 2.3459 | 2.17 | 2.0186 | 2.0667 | 2.2842 | 2.17 | 1.9289 | 2.1171 | 2.2256 | 2.17 | 2.3459 | 2.0186 | 2.2842 | 1.9727 | 2.0667 | 2.0667 | 1.9727 | 1.8083 | 1.55 | 1.736 |  | 2009-08-28 | 1.7143 | 2.4 | 2.4658 | 2.3377 | 2.5714 | 2.4 | 2.5 | 2.6471 | 3.6735
[15 empty] | 2009-08-28 | 1.8812 |  |  |  | 2009-08-28 | 2.5233 |  |  |  |  | 2009-08-28 | 1.6074 | 1.5782 | 1.7714 | 2.1171 | 1.55 | 1.5228 | 2.3459 | 2.17 | 1.887 | 1.6074 | 1.8468 | 1.6377 | 2.17 | 1.9289 | 1.9289 | 2.0667 | 1.9727 | 1.7714 | 1.8468 | 1.7714 | 1.8083 | 2.48 |  | 2009-08-31
[15 empty] | 2009-08-31 | 1.8377 |  |  |  | 2009-08-31 | [5 empty] | 2009-08-31 | 1.8083 | 1.887 | 1.8468 | 1.736 | 1.8083 | 1.9727 | 2.0186 | 1.887 | 1.702 | 1.887 | 1.8083 | 1.7714 | 1.5228 | 1.736 | 1.8468 | 1.9289 | 1.9289 | 1.887 | 1.887 | 1.6692 | 1.7714 | 2.1171
Note on A5: g2oddpsk: Fisheries dewatering pump pipe in channel; can cause float at times to hang up on pipe, resulting in slower velocity readings.
Note on A9: g2oddpsk: Fishway dewatering pump pipe in channel.
Note on A13: g2oddpsk: Fishway dewatering pump pipe in channel.
Note on A17: g2oddpsk: Fishway dewatering pump pipe in channel.
Note on A21: g2oddpsk: Fishway dewatering pump pipe in channel..
Note on E1: g2oddpsk: Highlight column, edit, copy, paste special, values; highlight column, format, cells, number, decimal places, 2, OK.
Note on F1: g2oddpsk: One fish unit only (F2), velocities taken at 1000 hrs.
Note on G1: g2oddpsk: One fish unito only (F2), velocities taken at 1530 hrs.
Note on G70: g2oddpsk: float hits cross support in rock channel due to high TW.
Note on G83: g2oddpsk: possible bad data.
Note on H1: g2oddpsk: Both FU1 and FU2 in service.
Note on J1: g2oddpsk: TD's TC 3/3/2009
Note on L1: g2oddpsk: TD's velocities 3/10/09 1500 hrs., JD velocities 3/11/09 pm.
Note on Q1: g2oddpsk: TD's CC 3/25/2009, JD CC 3/26/2009
Note on R1: g2oddpsk: TD's CC 3/30/09, everything else 3/31/09.
Note on Z1: g2oddpsk: JD velocities completed 5/6/2009
Note on AJ1: g2oddpsk: JD velocities 6/19/2009, TD velocities 6/20/2009.

## AVGS
The Dalles:
Temp: | 70 | Secchi: | 5
| 70 |  | 5
| 70 |  | 5
| 70 |  | 5.5
| 70 |  | 6
| 71 |  | 5
| 71 |  | 5
AVG: | 70.2857 | AVG: | 5.2143 |  | OOC
| North Fish Ladder |  | East Fish Ladder
| North Entrance |  | East Entrance |  |  |  | West Entrance |  |  |  | South Entrance
Date: | Differential | N1 Depth | Differential | E1Depth | E2 Depth | E3 Depth | Differential | W1Depth | W2 Depth | W3 Depth | Differential | S1 Depth | S2 Depth | % Spill
2009-08-30 | 1.4 | 10 | 1.5 | 10.5 | 11.9 | 12 | 1.4 | 8.4 | 8.5 |  | 1.1 | 8.1 | 8 | 40.1
2009-08-30 | 1.1 | 9.9 | 1.6 | 10.6 | 12.1 | 12 | 1.3 | 8.4 | 8.5 |  | 1.2 | 8 | 8 | 39.6
2009-08-31 | 1.4 | 9.9 | 1.6 | 10.4 | 11.9 | 11.9 | 1.6 | 8 | 8.1 |  | 1.1 | 8.1 | 8.2 | 39.6
2009-08-31 | 1.1 | 10 | 1.7 | 10.5 | 12 | 12 | 1.7 | 8.1 | 8 |  | 1.2 | 8.1 | 8 | 39.4
2009-09-01 | 1.5 | 9.7 | 2 | 11.4 | 12 | 12 | 1.4 | 8.6 | 8.5 |  | 1.2 | 8.1 | 8
2009-09-01 | 1.4 | 10.2 | 1.7 | 12.4 | 12.4 | 12.4 | 1.5 | 8.1 | 8 |  | 1.1 | 8 | 8.1
2009-09-02 | 1.3 | 10.4 | 1.1 | 13.5 | 12.6 | 12.6 | 1.5 | 7.7 | 8.1 |  | 1.2 | 8.1 | 8.1
2009-09-02 | 1.2 | 10.5 | 1.6 | 10 | 12.4 | 12.6 | 1.6 | 8.1 | 8.2 |  | 1.2 | 8.1 | 8.2
2009-09-03 | 1.5 | 10.6 | 1.4 | 10 | 12.4 | 12.5 | 1.5 | 8 | 8.1 |  | 1.2 | 8.1 | 8
2009-09-03 | 1.5 | 8.3 | 1.4 | 9.9 | 12.6 | 12.5 | 1.6 | 8.2 | 8.1 |  | 1.2 | 8.1 | 8.2
2009-09-04 | 1.4 | 10.6 | 1.7 | 10.1 | 12.4 | 12.5 | 1.5 | 8.1 | 8.1 |  | 1.2 | 8 | 8.1
2009-09-04 |  |  | 1.5 | 10 | 12.6 | 12.5 | 1.5 | 8 | 8 |  | 1.1 | 8.2 | 8.1
2009-09-05 | 1.3 | 9.2 | 1.5 | 9.9 | 12.4 | 12.4 | 1.4 | 8 | 8.1 |  | 1.1 | 8 | 8
2009-09-05 | 1.4 | 9.9 | 1.4 | 10 | 12.6 | 12.5 | 1.4 | 8.1 | 8.5 |  | 1 | 8.2 | 8.2
AVG: | 1.3462 | 9.9385 | 1.55 | 10.6571 | 12.3071 | 12.3143 | 1.4929 | 8.1286 | 8.2 | Closed | 1.15 | 8.0857 | 8.0857 | 39.675