U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

#### FISH FACILITIES WEEKLY REPORT

#5-2008

# Project:  McNary

# Biologists:  Brad Eby and Bobby Johnson

Dates:  March 28 – April 3, 2008

## Turbine Operation

McNary had 13 to 14 turbine units available for power generation this week.  On March 28, turbine units 9 and 10 returned to service after the complete removal of spilled transformer T5 oil.  On April 3, turbine unit 1 was taken out of service for 3.2 hours in support of ESBS replacement in slot 1C.  On March 28 and 31, turbine units ran outside the soft one percent criterion for a short time.  No turbine units operated outside of 1 percent criteria since April 1, the start of the hard constraint period.

## Adult Fish Passage Facilities

On March 28, April 1 and 3, the McNary fisheries biologist performed measured inspections of the adult fishways.  Visual adult fish counts resumed April 1.  The data will be transferred with thumb drives until final programming and computer access authorization is obtained.

### Fish Ladders:  Both ladders met all Fish Passage Plan criteria.  The Oregon traveling screen, the Oregon ladder exit, and the Washington ladder exit each triggered alarms once this week.  Both ladder exit set points were checked three times this week and no adjustments were necessary.

Fishway Entrances and Collection Channel:  All Washington ladder inspection points were within criteria. The Oregon ladder north powerhouse pool differential and NFEW3 were within criteria all week.  NFEW2 was slightly out of criteria at 8.9 feet.  On March 28, the south pool differential was slightly out of criteria at 0.9 feet.  SFEW1 and SFEW2 were out of criteria this week with readings ranging from 8.8 to 8.9 feet.  Water velocity meter calibration has not been completed, so readings are not yet available.  Surface channel velocities are measuring approximately 1.3 feet per second.

Auxiliary Water Supply System:  Fish pumps 2 and 3 were in service all week with a blade angle of approximately 30 degrees.  The pump 3 exciter alarm was reset April 3 with no interruption in pump operation.  Fish pump 1 remains unserviceable due to an oil leak.  Project personnel plan an extensive examination and repair of this pump on April 14.  The juvenile facility began supplying 450 cfs to the north powerhouse pool on March 31.  The Wasco County PUD turbine unit had no service interruptions this week.

#### Juvenile Fish Passage Facility

The collection channel remained in emergency bypass until March 31 when the system was switched to primary bypass.  Alternating days of primary and secondary bypass, began April 1.  The change between these modes of operation occurs every morning at 0700 hours with primary bypass taking place on odd numbered days and secondary bypass taking place on even numbered days this month.  The alternating bypass schedule was maintained this week with no interuptions.  On April 2 (the only data day that occurred during this report week), 161 smolts were bypassed.

Forebay Debris/Gatewell Debris/Oil:  Forebay debris remains light to moderate.  Although no trash rack cleaning occurred this week, differentials are being monitored.  By March 28, all transformer oil was removed from turbine units 9 and 10 gatewell slots.  There were no other problems to report.

ESBSs/VBSs:  ESBSs are currently deployed in all turbine units.  On March 28 and 30, the screens in slots 10B and 6A were respectively placed in transducer bypass mode.  The screen in slot 1C which had been in bypass mode was replaced on April 3.  ESBS camera inspections will begin on April 9.  VBS monitoring revealed no differentials out of criterion this week.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  On March 31 from 0800 to 1400 hours, the juvenile fishway was switched from emergency bypass to primary bypass mode.  All primary dewatering valves and screen cleaning mechanisms became functional.  After initial adjustments to the rectangular screen cleaning mechanism and the water alarm, no problems were evident within the primary dewaterer.  However on April 3, project personnel noted a damaged liner within the side screen cleaning mechanism.  This mechanism will require monitoring until liner replacement can be scheduled.  During the week, 42 to 43 orifices were open depending on forebay elevation.  No orifice blockages occurred.  The channel is being monitored during all shifts on primary bypass days.

Transportation Facility:  Primary bypass began March 31 with the end of the winter maintenance period.  The emergency facility supply water valve was also closed, as this flow is not required during bypass season.  As mentioned above primary and secondary bypass operations are now taking place on alternate days.  Full flow PIT tag detection occurred during primary bypass operations and throughout the facility during secondary bypass operations.  Smolt monitoring only occurred on secondary bypass days.  All systems functioned well.  The primary (A and B) PIT tag slide gates were off and closed as the return to river lines provide a better bypass route for PIT tagged fish.  This system will become functional later to accommodate research needs.  The secondary (C and D) PIT/bypass gates were off and open as there are no studies requiring them this year.  The PIT tag system was tested and adjusted April 2.  Sample gates are functional only during secondary bypass days.  Ice block checks of the return to river lines revealed no blockages.  No problems were observed at the facility.

Transport Summary:  No fish transport is taking place at this time.

River Conditions

River conditions during the week are outlined in Table 1 as provide by control room data, which runs from 0000 to 2400 hours each day.  On April 1, the smolt monitoring staff began recording data from 0700 to 0700 each day.  For this week’s data in order to remain consistency, the data was obtained from the control room.

Table 1.  River conditions at McNary Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 158.9 | 117.0 | 0.0 | 0.0 | 43 | 42 | 5.5 | 4.5 |

*Unit 1’s scroll case temperature.

Other

On March 31, a final adjustment was made to the water cannon at the bypass outfalls and it is being operated only during daylight hours.  On April 1 with the start of spring bypass season, bird counts resumed.  A few gulls, grebes, cormorants, pelicans, herons, ospreys and mergansers were observed but not in consistent enough numbers to record.  USGS and other research agencies continue preparations for the upcoming season.  The facility’s elevator received maintenance for USGS use along with the GBT system being de-winterized and adjusted.  The zebra mussel stations were inspected this week.  No zebra mussels were noted.

Project:  Ice Harbor

# Biologist: Mark F. Plummer

Dates:  March 28 – April 3, 2008

## Turbine Operation

Turbine units 1 – 5 were available for operation this period.   Turbine 6 remained out of service.

## Adult Fish Passage Facilities

### Fish facility personnel inspected the adult fishways March 28, March 31, and April 1.

### Fish Ladders:  All north and south fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.

### Fishway Entrances and Collection Channel:  The south shore entrance (SFE) was off sill with depths of 9.4 feet, 9.9 feet, and 10.8 feet.  The north powerhouse entrance (NFE) was off sill with depths of 9.1 feet, 9.2 feet, and 8.4 feet.  The north shore entrance (NSE) was off sill with depths of 8.8 feet, 8.9 feet, and 9.2 feet.   Fishway entrance criteria is 8 feet depth or greater.  All channel/tailwater differentials were in criteria. Channel/tailwater differential criteria are 1 – 2 feet.  Beginning March 31, the adult fishway water elevations are being detected and sent to the controlling computer via sonar water level detection detectors.

### Auxiliary Water Supply System:  2 of the 3 North fish pumps were operated without problems.  North shore fish pump 2 is out of service.  South fish pumps 1-8 were operated without problems.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating.

STSs/VBSs:  STSs are in cycle mode operation.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:   20 orifices are open.

Juvenile Bypass Facility:  The bypass is in operation with 20 orifices open providing 300 kcfs into the juvenile collection channel.

Removable Spillway Weir:  The RSW is not in operation.  The side seals of the RSW were found to be damaged.  Replacement of the seals by divers are scheduled to begin Monday April 7 and expected to be completed by April 12.

Fish Sampling:

April 4

| Species | Sampled | #Descaled | Morts | Avian Marks |
| --- | --- | --- | --- | --- |
| C-CH | --- | --- | --- | --- |
| UC-CH | 1 | --- | --- | --- |
| C-CH-O | --- | --- | --- | --- |
| UC-CH-O | --- | --- | --- | --- |
| C-SH | --- | --- | --- | --- |
| UC-SH | --- | --- | --- | --- |
| C-COHO | --- | --- | --- | --- |
| UC-COHO | --- | --- | --- | --- |
| C-SOCK | --- | --- | --- | --- |
| UC-SOCK | --- | --- | --- | --- |
| TOTAL | 1 | --- | --- | --- |

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Ice Harbor Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 49.5 | 26.8 | 38.6 | 0.0 | 43 | 43 | 5.6 | 5.6 |

*Unit 1 scrollcase temperature.

Other

Spill for fish began April 3.

Project:  Lower Monumental

# Biologists:  Bill Spurgeon and Ken Fone

Dates:  March 28 – April 3, 2008

## Turbine Operation

Turbine units are being operated in hard constraint of the 1% operation criteria as of April 1.

Adult Fish Passage Facility

The adult fishway was inspected by Corps biologists on March 28, 30, 31, and April 2.

Fish Ladders:

Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively).  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.

### Fishway Entrances and Collection Channel:

NSE1 and NSE2 weir gates were in depth criteria (criteria: > 8’ or on sill) throughout this period.    North shore channel/tailwater head was in criteria (1’-2’).

SPE1 weir gate was in depth or sill criteria (criteria: > 8’ or on sill) throughout this period.  On April 2 it was in sill criteria with a depth of 7.1’.  SPE2 was in 2 pump criteria (criteria: > 8’, on sill, or closed during 2 pump operation).  South powerhouse channel/tailwater head was within criteria (1’-2’).

SSE1 weir gate was within depth criteria (criteria: > 8’ or on sill) throughout this period.  SSE2 was within criteria (6’ above sill).  South shore channel/tailwater head was within criteria (1’-2’).  The controls for GS-11 and GS-12 (the south lower ladder diffusers) are being repaired.

### Auxiliary Water Supply System:

### Auxiliary water supply pumps 1 and 2 are operating.  Pump 3 is out of service due to problems with the diffuser assembly and bearing housing.  Pump 3 is “bulkheaded off” to minimize water loss during two-pump operation.  Two pump operation is expected to extend throughout this operating year.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 42.5 square yards of forebay debris observed during this period.

STSs/VBSs:  STSs were installed from March 18 to 20 and all are operating normally.

Orifices, Collection Channel, Dewatering Structure, Flume:  The bypass was watered up on March 19 and is operating with 18 orifices open.

Collection Facility:  The facility was operated in secondary bypass mode, also called “Bypass Through the Separator Mode” beginning on April 1 at 0700 hours. Fish are being sampled every day with steelhead being used for the avian predation study being conducted by OSU.  Very few fish have been coming through so far and this is especially true since spill began on April 3.

Transport Summary:  No transportation occurred during this week.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Monumental Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF)* |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 53.6 | 41.1 | 26.5 | 0 | 43 | 43 | 4.6 | 3.4 |

*Scrollcase temperatures.

#### Other

RSW direct injury study related activities ended on April 2.

Spillgates were out of service intermittently throughout this week for shimming brakes and removal of RSW researcher equipment.  Spill season began on April 3.

Zebra mussel monitoring stations were checked on April 4 with none found.

Project:  Little Goose

Biologists:  Eric Volkman and George Melanson

Dates:  March 28 – April 3, 2008

## Turbine Operation

Turbine units 1 through 5 were available for service throughout most of the week.  Turbine unit 6 remains forced out of service due to grounding error.  On April 3, turbine units 3 through 5 were removed from service for short periods to perform ESBS/VBS video inspections.  As of April 1 the turbine units are being operated in hard constraint of the 1% efficiency criteria.  Reports indicate all units were operated within the 1% efficiency criteria.

## Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway April 1 and 2.

Fish Ladder:  All criteria were met.

Fishway Entrances and Collection Channel:  All fishway components were in criteria during the report period.  Channel to tailwater head differentials ranged between 1.20 and 1.66 feet (criteria 1.0 – 2.0 ft.).  SSE weir depths ranged between 8.16 and 8.28 feet (criteria 8.0 ft. minimum), NPE weirs rested on sill with depths ranging between 6.58 to 6.74 feet (criteria 7.0 ft minimum or on sill) and NSE weir depths ranged between 6.10 and 6.26 feet (criteria 6.0 ft. minimum).  Collection channel water velocities (criteria 1.5 – 4.0 fps) ranged between 2.6 and 2.8 fps at the SSE and 2.0 and 2.4 fps near the NSE.  Subsurface water velocities near the SSE (flowmeter) ranged between 2.1 and 2.2 fps.

Auxiliary Water Supply System:  All three fish pumps operated within criteria throughout the report period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Floating forebay debris accumulations were minimal with up to 500 square feet located near turbine 1 and 2 intakes.

ESBSs/VBSs:  On April 1, fish screen 1A was observed not working during morning fishway inspections.  A trouble report was submitted and the fish screen returned to normal working order a short time later after the circuit breaker was reset.  On April 3, underwater video camera inspections were conducted on ESBS screens in slots 3C through 5C.  All screens inspected were operating within criteria.  During the inspections, the video camera developed a water leak and remaining scheduled inspection of fish screens in slots 1A through 3B were not performed.  Until repairs are made, future inspections will be performed using a camera from Lower Granite Dam.  ESBSs in slots 6A through 6C remain in their raised positions as head gates are currently deployed.

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel operated with 19 opened orifices until April 2 when the number of open orifices were increased to 22 in response to dropping forebay elevations.

Transportation Facility:  The facility was re-watered for the 2008 collection and transport season on March 31.  On April 1 at 0700 hours, the facility switched from primary bypass (full flow flume) operations to secondary bypass operations.  Fish are being routed into the transport facility for PIT-tag interrogation..  All components operated satisfactorily.

Transport Summary:  Transport operations are expected to begin after April 20.

River Conditions

Spring spill operations for juvenile fish passage commenced April 3 at 0001 hours.  Spill criterion is set at 30% of total river flow, with spill not to exceed gas saturation levels of 120% in the tailrace.

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Little Goose Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 39.3 | 51.5 | 13.1 | 12.2 | 43.5 | 43.2 | 4.5 | 4.1 |

*Ladder temperature.

Other

During inspections, observations of piscivorous birds in the vicinity of the dam included 5 gulls located in the forebay.

On April 3, two spill patterns were tested for research observations.

# Project:  Lower Granite

# Biologists:  Mike Halter & Kent Blevins

Dates:  March 28 – April 3, 2008

## Turbine Operation

Lower Granite had turbine units 1, 3, 4, 5, and 6 available for power generation at the beginning of the report week.  Turbine unit 2 remained out of service for a rewind of the generator and repairs to the blade and liner.  It is scheduled to return to service in mid-June.   All operating turbine units were run within the established guidelines during the report week.

## Adult Fish Passage Facility

On March 28, 29, and 30 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.

Fish Ladder:  All criteria were met.

Fishway Entrances and Collection Channel:  Head differential readings were within criteria at all adult fishway entrances during the weekly inspections.  Weir depths at the south shore fishway entrance weir gates were also within criteria on all inspections.  North powerhouse fishway entrance weir depths were within criteria on the March 28 and 29 inspections and on sill on the March 30 inspection due to lowering of the tailrace pool elevation below 636.0 feet.  (At depths of less than 636.0 feet the north powerhouse weir gates bottom out and rest on their sills.)   North shore fishway entrance weir gate depths were out of criteria all week and varied between 4.7 and 5.7 feet (criteria ≥7.0 feet).  Weir depth readings at the north shore entrances are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  Weekly velocity readings in the adult fishway transition pool ranged from 0.83 to 1.01 feet per second and averaged 0.92 feet per second.

### Auxiliary Water Supply System:  Fish pumps 1 and 2 were operated during the report period from March 28 through April 2 without any problems.  On April 3, fish pump 1 operating speed was reduced to “slow mode” due to low tailwater elevations; pump 2 was shut off and pump 3 was started.

#### Juvenile Fish Passage Facility

Daily sampling (only) activities at the fish facility started on March 25.  All fish, including sample fish after evaluation, are being bypassed back to the river.

Forebay Debris/Gatewell Debris/Oil:

ESBSs/VBSs:  No problems to report.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  There were no problems with any of these structures during the week.  Collection gallery orifices are being backflushed every 3 hours to prevent blockages.

Transportation Facility:  General fish transport operations will not begin until sometime between April 20 and May 1.

Transport Summary:  Nothing to report.

Removable Spillway Weir:   Nothing to report on the RSW.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 48.00 | 25.70 | 20.6 | 0.0 | 46.5 | 46.4 | 4.0 | 3.6 |

*Scrollcase temperature.

Other

Video counts in the adult fish ladder counting room began on March 1.  The recording hours are from 0600 to 1600 hours.

The adult fish trap continued operation at a 10% random sample rate to monitor steelhead.  In addition, limited radio-tagging of steelhead took place.