U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

#### FISH FACILITIES WEEKLY REPORT

#21-2008

# Project:  McNary

# Biologists:  Brad Eby and Bobby Johnson

Dates:  July 18 – July 24, 2008

## Turbine Operation

McNary had 10 to 12 turbine units available for power generation this week.  Turbine units 5 and 7 are respectively out of service for 9-year and annual overhauls.  Turbine unit 7 work includes the replacement of internal thrust bearing oil coolers with external oil bearing coolers.  Six short term turbine unit outages were necessary this week.  These included turbine unit 14 (July 18, ESBS replacement in slot 14C), turbine units 10 and 11 (July 22, ESBS camera inspections, 50 minutes total outage time), turbine unit 6 (tapping hub, 8 hours outage time), turbine unit 2 (July 24, 3D cam upgrade, 7.5 hours total outage time) and turbine unit 14 (eight hour outage due to high oil temperatures).  Other than turbine unit w, no turbine units operated outside of 1% criteria this week.  Turbine unit 2 ran for a short time outside the constraint on July 24 in support of 3D cam calibration.  Generation load reductions imposed on turbine units 1, 4, 6, 8, 9 and 10 were removed July 18 after associated VBSs were cleaned.  These restrictions became necessary last week after high VBS differentials were noted in these turbine units.

## Adult Fish Passage Facilities

On July 19, 21 and 24, McNary fisheries biologists performed measured inspections of the adult fishways.  Adult fish counting, and ladder exit temperature monitoring continues.

### Fish Ladders:  During measured inspections, both ladders met all Fish Passage Plan criteria.  A weir alarm neat the Oregon exit was triggered once this week, and normal operation resumed after the alarm was reset.  The north traveling screen remains out of service due to the mechanism jams despite repeated repair attempts.  The screen may be examined by camera next week.  In the meantime, screen differentials will be checked regularly.  Both Washington and Oregon ladder set points were checked three times this week and no significant changes were noted.  The amount of milfoil present at the Washington exit has noticeably diminished.  Floating woody debris has drifted into the vicinity of the Oregon exit and will be monitored closely.

Fishway Entrances and Collection Channel:  All Washington ladder inspection points met criteria this week except on July 19 and 24 when W3 measured 7.4 feet and 7.9 feet, respectively.  Technical staff examined and recalibrated the weir on July 20.  At the Oregon north powerhouse entrance, no points measured out of criteria except on July 24 when NFEW2 and NFEW3 measured 8.2 and 8.4 feet, respectively.  Also on July 24 the south pool differential (near the south powerhouse entrance) measured 0.9 feet.  July 24 was also the day fish pump 3 was removed from service.  SFEW1 and SFEW2 weir depths ranged between 8.7 to 8.9 feet which is slightly out of criteria (9.0 feet).  Even so, fish counts remained strong and consistent.  Channel water velocity measured approximately 1.3 feet per second.

### Auxiliary Water Supply System:  All three fish pumps were in service this week with blade angles of 22 to 24 degrees except as noted below.  Fish pump 2 was out of service on July 18 for 10.6 hours in support of FDACS upgrades (fishway monitoring and control system) and top plate maintenance.  Fish pump 3 was taken or forced out of service on July 19 (head cover pump alarm), July 20 (pump restarted at 0014 hours after tripping a breaker), July 20 (shut down at 120 hours due to a high water alarm, returned to service at 0746 hours), and on July 21 at 0055 hours (top plate pump problem, shut down to avoid flooding).  Fish pump 3 was restarted at 0140 hours on July 21, tripped a breaker at 0151 hours, then successfully restarted at 0210 hours.  A follow-up outage took place from approximately 0630 hours to 1624 hours (the same day) for packing adjustments and top plate pump examination.  Fish pump 3 was again removed from service July 24 at 0734 hours, following the discovery of an oil leak.  The project plans to dewater this pump next week.  During these outages, operating fish pump blade angles were adjusted to 30 degrees.  The juvenile facility continued to supplying the usual 450 cfs to the north powerhouse pool.  The Wasco County PUD unit had no interruptions in service this week.

#### Juvenile Fish Passage Facility

No primary bypass took place this week as barge transport continues.  USGS researchers are now tagging subyearling chinook obtained from the regular smolt monitoring sample.  A total of 176,495 smolts were collected and barged this week.

Forebay Debris/Gatewell Debris/Oil:  Heavy forebay debris accumulations were present at the beginning of the reports period.  Debris loads became light towards the end of the week as wind and flow changes dispersed most of the floating debris.  No trash racks were cleaned and gatewell differentials continued to be monitored.  Slight amounts of oil was removed from 7 gatewell slots with absorbent pads as ESBS and head gate work took place this week .

ESBSs/VBSs:  ESBSs are currently deployed in all turbine unit slots except for slot 5C.  This screen has been removed for maintenance and will be used as a spare since the associated turbine unit is being overhauled.  ESBSs in slots 4B, 5B and 11C remain in transducer bypass mode.  The screen at 5B slot will be removed and repaired next week.  Other ESBS work included the replacement of the screen in slot 14C slot on July 18, the adjustment of electrical cables for the screens in slot 1A and 3A, and video camera inspections of ESBSs in turbine units 10 and 11.  Inspected screen were in satisfactory condition. Eleven VBS were cleaned this week including the 10 remaining VBSs reported with high differentials last week (all cleaned July 18) and the VBS in slot 4B (July 22).  For the remainder of the week, no high VBS differentials were recorded and no screens were cleaned.  Lower river flows and the continuing spill program resulted in reduced unit loads and consequentially in lower VBS differential readings.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  During the week, 41 to 42 orifices were opened depending on forebay elevation.  All turbine unit 5 orifices were closed as the turbine unit and associated ESBSs were out of service.  Additional orifices were opened in adjacent turbine units to maintain proper collection channel elevation.  All components functioned well this week.  Cleaning screen cycle times were set to one cycle every 45 or 60 minutes (rectangular screen) and one cycle every 60 or 90 minutes (side screen) depending on debris loads.

Transportation Facility:  Collection for barge transport continues.  PIT tag detection occurred in the full flow pipe and throughout the facility.  Smolt monitoring is taking place on a daily basis.  All systems including the transport facility functioned well except on July 23 when the primary (A and B) PIT tag slide gates underwent scheduled inspections.  The secondary (C and D) PIT/bypass gates remained closed and off for transport season.  The sample gates remained in service with no adjustments being necessary.  During spill pattern changes or when the spill ceases in support of fish towboat and barge operations, the separator was monitored closely as these changes at times do affect forebay flow pattern momentary.  Preparations for truck transport have begun.

Transport Summary:  Barge loading occurred on July 19, 21 and 23 with no problems to report.

River Conditions

River conditions during the week are outlined in Table 1 as provided by the smolt monitoring staff, with the data day running from 0700 hours to 0700 hours.  The 60/40 spill program continues, with brief spill gate closures when the fish towboat and barge arrives an departs the loading facility.  During these closures, the two TSW bulkhead hoists operated well.  However from July 19 to 22, the hoist at bay 20 had to be operated locally (the operator had to stand on an extension ladder until the remote controls could be repaired).  From July 9 to July 20, forebay elevations were maintained between 337.0’ and 338.5’ in support of an archeological investigation.  However, by week’s end the forebay was raised to near its upper operational limit in support of the hydro boat races.  On June 14, the smolt monitoring staff installed temperature probes throughout the project.  The results will be published in a separate report.

Table 1.  River conditions at McNary Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity* (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 177.2 | 155.7 | 105.4 | 61.8 | 67.7 | 66.1 | 6.0 | 6.0 |

*Morning wet lab temperature.  Water clarity provided by control room.

Other

## Bird counts continue with the tailwater being checked twice a day and the forebay once per day.  The high tailwater count noted approximately 36 gulls, 16 pelicans, 43 terns and eleven cormorants, with an occasional tern or pelican passing by the juvenile bypass outfalls.  The water cannon remains in service as PIT tagged fish are exiting one of the outfalls.  In the forebay area, this week’s high count noted 36 grebes, six gulls and three pelicans with an occasional tern or osprey being observed.  The remaining grebe noted in the juvenile collection channel and gatewell slots in last week’s report passed out of the system, leaving these locations free of grebes.  Researchers are at various stages of their work.

Project:  Ice Harbor

# Biologist:  Mark Plummer

Dates:  July 18 – July 24, 2008

## Turbine Operation

Turbine units 2, 3, 4, and 6 were available for operation throughout the reporting period.  Turbine unit 1 and 5 remained out of service.

## Adult Fish Passage Facilities

### Fish facility personnel inspected the adult fishways July 21, 22, and 23.

### Fish Ladders:  All north and south fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.

### Fishway Entrances and Collection Channel:  The south shore entrance (SFE) was off sill with a depth of 9.4 feet, on still with a depth of 8.0 feet, and off sill with a depth of 9.1 feet.  The north powerhouse entrance (NFE) was off sill with depths of 10.5 feet, 9.24 feet, and 10.5 feet.  The north shore entrance (NSE) was on sill with a depth of 7.7 feet, on sill with a depth of 7.3 feet, and on sill with a depth of 6.6 feet.   Fishway entrance criterion is 8 feet depth, greater than 8 feet depth or on sill.  All channel/tailwater differentials were in criteria, except on July 23.  On this inspection, the north powerhouse channel tailwater was at 2.3 feet differential due to the north powerhouse fish entrances being on sill.  Channel/tailwater differential criteria are 1 – 2 feet.

### Auxiliary Water Supply System:  2 of the 3 North fish pumps and all eight south shore fish pumps were operated without problems.  North shore fish pump 2 remains out of service.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating.

STSs/VBSs:  STSs were put in constant run mode operation May 27 due to changes in fish size at Lower Monumental Dam.  No problems were found during the July STS inspections.  August STS inspections are scheduled for August 4 and 5.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:   20 orifices are open.  The primary dewatering incline screen and the overflow weirs were out of service July 23 for a short period to grease and oil moving parts.  Water levels remained constant with no impact to fish passage while the job was performed.

Juvenile Bypass Facility:  The bypass is in operation with 20 orifices open providing 300 cfs into the juvenile collection channel.  270 cfs is dewatered and directed into the south adult fish pump chamber for additional adult fish attraction water.

Removable Spillway Weir:  The RSW is in operation.

Fish Sampling:  Fish sampling resumed July 8 with a revised permit from FCRP.  No fish sampling occurred this as sample facility water temperatures have reached 69 degrees F.  At Ice Harbor, fish are not to be handled when water temperature reaches or exceeds 70 degrees F. without special approval.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Ice Harbor Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 38.2 | 32.2 | 36.4 | 15.2 | 67 | 66 | 7.0 | 5.8 |

*Unit 1 scrollcase temperature.

# Project:  Lower Monumental Dam

# Biologists:  Bill Spurgeon and Ken Fone

Dates:  July 18 – July 24, 2008

## Turbine Operation

Turbine units are being operated in hard constraint of the 1% operation criteria as of April 1.  Turbine unit #3 was taken out of service on July 14 at 0700 hours for annual maintenance and remains out of service at this time.

Adult Fish Passage Facility

The adult fishway was inspected by Corps or State biologists on July 18, 19, 23 and 24.

Fish Ladders:

Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively).  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.

### Fishway Entrances and Collection Channel:

NSE1 and NSE2 weir gates were in depth criteria (criteria: > 8’ or on sill) during all inspections.  North shore channel/tailwater head was in criteria (1’-2’).

SPE1 and SPE2 weir gates were within sill criteria (criteria: > 8’, on sill, or closed during 2-pump operation throughout this period with depths from ranging from 5.5 to 6.2 feet.    South powerhouse channel/tailwater head was within criteria (1’-2’).

SSE1 weir gate was in sill criteria (criteria: > 8’ or on sill) throughout this period with depths from 5.5 to 6.8 feet.  SSE2 was in criteria (6’ above sill).  South shore channel/tailwater head was in criteria (1’-2’) with the exception of the July 24th reading of 0.9 feet.

### Auxiliary Water Supply System:

Auxiliary water supply pumps 1 and 2 are operating.  Pump 3 is out of service due to diffuser assembly and bearing housing repair work.  Pump 3 is bulkheaded off to minimize water loss during two-pump operation.  Two-pump operation is expected to occur throughout this operating year.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 0.0 square yards of forebay debris observed during this period.  There was 0-27% debris coverage in the gatewells.   No oil was observed.

STSs/VBSs:  STS operation was changed to continuous run mode on May 24 when an fork lengths averaged less than 120 mm in sub-yearling Chinook.  July STS inspections occurred on the 9th and 10th.  No problems were discovered.

Orifices, Collection Channel, Dewatering Structure, Flume:  The bypass is operating with 19 orifices open.

Collection Facility:  No problems.

Transport Summary:   Alternate day barge transport continued throughout this period.  Fish collection has dwindled to normal summertime lows of approximately 30 pounds of fish per barge loading event.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Monumental Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF)* |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 45.1 | 39.6 | 17.4 | 16.8 | 67.5 | 67 | 4.6 | 3.9 |

*Scrollcase temperatures.

#### Other

Zebra mussel monitoring stations were checked on July 12 and no mussels were found.

Project:  Little Goose

# Biologists:  Eric Volkman and George Melanson

Dates:  July 18 – July 24, 2008

## Turbine Operation

Turbine units 1 through 5 were available for service throughout this report period.  Turbine unit 6 remains out of service due to grounding error. GDACS reports indicated turbine unit 1 operated outside the 1% criteria July 19 from 1346 to 1401 hours.  All other reports indicated turbine units when operated were within the 1% criteria.

## Adult Fish Passage Facility

COE and ODFW fisheries biologists performed measured inspections of the adult fishway July 20, 22, and 24.

Fish Ladder:  All criteria were met.

Fishway Entrances and Collection Channel:  Fishway components were in criteria during the report period. Channel to tailwater head differentials during the report periods ranged between 1.20 and 1.64 feet (criteria 1.0 – 2.0 ft.).  SSE weir depths ranged between 8.10 and 8.22 feet (criteria 8.0 ft. minimum).  NPE weirs rested on sill between 5.50 and 5.96 (criteria 7.0 ft minimum or on sill), NSE weir depths ranged between 6.02 and 6.14 feet (criteria 6.0 ft. minimum). Collection channel water velocities (criteria 1.5 – 4.0 fps) ranged between 2.60 and 3.3 fps at the SSE and between 2.3 and 2.5 fps near the NSE.  Subsurface water velocities near the SSE (flowmeter) ranged between 1.8 and 1.9 fps.

Auxiliary Water Supply System:  All three fish pumps operated within criteria throughout the report period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Up to 1400sq. ft. of woody debris remained at the entrance to spillway 2 and 3.  Another 900 sq. ft. of debris remained inside the trash shear boom in front of the turbine intakes.  No debris or oil was observed in the gatewells.

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel operated with 22 open orifices.  Normal orifice rotation was performed (every 8 hours).  No problems to report.

Extended Length Submersible Bar Screens/Vertical Bar Screens (ESBS/VBS):  All ESBS/VBS operated within criteria during the report period.  Drawdown measurements were conducted on units 1 through 3 on July 24.  All measurements were within criteria.

Transportation Facility:  The facility continued collection for transport operations.  Daily fish smolt collection ranged between 2,084 and 4,921 with a total of 21,725 smolts collected. Descaling remained low and ranged from 0 to 2.6%.  Observed mortality ranged between 0.27% and 0.87%.

Transport Summary:  Alternate day barge transport operations continued throughout the report period.  All loading operations were conducted successfully.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Little Goose Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Low | High | Low | High | Low | High | Low | High |
| 41.3 | 47.0 | 12.3 | 14.3 | 66.5 | 67.9 | 4.8 | 5.7 |

*Ladder temperature.

Other

No zebra mussels were observed on inspection of the substrate monitor July 20.

The University of Idaho and USGS continued with adult fish passage research involving tracking of adult salmon and hydrologic flow patterns in the tailrace.

Piscivorous bird activity continued to be minimal.  High counts for the week were eight gulls and six cormorants spotted in the vicinity of the dam on July 23. USDA, Animal and Plant Health Inspections Services (APHIS) activities continued.

Project:  Lower Granite

# Biologists:  Mike Halter and Kent Blevins

Dates:  July 18 – July 24, 2008

## Turbine Operation

Lower Granite had turbine units 1, 3, 5, and 6 available for power generation at the beginning of the report week.  Turbine unit 1 was taken out of service at 0723 hours on July 21 for a CO2 system upgrade and remained out of service for the duration of the report week.  Turbine unit 2 remained out of service for a rewind of the generator and repairs to the blade and liner.  It is now projected to return to service by the end of September.  Turbine unit 4 remained out of service for annual maintenance work.  It is scheduled to return to service by July 31.  All operating turbine units were run within the established guidelines.

## Adult Fish Passage Facility

On July 18, 20, and 22 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.

Fish Ladder:  All criteria were met.

Fishway Entrances and Collection Channel:  Head differential readings remained within criteria at all adult fishway entrances during this week’s inspections.  Weir depths at the south shore fishway entrances were also in criteria all week.  The north powerhouse fishway entrance weirs were on sill all week due to tailwater elevations below 636.0 feet (at which level these gates bottom out).  Weir depths at the north powerhouse entrances ranged from 5.0 to 5.3 feet.   North shore fishway entrance weir gate depths were out of criteria all week and varied between 5.5 and 5.7 feet (criteria ≥7.0 feet).  Weir depth readings at the north shore entrances are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  Weekly velocity readings in the adult fishway transition pool ranged from 0.84 to 1.05 feet per second and averaged 0.94 feet per second.

### Auxiliary Water Supply System:   Fish pumps 1 and 3 were operated during the week.  Fish pump number 1 was taken out of service between 0810 hours and 1020 hours on July 23 to repair an oil leak on a speed reducing pump fitting.

#### Juvenile Fish Passage Facility

The juvenile fish facility sample rate remained at the 20.0% level during the report week.

Forebay Debris/Gatewell Debris/Oil:   Debris levels were moderate during the week.

ESBSs/VBSs:   Nothing new to report.  The next video inspections will be conducted in August.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:   Collection gallery orifices are being backflushed every 3 hours around the clock to prevent blockages.  It was not necessary to dewater the separator inclined screen to remove debris this week.

Transportation Facility:  Normal fish barging operations proceeded on schedule.  Fish are being barged on the even days of the month during July.

Transport Summary:  All barge operations have been going smoothly.

Removable Spillway Weir:   Nothing to report on the RSW.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 47.3 | 42.2 | 18.6 | 18.3 | 66.5 | 65.5 | 5.0 | 5.0 |

*Scrollcase temperature.

Other

Numerous agencies (NMFS, USFWS, NPT, USGS) conducted the study “Evaluating the Responses of Snake and Columbia River Basin fall Chinook Salmon to Dam Passage Strategies and Experiences” during the week.  Lengths and weights of fish collected in the sort by code system at Lower Granite are being taken to characterize the size during seaward migration for surrogate, production, and natural subyearling fall Chinook.

The adult fish trap operated at a 4% random sample rate during the week to monitor for summer Chinook.