U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

#### FISH FACILITIES WEEKLY REPORT

#28-2009

# Project:  McNary

# Biologists:  Brad Eby and Bobby Johnson

Dates:  September 4 -10, 2009

## Turbine Operation

McNary had nine to eleven turbine units available for power generation this week. Turbine units 1 and 2 respectively remain out of service for annual maintenance and 9-year overhaul.  Both should return to service later this month.  Turbine unit 6 continues to be out of service as the headgate is still lowered in slot B.  A mobile crane is scheduled to remove the headgate next week.  On September 4 and 10, turbine units 7 and 8 respectively returned to service following transformer work.  Additional tests and troubleshooting were necessary before transformer T4 could accommodate turbine unit 8 operation.  On September 8, turbine units 9 through 12 and transmission lines T5 and T6 were taken out of service in support of VBS cleaning with a portable crane.

Except for turbine unit 8, all available turbine units operated within the hard 1% constraint criteria this week.  Turbine unit 8 briefly operated outside 1% criteria on September 10 during tests following maintenance.  Because of high differentials, turbine units 9 – 12 were operated at the lower end of 1% efficiency criteria until maintenance personnel were able to clean the VBSs.  VBSs were cleaned from September 8 through 10.  North powerhouse loading ceased September 9 as there was no longer a need to moderate temperature gradients in gatewells or the juvenile collection channel.

## Adult Fish Passage Facilities

On September 5, 7 and 9, the McNary fisheries biologist performed measured inspections of the adult fishways.  Adult fish and night time lamprey counting continues.  Annual temperature monitoring will conclude September 14.

Fish Ladders:  During measured inspections, both ladders met all Fish Passage Plan criteria.  The Oregon exit weir 337 triggered an alarm once this week and normal operation resumed after the alarm was reset.  The north Oregon exit traveling screen remains out of service and repairs will occur during the winter maintenance season.  The south traveling screen operated well and continues to supply sufficient water to meet facility needs.  Trash rack and traveling screen differentials remain low and unchanged.  Debris and differential monitoring continues.

Fishway Entrances and Collection Channel:  All Washington ladder inspection points met criteria this week.  Most Oregon ladder inspection points also met criteria.  Locations not meeting criteria included the north powerhouse pool differential on September 5 (measured 0.9 feet), SFEW1 on September 5 and 9 (depths measured 8.6 and 8.9 feet, respectively) and SFEW2.  The set points for SFEW1 and SFEW2 may be adjusted in the near future.  Collection channel velocity averaged 1.6 feet per second.

Auxiliary Water Supply System:   Except on September 6, all three fish pumps operated satisfactorily this week with blade angles of 22 to 30 degrees.  Two very short outages occurred September 6 as a result of uneven cooling water flows.  The issue was resolved by making adjustments to pump 1.  On September 8, the DACS (electronic controls and software) system was adjusted for the three fish pumps.  The juvenile facility continues to supply the usual 450 cfs to the north powerhouse pool and the Wasco County PUD unit had no interruptions in service this week.

#### Juvenile Fish Passage Facility

Daily collection for every other day truck transport continues.  For the report week 2,015 smolts and 11,850 juvenile shad were collected.

Forebay Debris/Gatewell Debris/Oil:  Forebay debris remains light.  Trash rack differentials remained low and no racks were cleaned this week.  The turbine unit 1 gatewell slots remain covered for portable crane work.  The covers prevent contaminants from entering the gatewell slots.  Gatewell slots 9B, 9C, 10A, and 10B were covered late September 10 in support of T5 transformer replacement.  There are no problems to report.

ESBSs/VBSs:  ESBSs are currently installed in all turbine units.  ESBSs in slots 9C and 11C remain in transducer bypass mode.  On September 4, when turbine unit 7 returned to service, the associated fish screen controller required some adjustments.  Otherwise, all ESBSs operated satisfactorily.  ESBS camera inspections did not occur this week due to the high volume of work on the intake deck.

VBS monitoring efforts did not revealed any screens out of criteria.  However, 17 screens were cleaned as precautionary measure. VBSs cleaned included those in turbine units 9 and 10 on October 8, turbine units 11, 13 and 14 on October 9, and turbine unit 12 on October 10.  Because spare ESBSs were being stored in the turbine unit 12 gatewell slots, only the upper six rows of panels could be cleaned.  Despite this difficulty, the partial cleanings greatly reduced differentials in the affected slots.

As mentioned in previous reports, the main intake deck crane failed while removing a headgate in slot 6B.  The auxiliary hoist for trash raking and the hammer head crane for VBS cleaning remain useable.  The main hoist was disconnected from the headgate late on October 8 and should return to service in one to three months.  In the meantime portable cranes will be doing all the heavy lifting, and the auxiliary and hammer head hoists will be used for lighter work.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  For the week, there were 42 orifices opened.  No problems occurred and all channel systems operated well in automatic mode.  The channel was monitored during VBS cleaning activities.

Transportation Facility:  Fish collection for transport continued.  The primary (A and B) PIT tag diversion gates are in service and the secondary (C and D) PIT/bypass gates remain closed and off.  Sample gates operated satisfactorily this week.  Regularly scheduled maintenance continued as did water balloon tests.  Water balloon tests determine whether there are any blockages in the river return lines.  A ruptured balloon indicates an obstruction.  On September 8, a towboat moved a barge-mounted crane to the facility barge dock.  The crane was used to remove the upstream barge mooring bit for examination and repair.

Transport Summary:  Fish transport by truck took place on September 5, 7 and 9 without incident.

River Conditions

River conditions during the week are outlined in Table 1 with data provided by the smolt monitoring staff whose data day runs from 0700 to 0700 hours.  Water clarity data continues to be provided by the control room.  Spillway hoists underwent scheduled maintenance this week.

Table 1.  River conditions at McNary Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF) |  | Water Clarity* (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 89.3 | 67.4 | 0.0 | 0.0 | 69.6 | 68.5 | 6.0 | 5.6 |

*From control room data.

Other

Inline Cooling Water Strainers:  Cooling water strainers were not inspected this week.

Invasive Species:  On September 7, the zebra mussel stations were examined and no mussels were found.  The next inspection is scheduled for early October.

Predatory bird counts continued with the tailwater and forebay areas being checked twice and once a day, respectively.  The tailwater area had high counts of 13 gulls and 43 cormorants.  Most birds were seen in the spill basin during the afternoon.  Seven mergansers were seen in the tailrace on one occasion.  No birds were seen at the bypass outfalls.  The water cannon continued to operate well.  Only an occasional gull or osprey was seen in the forebay.  No grebes were noticed at all this week.  The lower than usual bird numbers for this time of year may be related to the unusually low numbers of juvenile shad present.

Project:  Ice Harbor

# Biologist:  Mark Plummer

# Technician: Stephen Jeffers

Dates:  September 4 -10, 2009

## Turbine Operation

Turbine units (1 - 6) were available for operation this entire reporting period.

## Adult Fish Passage Facilities

### Fish facility personnel inspected the adult fishways on September 8, 9, and 10.

### Fish Ladders:  All north and south fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.

### Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was on sill with a depth of 7.0 feet, on sill with a depth of 7.6 feet, and on sill with a depth of 8.3 feet.  The north powerhouse entrance (NFE) was on sill with a depth of 7.1 feet, on sill with a depth of 7.3 feet, and on sill with a depth of 8.3 feet.  The north shore entrance (NSE) was on sill with a depth of 6.5 feet, on sill with a depth of 6.2 feet, and off sill with a depth of 8.0 feet.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  All other channel/tailwater differentials were in criteria.  Channel/tailwater differential criteria are 1 – 2 feet.  The south and center entrance gates (SFE-1 and NFE-2) are being lowered to reduce entrance velocities to benefit lamprey passage.  This operation began July 20 and occurs between the hours of 2100 hours and 0400 hours and will continue through the end of September.

### Auxiliary Water Supply System:  North shore fish pumps 1 and 2 were operated without any problem.  North shore fish pump 3 is on standby.  Six of the available eight south fish pumps were operated without any problems.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating.

STSs/VBSs:  STSs are in cycle mode operation.  STS inspections for turbine units 4, 5, and 6 were performed September 9.  No problems to report.  STS inspections for turbine units 1, 2, and 3 are scheduled for September 23.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe: 20 orifices are open.  The power supply wire system to the screen cleaner in the collection channel continues to malfunction.  As of September 4, the power supply wire system failed again during the morning.  Parts have been ordered for the screen cleaner.  The juvenile collection channel water elevations and the incline screen area are being monitored by Power House Operators and Fish Facility Personnel.  The screen cleaner is in manual mode, being run once per day.

Juvenile Bypass Facility:  The bypass is in operation with 20 orifices open providing 300 cfs into the juvenile collection channel.

Removable Spillway Weir:  The RSW ceased operation at the end of the summer spill season.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Ice Harbor Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 27.8 | 15.2 | 0 | 0 | 70 | 67 | 7.6 | 6.8 |

*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers: Cooling water strainer gages are read 3 times a reporting period during each adult fishway inspection by fish facility personnel.  During the STS inspections performed on September 9, inline strainers on turbine units 4, 5, and 6 were checked.  Although STS were not performed in turbine units 2 and 3, strainers in these turbine units 2 and 3 were also checked the same day.  Strainer inspection results are found in the table below.

Table 2.  Inline strainer inspection results at Ice Harbor Dam, September 9, 2009

| Unit Number | Fish Recovered (all were mortalities) |
| --- | --- |
| 2 | 1 crayfish, 2 clam shells |
| 3 | 1 unidentified juvenile fish |
| 4 | 1 juvenile shad, 3 Siberian prawns |
| 5 | 2 unidentified juvenile fish , 3 Siberian prawns |
| 6 | 6 juvenile shad, 5 Siberian prawns |

### Invasive Species: Zebra mussel monitoring devices are inspected by fish facility personnel during the first adult fishway inspection of the reporting period.  No mussels were found during this week.

Project:  Lower Monumental Dam

# Biologists:  Bill Spurgeon and Ken Fone

Dates:  September 4 -10, 2009

## Turbine Operation

All turbine units were operated within the 1% operation criteria.  Turbine unit 4 was taken out of service for annual maintenance on August 25 at 0715 hours.  Turbine units 5 and 6 were out of service from 0918 hours to 1850 hours on September 4 in support of a bathymetric survey of the stilling basin.  Turbine units were out of service one at a time on September 5 and 6 for STS inspections.  Outages in support of trash rack raking took place on September 8 in turbine units 5 and 6 (both 0950 hours to 1115 hours), turbine unit 1 (1120 - 1450 hours ) and turbine unit 2 (1320 - 1450 hours).  On September 9, turbine units 5 and 6 were out of service from 1005 hours to 1755 hours so Batelle research personnel could remove their hydro-acoustic equipment from the spillway.

Adult Fish Passage Facility

The adult fishway was inspected by corps or state biologists on September 4, 5, and 9.

Fish Ladders: Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively), except for a 0.5-foot differential at the north shore picketed leads on September 4.  Algae were removed from the downstream lead to reduce the differential.

### Fishway Entrances and Collection Channel: NPE1 and NPE2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.    North shore channel/tailwater head was in criteria (1’-2’) on all inspections.

SPE1 and SPE2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections, with an average depth of 5.7 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.

SSE1 weir gate was in sill criteria (criteria: > 8’ or on sill) on all inspections, with an average depth of 6.8 feet.  SSE2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) on all inspections.

### Auxiliary Water Supply System: AWS pump 3 has been out of service to replace the bearing housing and repair the diffuser assembly.  Pumps 1 and 2 were in service throughout this period.  Pump 3 is “bulkheaded” off to minimize water loss during two-pump operation.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 1 square yard of forebay debris observed during this period.  Gatewell debris ranged from 0-14% surface coverage.  No oil was observed in the gatewells.

STSs/VBSs:  STS operations were changed to cycle mode on July 30 as the average fork length of sockeye and Chinook juveniles exceeded the 120mm criteria.  STS inspections occurred on September 5 and 6, with no significant problems found.

Orifices, Collection Channel, Dewatering Structure, Flume:   The bypass operated with 19 to 20 orifices open.  A burnt out light was found in orifice 6C35 light on September 4, so the orifices in gatewell 6C were swapped until the light was replaced.  Orifice 6C35 and 6C36 lights were found burned out on September 9 and were replaced by the next day.  Orifice 6C35 and 6C36 were both found to be closed on the September 7 and 8 during the WDFW daily inspections.  These anomalies may be due to the unit trash rack raking and other activities that were occurring at the time.  The collection channel, dewatering structure, and flume operated normally this week.

Collection Facility:  Fish are being collected for transport.  Equipment is functioning normally.

Transport Summary:  Alternate day midi-tanker transport began on August 16 and continued through this report period.  Salt is being added to the water in the transport tank to achieve a salt concentration of about 2.5 parts per thousand in order to treat fish exhibiting symptoms consistent with columnaris infection.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Monumental Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF)* |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 27.6 | 18.3 | 0 | 0 | 69.5 | 68 | 4.7 | 4.5 |

*Scrollcase temperatures.

#### Other

Inline Cooling Water Strainers: The main unit cooling water strainers were cleaned on August 19.  No juvenile lamprey or other fish were present.  We plan to collect this information monthly through the year unless degradation of fish due to water temperature makes this task impossible.

Invasive Species: There were no zebra mussels observed at the monitoring stations on September 3.  October inspection is expected to occur during the week of October 5.

Summer spill began on June 21 and ended at 2359 hours on August 31.  Spill gate outages coincided with the unit 5 and 6 outages on September 4 and 9 for the stilling basin survey and fish research equipment removal.

Project:  Little Goose

# Biologist: George Melanson

Dates:  September 4 -10, 2009

## Turbine Operation

For the most part, turbine units 1 and 3 through 6 were available for power generation throughout this report period.  Turbine units 4, 5 and 6 were removed from service on September 5, from 0900 to 1525 hours in support of spilling basin bathymetric surveys.  Turbine unit 2 was removed from service on September 6 for annual maintenance.  All turbine units operated within 1% efficiency criteria.

## Adult Fish Passage Facility

ODFW fisheries biologists performed measured inspections of the adult fishway on September 4, 7 and 10.

Fish Ladder:  All criteria were met.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged from 1.20 to 1.78 ft. (criteria 1.0 to 2.0 ft.).

SSE1 and 2 weir depths ranged from 8.16 to 8.28 feet (criteria ≥8.0 ft), NPE1 and 2 weirs rested on sill and depths ranged from 5.76 to 5.78 feet through September 7 (criteria ≥7.0 ft. or on sill).  On the September 10th inspection, NPE1 and 2 measured 7.26 and 7.30 feet respectively as tail water elevations rose above 539.2 feet allowing the weirs to meet 7.0 feet in depth or greater criteria.

NSE1 depths ranged from 6.0 to 6.22 (criteria ≥ 6.0 ft).  NSE2 is raised to 2.5 feet below tail water surface elevation to compensate for water loss through damaged NPE3.

Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged between 2.9 and 3.2 fps near the SSE.  Subsurface water velocities near the SSE (flowmeter) ranged between 2.1 and 2.2 fps.

Auxiliary Water Supply System:   All three fish pumps operated within criteria.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Forebay and gatewells remained clear of debris and contaminants.

ESBSs/VBSs: ESBS operated within criteria this report period.  The next scheduled video inspections are scheduled for October 6 - 8.

Orifices, Collection Channel, Dewatering Structure, and Flume:  The collection channel operated with 21 open orifices.

The primary dewatering weir motor failed on July 20.  Repairs are on standby - awaiting parts.  Water flow volume into the bypass system is regulated with the number of open orifices.

Transportation Facility:  Fish collection and transport continued this report period.  Daily collection of salmonid smolts ranged between 33 and 117 for a total of 437 for the week.  No descaling was observed this report period.  Daily smolt mortalities ranged between 0 and 4 for a totaled of 12 (2.8% weekly mortality rate).  The majority of mortalities appear to be disease (presumed Columnaris) related.

Transport Summary:  Alternate day truck transport operations using the 300-gallon midi tank continued this week.  Salt in small concentrations of approximately 1 g/L is added to the midi-tank water to treat potential Columnaris disease and reduce stress.  All truck loading and transport operations were performed satisfactorily.

Spillway Weir:  Spillway 1 and the TSW were removed from service on August 31.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Little Goose Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 27.0 | 18.6 | 0 | 0 | 68.5 | 68.1 | 4.2 | 3.8 |

*Ladder temperature.

Other

Inline Cooling Water Strainers: Cooling water strainers were checked on September 8.  Units 1-6 were inspected and no fish were observed.

Invasive Species:  The zebra mussel substrate was inspected on September 2.  No mussels were observed.   The next inspection is scheduled for October 5.

Up to 12 gulls and 4 cormorants were observed in vicinity of the dam during the report period.

Project:  Lower Granite

# Biologists: Mike Halter and Casey Watson

Dates:  September 4 -10, 2009

## Turbine Operation

Lower Granite had turbine units 1, 2, 3, 4, and 6 available for power generation at the beginning of the report period. Turbine unit 5 remained out of service for annual maintenance during the duration of the report week. At 0314 hours on Sept 9, Turbine unit 2 was taken out of service after discovery of a small governor oil leak. The oil was contained in the turbine pit, and did not enter any live water (i.e.: water outside the powerhouse). The oil skimmer was operated manually as a precaution. Unit 2 returned to service at 1640 hours the same day.

## Adult Fish Passage Facility

On September 5, 6, 7 and 9 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.

Fish Ladder:  All criteria were met during the week.

Fishway Entrances and Collection Channel: Head differential readings remained within criteria at all adult fishway entrances during inspections.  Weir depths at the south shore fishway entrances were within criteria whenever the tailwater depths were sufficient to keep the gates off their sills (At tailwater elevations below 633.0 feet the south shore gates bottom out).  Weir depths at the south shore entrances ranged between 7.8 and 8.1 feet (criterion ≥ 8.0 feet).  Weir depths at the north powerhouse fishway entrances were below the desired 8.0 foot criteria level during all inspections this week due to low tailwater elevations (At elevations below 636.0 feet the north powerhouse gates bottom out on their sills).  North powerhouse entrance weir depths ranged from 5.5 to 6.5 feet.  Weir depth readings at the north shore fishway entrances were out of criteria all week and depths ranged between 5.0 and 5.1 feet (criterion ≥ 7.0 feet).  Weir depth readings at the north shore entrances continue to be sacrificed in order to maintain the requisite 1.0 foot of head differential.  Weekly velocity readings in the adult fishway collection channel transition pool area ranged from 0.83 to 1.04 feet per second and averaged 0.91 feet per second.

### Auxiliary Water Supply System: Fish pumps 1 and 3 were run during the week without any problems.

#### Juvenile Fish Passage Facility

The facility sample rate remained at 100% during the report week.

Forebay Debris/Gatewell Debris/Oil:  Debris levels were moderate during the week. Bryozoa masses have become quite common this year, which may be of future concern. There were no plugging issues of any kind.

ESBSs/VBSs: The last VBS/ESBS inspections took place on August 21-23.  The next inspections are scheduled for late September or early October.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  As a fail-safe measure, collection gallery orifices were backflushed every three hours throughout the week.

Transportation Facility:  The project remained at a 100% sample rate throughout the week.  Fish were worked up in the lab every other day and transported to the outfall pipe below Bonneville Dam without incident.

Transport Summary:  Fish trucking operations to Bonneville Dam continued during the week.  Due to low fish numbers, and a 100% sample rate, the project used the midi-tanker for all trucking operations this week.  All operations proceeded smoothly.

Removable Spillway Weir: Nothing to report on the RSW.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 28.9 | 24.6 | 0.0 | 0.0 | 67.5 | 66.4 | 5.0 | 4.3 |

*Scrollcase temperature.

Other

Inline Cooling Water Strainers:   Inline cooling water strainers on turbine unit 4 were last checked for lamprey on July 14.  One lamprey (alive) was found in one strainer basket.  The other basket contained 3 juvenile lamprey mortalities.

Invasive Species:  No evidence of zebra or quagga mussels was found during the week.  The zebra mussel detector at the head of the adult fishway was last checked on August 31.

Adult fish trap operations resumed on September 6 at a sample rate of 12%. The sample rate was reduced to 9% on Sept 7.  A total of 5,000 unclipped (wild) steelhead are to be PIT-tagged for the Idaho Department of Fish and Game.