U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

#### FISH FACILITIES WEEKLY REPORT

#12-2010

# Project:  McNary

# Biologists:  Brad Eby and Bobby Johnson

Dates:  May 14 - 20, 2010

## Turbine Operation

McNary had all 14 turbine units available for power generation this week.  There were 4 turbine unit outages during this report period.  Affected turbine units included unit 6 on May 19 (hub tapping, 5.8 hours), unit 8 on May 20 (asbestos removal contract, expected to last 2 weeks), and turbine units 12 and 13 on May 20 (ESBS camera inspections – 38 minutes total outage time).  Turbine units 4 and 5 continue to bed operated outside of peak efficiency limitations in support of the one percent criteria study.  Turbine units 4 and 5 alternate modes of operations daily from Monday through Friday.  This study requires the operation of one turbine unit outside the criteria at approximately 70 megawatts while the other turbine is operated at the upper limit of the 1% efficiency criterion.   Since May 13, the switch in operating mode has been taking place at 12 noon.  Both of these turbine units return to normal operation ranges @ 2200 hours each night following the conclusion of daily research activities.  Otherwise, all turbine units operated within the 1% efficiency criterion this week.

## Adult Fish Passage Facilities

On May 15, 17 and 19, the McNary fisheries biologist performed measured inspections of the adult fishways.  Adult fish counts continued.  Researchers requested debris blockage removal this week at one of the new lamprey passage orifices at the Oregon ladder exit.  Debris removal was not possible at this time due to safety,  operational, and adult fish passage concerns.

### Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections.  The Washington exit triggered two regulating weir alarms this week.  Normal operation resumed in both cases after the alarm was reset.  The Oregon exit traveling screens have been operating well and differential have been satisfactory.  Picketed leads in both ladders are being monitored daily due to the amount of floating debris in the river.  The Washington ladder picketed leads were cleaned on May 16.

Fishway Entrances and Collection Channel:  Both ladders met all inspection point criteria except on May 15 and 19 when Oregon powerhouse entrance SFEW2 measured depths of 8.9 feet.  The Washington fishway entrance weir W2 triggered 3 alarms this week.  On each occasion, normal operation resumed after the alarm was reset.  Hydraulic gradients produced by the spill programand  low tailwater elevations probably account for these readings and alarms.  Collection channel velocities averaged 1.5 feet per second.

Auxiliary Water Supply System:  For the week, all three fish pumps ran satisfactorily with blade angles of 22 to 26 degrees.  There was one interruption in service for approximately one hour on May 18 for all three pumps when the DC ground was isolated. The juvenile facility continued to add 450 cfs to the north powerhouse pool.  The Wasco County PUD turbine unit had no interruptions in service during this report period.

#### Juvenile Fish Passage Facility

The alternating spring season of primary and secondary bypass continues with the switch between the bypass modes occurring each morning at approximately 0700 hours.  Only one diversion from this scheduled occurred this week.  On May 17, secondary bypass for an extra sample for the orifice light study occurred from 2100 to 0215 with only the B-side sample gate in use at a ten percent sample rate.  For the report week, 391,946 smolts were bypassed.  The extra research sample session collected 1,776 fish for possible tagging.

Forebay Debris/Gate well Debris/Oil:  Forebay debris accumulations were light to moderate.  Rivers flows and wind conditions dispersed much of the incoming floating debris which included tumbleweeds.  Trash rack differentials were satisfactory and no cleaning was necessary this week.   Trash rack cleaning will resume next week with the research-associated turbine units, 4 through 6, being a priority.  No problems were observed in the gatewell slots except when turbine unit 6 was out of service.  During the outage, absorbant pads were used to remove slights amounts of oil from slots 6A and 6B along with a small amount of hydraulic fluid in slot 6C.  Also, the rope for the ESBS was removed from the orifice inflow at 6A slot.

ESBSs/VBSs:  ESBS’s are installed at all units.  The screen at 5C slot remains in transducer bypass mode.  On May 15, after repeated alarms, the screens at 6A and 9C were placed in bypass mode were they remain.  The screen at 14A slot which had problems last week functioned well all this week.  On May 20, ESBS camera inspections at units 12 and 13 revealed no problems.  VBS monitoring also revealed no problems.  However, as debris accumulates, it is anticipated that cleaning will occur in the near future.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  For the week, 42 orifices were in use with no problems to report.  NOAA researchers are not currently utilizing additional orifice in slots 4A and 5A for fish evacuations as gatewell dipping is proving to be adequate for that purpose.  Caution orders will be installed at the traps early next week.  On May 17, an actuator air leak was repaired in the south orifice in slot 14C.  Otherwise, all systems operated well in automatic mode this week.   Fisheries personnel continue to monitor the collection channel during all shifts when primary bypass operations are taking place.  Fisheries personnel also continue to monitor all three orifice traps associated with the orifice lighting study.

Transportation Facility:  Spring bypass season continued with alternating days of primary and secondary bypass.  All sampled fish were returned to the river.  PIT tag detection occurs in the full flow pipe during primary bypass mode and throughout the facility during secondary bypass operations.  Sampling and smolt monitoring occurs only during secondary bypass operations.  Limited sampling and secondary bypass operations are taking place on scheduled primary bypass days in support of the NMFS orifice lighting study.   When extra sampling occurs on primary bypass days, Corps data only includes adult fallback counts.  Primary (A and B) PIT tag slide gates remained off and closed as the return to river lines provide a better bypass route for PIT tagged fish.  The secondary (C and D) PIT/bypass gates were off and open as there are no studies requiring them this year.  Sample gates continued to function well.  Ice block checks of the return to river lines indicated no blockages.

Transport Summary:  There is nothing to report.

River Conditions

River conditions during the week are outlined in Table 1 as provided by the smolt monitoring staff whose data day runs from 0700 to 0700 hours each day.  The spring spill program continues with 40 percent of the river discharge being spilled.  Because of low river flows, spill patterns were adjusted for brief periods to allow towboats and barges safe entrance into and egression out of the navigation lock.

Table 1.  River conditions at McNary Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF) |  | Water Clarity* (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 227.4 | 170.2 | 91.6 | 68.4 | 54.4 | 52.1 | 6.0 | 6.0 |

*Control room data.

Other

Inline Cooling Water Strainers:  Cooling water strainer cleanings are scheduled on May 24.

Invasive Species: No invasive species were found during the May 1 detector inspection.  The next inspection is approximately scheduled for June 1.

Predatory bird counts continued with tailwater and forebay observations conducted twice and once daily, respectively.  The tailwater high counts included 244 gulls and 11 pelicans.  Most tailwater birds were seen in the spill area after hours when hazing personnel are not present.  High counts at the bypass outfalls included 15 gulls and 5 pelicans.  Forebay area high counts included 78 grebes, 6 pelicans with an occasional gull or osprey being noted.  Pelicans are also roosting on the rocks by the Washington side boat ramp.  One grebe entered the gatewell slots, joining the 4 grebes noted the previous week.  Three of the 5 grebes entered the collection channel and passed out of the system, leaving two grebes in the slots.  The water cannon continued to operate well.  APHIS bird hazing personnel are on duty seven days a week.

The orifice lighting study, the one percent turbine efficiency study and the adult lamprey passage studies continued as did GBT monitoring efforts.

Project:  Ice Harbor

# Biologist:  Mark Plummer

Dates:  May 14 - 20, 2010

## Turbine Operation

All turbine units (1 - 6) were available for operation this reporting period.

## Adult Fish Passage Facilities

### Fish facility personnel inspected the adult fishways on May 14, 17, 18, 19, and 20.

### Fish Ladders:  All north and south fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.

### Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was off sill with a depth of 8.7 feet, off sill with a depth of 9.2 feet, off sill with a depth of 8.4 feet, off sill with a depth of 9.8 feet, and off sill with a depth of 9.4 feet.  The north powerhouse entrance (NFE) was on sill with a depth of 9.1 feet, off sill with a depth of 10.0 feet, off sill with a depth of 11.8 feet, off sill with a depth of 9.4 feet, and on sill with 13.5 feet. The north shore entrance (NSE) was off sill with a depth of 8.1 feet, off sill with a depth of 8.1 feet, off sill with a depth of 8.3 feet, off sill with a depth of 9.1 feet, and off sill with a depth of 9.1 feet.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  All channel/tailwater differentials were in criteria.  Spill is making visual staff gage reading difficult due to rapid changes in water elevation at the staff gages.

### Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  All north shore fish pump are in service.   Six of 8 south fish pumps were operated.  All 8 south fish pumps are in service.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating.

STSs/VBSs:  The STSs are operating in cycle run timing mode.  No problems were found during the May STS/VBS inspections.  June STS/VBS inspections are scheduled for the 15th and 16th.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:   The juvenile fish bypass is in operation.  20 orifices are open.

Juvenile Bypass Facility:  The bypass was put in operation March 8.

Juvenile Fish Sampling:  Sampling for fish condition take place on Mondays and Thursdays.

Removable Spillway Weir:  The RSW is in operation.

Fish Sampling:

May 17:

| Species | Sampled | #Descaled | Morts | Avian Marks |
| --- | --- | --- | --- | --- |
| C-CH | 8 | 2 | 0 | 0 |
| UC-CH | 3 | 0 | 0 | 0 |
| C-CH-O | --- | --- | --- | --- |
| UC-CH-O | --- | --- | --- | --- |
| C-SH | 99 | 1 | 0 | 4 |
| UC-SH | 19 | 0 | 0 | 2 |
| C-COHO | --- | --- | --- | --- |
| UC-COHO | --- | --- | --- | --- |
| C-SOCK | --- | --- | --- | --- |
| UC-SOCK | --- | --- | --- | --- |
| TOTAL | 129 | 3 | 0 | 6 |

May 20:

| Species | Sampled | #Descaled | Morts | Avian Marks |
| --- | --- | --- | --- | --- |
| C-CH | 97 | 3 | 0 | 0 |
| UC-CH | 26 | 0 | 0 | 1 |
| C-CH-O | --- | --- | --- | --- |
| UC-CH-O | --- | --- | --- | --- |
| C-SH | 17 | 0 | 0 | 0 |
| UC-SH | 4 | 0 | 0 | 0 |
| C-COHO | --- | --- | --- | --- |
| UC-COHO | --- | --- | --- | --- |
| C-SOCK | --- | --- | --- | --- |
| UC-SOCK | --- | --- | --- | --- |
| TOTAL | 144 | 3 | 0 | 1 |

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Ice Harbor Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 105.0 | 52.8 | 68.0 | 17.0 | 54 | 53 | 4.2 | 3.6 |

*Unit 1 scrollcase temperature.

Other

Spill for fish passage began April 3.  No zebra mussels were observed when the inspection was performed May 17 and 20.

Inline Cooling Water Strainers:  Cooling water strainers were last checked on May 12.

Invasive Species: No zebra mussels were observed during inspections on May 17 and 20.

Spill for fish passage began April 3.

Project:  Lower Monumental Dam

# Biologists:  Bill Spurgeon and Elizabeth Lindsey

Dates:  May 14 - 20, 2010

## Turbine Operation

Turbine units are being operated within the hard constraint 1% operational criteria.  There were no turbine unit outages during this week.

Adult Fish Passage Facility

The adult fishway was inspected by Corps or State biologists on May 14, 15, 16, and 19.

Fish Ladders: Fishway exit head differential and depth over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.

### Fishway Entrances and Collection Channel: NPE 1 and NPE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.

SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 6.0’, 6.5’, 6.0’, and 7.4 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) this week.

SSE1 weir gate was in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 6.3’, 6.9’, 6.2’, and 7.8 feet.  SSE2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week.

### Auxiliary Water Supply System:  AWS pump 3 has been out of service to replace the bearing housing and repair the diffuser assembly.  This work is scheduled to be completed in 2010.  Pumps 1 and 2 were in service throughout this period.   Pump 3 is bulkheaded off to minimize water loss during two-pump operation.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 0.8 square yard of forebay debris observed during this period.  Gatewell debris ranged from 0-24% surface coverage.  No oil was observed in gatewells.

STSs/VBSs:  STSs are operating in cycle mode.

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is watered up with 19 orifices open.

Collection Facility:  Collection of fish into raceways for transport began at 0001 hours on May 4.

Transport Summary:  Every-day barging operations began on May 5.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Monumental Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF)* |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 101.3 | 51.8 | 25.7 | 13.7 | 54.0 | 52.5 | 4.5 | 4.0 |

*Scrollcase temperatures.

#### Other

Inline Cooling Water Strainers:  Turbine unit cooling water strainers were cleaned May 12.  See table 2 below for details.

Table 2. Unit cooling water strainer inspection. Summary of aquatic organisms in strainer refuse.

|  | Lamprey |  | Salmon |  | Steelhead |  | Siberian Prawn |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Unit | Live | Dead | Live | Dead | Live | Dead |  |
| 1 | 0 | 2 | 0 | 0 | 0 | 0 | 1 |
| 2 | 0 | 22 | 0 | 0 | 0 | 0 | 3 |
| 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 5 | 0 | 10 | 0 | 1 | 0 | 1 | 2 |
| 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

Invasive Species: There were no zebra mussels observed at the monitoring stations during the May 7 inspection.

Spring spill operations were initiated at 0001 hours on April 3.

Project:  Little Goose

# Biologists: Richard Weis

Dates:  May 14 - 20, 2010

## Turbine Operation

All turbine units were available for service this reporting period.  All turbine units were operated within 1% of best efficiency.

## Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway May 14, 17 and 20.

Fish Ladder:  The ladder exit head differentials remained constant at 0 feet (criteria < 0.5 ft.).  Water depths over the weirs was 1.1 feet (criteria 1.0-1.3 ft.) for all three inspections and picketed lead head differentials held steady a 0.0 feet (criteria < 0.3 ft.).

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials at all fish entrances ranged between 1.0 and 2.04 (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 7.98 and 8.22 feet (criteria ≥8.0 ft), NPE1 and 2 weirs rested on sill position and depths ranged between 5.14 and 6.0 (criteria ≥7.0 ft. or on sill).  NSE1 is manually positioned at 529.1 and depths measured between 8.16 and 9.24 feet (criteria ≥ 6.0 ft.).  NSE2 weir depth ranged between 6.12 and 6.34 feet (criteria ≥ 6.0 ft.).

Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged between 1.7 and 1.9 fps near the SSE and 3.0 fps near the NSE.   Subsurface water velocities near the SSE (flowmeter) ranged between 0.5 and 1.4 fps.

Auxiliary Water Supply System:  All fish pumps operated within criteria during this report period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Debris inside the trash-sheer boom was not seen this week.   Gatewells remain clear of debris and oil.  Trash rack raking scheduled for May 14 and 15 was not performed as the rake remains out of service and scheduled for repairs (awaiting parts delivery).  All indications (fish condition, drawdown measurements, lack of debris) favor minimal debris loading on the trash racks.

Spillway Weir:  For most of the report period, the weir was operated in the low crest position (618 ft.) spilling approximately 11,300 cfs.  The weir was closed on May 18 at 0800 hours to May 20 at 1120 hours to improve tailrace conditions (guidance efficiency) for adult fish passage.

ESBS/VBS:   All operating ESBSs were within criteria this report period.  Drawdown measurements across trash racks, ESBS and VBS associated with turbine units 1 2, 3, and 4 were performed on May 19, all criteria were met.

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection channel is operating with 23 open orifices.

Transportation Facility:  Collection and transport continued this report period.  Daily collection for the period ranged between 28,000 and 222,600 for a total of 464,664 for the week.  All fish were transported except for mortalities.  Descaling and mortality rates for this report period are 0.3% and < 0.1% respectively.

Transport Summary:  All barge transport operations were successfully performed.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Little Goose Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 100.4 | 50.1 | 30.1 | 15.3 | 56.2 | 52.6 | 6.0 | 4.8 |

*Ladder temperature.

Other

Inline Cooling Water Strainers:  Cooling water strainers were inspected on May 20.

Invasive Species:  The Zebra Mussel substrate monitor was last inspected on April 30, no mussels were observed.  The next inspection for zebra mussels is scheduled for May 23.

Avian Activity:  USDA – APHIS performed piscivorous bird hazing.  Up to 50 gulls and 5 cormorants were observed during a given day this report period.

Project:  Lower Granite

# Biologist: Mike Halter and Ches Brooks

Dates:  May 14 - 20, 2010

## Turbine Operation

Lower Granite had turbine units 1, 2, 4, 5, and 6 available for power generation at the beginning of the report week.   Turbine unit 3 remained out of service for a rewind and will not be available until approximately December 31, 2010.

## Adult Fish Passage Facility

On May 14, 16, and 17 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.

Fish Ladder:  All criteria were met with the exception of the ladder weir depth at diffuser 14 which was 0.9 feet (0.1 feet below criteria) on the May 14 inspection (criterion 1.0 – 1.3 feet).

Fishway Entrances and Collection Channel:   Head differential readings remained within criteria at all adult fishway entrances during the weekly inspections.  Weir depths at the south shore fishway entrances were on (or very close to) sill on the May 14 inspection with depths of 7.9 feet on both gates.  Tailwater elevations increased enough to bring the gates off their sills on the May 16 and May 17 inspections and both gates were well above the 8.0 foot criteria level.  North powerhouse fishway entrance weirs were on sill all week due to tailwater elevations below 636.0 feet.  Weir depths at the north powerhouse entrances ranged from 5.3 to 6.1 feet.  Weir depths at the north shore fishway entrances were out of critieria all week with readings of between 5.0 and 5.1 feet (criterion ≥ 7.0 feet).  Weir depth readings at the north shore entrances are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  Weekly velocity readings in the adult fishway collection channel transition pool area ranged from 0.86 to 1.02 feet per second and averaged 0.93 feet per second.

### Auxiliary Water Supply System:  Fish pumps 2 and 3 were operated during the week without any problems.

#### Juvenile Fish Passage Facility

The sample rate was lowered from 1.0% down to 0.5% at 0700 hours on May 20 due to rapidly increasing fish numbers.

Forebay Debris/Gatewell Debris/Oil:  Debris accumulation in the forebay and gatewells was minimal during the week.   It was not necessary to hand-dip debris from any gatewells this week.

ESBSs/VBSs:   There were no problems with fish screens during the report week.  The next ESBS/VBS inspections are scheduled for May 21-23 if river conditions permit.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  There were no problems with any of these structures during the week.  Orifices are being backflushed every three hours around the clock to ensure they remain free of materials that might impact fish passage.

Transportation Facility:  All aspects of facility operation at Lower Granite have been going smoothly.

Transport Summary:  Every day fish barging operations continued at Lower Granite, Little Goose, and Lower Monumental Dams.  All aspects of the operation have been going smoothly.

Removable Spillway Weir:   Nothing to report on the RSW.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 106.0 | 52.5 | 20.6 | 19.0 | 57.8 | 55.8 | 5.0 | 4.5 |

*Scrollcase temperature.

Other

Inline Cooling Water Strainers:  The last inspection of the inline cooling water strainers took place on April 15.  The next inspection is scheduled for May 26.

Invasive Species:   The zebra mussel trap at the adult fishway exit was last examined for zebra mussels on the May 11 inspection.  No evidence of zebra mussels was found.

Research:  The University of Idaho continued steelhead kelt research work at the recently constructed holding tanks upstream of the main fish facility.   Steelhead kelts are being examined to determine the changes that occur during sexual maturity and to determine post spawning changes associated with successful downstream migration and recovery to spawn again.  Dependent on the group, steelhead kelts were blood sampled, PIT-tagged, acoustic-tagged, trucked, barged, or returned back to the river during the report week.   Steelhead kelts are now being barged on Wednesdays.

NOAA-Fisheries personnel tagged fish for the survival study, extra mortality study, and transport study at the JFF trailers during the week.  The extra mortality study was completed on May 15.

PNNL personnel continued marking fish for the Survival and Behavior Study through the Columbia River Estuary with acoustic tags.   This study will examine the migratory behavior and ocean-entry timing of both stream and ocean type juvenile chinook through the lower Columbia River and the Columbia River estuary and plume.

Idaho Department of Fish and Game personnel conducted genetic stock identification work on chinook and steelhead smolts from the lab during the week.  The goal of the study is to enumerate and characterize the natural production of spring/summer chinook salmon and steelhead above Lower Granite with regard to age composition and genetic stock identification.  Sampling is taking place every day with a goal of collecting between 2500 and 4000 genetic samples from both chinook and steelhead.

The adult fish trap operated at a 4% sample rate during the week.  Wild steelhead are being PIT-tagged and genetic and scale samples are being taken.  In addition, scale samples are being taken from one out of every 25 hatchery steelhead .  One out of every seven hatchery chinook are also being PIT-tagged and scale samples and genetic materials are being taken.  Two sort-by-code projects are also under way:  1) up to 15 Lemhi-origin chinook are to be diverted for radio-tagging,   2) chinook that were acoustic-tagged in the estuary are being diverted to check the recovery status of the surgery and take reference photos.