U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

#### FISH FACILITIES WEEKLY REPORT

#24-2010

# Project:  McNary

# Biologists:  Brad Eby and Bobby Johnson

Dates:  August 6 - 12, 2010

## Turbine Operation

McNary had eight to ten turbine units available for power generation this week.  Turbine units 2 and 7 are expected to remain out of service for rewind work until the end of the year.  Turbine units 3 and 4 remain out of service in support of T2 transformer replacement.  Transformer replacement is expected to be completed in approximately two weeks.  On August 8, turbine units 12 and 13 were out of service a total of 50 minutes for ESBS video-camera inspections.  From August 9 to 12, turbine units 9 and 10 were out of service for annual maintenance and previously scheduled T5 transformer maintenance.  Turbine units 11 and 12 were briefly taken out of service on August 9 due to electrical switching operations in support of the above mentioned T2 transformer outage.  Turbine unit 14 was also taken out of service on August 9 for 42 minutes in support of various tests.

Individual turbine units underwent validation tests this week.  Validation tests determine actual generator component operating parameters.  Model validation is required by industry enforced standards to ensure predicted electrical system reliability.  On August 6, turbine unit 14 was out of service for validation testing for 17.5 hours.  Additional validation tests took place August 6 to 7 in turbine unit 1 (1.8 hours) and August 7 in turbine units 6 and 8 (2 hours outage time).

On August 11, unit 6 briefly ran outside the criteria due to a control problem.  No other turbine units operated outside 1% peak efficiency criteria this week.

## Adult Fish Passage Facilities

McNary fishery biologists performed measured inspections of the adult fishways on August 6 and 8.  Adult fish counting season continues.  Oregon entrance weirs SFEW1, SFEW2 and NFEW1 are being lowered during nighttime hours on a predetermined schedule as part of the adult lamprey passage study.  No problems have been observed.  Ladder exit temperature monitoring continues.

Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections.  Mats of Eurasian milfoil continued to be seen in the vicinity of both ladder exits.  Forebay debris is being monitored closely as are shifts in wind direction and velocity.  Such changes may cause forebay debris to enter fish passageways.  Much of the debris is currently located along the Oregon shore.  The Oregon ladder count station back board adjusting mechanism failed this week.  This damage may have been associated with the August 1 overtopping event reported last week.  The backboard was immediately repaired upon discovery of the damage.  The north Oregon exit traveling screen remains out of service. The south traveling screen continues to operate well and differential monitoring revealed no problems.

Fishway Entrances and Collection Channel:  All Washington ladder inspection points were in criteria and most Oregon ladder inspection points were also in criteria.  Locations not meeting criteria included the north powerhouse pool differential (measured 0.6 to 0.8 feet all through the week), NFEW2 and SFEW1 (both weirs measured 8.9 feet on August 8).  Low tailwater and hydraulic gradients continue to affect measurements.  Collection channel velocities averaged 1.6 feet per second.

### Auxiliary Water Supply System:  Fish pumps 2 and 3 ran satisfactorily this week with blade angles of 30 degrees and no interruptions in service.  Fish pump 1 remains out of service as only two pumps can be operated with transformer 2 being unavailable.  Cover plate repairs on fish pump 2 on August 12 did not require an outage.  The juvenile facility continues to supply the usual 450 cfs to the north powerhouse pool and the Wasco County PUD turbine unit had no interruptions in service during this report period.

#### Juvenile Fish Passage Facility

Fish collection for barge transport continued.  On August 5 at 1000 hours following regional discussions, daily transport operations were initiated.  A barge departed the facility as previously scheduled on August 5, and a fish truck departed the facility on August 6.  Barge and trucks will continue to transport fish on alternate days until the start of every-other-day fish truck operations on August 18.  No other changes in facility operations occurred during this report period.  For the week, 44,800 smolts and 410 juvenile lamprey were collected.

Forebay Debris/Gate well Debris/Oil:  Forebay debris was very light and consisted of mostly Eurasian milfoil.  Trash rack differentials revealed no problems and no racks were cleaned.  Slots 3B, 3C, 4A and 4B remain covered in support of the transformer 2 replacement contract.  No problems were observed in the gatewell slots.

ESBSs/VBSs: ESBSs are currently deployed in all turbine units.  The screens at 5C, 6A, 9C and 10C slots remain in transducer bypass mode.  On August 8, ESBS and orifice camera inspections took place in turbine units 12 and 13 with satisfactory results.  VBS monitoring revealed no screens out of criteria.  On August 6 and 9, ten screens were cleaned as a preventative measure.  As river flow decreases and more turbine units are placed in standby, the need to clean VBSs will decrease as much of the debris will slough off the screens.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Thirty-nine orifices were in use all through the week as forebay elevations remain stable.  The orifices associated with turbine units 2 and 3 (which are out of service) are opened or closed as required when forebay elevations are high.  This permits side dewatering valve operation in a more favorable range.  All systems operated well in automatic mode.  On August 10, rectangular and side screen cleaner cycle times were increased from 90 to 120 minutes as debris loads in the vicinity of the powerhouse have decreased.  Fish facility staff continued to monitor the collection channel during VBS cleaning activities.

Transportation Facility:  Collection for transport continued with barge loading occurring every other day until August 5 at 1000 hours when daily transport was begun as described above.  Truck and barge transport operations are now taking place on alternate days.

Primary (A and B) PIT tag slide gates are currently in service and PIT tagged fish are being routed directly to the river.  The secondary (C and D) PIT/bypass gates remain closed and off for fish collection.  Balloon test of the PIT tag release lines revealed no problems.  Sample gates continued to function well.  Ice block checks of the barge loading lines indicated no blockages.  Fish mortality rates ranged from 0.44 to 1.48 percent for the week.

Transport Summary:  Barges departed from the McNary facility on August 7, 9 and 11.  The August 11 departure took place with 20 kcfs of spill in progress as the maximum prescribed forebay elevation had been reached.  The towboat and fish barge combination encountered difficulties but were able to exit the tailrace without incident.  Trucks departed the McNary facility on August 6, 8, 10 and 12.  On August 6, an oxygen sensor failed causing an improper indicator light signal on the trailer.  The sensor was replaced prior to the next trip.  Release hose and flume adjustments were also necessary at the release site before the trailer was emptied.  Three unusual situations were observed on August 12.  These included low starter motor voltage for the trailer circulation pump, a faulty flush nozzle at the release site and 5 subyearling mortalities (from August 10 truck trip) being discovered in the release line upon arrival.  Normal starter operation was restored after the wiring and terminals were cleaned, the flush nozzle at the release site was repaired and release procedures were later reviewed with McNary drivers.  Potential release pipe modifications were also discussed.

River Conditions

River conditions during the week are outlined in Table 1 as provided by the smolt monitoring staff whose data day runs from 0700 to 0700 hours each day.  The summer spill program continues with 50 percent of the river discharge being spilled.  Spill patterns were adjusted for brief periods to allow towboats and barges safe entrance into and egression out of the navigation lock.  Operators did report some problems this week with the software program controlling the spill gates.  WDFW personnel began water temperature monitoring efforts on June 15.  Monitoring results are reported separately.  Water temperatures are being monitored closely and no problems have been observed.

Table 1.  River conditions at McNary Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF) |  | Water Clarity* (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 146.2 | 112.7 | 73.1 | 56.1 | 71.7 | 69.7 | 6.0 | 6.0 |

*Control room data.

Other

Inline Cooling Water Strainers:  No cooling water strainer inspections were conducted this week.  The last inspection took place on June 14.

Invasive Species: No invasive species were found during the August 1 detector inspection.  The next examination will occur in early September.

Predatory bird counts continued with tailwater and forebay observations conducted twice and once daily, respectively.  The tailwater high counts included 66 gulls, 29 cormorants, 25 terns and 7 pelicans.  Most tailwater birds were seen in the spill area.  Pelicans tended to work the calmer edges of the spill area.  A single pelican was seen around the bypass outfalls.  Forebay area high counts included 27 grebes, 4 juvenile gulls, 1 pelican with an occasional osprey being noted.  No additional grebes joined the single remaining grebe noted in the gatewell slots last week.  The 3 grebes noted in the collection channel last week are still present.  The water cannon continued to operate well.

The adult lamprey passage studies continued as did GBT monitoring efforts.

Project:  Ice Harbor

# Biological Technician: Stephen B. Jeffers

Dates:  August 6 - 12, 2010

## Turbine Operation

Turbine units (1 - 3) were available for operation this reporting period.  Turbine unit 5 went out of service July 19th for annual maintenance and returned to service August 6th.  Turbine unit 6 went out of service August 9th for a new duplex filter installation.  Turbine unit 4 went out of service August 9th for annual maintenance.  Turbine unit 5 went out of service August 11th for a new duplex filter installation.  Turbine units 4, 5, and 6 were out of service August 9th for short periods while STS and cooling water strainers were inspected.  Turbine units 1, 2, and 3 were out of service August 11th for short periods while STS and cooling water strainers were inspected.

## Adult Fish Passage Facilities

### Fish facility personnel inspected the adult fishways August 6, 10, and 12.

### Fish Ladders:  All north and south fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.

### Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was on sill with a depth of 7.5 feet, on sill with a depth of 7.2 feet, and off sill with a depth of 7.6 feet.  The north powerhouse entrance (NFE) was on sill with a depth of 7.7 feet, on sill with a depth of 7.2 feet, and on sill with a depth of 8.2 feet.  The north shore entrance (NSE) was on sill with a depth of 5.7 feet, on sill with a depth of 5.7 feet, and on sill with a depth of 5.7 feet.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  The north fish entrance and the north powerhouse fish entrance are being operated in manual mode due to spill causing constant weir adjustments and entrance jamming.  All out of criteria depths were reported to the operator to make corrections.  All channel/tailwater differentials were in criteria.  Spill continues to make visual staff gage reading difficult due to rapid changes in water elevation at the staff gages.  Visual staff gage readings are utilized in this report.

### Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  All north shore fish pumps are in service.  Six of the 8 south shore fish pumps were operated.  South fish pump 4 was taken out of service July 23 for repairs due to excessive motor bearing noise.  Seven of the 8 south fish pumps are in service.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There is minimal forebay debris.  Fish ladder exits are clear of debris and the bubblers are operating.

STSs/VBSs:  STSs are operating in continuous mode.  No problems were found during the August STS/VBS inspections.  September STS/VBS inspections are scheduled for the 13th and 15th.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:  The juvenile fish bypass is in operation.  Twenty orifices are open.  The collection channel screen cleaner went out of service August 2nd due to the cable malfunctioning.  The cable was replaced August 12th and the screen cleaner control switch has been placed back in automatic mode.  The cleaner is now successfully completing an operating cycle once an hour.

Juvenile Bypass Facility:  The bypass was placed in operation March 8.

Juvenile Fish Sampling:  Sampling for the 2010 season concluded July 1 when the number of juvenile fish sampled during a 4 hour period dropped below 100 on 2 consecutive sample dates.

Removable Spillway Weir:  The RSW is in operation.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Ice Harbor Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 32.4 | 26.0 | 22.5 | 16.2 | 70 | 69 | 6.2 | 6.2 |

*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers:  Cooling water strainer cleanings took place in turbine units 4, 5 and 6 on August 9 and in turbine units 1, 2 and 3 on August 11.  No lampreys were found.

Invasive Species: No invasive species were found during inspections on August 10 and 12.

# Project:  Lower Monumental Dam

# Biologist(s):  William Spurgeon and Elizabeth Lindsey

Dates:  August 6 - 12, 2010

## Turbine Operation

All turbine units are being operated within the hard constraint 1% operational criteria.  Turbine unit 2 was taken out of service for annual maintenance on August 2 at 0809 hours.  Transformer problems forced turbine unit 5 out of service on August 10 at 0957 hours.  A contractor will be on site next week to evaluate the problem.

Adult Fish Passage Facility

The adult fishway was inspected by Corps or State biologists on August 7, 8, 9, 10, and 11.

Fish Ladders: Fishway exit head differential and depth over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections with the exception of August 8.  During this inspection the north shore picked lead differential was 0.6 feet due to algae buildup.  The leads were cleaned shortly after that inspection.

### Fishway Entrances and Collection Channel: NPE 1 and NPE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections. North shore channel/tailwater head was in criteria (1’-2’) on all inspections.

SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 5.4’, 5.6’, 5.6’, 5.6’, and 5.6 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’).

SSE1 weir gate was in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 5.8’, 6.3’, 5.9’, 5.7’ and 6.0 feet.  SSE2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’).

### Auxiliary Water Supply System: AWS pump 3 remains out of service to replace the bearing housing and repair the diffuser assembly.  This work is scheduled to be completed in 2010.  Pumps 1 and 2 were in service throughout this period.  Pump 3 is “bulkheaded off” to minimize water loss during two-pump operation.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 6.0 square yards of forebay debris observed during this period.  Gatewell debris surface coverage ranged from 0 to 23 percent.  No oil was observed in the gatewells.

STSs/VBSs:  STS operation was changed to cycle mode on August 10 at 1312 hours as average fork lengths of sub-yearling chinook and/or sockeye exceeded 120mm.  STS inspections were conducted on August 2 and 3.  All screens passed inspection.

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 19 orifices open.

Collection Facility:  No problems were observed in facility systems or operation.

Transport Summary:  Every other day barging is in progress.  The last barge will depart the facility on August 16 and the first truck transport operation is to begin August 18.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Monumental Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF)* |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 32.1 | 25.4 | 15.7 | 10.1 | 68.0 | 67.0 | 5.0 | 4.3 |

*Scrollcase temperatures.

#### Other

Inline Cooling Water Strainers:  Cooling water strainers were inspected August 2.  Two lamprey mortalities were recovered.  Eighteen Siberian prawns were also found.

Invasive Species:  There were no zebra mussels observed at the South shore monitoring stations on August 8.

Summer spill operation was initiated at 0003 hours on June 21.  The average spill for this report period was 12.5 kcfs.

Project:  Little Goose

# Biologist:  George Melanson

Dates:  August 6 - 12, 2010

## Turbine Operation

Turbine units 5 and 6 were available for power generation through this reporting period.  Since July 27, trbine unit 4 has been out of service for annual maintenance.  Turbine units 1 through 3 have been out of service since August 3 at 0958 hours in support of power line maintenance, doble testing and transformer repairs.  There were no reports of turbine units operating outside the 1% best efficiency criteria.

## Adult Fish Passage Facility

ODFW fisheries biologists performed measured inspections of the adult fishway on August 6 and 9.

Fish Ladder:  The ladder exit head differential for both inspections was 0.2 feet (criteria < 0.5 ft.).  Water depths over the weirs ranged between 1.0 and 1.1 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials held steady a 0.0 feet (criteria < 0.3 ft.).

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials at fish entrances ranged between 1.10 and 1.80 (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.20 and 8.34 feet (criteria ≥8.0 ft), NPE1 and 2 weirs rested on sill position and remained at 5.12 (criteria ≥7.0 ft. or on sill).  NSE1 is manually positioned at 529.1 feet and depths measured between 7.98 and 8.10 feet (criteria ≥ 6.0 ft.).  NSE2 weir depth for both inspections measured 6.16 feet (criteria ≥ 6.0 ft.).

Collection channel surface water velocities ranged between 1.3 and 2.6 fps near the SSE and 2.9 and 3.0 fps near the NSE (criteria 1.5 to 4.0 fps).   Subsurface water velocities near the SSE (flowmeter) ranged between 1.0 and 1.5 fps.

Auxiliary Water Supply System:  All fish pumps operated within criteria during this report period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Surface debris in the immediate forebay area was not observed during this report period.  Gatewells remained clear of debris.

Spillway Weir:  The weir was removed from service on August 5.  The uniform spill pattern across spillway 2 – 8 continued through this report period.

ESBS/VBS:   All operating ESBS were within criteria this report period except the screen in slot 5C which was out of service for 3 hours on August 7.  During the outage, turbine unit operation was limited to 110 megawatts as permitted under the Fish Passage Plan.

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection channel continued to operate with 23 open orifices – no problems to report.

Transportation Facility:  Collection and transport continued this report period.  Daily fish collection for the period ranged between 559 and 989 for a total of 5,211 for the week.  All fish were transported except for mortalities.  Descaling and mortality rates for this report period are 0.1% and 1.5% respectively.

The facility switched to back-up diesel generator power on August 3 at 0958 hours in support of power line outage maintenance, doble testing and transformer repairs.

Transport Summary:  All barge transport operations were successfully performed without incident.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Little Goose Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 31.9 | 24.8 | 9.6 | 7.4 | 69.3 | 69.2 | 6.0 | 6.0 |

*Ladder temperature.

Other

Inline Cooling Water Strainers:  Cooling water strainers were inspected on August 12.  Nothing was found.

Invasive Species:  The zebra mussel substrate monitor was inspected on August 5, no mussels were observed.  The next inspection for zebra mussels is scheduled for September 1.

Avian Activity:  Up to 14 gulls and 2 cormorants were observed in the vicinity of the dam during this report period.

Project:  Lower Granite

# Biologists:  Mike Halter and Ches Brooks

Dates:  August 6 - 12, 2010

## Turbine Operation

Lower Granite had turbine units 1, 2, 4, 5 and 6 available for power generation at the beginning of the report week.   Turbine unit 3 remained out of service for a rewind and will not be available until approximately December 31, 2010.  Turbine unit 4 was taken out of service at 0740 hours on August 9 for annual maintenance.  The estimated return to service date is September 3.  Summer spill operations began on June 21 and are slated to continue through August 31.

## Adult Fish Passage Facility

On August 6-9 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.

Fish Ladder:  All criteria were met during the inspections with the exception of the August 9 inspection when the water depth over the ladder weir at diffuser 14 was 0.1 feet below criteria (criteria 1.0 – 1.3 feet water depth over weirs).

Fishway Entrances and Collection Channel:   Head differential readings remained within criteria at all adult fishway entrances this week.  Weir depths at the south shore fishway entrances were on sill on the August 7 and August 9 inspections with depths of 7.8 feet and 7.7 feet, respectively.  South shore entrance weir depths on the August 6 And August 8 inspections were within criteria due to tailwater elevations above 633.0 feet.  North powerhouse fishway entrance weirs were on sill all week due to tailwater elevations below 636.0 feet.  Weir depths at the north powerhouse entrances ranged from 4.9 to 5.5 feet.  Weir depths at the north shore fishway entrances were out of criteria all week with readings of between 4.9 and 5.2 feet (criterion ≥ 7.0 feet).  Weir depth readings at the north shore are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  Weekly velocity readings in the adult fishway collection channel transition pool area ranged from 0.85 to 1.02 feet per second and averaged 0.94 feet per second.

### Auxiliary Water Supply System:  Fish pumps 2 and 3 were operated during the week without any problems.

#### Juvenile Fish Passage Facility

The juvenile fish sample rate remained at 50% during the week.  The sample system was set to “divert during sample mode” at 0700 hours on August 4.

Forebay Debris/Gatewell Debris/Oil:  Debris levels were low during the week.  It was not necessary to hand-dip debris from any gatewells this week.  No evidence of oil was found in any of the gatewells.

ESBSs/VBSs:   The last video inspections were conducted on June 26 and 27.  No additional problems were detected.   The next video inspections are scheduled for August 28-29.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:   Debris levels remained very light during the week.  Collection gallery orifices were backflushed every three hours around the clock to ensure they remained free of materials that might impede fish passage.

Transportation Facility:   Fish numbers remained relatively low during the week and consequently direct loading activities did not take place.  All facets of facility operation went smoothly.

Transport Summary:  Fish are being barged on the even days of the month.  Transport operations from McNary Dam began on July 16 and continue to go smoothly.   The last fish barge of the season is scheduled to leave Lower Granite on August 16.  Fish trucking operations are slated to begin on August 18.

Removable Spillway Weir:   The RSW remains in service and is operating satisfactory.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 34.8 | 27.2 | 18.7 | 14.6 | 67.1 | 66.7 | 5.0 | 5.0 |

*Cooling line intake temperature.

Other

Inline Cooling Water Strainers:  Inspection of the inline cooling water strainers took place on August 5.   No lamprey were removed from the strainers on this inspection.   The next inspections will take place in mid to late September.

Invasive Species:   The zebra mussel trap at the adult fishway exit was examined for zebra mussels on the Aug 2 inspection.  No evidence of zebra mussels was found.

Research:  The adult fish trap continued operation at a 4% sample rate during the week.  Unmarked Chinook are being PIT-tagged and scale and tissue samples taken.  One out of every seven hatchery Chinook is being scale sampled.  All hatchery coded wire tagged Chinook are being scale sampled.  Wild steelhead are being PIT-tagged and one out of 11 hatchery steelhead are being scale sampled.  The collection of American shad for genetic analysis has concluded for the season.  Water temperatures in the trap have been in the upper 60°F degree range but so far have remained below 70°F degrees.