U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

#### FISH FACILITIES WEEKLY REPORT

#30-2010

# Project:  McNary

# Biologists: Bobby Johnson

Dates:  September 17 - 23, 2010

## Turbine Operation

McNary had eight to nine turbine units available for power generation this week.  Turbine units 2 and 7 remained out of service for rewind.  Turbine unit 1 remains out of service in support of T1 transformer replacement which will take approximately five weeks.  Turbine unit 13 remains out of service for power potential transformer (PPT or exciter transformer) replacement.  Completion is expected in approximately 5 weeks.  Turbine units 11 and 12 returned to service on September 17 following T6 transformer maintenance and leak repair.  Turbine units 11 and 12 were again taken out of service for 2.5 hours on September 20 for follow-up T6 transformer work.  Turbine units 9 and 10 were taken out of service in support of T5 transformer maintenance and leak repair from September 17 through September 20.  This work was followed by T3 transformer maintenance and leak repair.  T3 maintenance required turbine unit 5 and 6 to be out of service from September 20 to September 21.  Additional follow-up work was required on the recently repaired T7 transformer on September 21.  Turbine unit 14 was taken out of service for 1.7 hours in support of this follow-up work.  Other outages this week took place on September 19 (turbine units 3 and 5 – ESBS camera inspections – 3.6 hours outage time) and September 22 (turbine unit 6 –hub tapping – 5 hours outage time).  Although no turbine units operated outside the 1% criteria this week, turbine unit 14 operations were limited to the lower 1% efficiency range from September 20 to 22 due to high VBS differential readings.

## Adult Fish Passage Facilities

On September 18, 20 and 23, the McNary fisheries biologist performed measured inspections of the adult fishways.  Adult fish counts continued.  Oregon entrance weirs SFEW1, SFEW2 and NFEW1 are being lowered on scheduled nights as part of the adult lamprey passage study.  No problems have been observed.

Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections except on September 23 when the Washington ladder weir differential measured 1.4 feet.  This was likely due to scheduled tilting weir maintenance on September 22 and 23.  This maintenance required shutdown of electrical service.  The alarms continued to function as they are served by another power source.  A similar alarm was triggered on September 18.  Although no cause was found for this alarm, it may have been also triggered by maintenance activity.  At the Oregon exit, multiple weir alarms also sounded on September 23 during maintenance activity.  In all cases, normal operation resumed after alarms were reset.  The north traveling screen at the Oregon exit remains out of service.  The south Oregon exit traveling screen operation and differential monitoring results have been satisfactory.  Both ladder exits are being monitored daily.

Fishway Entrances and Collection Channel:  All Washington ladder inspection points were in criteria this week as were most Oregon ladder inspection points.  Oregon fishway inpections points not meeting criteria included the north powerhouse pool differential (measured 0.6 to 0.8 feet all through the week) and SFEW2 (8.4 to 8.6 feet all through the week).  Collection channel velocities averaged 1.5 feet per second.

### Auxiliary Water Supply System:  For the week, fish pumps 1 and 2 ran with blade angles of 30 degrees.  Only pumps 1 and 2 are being operated due to the T1 transformer outage.  The 2 pumps operated satisfactory all through the report period except on September 21 when both pumps were out os service from 0740 to 0750 hours for DC (direct current) ground isolation service.  The juvenile facility supplied the usual 450 cfs to the north powerhouse pool with no interruptions in service.  The Wasco County PUD turbine unit had two interruptions in service, on September 19 and 21.  No reason was given for the first outage which lasted from 2135 to 2234 hours.  The second outage in support of T7 transformer work lasted from 1006 to 1155 hours.  The bypass system performed well during both of these outages.

#### Juvenile Fish Passage Facility

Collection for truck transport continued.  Daily trucking operations continued until September 22 when lower smolt collection numbers allowed resumption of every-other-day fish transport operations.   High numbers of juvenile shad forced the facility into primary bypass operations on September 22 from 2200 to 2400 hours.  Because of their small size and flat body shapes juvenile shad can clog screens, drains and circulation systems in trucks and raceways.  For the report week, 2,675 smolts, 30 juvenile lamprey, and 72,560 juvenile shad were collected.

Forebay Debris/Gate well Debris/Oil:  Forebay debris was light and consisted of mostly Eurasian milfoil.  Trash rack differential monitoring efforts revealed no problems and no racks were cleaned.  Slots 1B, 1C, 2A, 2B, 12A, 13B and 14A remained covered in support of transformer T2 and T7 replacements.  No problems were observed in the gatewell slots.

ESBSs/VBSs:  ESBSs are currently deployed in all turbine units.  The screens in slots 5C, 6A, 9C and 10C slots remain in transducer bypass mode.  ESBSs in slots 3A, 3B, 3C, 5A, 5B and 5C were video inspected September 19 and were found in satisfactory condition.  Even though the screen in slot 5A was found in satisfactory condition, this screen was switched to transducer bypass mode on September 20 after technical staff determined there may be a problem with the screen proximity switch.  This screen also triggered an alarm just prior to being switched to transducer bypass mode.   VBS monitoring revealed two screens out of criteria.  These screens and two others were cleaned on September 21 and 22.   As mentioned above, turbine unit 14 was operated at a reduced electrical load for two days before the screen in 14B slot could be cleaned.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  For the week, 39 orifices were in use as forebay elevations were stable.  An orifice associated with turbine unit 2 (currently out of service) continues to be opened or closed as required.  Reduced orifice count during high forebay elevations allows more efficient operation of the side dewatering valves.  Service activities this week included a stick being removed from the rectangular dewatering screen cleaner, the resetting of rectangular screen cleaning brush cycle frequency to 120 minutes from 90 minutes, and orifice light maintenance.   Otherwise, all systems operated well in automatic mode.  The collection channel continues to be monitored during VBS cleaning operations.

Transportation Facility:  Truck transport took place daily this week.  Primary (A and B) PIT tag slide gates are currently in service and PIT tagged fish are being routed directly to the river.  The secondary (C and D) PIT-tag/bypass gates remain closed and off for fish collection.  Balloon tests revealed that PIT tag release lines were clear of any blockages this week.  Sample gates continued to function well.  On September 20, PSMFC personnel removed the automatic, hourly cycle from the sample gate program.  The electrical and mechanical staffs repaired lighting and the heating/cooling system at the facility this week.  Other activities this week included district personnel inspecting the barge loading dock on September 20 and the project supplying the Lower Granite facility an oxygen bottle for their fish truck.

Transport Summary:  Trucks left McNary every day this week except on September 22 when every-other day transport resumed.  Minor equipment problems continued to be experienced this week including inoperative truck mirrors on September 18 (in-cab switch problems), a burned-out left trailer light on September 19 (same light reported as replaced last week), an intermittently operating fuel gage, and a faulty truck fuel filter on September 23.  Facility trucks were swapped for spare trucks on September 18 and 23 (trucks previously assigned to Lower Monumental and Little Goose were being held in reserve at the McNary shop).  The September 23 departure was delayed 2 hours due to the truck swap.

River Conditions

River conditions during the week are outlined in Table 1 as provide by the smolt monitoring staff whose data day runs from 0700 to 0700 hours each day.

Table 1.  River conditions at McNary Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF) |  | Water Clarity* (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 93.1 | 59.6 | 0.0 | 0.0 | 66.4 | 65.7 | 6.0 | 6.0 |

*Control room data.

Other

Inline Cooling Water Strainers:  Cooling water strainer inspections last took place on August 18 in turbine unit 6.  No salmonids, lamprey or other fish were noted.

Invasive Species: No invasive species were found during the September 1 detector inspection.  The next inspection is scheduled to take place October 1.

Predatory bird counts continued with tailwater and forebay observations being conducted twice and once daily, respectively.  The tailwater high counts included 36 Forester’s Terns, 35 cormorants and 33 gulls, with an occasional pelican being noted.  Most tailwater birds were seen roosting in the spill basin orfeeding in the powerhouse flow.  Bird counts appear to fluctuate with the juvenile shad outmigration.  An occasional gull or tern was seen around the bypass outfalls.  No birds were observed in the forebay.  No grebes were seen in the gatewell slots.  The three grebes noted in the collection channel at the end of the previous report period are still present.  Grebe removal may be coordinated with APHIS personnel in October.  The water cannon continued to operate satisfactory.   The adult lamprey passage study continues.

Project:  Ice Harbor

# Biologist: Mark Plummer

Dates:  September 10 - 16, 2010

## Turbine Operation

Five turbine units (1, 3-6) were available for operation during this reporting period.  Turbine unit 2 remained out of service for annual maintenance which began September 11 at 1500 hours.

## Adult Fish Passage Facilities

### Fish facility personnel inspected the adult fishways on September 17, 20, 21, 22, and 23.

### Fish Ladders:  All north and south fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.

### Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was on sill with a depth of 7.9 feet, on sill with a depth of 7.3 feet, on sill with a depth of 6.7 feet, on sill with a depth of 6.2 feet and on sill with a depth of 7.6 feet.  The north powerhouse entrance (NFE) was off sill with a depth of 7.7 feet, on sill with a depth of 7.3 feet, on sill with a depth of 6.7 feet, on sill with a depth of 6.2 feet, and on sill with a depth of 7.6 feet.  The north shore entrance (NSE) was off sill with a depth of 8.0 feet, on sill with a depth of 7.3 feet, on sill with a depth of 6.7 feet, on sill with a depth of 6.2 feet, and on sill with a depth of 7.7 feet.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  All out of criteria depths were reported to the operator to make corrections.  All channel/tailwater differentials were in criteria, except September 22.  On this inspection, the north fish ladder channel/tailwater differential was 2.2 feet due to the entrance weir being on sill.  Visual staff gage readings are noted in this report.

### Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  All north shore fish pumps are in service.  Five of 8 south shore fish pumps were operated.  Individual South shore fish pumps are being taken out of and returned to service as needed while motor replacement continues.  Five to 6 pumps are kept in service to maintain criteria.  South fish pump 1 was removed from service this week due to a vibration issue.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There is minimal forebay debris.  Fish ladder exits are clear of debris and the bubblers are operating satisfactorily.

STSs/VBSs:  STSs hqave been operating in cycle run mode as of August 30.  No problems were found during the September STS/VBS inspections.  October STS/VBS inspections are scheduled for the 18th and 20th.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:   The juvenile fish bypass is in operation.  20 orifices are open.

Juvenile Bypass Facility:  The bypass was placed in operation on March 8, 2010.

Juvenile Fish Sampling:  Sampling for the 2010 season concluded July 1 due to the number of juvenile fish sampled during a 4 hour period dropping below 100 for 2 consecutive samples.

Removable Spillway Weir:  The RSW is not in operation.  Spill for fish passage ended September 1.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Ice Harbor Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 29.8 | 10.7 | 0.0 | 0.0 | 65 | 63 | 6.8 | 6.8 |

*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers:  Cooling water strainer cleanings took place in turbine units 2, 3, 4, 5 and 6 on September 13 and in turbine unit 1on September 15.  No lampreys were recovered.  However, several juvenile shad were found in the strainers.

Invasive Species:  No zebra mussels were observed during inspections performed on September 17, 20 and 21.

# Project:  Lower Monumental Dam

# Biologist(s):  William Spurgeon and Elizabeth Lindsey

Dates:  September 10 - 16, 2010

## Turbine Operation

Turbine units are being operated in hard constraint 1% operational criteria.  On September 18, Turbine unit 1 was removed from service for annual maintenance at 1015 hours.  Turbine unit 5 was removed from service on August 10 at 0957 hours due to an exciter problem.  This turbine unit returned to service on September 23 at 1228 hours.

Adult Fish Passage Facility

The adult fishway was inspected by Corps or WDFW biologists on September 17, 18, 19, and 22.

Fish Ladders: Fishway exit head differential and depth over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.

### Fishway Entrances and Collection Channel: NPE 1 and NPE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections with the exception of a 7.9 feet reading on September 18.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.

SPE 1 and SPE 2 weir gates were in depth or sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 6.5’, 6.2’, 6.5’ and 7.5 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’).

SSE1 weir gate was in depth or sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth reading was 7.5’, 7.2’, and 7.7 feet.  SSE2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’).

### Auxiliary Water Supply System: AWS pump 3 remains out of service to replace the bearing housing and repair the diffuser assembly.  This work is scheduled to be completed in September.  Pumps 1 and 2 were in service throughout this period.  Pump 3 is “bulkheaded off” to minimize water loss during two-pump operation.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 3.3 square yards of forebay debris observed during this period.  Gatewell debris surface coverage ranged from 0-35 percent.  No oil was observed in gatewells.

STSs/VBSs:  STSs operations were changed to cycle mode on August 10 as average fork length of sub-yearling chinook and/or sockeye exceeded 120mm.  STSs inspection were conducted on September 4 and 5.  All screens passed inspection.

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 18 open orifices.

Collection Facility:  The primary dewaterer mechanical screen cleaner was removed from service on August 31 due to travel cable slippage.  The pneumatic screen cleaner (bubbler) is more than adequate for keeping the screen clean through the remainder of the season.  No other problems were observed in facility systems or operation.

Transport Summary:  Alternate day midi-tanker transport is in progress.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Monumental Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF)* |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 25.4 | 14.9 | 0.0 | 0.0 | 65.5 | 63.0 | 5.0+ | 4.3 |

*Scrollcase temperatures.

#### Other

Inline Cooling Water Strainers:  Cooling water strainers were inspected September 1.  Thirteen shad and eleven Siberian prawns were recovered.  No lampreys were found.

Invasive Species:  There were no zebra mussels observed at the monitoring stations on September 10.

Summer spill operation was initiated at 0003 hours on June 21 and ended on September 1 at 0005 hours.

Project:  Little Goose

# Biologist(s):  Richard Weis

Dates:  September 10 - 16, 2010

## Turbine Operation

Turbine units 1 and 3 through 6 were available for power generation throughout this reporting period.  Turbine unit 2 was returned to service on September 23 at 0957 hours following completion of annual maintenance.  There were no reports of turbine units operating outside the 1% of best efficiency curves.

## Adult Fish Passage Facility

ODFW fisheries biologists performed measured inspections of the adult fishway September 18, 20 and 23.

Fish Ladder:  The ladder exit head differential remained steady at 0.1 and feet (criteria < 0.5 ft.).  Water depths over the weirs ranged between 1.1 and 1.2 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials remained steady at 0 and feet (criteria < 0.3 ft.).

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials at fish entrances ranged between 1.04 and 1.54 (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.26 and 8.38 feet (criteria ≥8.0 ft),   NPE 1 ranged between 5.72 and 7.60 feet.  NPE 2 ranged between 5.68 and 7.22 feet.  Both are on sill (criteria ≥7.0 ft. or on sill).  NSE1 is manually positioned at 529.1 and depths measured between 8.60 and 10.52 feet (criteria ≥ 6.0 ft.).  NSE2 weir depth ranged between 6.16 and 6.28 feet (criteria ≥ 6.0 ft.).

Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged between 1.8 and 2.0 fps near the SSE and 1.9 and 2.4 fps near the NSE.   Subsurface water velocities near the SSE (flowmeter) ranged between 1.0 and 1.4 fps.

Auxiliary Water Supply System:  All fish pumps operated within criteria during this report period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Surface debris in the immediate forebay remained minimal during this report period.  Gatewells remain clear of debris.

Spillway Weir:  The weir was removed from service on August 5.

ESBS/VBS:   All operating ESBS were within criteria during this report period.

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection channel continued to operate with 21 open orifices – no problems to report.

Transportation Facility:  Collection and transport continued this report period.  Daily collection for the period ranged between 7 and 40 for a total of 116 for the week.  All fish were transported (except for mortalities).  Descaling and mortality rates for this report period are 8.0% and 5.5% respectively.

Transport Summary:  Every-other-day truck transport operations continued during this report period.  Salt in small concentrations of approximately 1 g/L is added to the midi-tank water to treat potential Columnaris disease and reduce stress.  All transport operations were successfully completed.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Little Goose Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 25.6 | 14.9 | 0 | 0 | 64.2 | 63.0 | 6.0 | 5.8 |

*Ladder temperature.

Other

Cooling Water Strainers:  Cooling Water Strainers were inspected on Sept. 20.  No fish or fish remains were observed.

Invasive Species:  The Zebra Mussel substrate monitor was inspected on September 8, no mussels were observed.  The next inspection for zebra mussels is scheduled for October 6.

Avian Activity:  24 gulls and 7 cormorants were observed in the vicinity of the dam during this report period.

Project:  Lower Granite

# Biologist(s):  Mike Halter and Ches Brooks

Dates:  September 10 - 16, 2010

## Turbine Operation

Lower Granite had turbine units 1, 2, 5 and 6 available for power generation at the beginning of the report week.   Turbine unit 3 remained out of service for a rewind and will not be available until approximately December 31, 2010.  Turbine unit 4 remained out of service for annual maintenance.  The estimated return to service date is September 24.

## Adult Fish Passage Facility

On September 17-20, the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.

Fish Ladder:   All criteria were met during the report period.

Fishway Entrances and Collection Channel:   Head differential readings remained within criteria at all adult fishway entrances this week.  Weir depths at the south shore fishway entrances were also within criteria during all inspections this week.  North powerhouse fishway entrance weirs were on sill all week due to tailwater elevations below 636.0 feet.  Weir depths at the north powerhouse entrances ranged from 5.7 to 6.0 feet.   Weir depths at the north shore fishway entrances were out of criteria all week with readings of between 4.8 and 5.0 feet (criterion ≥ 7.0 feet).  Weir depth readings at the north shore are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  Weekly velocity readings in the adult fishway collection channel transition pool area ranged from 0.87 to 1.03 feet per second and averaged 0.95 feet per second.

### Auxiliary Water Supply System:  Fish pumps 2 and 3 were operated during the week without any problems.

#### Juvenile Fish Passage Facility

Sub-year chinook numbers increased during the week and the sample rate was decreased from 100% to 50% at 0700 hours on September 20.  The sample rate was returned to 100% at 0700 hours the next day as fish numbers dropped.

Forebay Debris/Gatewell Debris/Oil:  Debris levels were low during the week. Gatewell hand-dipping for debris was not necessary.  The oil film on the surface of bulkhead slot 4C has gradually been absorbed.  Oil soaker pads are in place.

ESBSs/VBSs:   The last ESBS/VBS video inspections took place on August 28-29.  No unusual problems were found during this month’s inspections.  The next inspections are scheduled for late September or early October.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:   Debris levels were very light this week.  Collection gallery orifices were backflushed every three hours around the clock to ensure they remained free of materials that might impede fish passage.

Transportation Facility:   Except as mentioned above, the facility operated in a 100% sampling mode with all collected fish being diverted to the sample holding tank outside the JFF lab.  Increased fish numbers necessitated the use of a raceway from September 20 to September 21.  Fish are being worked up every other day on designated transport dates.  All facets of facility operation continued smoothly.

Transport Summary:  Fish are being trucked on the odd days of the month.  Fish numbers were low enough to utilize the pickup midi-tanker (300 gallon tank) on the September 17 trip.  Increasing numbers of sub-year chinook required the use of the semi truck and trailer for trips on September 19 and 21.   On September 23, fish numbers were again low enough to utilize the pickup midi-tanker.  Fish are being released into the Smolt Monitoring Facility outfall below Bonneville Dam.  Transport operations have been proceeding well.

Removable Spillway Weir:   Nothing new to report on the RSW.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 25.10 | 16.4 | 0.0 | 0.0 | 64.6 | 63.4 | 5.0 | 4.5 |

*Cooling line intake temperature.

Other

Inline Cooling Water Strainers:   Cooling line strainers inspections took place on September 16.  One lamprey mortality and one juvenile salmonid mort were noted.

Invasive Species:   The zebra mussel trap at the adult fishway exit was examined for zebra mussels on the September 6 inspection.  No evidence of zebra mussels was found.

Research:

The sample rate at the adult fish trap was reduced from 12% down to 10% on September 18 at 1500 hours.  In addition, the protocol from taking scale samples from hatchery steelhead was changed from  one in 25 fish to one in 20 fish.  All PIT-tagged chinook are now being released back into the ladder after an operculum punch.  Transport of adult fall chinook to Lyon’s Ferry Hatchery and the Nez Perce Hatchery at Cherry Lane continued during the week. Seventy percent of the transported fish are to be taken to Lyon’s Ferry and the remaining 30% go to Cherry Lane.  The Nez Perce Tribe is hauling fish on Sundays and Mondays and Lyon’s Ferry is hauling fish Tuesday through Saturday.